## Exhibit 2
EXHIBIT PMH/2
CORRECTION TO ERROR IN UTAH LOAD REQUIREMENT
BASED ON PACIFICORP'S NORMALIZED NET POWER COST CASE
| Utah Deficiency/Surplus |  |  |  | Utah Deficiency/Surplus
| Based on Incorrect Energy Requirement |  |  |  | Based on Corrected Energy Requirement
Utah Load Requirement = | 23,708,253 MWH |  |  | 24,868,743 MWH
|  | Secondary | Energy |  | Secondary | Energy
| Cost or Revenue | Energy | Rate | Cost or Revenue | Energy | Rate
| ($) | (MWH) | ($/MWH) | ($) | (MWH) | ($/MWH)
System Sales PPL | 28698204.8451 | 272468.4935 | 105.3267 | 90127274.5457 | 877286.3568 | 102.7342
System Sales UPL | 5727715.234 | 63882.6669 |  | 0 | 0
System Purchases PPL | 212011409.1395 | 1758011.7466 | 120.5973 | 158785860.6169 | 1226953.61 | 129.4147
System Purchases UPL | 61424044.537 | 646908.8187 | 94.9501 | 149994251.8619 | 1718902.1518 | 87.2617
Net Cost of Secondary | 239009533.5974 | 2068569.405 | 115.5434 | 218652837.9332 | 2068569.405 | 105.7024
Reduction in Net Power Cost Due to
Correction in Utah Load Requirement = |  | 20356695.6642

## Exhibit 3
Exhibit PMH/3
BASED ON PACIFICORP'S NORMALIZED NET POWER COST CASE
RESULTS SHOWN ON A TOTAL COMPANY BASIS
OCTOBER 1999 - SEPTEMBER 2000
|  | PACIFICORP |  |  |  | HAYET |  | Net Savings
| ($000) | GWH | ($/MWH) |  | ($000) | GWH | ($/MWH) | ($000)
PPL LONG | 90127 | 877 | 102.7674 |  | 90128 | 877 | 102.7685
UPL LONG | 0 | 0 | 0 |  | 0 | 0 | 0
PPL SHORT | 158786 | 1227 | 129.4099 |  | 126301 | 1227 | 102.9348
UPL SHORT | 149994 | 1719 | 87.2565 |  | 149985 | 1719 | 87.2513
Net Total Cost | 218653 | 2069 | 105.6805 |  | 186158 | 2069 | 89.9749 | 32495