## 2010 Protocol - App D - Table 1
2010 Protocol - Appendix D - Table 1
Interruptible Contract Without Ancillary Service Contract Attributes
Effect on Revenue Requirement
|  | Factor | Total system | Jurisdiction 1 | Jurisdiction 2 | Jurisdiction 3
1 | Loads
2 | Jurisdictional Loads - No Interruptible Service
3 | Jurisdictional Sum of 12 monthly CP demand (MW) |  | 72000 | 24000 | 36000 | 12000
4 | Jurisdictional Annual Energy (MWh) |  | 42000000 | 14000000 | 21000000 | 7000000
5
6 | Jurisdictional Loads - With Interruptible Service - Reflecting Actual Interruptions
7 | Jurisdictional Sum of 12 monthly CP demand (MW) |  | 71700 | 24000 | 35700 | 12000
8 | Jurisdictional Annual Energy (MWh) |  | 41962500 | 14000000 | 20962500 | 7000000
9
10 | Special Contract Customer Revenue and Load - Non Interruptible Service
11 | Special Contract Customer Revenue |  | 20000000 |  | 20000000
12 | Special Contract Customer Sum of 12 CPs (MW) (Included in line 2) |  | 900 | 0 | 900 | 0
13 | Special Contract Annual Energy (MWh) (Included in line 3) |  | 500000 | 0 | 500000 | 0
14
15 | Special Contract Customer Revenue and Load - With Interruptible Service (75 MW X 500 Hours of Interruption)
16 | Special Contract Customer Revenue |  | 16000000 |  | 16000000
17 | Discount for Ancillary Services |  |  |  | 0
18 | Net Cost to Special Contract Customer |  | 16000000 |  | 16000000
19 | Special Contract Sum of 12 CP- Reflecting Actual Interruptions (MW) (Included in line 7) |  | 600 | 0 | 600 | 0
20 | Special Contract Annual Energy- Reflecting Actual Interruptions (MWh) (Included in line 8) |  | 462500 | 0 | 462500 | 0
21
22 | System Cost Savings from Interruption |  | 4000000
23
24 | Allocation Factors
25 | No Interruptible Service
26 | SE factor (Calculated from line 4) | SE1 | 100% | 33.33% | 50% | 16.67%
27 | SC factor (Calculated from line 3) | SC1 | 100% | 33.33% | 50% | 16.67%
28 | SG factor (line 27*75% + line 26*25%) | SG1 | 100% | 33.33% | 50% | 16.67%
29
30 | With Interruptible Service (Reflecting Actual Physical Interruptions)
31 | SE factor (Calculated from line 8) | SE2 | 100% | 33.36% | 49.96% | 16.68%
32 | SC factor (Calculated from line 7) | SC2 | 100% | 33.47% | 49.79% | 16.74%
33 | SG factor (line 32*75% + line 31*25%) | SG2 | 100% | 33.45% | 49.83% | 16.72%
34
35
36 | No Interruptible Service
37
38 | Cost of Service
39 | Energy Cost | SE1 | 500000000 | 166666666.6667 | 250000000 | 83333333.3333
40 | Demand Related Costs | SG1 | 1000000000 | 333333333.3333 | 500000000 | 166666666.6667
41 | Sum of Cost |  | 1500000000 | 500000000 | 750000000 | 250000000
42
43 | Revenues
44 | Special Contract Revenue | Situs | 20000000 |  | 20000000
45 | Revenues from all other customers | Situs | 1480000000 | 500000000 | 730000000 | 250000000
46
47
48 | With Interruptible Service
49
50 | Cost of Service
51 | Energy Cost | SE2 | 498000000 | 166148346.7382 | 248777479.8928 | 83074173.3691
52 | Demand Related Costs | SG2 | 998000000 | 334058577.4059 | 496912133.8912 | 167029288.7029
53 | Sum of Cost |  | 1496000000 | 500206924.144 | 745689613.784 | 250103462.072
54
55 | Revenues
56 | Special Contract Revenue | Situs | 16000000 |  | 16000000
57 | Revenues from all other customers | Situs | 1480000000 | 500206924.144 | 729689613.784 | 250103462.072

## 2010 Protocol - App D - Table 2
2010 Protocol - Appendix D - Table 2
Interruptible Contract With Ancillary Service Contract Attributes
Effect on Revenue Requirement
|  | Factor | Total system | Jurisdiction 1 | Jurisdiction 2 | Jurisdiction 3
1 | Loads
2 | Jurisdictional Loads - No Interruptible Service
3 | Jurisdictional Sum of 12 monthly CP demand (MW) |  | 72000 | 24000 | 36000 | 12000
4 | Jurisdictional Annual Energy (MWh) |  | 42000000 | 14000000 | 21000000 | 7000000
5
6 | Jurisdictional Loads - With Interruptible Service - Reflecting Actual Interruptions
7 | Jurisdictional Sum of 12 monthly CP demand (MW) |  | 71700 | 24000 | 35700 | 12000
8 | Jurisdictional Annual Energy (MWh) |  | 41962500 | 14000000 | 20962500 | 7000000
9
10 | Special Contract Customer Revenue and Load - Non Interruptible Service
11 | Special Contract Customer Revenue |  | 20000000 |  | 20000000
12 | Special Contract Customer Sum of 12 CPs (MW) (Included in line 2) |  | 900 | 0 | 900 | 0
13 | Special Contract Annual Energy (MWh) (Included in line 3) |  | 500000 | 0 | 500000 | 0
14
15 | Special Contract Customer Revenue and Load - With Interruptible Service (75 MW X 500 Hours of Interruption)
16 | Tariff Equivalent Revenue |  | 20000000 |  | 20000000
17 | Ancillary Service Discount for 75 MW X 500 Hours of Economic Curtailment |  |  |  | -4000000
18 | Net Cost to Special Contract Customer |  | 16000000 |  | 16000000
19 | Special Contract Sum of 12 CP- Reflecting Actual Interruptions (MW) (Included in line 7) |  | 600 | 0 | 600 | 0
20 | Special Contract Annual Energy- Reflecting Actual Interruptions (MWh) (Included in line 8) |  | 462500 | 0 | 462500 | 0
21
22 | System Cost Savings from Interruption |  | 4000000
23
24 | Allocation Factors
25 | No Interruptible Service
26 | SE factor (Calculated from line 4) | SE1 | 100% | 33.33% | 50% | 16.67%
27 | SC factor (Calculated from line 3) | SC1 | 100% | 33.33% | 50% | 16.67%
28 | SG factor (line 27*75% + line 26*25%) | SG1 | 100% | 33.33% | 50% | 16.67%
29
30 | With Interruptible Service (Reflecting Actual Physical Interruptions)
31 | SE factor (Calculated from line 8) | SE2 | 100% | 33.36% | 49.96% | 16.68%
32 | SC factor (Calculated from line 7) | SC2 | 100% | 33.47% | 49.79% | 16.74%
33 | SG factor (line 32*75% + line 31*25%) | SG2 | 100% | 33.45% | 49.83% | 16.72%
34
35
36 | No Interruptible Service
37
38 | Cost of Service
39 | Energy Cost | SE1 | 500000000 | 166666666.6667 | 250000000 | 83333333.3333
40 | Demand Related Costs | SG1 | 1000000000 | 333333333.3333 | 500000000 | 166666666.6667
41 | Sum of Cost |  | 1500000000 | 500000000 | 750000000 | 250000000
42
43 | Revenues
44 | Special Contract Revenue | Situs | 20000000 |  | 20000000
45 | Revenues from all other customers | Situs | 1480000000 | 500000000 | 730000000 | 250000000
46
47
48 | With Interruptible Service & Ancillary Service Contract
49
50 | Cost of Service
51 | Energy Cost | SE1 | 498000000 | 166000000 | 249000000 | 83000000
52 | Demand Related Costs | SG1 | 998000000 | 332666666.6667 | 499000000 | 166333333.3333
53 | Ancillary Service Contract - Economic Curtailment (Demand) | SG1 | 2000000 | 666666.6667 | 1000000 | 333333.3333
54 | Ancillary Service Contract - Economic Curtailment (Energy) | SE1 | 2000000 | 666666.6667 | 1000000 | 333333.3333
55 | Sum of Cost |  | 1500000000 | 500000000 | 750000000 | 250000000
56
57 | Revenues
58 | Special Contract Revenue | Situs | 20000000 |  | 20000000
59 | Revenues from all other customers | Situs | 1480000000 | 500000000 | 730000000 | 250000000