## IRP Value
USM Exhibit 1.1 – Attachment B
Attached to Direct Testimony of Roger J. Swenson
UPSC Dockets 03-035-19, 04-035-20
August 4. 2004
Docket No.01-035-38 |  |  |  | ATTACHMENT B
USM Summer 2003 Interruption Report |  |  |  | Page 1
| IRP Value kw-yr | 62
| USM Load MW | 85
| Interruption | 100%
| Annuallized Value | 5270 | (thousands)
| USM Energy MWH | 685 | (thousands)
| MWH Credit | 7.6934
| IRP Value kw-yr | 62
| USM Load MW | 58.8257
| Interruption | 100%
| Annuallized Value | 3647192.4658
| USM Energy MWH | 572570
| MWH Credit | 6.3699

## Sample Prices
USM Exhibit 1.1 – Attachment B
Attached to Direct Testimony of Roger J. Swenson
UPSC Dockets 03-035-19, 04-035-20
August 4. 2004
Docket No.01-035-38 |  |  | ATTACHMENT B
USM Summer 2003 Interruption Report |  |  | Page 2
| Sample Price MWH | 109.89
| USM Load MW | 85
| Interruption hours | 500
| Annual Value | 4670325
| USM Energy MWH | 685032
| MWH Credit | 6.8177
| Sample Price MWH | 109.89
| USM Load MW | 59
| Interruption hours | 500
| Annual Value | 3241755
| USM Energy MWH | 572570.499
| MWH Credit | 5.6618
| Sample Price MWH | 74.44
| USM Load MW | 85
| Interruption hours | 500
| Annual Value | 3163700
| USM Energy MWH | 685032
| MWH Credit | 4.6183
| Sample Price MWH | 74.44
| USM Load MW | 59
| Interruption hours | 500
| Annual Value | 2195980
| USM Energy MWH | 572570
| MWH Credit | 3.8353

## 91 MW DSM
USM Exhibit 1.1 – Attachment B
Attached to Direct Testimony of Roger J. Swenson
UPSC Dockets 03-035-19, 04-035-20
August 4. 2004
Docket No.01-035-38 |  |  |  | ATTACHMENT B
USM Summer 2003 Interruption Report |  |  |  | Page 3
| 91 MW IRP Value kw-yr | 100.59
| USM Load MW | 85
| Interruption | 100%
| Annuallized Value | 8550.15 | (thousands)
| USM Energy MWH | 685 | (thousands)
| MWH Credit | 12.482
| 91 MW IRP Value kw-yr | 100.59
| USM Load MW | 59
| Interruption | 100%
| Annuallized Value | 5934.81 | (thousands)
| USM Energy MWH | 573 | (thousands)
| MWH Credit | 10.3574

## Peaker
USM Exhibit 1.1 – Attachment B
Attached to Direct Testimony of Roger J. Swenson
UPSC Dockets 03-035-19, 04-035-20
August 4. 2004
Docket No.01-035-38 |  |  | ATTACHMENT B
USM Summer 2003 Interruption Report |  |  | Page 4
| Peaker Eval | 24.57
| USM Load MW | 85
| Interruption hours | 499.32
| Annual Value | 1042804.854
| USM Energy MWH | 685032
| MWH Credit | 1.5223
| Peaker Eval | 49.13
| USM Load MW | 85
| Interruption hours | 999
| Annual Value | 4171873.95
| USM Energy MWH | 685032
| MWH Credit | 6.09
| Peaker Eval | 24.57
| USM Load MW | 59
| Interruption hours | 499.32
| Annual Value | 723829.2516
| USM Energy MWH | 572570.499
| MWH Credit | 1.2642
| Peaker Eval | 49.13
| USM Load MW | 59
| Interruption hours | 999
| Annual Value | 2895771.33
| USM Energy MWH | 685032
| MWH Credit | 4.2272

## PC Equivalent Resource
USM Exhibit 1.1 – Attachment B
Attached to Direct Testimony of Roger J. Swenson
UPSC Dockets 03-035-19, 04-035-20
August 4. 2004
Docket No.01-035-38 | [6 empty] | ATTACHMENT B
USM Summer 2003 Interruption Report | [6 empty] | Page 5
Provided By PacifiCorp 11-17-03 In Response to ITF Informal Data Request
PacifiCorp Equivalent Resource Case Generic CT (Utah 2003 Filed Avoided Costs) Modified For Interruptibility Capacity Factor
Interruptibility
| Total Available Hours |  | 100 | 200 | 300 | 400 | 500 | 1000 | 1314
Estimated SCCT Annual Capacity Factor |  |  | 15% | 15% | 15% | 15% | 15% | 15% | 15%
Annual Capacity Factor of Interruptible Hours |  |  | 1.1% | 2.3% | 3.4% | 4.6% | 5.7% | 11.4% | 15%
Capacity Factor Ratio |  |  | 8% | 15% | 23% | 30% | 38% | 76% | 100%
Avoided Capacity Credit
Projected Annual Operating Cost
Levelized Capital Cost |  | 53.13 kw-yr | 53.13 | 53.13 | 53.13 | 53.13 | 53.13 | 53.13 | 53.13
Fixed O&M |  | 11.43 kw-yr | 11.43 | 11.43 | 11.43 | 11.43 | 11.43 | 11.43 | 11.43
Avoidable Fixed Costs |  | kw-yr | 64.56 | 64.56 | 64.56 | 64.56 | 64.56 | 64.56 | 64.56
Avoided Fixed Costs Adjusted for CF Ratio |  | kw-yr | 4.91 | 9.83 | 14.74 | 19.65 | 24.57 | 49.13 | 64.56
Annual Interruptibility Capacity Credit |  | kw-yr | 4.91 | 9.83 | 14.74 | 19.65 | 24.57 | 49.13 | 64.56
Monthly Interruptibility Capacity Credit |  | kw-yr | 0.41 | 0.82 | 1.23 | 1.64 | 2.05 | 4.09 | 5.38