## Scenario 1
Table 1
PacifiCorp - Utah
Time-Of-Use Taskforce
Rate Design Impacts
Monthly Billings for a 5 MW Customer
Scenario 1: 8 Hour Summer On-Peak, 16 Hour Winter On-Peak
Summer |  |  | TOD Rate1
Load |  | Present | TOD Rate:2 |  | Shift kWh to Off-Peak |  |  |  | Shift kWh and kW to Off-Peak |  |  |  | Shift kWh to On-Peak
Factor |  | Schedule 91 | Average | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change
40% |  | 75000 | 76000 | 1.333% | 76000 | 1.333% | 75000 | 0% | 72000 | -4% | 68000 | -9.333% | 76000 | 1.333% | 77000 | 2.667%
50% |  | 83000 | 84000 | 1.205% | 83000 | 0% | 83000 | 0% | 79000 | -4.819% | 75000 | -9.639% | 84000 | 1.205% | 84000 | 1.205%
60% |  | 90000 | 92000 | 2.222% | 91000 | 1.111% | 91000 | 1.111% | 88000 | -2.222% | 83000 | -7.778% | 93000 | 3.333% | 93000 | 3.333%
70% |  | 98000 | 100000 | 2.041% | 99000 | 1.02% | 98000 | 0% | 95000 | -3.061% | 91000 | -7.143% | 100000 | 2.041% | 101000 | 3.061%
80% |  | 106000 | 107000 | 0.9434% | 106000 | 0% | 105000 | -0.9434% | 102000 | -3.774% | 98000 | -7.547% | 107000 | 0.9434% | 108000 | 1.887%
90% |  | 114000 | 114000 | 0% | 114000 | 0% | 113000 | -0.8772% | 110000 | -3.509% | 106000 | -7.018% | 115000 | 0.8772% | 116000 | 1.754%
Winter |  |  | TOD Rate1
Load |  | Present | TOD Rate:2 |  | Shift kWh to Off-Peak |  |  |  | Shift kWh and kW to Off-Peak |  |  |  | Shift kWh to On-Peak
Factor |  | Schedule 91 | Average | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change
40% |  | 63000 | 63000 | 0% | 63000 | 0% | 62000 | -1.587% | 60000 | -4.762% | 57000 | -9.524% | 63000 | 0% | 63000 | 0%
50% |  | 71000 | 70000 | -1.408% | 70000 | -1.408% | 70000 | -1.408% | 68000 | -4.225% | 65000 | -8.451% | 71000 | 0% | 71000 | 0%
60% |  | 78000 | 78000 | 0% | 78000 | 0% | 78000 | 0% | 75000 | -3.846% | 73000 | -6.41% | 79000 | 1.282% | 79000 | 1.282%
70% |  | 86000 | 86000 | 0% | 85000 | -1.163% | 85000 | -1.163% | 83000 | -3.488% | 80000 | -6.977% | 86000 | 0% | 86000 | 0%
80% |  | 94000 | 93000 | -1.064% | 92000 | -2.128% | 92000 | -2.128% | 90000 | -4.255% | 87000 | -7.447% | 93000 | -1.064% | 94000 | 0%
90% |  | 102000 | 100000 | -1.961% | 100000 | -1.961% | 100000 | -1.961% | 97000 | -4.902% | 95000 | -6.863% | 101000 | -0.9804% | 101000 | -0.9804%
Notes
1 | Monthly revenues calculated based on a 5 MW load rounded to the nearest thousands of dollars. Does not include DSM Charges.
2 | Estimates are based on average load shapes for each load factor group. Shifted loads assume a percentage of energy shifted evenly from on-peak to off-peak hours.

## Scenario 2
Table 2
PacifiCorp - Utah
Time-Of-Use Taskforce
Rate Design Impacts
Monthly Billings for a 5 MW Customer
Scenario 2: 16 Hour On-Peak Year Around
Summer |  |  | TOD Rate1
Load |  | Present | TOD Rate:2 |  | Shift kWh to Off-Peak |  |  |  | Shift kWh and kW to Off-Peak |  |  |  | Shift kWh to On-Peak
Factor |  | Schedule 91 | Average | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change
40% |  | 75000 | 78000 | 4% | 78000 | 4% | 77000 | 2.667% | 74000 | -1.333% | 69000 | -8% | 79000 | 5.333% | 80000 | 6.667%
50% |  | 83000 | 86000 | 3.614% | 86000 | 3.614% | 85000 | 2.41% | 82000 | -1.205% | 77000 | -7.229% | 87000 | 4.819% | 88000 | 6.024%
60% |  | 90000 | 96000 | 6.667% | 94000 | 4.444% | 93000 | 3.333% | 91000 | 1.111% | 86000 | -4.444% | 97000 | 7.778% | 98000 | 8.889%
70% |  | 98000 | 103000 | 5.102% | 102000 | 4.082% | 100000 | 2.041% | 98000 | 0% | 93000 | -5.102% | 104000 | 6.122% | 105000 | 7.143%
80% |  | 106000 | 110000 | 3.774% | 108000 | 1.887% | 107000 | 0.9434% | 105000 | -0.9434% | 100000 | -5.66% | 111000 | 4.717% | 112000 | 5.66%
90% |  | 114000 | 117000 | 2.632% | 116000 | 1.754% | 115000 | 0.8772% | 112000 | -1.754% | 107000 | -6.14% | 119000 | 4.386% | 120000 | 5.263%
Winter |  |  | TOD Rate1
Load |  | Present | TOD Rate:2 |  | Shift kWh to Off-Peak |  |  |  | Shift kWh and kW to Off-Peak |  |  |  | Shift kWh to On-Peak
Factor |  | Schedule 91 | Average | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change | 10% Shift | % Change | 20% Shift | % Change
40% |  | 63000 | 61000 | -3.175% | 61000 | -3.175% | 61000 | -3.175% | 58000 | -7.937% | 56000 | -11.11% | 61000 | -3.175% | 62000 | -1.587%
50% |  | 71000 | 68000 | -4.225% | 68000 | -4.225% | 68000 | -4.225% | 65000 | -8.451% | 63000 | -11.27% | 69000 | -2.817% | 69000 | -2.817%
60% |  | 78000 | 76000 | -2.564% | 75000 | -3.846% | 75000 | -3.846% | 73000 | -6.41% | 70000 | -10.26% | 76000 | -2.564% | 76000 | -2.564%
70% |  | 86000 | 83000 | -3.488% | 82000 | -4.651% | 82000 | -4.651% | 80000 | -6.977% | 77000 | -10.47% | 83000 | -3.488% | 83000 | -3.488%
80% |  | 94000 | 90000 | -4.255% | 89000 | -5.319% | 89000 | -5.319% | 87000 | -7.447% | 84000 | -10.64% | 90000 | -4.255% | 90000 | -4.255%
90% |  | 102000 | 97000 | -4.902% | 96000 | -5.882% | 96000 | -5.882% | 94000 | -7.843% | 91000 | -10.78% | 97000 | -4.902% | 98000 | -3.922%
Notes
1 | Monthly revenues calculated based on a 5 MW load rounded to the nearest thousands of dollars. Does not include DSM Charges.
2 | Estimates are based on average load shapes for each load factor group. Shifted loads assume a percentage of energy shifted evenly from on-peak to off-peak hours.

## Rates
Table 3
SCHEDULE NO. 9
High Voltage |  |  |  |  | Load |  | Estimated On-Peak %
Composite | Present Rate |  | Proposed Rate |  | Factor1 |  | 16 Hr Sum | 8 Hr Sum | Winter | n
Scenario 1: 8 Hour Summer On-Peak, 16 Hour Winter On-Peak |  |  |  |  | 0% | 40% | 55.85% | 26.53% | 57.06% | 14
[5 empty] | 41% | 50% | 52.39% | 24.01% | 53.58% | 10
Customer Charge | 98.29 |  | 98.29 |  | 51% | 60% | 54.36% | 26.14% | 55.17% | 24
On-Peak kW (May - Sept) | 8.72 |  | 7.41 |  | 61% | 70% | 48.67% | 24.17% | 51.83% | 23
On-Peak kW (Oct - April) | 6.35 |  | 5.04 |  | 71% | 80% | 43.25% | 21.62% | 46.91% | 16
Total Facilities kW | 0 |  | 1.4 |  | 81% | 90% | 41.46% | 20.74% | 46.53% | 22
On-Peak kWh (May - Sept) |  | 2.1279 |  | 2.9392 | 91% | 100% | 47.6% | 23.86% | 50.64% | 1
On-Peak kWh (Oct - April) |  | 2.1279 |  | 2.2392
Off-Peak kWh (May - Sept) |  | 2.1279 |  | 1.9392 |  | Average
Off-Peak kWh (Oct - April) |  | 2.1279 |  | 1.9392 |  | 62.68% | 50.77% | 24.73% | 51.6% | 110
Total
1 Based on data for customers up to the load factor shown.
Scenario 2: 16 Hour On-Peak Year Around
Customer Charge | 98.29 |  | 98.29
On-Peak kW (May - Sept) | 8.72 |  | 7.35
On-Peak kW (Oct - April) | 6.35 |  | 4.98
Total Facilities kW | 0 |  | 1.4
On-Peak kWh (May - Sept) |  | 2.1279 |  | 2.8328
On-Peak kWh (Oct - April) |  | 2.1279 |  | 2.1328
Off-Peak kWh (May - Sept) |  | 2.1279 |  | 1.8328
Off-Peak kWh (Oct - April) |  | 2.1279 |  | 1.8328
Total

## Sch 9 TOU Blocking
Table 4
UTAH POWER & LIGHT COMPANY
Schedule 9 Blocking Based on Actual 12 Months Ending March 2003
|  |  | Present |  |  | Proposed
|  |  | Price | Price | Revenue | Price | Price | Revenue
|  | Units | Dollars | Cents | Dollars | Dollars | Cents | Dollars
SCHEDULE NO. 9
High Voltage
Scenario 1: 8 Hour Summer On-Peak, 16 Hour Winter On-Peak
| Customer Charge | 1882 | 98.29 |  | 184982 | 98.29 |  | 184982
Facility Charge
| All KW | 6548666.8016 | 0 |  | 0 | 1.4 |  | 9168134
Demand Charge
| Est. On-Peak kW (May - Sept) | 2722241.1594 | 0 |  | 0 | 7.41 |  | 20171807
| Est. On-Peak kW (Oct - April) | 3727946.4144 | 0 |  | 0 | 5.04 |  | 18788850
| kW (May - Sept) | 2758072.9993 | 8.72 |  | 24050397 | 0 |  | 0
| kW (Oct - April) | 3790593.8023 | 6.35 |  | 24070271 | 0 |  | 0
Energy Charge
| Off-Peak kWh | 2145961528.1891 |  | 2.1279 | 45663915 |  | 1.9392 | 41614486
| On-Peak kWh (May-Sept) | 362500501.3441 |  | 2.1279 | 7713648 |  | 2.9392 | 10654615
| On-Peak kWh (Oct - April) | 997225498.0745 |  | 2.1279 | 21219961 |  | 2.2392 | 22329873
| Subtotal | 3505687527.6077 |  |  | 122903174 |  |  | 122912747
| Unbilled | -25745672 |  |  | -1723959 |  |  | -1723959
| Total | 3479941855.6077 |  |  | 121179215 |  |  | 121188788
SCHEDULE NO. 9
High Voltage
Scenario 2: 16 Hour On-Peak Year Around
| Customer Charge | 1882 | 98.29 |  | 184982 | 98.29 |  | 184982
Facility Charge
| All KW | 6548666.8016 | 0 |  | 0 | 1.4 |  | 9168134
Demand Charge
| Est. On-Peak kW (May - Sept) | 2773447.4726 | 0 |  | 0 | 7.35 |  | 20384839
| Est. On-Peak kW (Oct - April) | 3727946.4144 | 0 |  | 0 | 4.98 |  | 18565173
| kW (May - Sept) | 2758072.9993 | 8.72 |  | 24050397 | 0 |  | 0
| kW (Oct - April) | 3790593.8023 | 6.35 |  | 24070271 | 0 |  | 0
Energy Charge
| Off-Peak kWh | 1772967413.7961 |  | 2.1279 | 37727096 |  | 1.8328 | 32494947
| On-Peak kWh (May-Sept) | 735494618.1294 |  | 2.1279 | 15554334 |  | 2.8328 | 20835092
| On-Peak kWh (Oct - April) | 997225498.0745 |  | 2.1279 | 21316094 |  | 2.1328 | 21268825
| Subtotal | 3505687530 |  |  | 122903174 |  |  | 122901992
| Unbilled | -25745672 |  |  | -1723959 |  |  | -1723959
| Total | 3479941858 |  |  | 121179215 |  |  | 121178033