## Reference with Preferred
REFERENCE PORTFOLIO (Supply Side Only)
Portfolio | Unit Type | Detailed | [10 empty] | Portfolio Total PM MW's
|  | Location | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
2808
East | Brownfield Coal | Hunter 4 | 2011: 575 | 575
| IGCC | Bridger | 2015: 368 | 368
| Dry Cool CCCT |  | 2009: 525 | 525
| Wet Cool CCCT |  | 2014: 560 | 560
West | Dry Cool CCCT w/ DF | Medford | 2013: 586 | 586
| IC Aero |  | 2013: 194 | 194
PREFERRED PORTFOLIO (Supply and Demand resources)
Portfolio | Unit Type | Detailed | [10 empty] | Portfolio Total PM MW's
|  | Location | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
2806
East | Brownfield Coal | Hunter 4 | 2012: 575 | 575
| Brownfield Coal | Bridger | 2015: 383 | 383
| Dry Cool CCCT |  | 2010: 525 | 525
| DSM |  | 2009: 44; 2014: 44 | 88
| Wet Cool CCCT |  | 2014: 560 | 560
West | Dry Cool CCCT w/ DF | Medford | 2013: 586 | 586
| DSM |  | 2009: 44; 2014: 45 | 89