## Name Plate
DPU Exhibit 1.1SR Revised
Proxy Versus Spanish Fork Comparison at the Distribution Circuit Level
Proxy (64.5 MW)
| MWs | Miles | MW miles
| 20 | 0 | 0 | Goshen distribution circuit (circuit originates in the Goshen substation)
| 4 | 4 | 16 | Goshen to Spud distribution circuit
| 20 | 5 | 100 | Goshen to Shelly distribution circuit
| 16 | 12 | 192 | Goshen to Idaho Falls distribution circuit
| 4.5 | 16 | 72 | Goshen to Ammon distribution circuit
Total | 64.5 |  | 380
|  |  | 5.8915 | Each MW must travel an average of 5.89 miles from the Goshen substation to be used
|  |  | 0 | The Wolverine Creek delivery point is located in the Goshen substation
|  |  | 5.8915 | Each MW must travel an average of 5.89 miles from the Wolverine Creek delivery point to be used
Source: Rocky Mountain Power's Responses to Wasatch Wind's Data Request 2.1.
Note: the proxy delivery point is located in the Goshen substation
Spanish Fork Wind Park 2 (18.9 MW)
| MWs | Miles | MW miles
| 9.7 | 4.5 | 43.65 | Spanish Fork to Mapleton distribution circuit
| 0.7 | 10.93 | 7.651 | Spanish Fork to Santaquin substation
| 8.5 | 19.2 | 163.2 | Spanish Fork to Hale
Total | 18.9 |  | 214.501
|  |  | 11.3493 | Each MW must travel an average of 7.63 miles from the Spanish Fork substation to be used
|  |  | 2.2 | The Spanish Fork substation is 2.2 miles away from the delivery point of Spanish Fork Wind Park 2
|  |  | 13.5493 | Each MW must travel an average of 9.83 miles from the Spanish Fork Wind Park 2 delivery point to be used
Source: Rocky Mountain Power's Responses to Wasatch Wind's Data Requests 1.6, 1.13, and 4.1 and to DPU's Data Request 2.1.

## 18.9MW
DPU Exhibit 1.2
Proxy Versus Spanish Fork Comparison at the Distribution Circuit Level
Proxy (18.9 MW)
| MWs | Miles | MW miles
| 20 | 0 | 0 | Goshen distribution circuit (circuit originates in the Goshen substation)
| 4 | 4 | 16 | Goshen to Spud distribution circuit
| 14.9 | 5 | 74.5 | Goshen to Shelly distribution circuit
Total | 38.9 |  | 90.5
|  |  | 2.3265 | Each MW must travel an average of 5.89 miles from the Goshen substation to be used
|  |  | 0 | The Wolverine Creek delivery point is located in the Goshen substation
|  |  | 2.3265 | Each MW must travel an average of 5.89 miles from the Wolverine Creek delivery point to be used
Source: Rocky Mountain Power's Responses to Wasatch Wind's Data Request 2.1.
Note: the proxy delivery point is located in the Goshen substation
Spanish Fork Wind Park 2 (18.9 MW)
| MWs | Miles | MW miles
| 9.7 | 4.5 | 43.65 | Spanish Fork to Mapleton distribution circuit
| 0.7 | 10.93 | 7.651 | Spanish Fork to Santaquin substation
| 8.5 | 19.2 | 163.2 | Spanish Fork to Hale
Total | 18.9 |  | 214.501
|  |  | 11.3493 | Each MW must travel an average of 7.63 miles from the Spanish Fork substation to be used
|  |  | 2.2 | The Spanish Fork substation is 2.2 miles away from the delivery point of Spanish Fork Wind Park 2
|  |  | 13.5493 | Each MW must travel an average of 9.83 miles from the Spanish Fork Wind Park 2 delivery point to be used
Source: Rocky Mountain Power's Responses to Wasatch Wind's Data Requests 1.6, 1.13, and 4.1 and to DPU's Data Request 2.1.