## A
CCS EXHIBIT 2.2
CCS' RECALCULATION OF CURRENT NET REMOVAL COST
FOR THE SPORN GENERATING STATION OWNED BY
APPALACHIAN POWER COMPANY
1991 Study
Line |  |  |  | Cost of |  |  | Current | Current | Current
No. | Description |  |  | Removal | Quantity | Units | Price/Unit | Salvage | Removal Costs
|  |  |  | (a) | (b) | (c) | (d) | (e) | (f)
1 | Net Removal Cost At Study Date |  |  | 11697887
2 | Salvage Allowance in 1991 Study |  |  | 4761237
3 | Cost of Removal in 1991 Study |  |  | 16459124
4 | COR Escalated to 2006 @ 2.5% | [7 empty] | 24433662.0891
Salvage
5 |  | #2 Aluminum |  |  | 23204 | Pounds | 1.09 | 25292.36
6 |  | #1 Monel |  |  | 410600 | Pounds | 5.47 | 2245982
7 |  | 70/30 Copper Nickel Tubes |  |  | 253400 | Pounds | 6.55 | 1659770
8 |  | Copper Insulated Cable |  |  | 151280 | Pounds | 1.55 | 234484
9 |  | 304 Stainless Steel |  |  | 104200 | Pounds | 0.73 | 76066
10 |  | Copper Bus Bar |  |  | 600000 | Pounds | 2.73 | 1638000
11 |  | Admiralty Brass |  |  | 450600 | Pounds | 0.26 | 117156
12 |  | #2 Copper - Turbine/Genrtr. |  |  | 2120000 | Pounds | 1.55 | 3286000
13 |  | 90/10 Copper Nickel Tubes |  |  | 800000 | Pounds | 3.09 | 2472000
14 |  | Light #2 Metal Duct |  |  | 3265 | Tons | 206.57 | 674451.05
15 |  | #1 & #2 Mixed Steel |  |  | 47030 | Tons | 218.045 | 10254656.35
16 | Total Current Gross Salvage | [6 empty] | 22683857.76
17 | Total Salvage after 5% Breakage | [7 empty] | 21549664.872
18 | 2006 Net Removal Costs | [7 empty] | 2883997.2171
19 | kW Capacity of Sporn | [7 empty] | 300000
20 | Current Net Removal Cost ($/kW) | [7 empty] | 9.6133
SOURCES AND REFERENCES
Lines 1, 17, 19 |  |  | : RMP Exhibit __(DSR-4) for Appalachian Power Company.
Line 2 |  |  | : Response to CCS 1.24 Supplemental at page 9 of Sporn study.
Line 3 |  |  | : Line 1 plus Line 2.
Line 4 |  |  | : Line 3 escalated at 2.5% compounded annually for 16 years.
Lines 5-15 Columns (b, c) |  |  | : RMP Exhibit __(DSR-4) for Appalachian Power Company.
Lines 5-15 Column (d) |  |  | : Recycler's World prices on 9/26/2007, www.recycle.net/Metal-N/.
Lines 5-15 Column (e) |  |  | : Column (b) times Column (d).
Line 18 |  |  | : Line 4 less Line 17.
Line 20 |  |  | : Line 16 divided by Line 18.