## Exhibit GND-2S (aMW)
[8 empty] | PacifiCorp | [6 empty] | Exhibit No. RMP___(GND-2S)
Normalized Sources of Energy
12 Months Ending December 2008
Utah GRC
Unit - Average Megawatts | [16 empty] | 268 | End of $ section
Line | [15 empty] | Line
No. | Description |  |  | 2008-01-01 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | No.
|  |  |  | 744 | 720 | 744 | 720 | 672 | 744 | 720 | 744 | 720 | 744 | 744 | 720 | 8736
| Company Owned Generation | [15 empty] | Energy
1 |  | Hydro |  | 732.2123 | 722.5024 | 663.207 | 525.9169 | 524.2661 | 428.2171 | 334.298 | 283.9038 | 402.8661 | 287.8404 | 431.6874 | 601.383 | 1 | 531 | Total Hydro Generation
2 |  | Thermal (1) |  | 6135.3441 | 5966.0252 | 5816.4094 | 5567.1307 | 5849.3196 | 6217.7981 | 6374.1461 | 6386.622 | 6159.7489 | 5616.509 | 6398.8421 | 6462.9348 | 2 | 514 | Total Coal Generation | 525 | Total Gas Generation | 534 | Blundell | 535 | Blundell Bottoming Cycle | 362 | Georgia-Pacific Camas
3 |  | Wind |  | 79.5313 | 77.5056 | 121.7023 | 80.9491 | 101.1036 | 140.4427 | 139.926 | 140.01 | 143.3148 | 145.2973 | 154.8161 | 131.1816 | 3 | 538 | Foote Creek I | 540 | Goodnoe Wind | 542 | Leaning Juniper 1 | 543 | Marengo | 545 | Seven Mile Wind | 539 | Glenrock Wind
4 | Total Company Owned Generation |  |  | 6947.0877 | 6766.0333 | 6601.3188 | 6173.9967 | 6474.6893 | 6786.4579 | 6848.3702 | 6810.5358 | 6705.9298 | 6049.6467 | 6985.3456 | 7195.4994 | 4
| Purchased & Exchanges | [21 empty] | Deducts from Long Term Firm
5 |  | Long Term Firm |  | 876.2466 | 871.0815 | 832.7768 | 755.5923 | 858.1111 | 860.9946 | 956.8699 | 922.609 | 770.9707 | 836.6589 | 889.0942 | 882.0372 | 5 | 388 | Long Term Firm Purchases Total | 404 | Seasonal Purchased Power Total | 430 | Qualifying Facilities Total | 362 | Georgia-Pacific Camas
6 |  |  | Mid Columbia | 266.1345 | 232.6009 | 216.2166 | 254.3015 | 275.9213 | 291.1471 | 277.2067 | 217.8712 | 174.446 | 180.3954 | 206.6622 | 229.3822 | 6 | 443 | Mid-Columbia Contracts Total
7 |  | Exchanges |  | 191.1356 | 88.8236 | -50.6943 | 12.6398 | -158.2253 | -47.3554 | -65.3041 | -248.9147 | -247.3775 | -30.7547 | 46.9168 | 204.8385 | 7 | 469 | Total Storage & Exchange
8 |  | Short Term Firm Purchases |  | 1225.8065 | 1089.9425 | 1122.6142 | 576.1111 | 516.9355 | 516.6667 | 555.914 | 555.914 | 472.2222 | 412.9032 | 418.0208 | 416.129 | 8 | 486 | Total Short Term Firm Purchases
9 |  | System Balancing |  | 713.4106 | 1095.9844 | 769.9963 | 550.0183 | 561.4973 | 727.9117 | 801.1735 | 747.5395 | 744.2855 | 1069.6549 | 806.9409 | 983.3288 | 9 | 497 | Total System Balancing Purchases
Total Purchased Power and
10 | Exchange |  |  | 3272.7338 | 3378.4329 | 2890.9096 | 2148.6631 | 2054.2399 | 2349.3647 | 2525.8599 | 2195.019 | 1914.5468 | 2468.8578 | 2367.6349 | 2715.7157 | 10
11 | Total Resources |  |  | 10219.8214 | 10144.4662 | 9492.2284 | 8322.6597 | 8528.9292 | 9135.8227 | 9374.2301 | 9005.5548 | 8620.4766 | 8518.5045 | 9352.9805 | 9911.2152 | 11
12 | Special Sales |  |  | 3295.9578 | 3376.626 | 3216.6949 | 2499.4163 | 2438.6403 | 2412.4684 | 1871.1263 | 1862.3791 | 2233.0902 | 2278.9282 | 2526.2491 | 2558.744 | 12 | 309 | Total Long Term Firm Sales | 326 | Total Short Term Firm Sales | 337 | Total System Balancing Sales
13 | System Net of Special Sales |  |  | 6923.8637 | 6767.8402 | 6275.5336 | 5823.2435 | 6090.2889 | 6723.3543 | 7503.1038 | 7143.1757 | 6387.3864 | 6239.5763 | 6826.7314 | 7352.4712 | 13
Notes:
| (1) | Includes GP Camas Co-generation
|  |  |  | 2008-01-01 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Check Totals
|  |  | Total Adjustments to Load | 5.0618 | 15.5187 | 16.2984 | 18.1111 | 13.457 | 9.7792 | 12.6935 | 12.3696 | 12.0319 | 17.9288 | 17.6458 | 4.8629 |  | 286 | Total Adjustments to Load
|  |  | Net System Load | 6923.8629 | 6767.8391 | 6275.5336 | 5823.2444 | 6090.2863 | 6723.3542 | 7503.1035 | 7143.1761 | 6387.3861 | 6239.5766 | 6826.7319 | 7352.4718 |  | 289 | Net System Load
|  |  | System Net of Special Sales | 6923.8637 | 6767.8402 | 6275.5336 | 5823.2435 | 6090.2889 | 6723.3543 | 7503.1038 | 7143.1757 | 6387.3864 | 6239.5763 | 6826.7314 | 7352.4712
|  |  | Difference | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 543 | Max
|  |  | Total Resources | 10219.8214 | 10144.4662 | 9492.2284 | 8322.6597 | 8528.9292 | 9135.8227 | 9374.2301 | 9005.5548 | 8620.4766 | 8518.5045 | 9352.9805 | 9911.2152 |  | 550 | Total Resources
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Column Offset | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  |  | Hours | 744 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  | month | 1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?

## Exhibit GND-3S (Peak)
[6 empty] | PacifiCorp |  |  |  |  | Exhibit No. RMP __ (GND-3S)
Normalized Sources of Peak Capacity
12 Months Ending December 2008
Utah GRC
Annual Energy
Line |  |  |  | Winter Peak | % of Total |  | Summer Peak | % of Total |  | % of Total | Line
No. | Description |  |  | December MW | Capacity |  | July MW | Capacity | GWH | Requirement | No. |  | Search argument
Company Owned Generation
1 |  | Hydro |  | 1006.7573 | 8.825% |  | 1077.8257 | 10.55% | #NAME? | #NAME? | 1 | 586 | Total Hydro Generation | [6 empty] | Deduct
2 |  | Thermal (1) (2) |  | 6531.0707 | 57.25% |  | 6506.0557 | 63.69% | #NAME? | #NAME? | 2 | 571 | Total Coal Fired Generation | 581 | Total Gas Fired Resources | 230 | Blundell | 81 | Georgia-Pacific Camas | 644 | Total Reserve Requirements
3 |  | Wind |  | 115.3182 | 1.011% |  | 68.0707 | 0.6663% | #NAME? | #NAME? | 3 | 598 | Total Other Generation | [6 empty] | 590 | Blundell
4 | Total Company Owned Generation |  |  | 7653.1462 | 67.08% |  | 7651.9522 | 74.9% | #NAME? | #NAME? | 4
| Purchased & Exchanges | [16 empty] | Deducts from Long Term Firm
5 |  | Long Term Firm |  | 909.1324 | 7.969% |  | 1142.6951 | 11.19% | #NAME? | #NAME? | 5 | 480 | Total LTF Purchases | 510 | Total Qualifying Facilities |  |  | 81 | Georgia-Pacific Camas
6 |  |  | Mid Columbia | 475.9693 | 4.172% |  | 476.0353 | 4.66% | #NAME? | #NAME? | 6 | 518 | Total Mid-Columbia Contracts
7 |  | Exchanges |  | 1014.569 | 8.893% |  | 112.1783 | 1.098% | #NAME? | #NAME? | 7 | 539 | Total Exchanges
8 |  | Short Term Firm Purchases |  | 298.0769 | 2.613% |  | 150 | 1.468% | #NAME? | #NAME? | 8 | 557 | Total STF Purchases
9 |  | System Balancing |  | 1057.5762 | 9.27% |  | 682.878 | 6.685% | #NAME? | #NAME? | 9 | 713 | Total System Balancing Purchases
Total Purchased Power and
10 | Exchange |  |  | 3755.3238 | 32.92% |  | 2563.7867 | 25.1% | #NAME? | #NAME? | 10
11 | Total Resources |  |  | 11408.47 | 100% |  | 10215.7388 | 100% | #NAME? | #NAME? | 11
12 | Special Sales |  |  | 2583.5533 |  |  | 1030.2921 |  | #NAME? |  | 12 | 401 | Total LTF Sales | 416 | Total STF Sales | #N/A | Total System Balancing Sales
13 | System Net of Special Sales |  |  | 8824.9167 |  |  | 9185.4468 |  | #NAME? |  | 13 | 382 | Net System Load
Notes:
| (1) | Includes GP Camas Co-generation
| (2) | After Derates, Maintenance and Reserves
|  |  |  | 2008-12-01 |  |  | 2008-07-01 |  | Hours
|  |  | Match Row in L&R | #N/A |  |  | #N/A |  | #NAME?
|  |  | Average PPW STF | 13 |  |  | 8
Note on P4: Search argument has a trailing blank to place it in the Peak section of the worksheet.