## Reporting Templates
1. Number of Customer Generation Systems
Net Metering Facilities by Resource Type
Resource | Facilities as of | New Facilities | New Facilities | Total Facilities
| December 31, 2009 | January 1, 2010 to | January 1, 2011 to
|  | December 31, 2010 | March 31, 2011
Solar | 500 | 227 | 82 | 809
Wind | 19 | 13 | 3 | 35
Solar and Wind | 7 | 3 | 0 | 10
Hydro | 1 | 0 | 0 | 1
Fuel Cell | 1 | 0 | 0 | 1
Total | 528 | 243 | 85 | 856
Non-Net Metering Facilities by Resource Type
Resource | Facilities as of | New Facilities | New Facilities | Total Facilities
| December 31, 2009 | January 1, 2010 to | January 1, 2011 to
|  | December 31, 2010 | March 31, 2011
Solar | 1 | 0 | 0 | 1
Wind | 1 | 0 | 0 | 1
Solar and Wind | 0 | 0 | 0 | 0
Hydro | 20 | 0 | 0 | 20
Thermal | 3 | 0 | 0 | 3
Gas | 6 | 0 | 0 | 6
Fuel Cell | 0 | 0 | 0 | 0
Total | 31 | 0 | 0 | 31
Historic to December 31, 2009 The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
2. Individual Capacity of Each Installation
See Attachment A
3. Total kW Combined Capacity
Net Metering Generation Capacity by Resource Type (kW)
Resource | Facilities as of | New Facilities | New Facilities | Total Facilities
| December 31, 2009 | January 1, 2010 to | January 1, 2011 to
|  | December 31, 2010 | March 31, 2011
Solar | 1101.16 | 1044.17 | 481.16 | 2626.49
Wind | 77.5 | 32.6 | 9.6 | 119.7
Solar and Wind | 26.7 | 11 | 0 | 37.7
Hydro | 2 | 0 | 0 | 2
Fuel Cell | 15 | 0 | 0 | 15
Total | 1222.36 | 1087.77 | 490.76 | 2800.89
Non-Net Metering Generation Capacity by Resource Type (MW)
Resource | Facilities as of | New Facilities | New Facilities | Total Facilities
| December 31, 2009 | January 1, 2010 to | January 1, 2011 to
|  | December 31, 2010 | March 31, 2011
Solar | 0.05 | 0 | 0 | 0.05
Wind | 0.04 | 0 | 0 | 0.04
Solar and Wind | 0 | 0 | 0 | 0
Hydro | 36.38 | 0 | 0 | 36.38
Thermal | 36.5 | 0 | 0 | 36.5
Gas | 7.41 | 0 | 0 | 7.41
Fuel Cell | 0 | 0 | 0 | 0
Total | 80.38 | 0 | 0 | 80.38
January 1, 2010 to March 31, 2011 For non-net metering customers, PacifiCorp has been reviewing requests from Interconnection Customer’s during this reporting period, no interconnection requests have been approved during this reporting period. Requests from Interconnection Customer’s are either in progress or have been withdrawn by the customer(s). Approved Interconnection Requests will be reported during the reporting period based upon the date that the project is approved.
4. Number of Expired Credits per Customer
See Attachment A
5. Total Value of Expired Credits
Expired Credits at End of Annualized Period
Customers |  | kWh | Value | Total Value
109 |  | 20154 | 0.0401 | 808.1754
6. Excess Net Metering Generation per Month
Excess Net Metering Generation per Month
January | 983
February | 492
March | 1432
April | 523
May | 2555
June | 2014
July | 3635
August | 2468
September | 6370
October | 6063
November | 5645
December | 4514
36694
7. Unforseen Problems or Barriers in the Tariff.
There are no unforeseen problems or barriers.
8. Measurement to Cap
Chart Data
kW
[5 empty] | Maximum Cap kW | 923000
[5 empty] | Current Enrolled kW | 2800