## Pages 5 - 8
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Demand Factors
| A |  | B | C | D | E | F | G | H | I | J | K | L | M
|  |  |  | General | General | Street & Area | General |  | Traffic | Outdoor | General
|  |  | Residential | Large Dist. | +1 MW | Lighting | Trans | Irrigation | Signals | Lighting | Small Dist. | Industrial | Industrial
| Description |  | Sch 1 | Sch 6 | Sch 8 | Sch. 7,11,12 | Sch 9 | Sch 10 | Sch 15 | Sch 15 | Sch 23 | Cust 1 | Cust 2 | Total
1 | Secondary |  | 15615357.3398 | 0 | 0 | 63722.5266 | 0 | 310316.144 | 8534.3161 | 11897.1731 | 3044948.3982 | 0 | 0 | 19054775.8978
2
3 | Primary |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4
5 | Combined |  | 0 | 12268215 | 3566752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15834967
6
7 | Sub-Transmission |  | 0 | 0 | 0 | 0 | 6915838.3118 | 0 | 0 | 0 | 0 | 0 | 0 | 6915838.3118
8
9 | Transmission |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 768378.4041 | 548738.054 | 1317116.4581
10
11 | Total KW @ Input |  | 15615357.3398 | 12268215 | 3566752 | 63722.5266 | 6915838.3118 | 310316.144 | 8534.3161 | 11897.1731 | 3044948.3982 | 768378.4041 | 548738.054 | 43122697.6677
12
13 | Total MWH @ Input |  | 7239569.8807 | 6603192.1334 | 2246929.886 | 92893.1812 | 4788157.0826 | 204738.246 | 6190.6458 | 17182.67 | 1551635.7333 | 568596.1397 | 750294.9646 | 24069380.5634
14
15 | MWH % |  | 30.08% | 27.43% | 9.335% | 0.3859% | 19.89% | 0.8506% | 0.02572% | 0.07139% | 6.447% | 2.362% | 3.117% | 100%
16
17
18 | FACTOR 10 - 75% D / 25% E |  | 34.68% | 28.2% | 8.537% | 0.2073% | 17% | 0.7524% | 0.02127% | 0.03854% | 6.907% | 1.927% | 1.734% | 100%
19
20 | FACTOR 11 - 50% D / 50% E |  | 33.14% | 27.94% | 8.803% | 0.2669% | 17.97% | 0.7851% | 0.02276% | 0.04949% | 6.754% | 2.072% | 2.195% | 100%
21
22 | FACTOR 12 - 100% D |  | 36.21% | 28.45% | 8.271% | 0.1478% | 16.04% | 0.7196% | 0.01979% | 0.02759% | 7.061% | 1.782% | 1.273% | 100%
Demand Factor Detail
Rocky Mountain Power
KW Loads Coincident To System Peak
Merged Company Peaks
12 Months Ended May 2013
Coincident Peaks @ Input
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
| Month : |  | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Sum Of
| Peak Date: | COS | 28 | 27 | 16 | 3 | 1 | 23 | 29 | 11 | 2 | 3 | 8 | 17 | 12
| Peak Time: | Sch | 16:00 | 17:00 | 17:00 | 18:00 | 19:00 | 19:00 | 19:00 | 19:00 | 09:00 | 09:00 | 10:00 | 11:00 | CPs
| Monthly Weigting Factor |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
1 | Residential
2 | Sch 001 sec | 1 | 1684126.323 | 1894603.8515 | 1867312.9784 | 1559946.5741 | 1263579.7592 | 1319270.2729 | 1402533.5312 | 1388691.0049 | 958045.5187 | 749959.4925 | 710897.1869 | 816390.8465 | 15615357.3398
3 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 314.9032 | 612.1894 | 521.9024 | 536.2162 | 0 | 0 | 0 | 0 | 1985.2112
4 | Residential Total |  | 1684126.323 | 1894603.8515 | 1867312.9784 | 1559946.5741 | 1263894.6623 | 1319882.4623 | 1403055.4336 | 1389227.2211 | 958045.5187 | 749959.4925 | 710897.1869 | 816390.8465 | 15617342.551
5
6 | General Service
7 | Sch 006 com | 6 | 1169716 | 1220519 | 1237849 | 1049067 | 947111 | 782422 | 804489 | 844294 | 1008218 | 957695 | 963031 | 1283804 | 12268215
8 | Sch 008 com | 8 | 326664 | 334360 | 328481 | 288433 | 287369 | 263847 | 252983 | 273235 | 277667 | 289221 | 306230 | 338262 | 3566752
9 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 1162.7194 | 2155.8755 | 1877.3073 | 1920.2486 | 0 | 0 | 0 | 0 | 7116.1508
10 | Sch 009 sub trn | 9 | 589093.5851 | 614817.4082 | 575163.5401 | 538252.7263 | 576569.994 | 534622.428 | 496095.5997 | 534354.4823 | 583966.1275 | 586767.5668 | 632718.6785 | 653416.1752 | 6915838.3118
11 | Sch 023 sec | 23 | 323789.8153 | 341396.8657 | 339610.9464 | 230905.4947 | 181157.4018 | 196446.721 | 224364.0973 | 235713.8237 | 222736.7306 | 213321.5665 | 230598.299 | 304906.6363 | 3044948.3982
12 | Cust 1 | spc | 66735.1433 | 69525.1141 | 50850.2421 | 60487.944 | 56113.2364 | 33783.0438 | 63241.4242 | 77326.8151 | 68760.8957 | 70869.0127 | 80100.1045 | 70585.4282 | 768378.4041
13 | Cust 2 | spc | 0 | 0 | 0 | 0 | 91195.3473 | 97308.0525 | 0 | 0 | 81387.7032 | 90502.0249 | 91996.0564 | 96348.8697 | 548738.054
14 | Gen Service Total |  | 2475998.5437 | 2580618.388 | 2531954.7286 | 2167146.1651 | 2140678.6989 | 1910585.1207 | 1843050.4285 | 1966844.3698 | 2242736.4569 | 2208376.1709 | 2304674.1384 | 2747323.1093 | 27119986.3188
15
16 | Irrigation
17 | Sch 010 sec | 10 | 79800.4246 | 48778.0591 | 56957.8338 | 49927.5657 | 14636.3906 | 3609.2747 | 917.183 | 680.4551 | 786.1568 | 1482.0268 | 15353.1806 | 37387.5934 | 310316.144
18
19 | Street Lights
20 | Sch 011 sec | 7 | 0 | 0 | 0 | 0 | 2206.5242 | 3779.939 | 3430.903 | 3550.9185 | 0 | 0 | 0 | 0 | 12968.2847
21 | Sch 012 sec | 7 | 0 | 0 | 0 | 0 | 6916.8589 | 11880.6807 | 11097.5888 | 11757.7516 | 0 | 0 | 0 | 0 | 41652.88
22 | Sch 15 TOSS sec | 12 | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 764.1356 | 679.354 | 682.6572 | 722.2954 | 705.7795 | 761.9335 | 712.3858 | 730.0028 | 8534.3161
23 | Sch 15 MONL sec | 12 | 0 | 0 | 0 | 0 | 1960.9879 | 3413.0427 | 3191.9679 | 3331.1746 | 0 | 0 | 0 | 0 | 11897.1731
24 | St Lighting Total |  | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 11848.5067 | 19753.0164 | 18403.1168 | 19362.1401 | 705.7795 | 761.9335 | 712.3858 | 730.0028 | 75052.6538
25
26 | State of Utah |  | 4240599.14 | 4524671.9452 | 4457112.9951 | 3777563.1275 | 3431058.2585 | 3253829.874 | 3265426.1619 | 3376114.1861 | 3202273.9119 | 2960579.6237 | 3031636.8917 | 3601831.5519 | 43122697.6676
Rocky Mountain Power
KW Loads Coincident To System Peak
Merged Company Peaks
12 Months Ended May 2013
Coincident Peaks @ Input
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
| Month : |  | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Sum Of
| Peak Date: | COS | 28 | 27 | 16 | 3 | 1 | 23 | 29 | 11 | 2 | 3 | 8 | 17 | 12
| Peak Time: | Sch | 16:00 | 17:00 | 17:00 | 18:00 | 19:00 | 19:00 | 19:00 | 19:00 | 09:00 | 09:00 | 10:00 | 11:00 | CPs
1 | Residential
2 | Sch 001 sec | 1 | 1684126.323 | 1894603.8515 | 1867312.9784 | 1559946.5741 | 1263579.7592 | 1319270.2729 | 1402533.5312 | 1388691.0049 | 958045.5187 | 749959.4925 | 710897.1869 | 816390.8465 | 15615357.3398
3 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 314.9032 | 612.1894 | 521.9024 | 536.2162 | 0 | 0 | 0 | 0 | 1985.2112
4 | Residential Total |  | 1684126.323 | 1894603.8515 | 1867312.9784 | 1559946.5741 | 1263894.6623 | 1319882.4623 | 1403055.4336 | 1389227.2211 | 958045.5187 | 749959.4925 | 710897.1869 | 816390.8465 | 15617342.551
5
6 | General Service
7 | Sch 006 com | 6 | 1169716 | 1220519 | 1237849 | 1049067 | 947111 | 782422 | 804489 | 844294 | 1008218 | 957695 | 963031 | 1283804 | 12268215
8 | Sch 008 com | 8 | 326664 | 334360 | 328481 | 288433 | 287369 | 263847 | 252983 | 273235 | 277667 | 289221 | 306230 | 338262 | 3566752
9 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 1162.7194 | 2155.8755 | 1877.3073 | 1920.2486 | 0 | 0 | 0 | 0 | 7116.1508
10 | Sch 009 sub trn | 9 | 589093.5851 | 614817.4082 | 575163.5401 | 538252.7263 | 576569.994 | 534622.428 | 496095.5997 | 534354.4823 | 583966.1275 | 586767.5668 | 632718.6785 | 653416.1752 | 6915838.3118
11 | Sch 023 sec | 23 | 323789.8153 | 341396.8657 | 339610.9464 | 230905.4947 | 181157.4018 | 196446.721 | 224364.0973 | 235713.8237 | 222736.7306 | 213321.5665 | 230598.299 | 304906.6363 | 3044948.3982
12 | Cust 1 | contract | 66735.1433 | 69525.1141 | 50850.2421 | 60487.944 | 56113.2364 | 33783.0438 | 63241.4242 | 77326.8151 | 68760.8957 | 70869.0127 | 80100.1045 | 70585.4282 | 768378.4041
13 | Cust 2 | contract | 0 | 0 | 0 | 0 | 91195.3473 | 97308.0525 | 0 | 0 | 81387.7032 | 90502.0249 | 91996.0564 | 96348.8697 | 548738.054
14 | Gen Service Total |  | 2475998.5437 | 2580618.388 | 2531954.7286 | 2167146.1651 | 2140678.6989 | 1910585.1207 | 1843050.4285 | 1966844.3698 | 2242736.4569 | 2208376.1709 | 2304674.1384 | 2747323.1093 | 27119986.3188
15
16 | Irrigation
17 | Sch 010 sec | 10 | 79800.4246 | 48778.0591 | 56957.8338 | 49927.5657 | 14636.3906 | 3609.2747 | 917.183 | 680.4551 | 786.1568 | 1482.0268 | 15353.1806 | 37387.5934 | 310316.144
18
19 | Street Lights
20 | Sch 011 sec | 7 | 0 | 0 | 0 | 0 | 2206.5242 | 3779.939 | 3430.903 | 3550.9185 | 0 | 0 | 0 | 0 | 12968.2847
21 | Sch 012 sec | 7 | 0 | 0 | 0 | 0 | 6916.8589 | 11880.6807 | 11097.5888 | 11757.7516 | 0 | 0 | 0 | 0 | 41652.88
22 | Sch 15 TOSS sec | 15 | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 764.1356 | 679.354 | 682.6572 | 722.2954 | 705.7795 | 761.9335 | 712.3858 | 730.0028 | 8534.3161
23 | Sch 15 MONL sec | 15 | 0 | 0 | 0 | 0 | 1960.9879 | 3413.0427 | 3191.9679 | 3331.1746 | 0 | 0 | 0 | 0 | 11897.1731
24 | St Lighting Total |  | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 11848.5067 | 19753.0164 | 18403.1168 | 19362.1401 | 705.7795 | 761.9335 | 712.3858 | 730.0028 | 75052.6538
25
26 | State of Utah |  | 4240599.14 | 4524671.9452 | 4457112.9951 | 3777563.1275 | 3431058.2585 | 3253829.874 | 3265426.1619 | 3376114.1861 | 3202273.9119 | 2960579.6237 | 3031636.8917 | 3601831.5519 | 43122697.6676
Rocky Mountain Power
KW Loads Coincident To System Peak
Merged Company Peaks
12 Months Ended May 2013
Coincident Peaks @ Sales
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
| Month : |  | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Sum Of
| Peak Date: | COS | 28 | 27 | 16 | 3 | 1 | 23 | 29 | 11 | 2 | 3 | 8 | 17 | 12
| Peak Time MST: | Sch | 16:00 | 17:00 | 17:00 | 18:00 | 19:00 | 19:00 | 19:00 | 19:00 | 09:00 | 09:00 | 10:00 | 11:00 | CPs
1 | Residential
2 | Sch 001 sec | 1 | 1529550 | 1720709 | 1695923 | 1416768 | 1147603 | 1198182 | 1273803 | 1261231 | 870112 | 681125 | 645648 | 741459 | 14182113
3 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 286 | 556 | 474 | 487 | 0 | 0 | 0 | 0 | 1803
4 | Residential Total |  | 1529550 | 1720709 | 1695923 | 1416768 | 1147889 | 1198738 | 1274277 | 1261718 | 870112 | 681125 | 645648 | 741459 | 14183916
5
6 | General Service
7 | Sch 006 com | 6 | 1063273 | 1109453 | 1125206 | 953603 | 860925 | 711222 | 731281 | 767464 | 916471 | 870545 | 875396 | 1166979 | 11151818
8 | Sch 008 com | 8 | 299823 | 306887 | 301491 | 264734 | 263757 | 242168 | 232196 | 250784 | 254852 | 265457 | 281068 | 310468 | 3273685
9 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 1056 | 1958 | 1705 | 1744 | 0 | 0 | 0 | 0 | 6463
10 | Sch 009 sub trn | 9 | 565029 | 589702 | 551668 | 516265 | 553017 | 512783 | 475830 | 512526 | 560111 | 562798 | 606872 | 626724 | 6633325
11 | Sch 023 sec | 23 | 294071 | 310062 | 308440 | 209712 | 164530 | 178416 | 203771 | 214079 | 202293 | 193742 | 209433 | 276921 | 2765470
12 | Cust 1 | contract | 64009 | 66685 | 48773 | 58017 | 53821 | 32403 | 60658 | 74168 | 65952 | 67974 | 76828 | 67702 | 736990
13 | Cust 2 | contract | 0 | 0 | 0 | 0 | 87470 | 93333 | 0 | 0 | 78063 | 86805 | 88238 | 92413 | 526322
14 | Gen Service Total |  | 2286205 | 2382789 | 2335578 | 2002331 | 1984576 | 1772283 | 1705441 | 1820765 | 2077742 | 2047321 | 2137835 | 2541207 | 25094073
15
16 | Irrigation
17 | Sch 010 sec | 10 | 72476 | 44301 | 51730 | 45345 | 13293 | 3278 | 833 | 618 | 714 | 1346 | 13944 | 33956 | 281834
18
19 | Street Lights
20 | Sch 011 sec | 7 | 0 | 0 | 0 | 0 | 2004 | 3433 | 3116 | 3225 | 0 | 0 | 0 | 0 | 11778
21 | Sch 012 sec | 7 | 0 | 0 | 0 | 0 | 6282 | 10790.221 | 10079.0046 | 10678.5748 | 0 | 0 | 0 | 0 | 37829.8003
22 | Sch 15 TOSS sec | 12 | 612 | 610 | 806 | 493 | 694 | 617 | 620 | 656 | 641 | 692 | 647 | 663 | 7751
23 | Sch 15 MONL sec | 12 | 0 | 0 | 0 | 0 | 1781 | 3099.779 | 2898.9954 | 3025.4252 | 0 | 0 | 0 | 0 | 10805.1997
24 | St Lighting Total |  | 612 | 610 | 806 | 493 | 10761 | 17940 | 16714 | 17585 | 641 | 692 | 647 | 663 | 68164
25
26 | State of Utah |  | 3888843 | 4148409 | 4084037 | 3464937 | 3156519 | 2992239 | 2997265 | 3100686 | 2949209 | 2730484 | 2798074 | 3317285 | 39627987
MSP Factors
| Simple Cycle Combustion Turbine |  | Jun | Jul | Aug | Sep |  | Nov | Dec | Jan | Feb | Mar | Apr | May | Total
|  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Residential
| Sch 001 sec |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 007 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Residential Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
General Service
| Sch 006 com | 6 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 066 com | 8 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 007 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 009 sub trn | 9 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 023 sec | 23 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cust 1 | spc | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cust 2 | spc | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Gen Service Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Irrigation
| Sch 010 com | 10 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Street Lights
| Sch 011 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 012 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 15 TOSS sec | 12 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 15 MONL sec | 12 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| St Lighting Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| State of Utah | Factor 13 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cholla |  | Jun | Jul | Aug | Sep |  | Nov | Dec | Jan | Feb | Mar | Apr | May | Total
|  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Residential
| Sch 001 sec |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 007 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Residential Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
General Service
| Sch 006 com | 6 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 066 com | 8 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 007 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 009 sub trn | 9 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 023 sec | 23 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cust 1 | spc | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cust 2 | spc | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Gen Service Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Irrigation
| Sch 010 com | 10 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Street Lights
| Sch 011 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 012 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 15 TOSS sec | 12 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 15 MONL sec | 12 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| St Lighting Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| State of Utah | Factor 15 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Seasonal Contracts |  | Jun | Jul | Aug | Sep |  | Nov | Dec | Jan | Feb | Mar | Apr | May | Total
|  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Residential
| Sch 001 sec |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 007 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Residential Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
General Service
| Sch 006 com | 6 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 066 com | 8 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 007 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 009 sub trn | 9 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 023 sec | 23 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cust 1 | spc | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cust 2 | spc | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Gen Service Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Irrigation
| Sch 010 com | 10 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Street Lights
| Sch 011 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 012 sec | 7 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 15 TOSS sec | 12 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Sch 15 MONL sec | 12 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| St Lighting Total |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| State of Utah | Factor 17 | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!