## Pages 9 - 14
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Distribution Factors
| A |  | B | C | D | E | F | G | H | I | J | K
|  |  |  | General | General | Street & Area | General |  | Traffic | Outdoor | General
|  |  | Residential | Large Dist. | +1 MW | Lighting | Trans | Irrigation | Signals | Lighting | Small Dist.
| Description |  | Sch 1 | Sch 6 | Sch 8 | Sch. 7,11,12 | Sch 9 | Sch 10 | Sch 15 | Sch 15 | Sch 23 | Total
1 | Secondary |  | 1740892.7062 | 0 | 0 | 2857.2576 | 0 | 0 | 687.8888 | 513.059 | 306359.4557 | 2051310.3673
2
3 | Primary |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4
5 | Combined |  | 0 | 1127230.4214 | 319896.9352 | 0 | 0 | 42552.1514 | 0 | 0 | 0 | 1489679.508
6
7 | Sub-Transmission |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8
9 | Transmission |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10
11 | 12 Wgt Dist Peaks
12 | @ Input |  | 1740892.7062 | 1127230.4214 | 319896.9352 | 2857.2576 | 0 | 42552.1514 | 687.8888 | 513.059 | 306359.4557 | 3540989.8753
13
14 | Substations
15 | FACTOR 20 |  | 49.16% | 31.83% | 9.034% | 0.08069% | 0% | 1.202% | 0.01943% | 0.01449% | 8.652% | 100%
16
17 | Max NCP - Sec |  | 5753143.2769 | 1854855 | 467997 | 25587.2584 | 0 | 213283.4709 | 887.4544 | 5291.9265 | 609211.1358 | 8930256.523
18
19 | Cust/Transformer |  | 6.0679 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 3.6293
20
21 | Coincidence Factor |  | 0.76 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0.82
22
23 | Max NCP - Wgt |  | 4372388.8904 | 1854855 | 467997 | 25587.2584 | 0 | 213283.4709 | 887.4544 | 5291.9265 | 499553.1314 | 7439844.1321
24
25 | Line Transformers
26 | FACTOR 21 |  | 58.77% | 24.93% | 6.29% | 0.3439% | 0% | 2.867% | 0.01193% | 0.07113% | 6.715% | 100%
27
28 | Max NCP - Wgt * |  | 4372388.8904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 499553.1314 | 4871942.0218
29 | (Less Irrg & St Ltg)
30
31 | Secondary Lines
32 | FACTOR 22 |  | 89.75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 10.25% | 100%
33
34 | * If Line 19 > 1,
35 | Line 28 = Line 23
Distribution Factors Detail
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Weighted Distribution Peaks
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
|  |  | June | July | August | September | October | November | December | January | February | March | April | May
|  | COS | 28 | 19 | 3 | 13 | 1 | 29 | 20 | 11 | 2 | 8 | 7 | 17 | Sum of 12 Wgt
| Description | Sch | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 18:00 | 19:00 | 20:00 | 20:00 | 15:00 | 13:00 | Dist Peaks
| Substation Peaks |  | 77.9167 | 86.9167 | 7.5833 | 2.5833 | 3.4167 | 12.9167 | 5.5833 | 7.5833 | 4.5833 | 4.0833 | 3.75 | 12.0833 | 229
| Weighting |  | 34.02% | 37.95% | 3.311% | 1.128% | 1.492% | 5.64% | 2.438% | 3.311% | 2.001% | 1.783% | 1.638% | 5.277% | 100%
1 | Residential
2 | Sch 001 sec | 1 | 617916.4427 | 752492.7563 | 66922.9585 | 15611.61 | 18899.5527 | 89932.7577 | 31804.9471 | 45986.4925 | 25518.8445 | 21333.7908 | 13741.5714 | 40730.9821 | 1740892.7062
3 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 0 | 34.5303 | 12.7247 | 17.7568 | 12.429 | 12.5849 | 0 | 0 | 90.0257
4 | Residential Total |  | 617916.4427 | 752492.7563 | 66922.9585 | 15611.61 | 18899.5527 | 89967.2881 | 31817.6718 | 46004.2493 | 25531.2735 | 21346.3756 | 13741.5714 | 40730.9821 | 1740982.7319
5
6 | General Service
7 | Sch 006 com | 6 | 393686.7176 | 458710.4891 | 41794.0349 | 12752.5404 | 16380.3952 | 48880.1638 | 21836.563 | 27958.7897 | 16747.7802 | 14452.5928 | 16630.7751 | 57399.5797 | 1127230.4214
8 | Sch 008 com | 8 | 108911.1681 | 127252.8319 | 10952.0884 | 3594.2289 | 4590.2394 | 15917.5073 | 6624.2471 | 9048.175 | 5411.3155 | 4975.3009 | 4877.4891 | 17742.3435 | 319896.9352
9 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 0 | 121.6014 | 45.7713 | 63.589 | 43.4354 | 44.1746 | 0 | 0 | 318.5718
10 | Sch 023 sec | 23 | 112937.1967 | 123742.7908 | 11376.2361 | 3264.967 | 3978.9492 | 10859.665 | 5924.527 | 7805.6616 | 3954.2058 | 3407.1396 | 4204.4325 | 14903.6845 | 306359.4557
11 | General Service Total |  | 615535.0824 | 709706.1117 | 64122.3594 | 19611.7363 | 24949.5838 | 75778.9375 | 34431.1084 | 44876.2153 | 26156.7368 | 22879.208 | 25712.6967 | 90045.6077 | 1753805.3841
12
13 | Irrigation
14 | Sch 010 com | 10 | 27914.2691 | 9687.0602 | 1820.4909 | 397.1237 | 218.3741 | 203.5799 | 22.3622 | 22.5333 | 15.7346 | 26.4262 | 251.4167 | 1972.7806 | 42552.1514
15
16 | Street Lights
17 | Sch 011 sec | 7 | 0 | 0 | 0 | 0 | 0 | 213.2062 | 83.6501 | 117.5886 | 78.5186 | 81.9685 | 0 | 0 | 574.932
18 | Sch 012 sec | 7 | 0 | 0 | 0 | 0 | 0 | 670.1257 | 270.5744 | 389.3579 | 271.301 | 272.3691 | 0 | 0 | 1873.7281
19 | Sch 15 TOSS sec | 15 | 229.2753 | 254.9226 | 29.388 | 6.1235 | 11.4009 | 38.3187 | 16.6441 | 23.9188 | 14.1259 | 13.5862 | 11.6657 | 38.5191 | 687.8888
20 | Sch 15 MONL sec | 15 | 0 | 0 | 0 | 0 | 0 | 192.5115 | 77.8245 | 110.3118 | 59.7863 | 72.6249 | 0 | 0 | 513.059
21 | St Lighting Total |  | 229.2753 | 254.9226 | 29.388 | 6.1235 | 11.4009 | 1114.1621 | 448.6932 | 641.1771 | 423.7318 | 440.5486 | 11.6657 | 38.5191 | 3649.608
22
23
24
25 | State of Utah |  | 1261595.0694 | 1472140.8508 | 132895.1969 | 35626.5935 | 44078.9114 | 167063.9676 | 66719.8355 | 91544.175 | 52127.4767 | 44692.5585 | 39717.3505 | 132787.8895 | 3540989.8753
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Distribution Peaks @ Input
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
|  |  | June | July | August | September | October | November | December | January | February | March | April | May
|  | COS | 28 | 19 | 3 | 13 | 1 | 29 | 20 | 11 | 2 | 8 | 7 | 17 | Sum of 12
| Description | Sch | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 18:00 | 19:00 | 20:00 | 20:00 | 15:00 | 13:00 | Dist Peaks
1 | Residential
2 | Sch 001 sec | 1 | 1816079.5555 | 1982598.3646 | 2020926.2632 | 1383893.6864 | 1266730.9929 | 1594420.7627 | 1304477.5318 | 1388691.0049 | 1275014.2673 | 1196433.8172 | 839151.9589 | 771922.3363 | 16840340.5417
3 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 0 | 612.1894 | 521.9024 | 536.2162 | 620.9978 | 705.7795 | 0 | 0 | 2997.0853
4 | Residential Total |  | 1816079.5555 | 1982598.3646 | 2020926.2632 | 1383893.6864 | 1266730.9929 | 1595032.952 | 1304999.4343 | 1389227.2211 | 1275635.2651 | 1197139.5967 | 839151.9589 | 771922.3363 | 16843337.627
5
6 | General Service
7 | Sch 006 com | 6 | 1157060 | 1208568 | 1262088 | 1130451 | 1097886 | 866598 | 895625 | 844294 | 836780 | 810525 | 1015586 | 1087821 | 12213282
8 | Sch 008 com | 8 | 320094 | 335274 | 330729 | 318611 | 307658 | 282202 | 271693 | 273235 | 270369 | 279023 | 297852 | 336248 | 3622988
9 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 0 | 2155.8755 | 1877.3073 | 1920.2486 | 2170.1893 | 2477.385 | 0 | 0 | 10601.0057
10 | Sch 023 sec | 23 | 331926.6487 | 326026.0681 | 343537.3264 | 289423.5305 | 266686.6415 | 192531.3516 | 242994.0325 | 235713.8237 | 197566.499 | 191077.9524 | 256750.6761 | 282450.5176 | 3156685.0681
11 | General Service Total |  | 1809080.6487 | 1869868.0681 | 1936354.3264 | 1738485.5305 | 1672230.6415 | 1343487.2271 | 1412189.3398 | 1355163.0724 | 1306885.6882 | 1283103.3374 | 1570188.6761 | 1706519.5176 | 19003556.0737
12
13 | Irrigation
14 | Sch 010 sec | 10 | 82041.0817 | 25522.5708 | 54974.8247 | 35203.0903 | 14636.3906 | 3609.2747 | 917.183 | 680.4551 | 786.1568 | 1482.0268 | 15353.1806 | 37387.5934 | 272593.8284
15
16 | Street Lights
17 | Sch 011 sec | 7 | 0 | 0 | 0 | 0 | 0 | 3779.939 | 3430.903 | 3550.9185 | 3923.0768 | 4596.9255 | 0 | 0 | 19281.7627
18 | Sch 012 sec | 7 | 0 | 0 | 0 | 0 | 0 | 11880.6807 | 11097.5888 | 11757.7516 | 13555.1856 | 15274.9054 | 0 | 0 | 63566.112
19 | Sch 15 TOSS sec | 15 | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 764.1356 | 679.354 | 682.6572 | 722.2954 | 705.7795 | 761.9335 | 712.3858 | 730.0028 | 8534.3161
20 | Sch 15 MONL sec | 15 | 0 | 0 | 0 | 0 | 0 | 3413.0427 | 3191.9679 | 3331.1746 | 2987.1398 | 4072.9209 | 0 | 0 | 16996.246
21 | St Lighting Total |  | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 764.1356 | 19753.0164 | 18403.1168 | 19362.1401 | 21171.1817 | 24706.6853 | 712.3858 | 730.0028 | 108378.4369
22
23
24
25 | State of Utah |  | 3707875.1346 | 3878660.6501 | 4013142.8687 | 3158125.1299 | 2954362.1607 | 2961882.4702 | 2736509.0738 | 2764432.8886 | 2604478.2919 | 2506431.6462 | 2425406.2014 | 2516559.45 | 36227865.9661
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Distribution Peaks @ Sales
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
|  |  | June | July | August | September | October | November | December | January | February | March | April | May
|  | COS | 28 | 19 | 3 | 13 | 1 | 29 | 20 | 11 | 2 | 8 | 7 | 17 | Sum of 12
| Description | Sch | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 18:00 | 19:00 | 20:00 | 20:00 | 15:00 | 13:00 | Dist Peaks
1 | Residential
2 | Sch 001 sec | 1 | 1649392 | 1800627 | 1835437 | 1256874 | 1150465 | 1448078 | 1184747 | 1261231 | 1157988 | 1086620 | 762131 | 701072 | 15294662
3 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 0 | 556 | 474 | 487 | 564 | 641 | 0 | 0 | 2722
4 | Residential Total |  | 1649392 | 1800627 | 1835437 | 1256874 | 1150465 | 1448634 | 1185221 | 1261718 | 1158552 | 1087261 | 762131 | 701072 | 15297384
5
6 | General Service
7 | Sch 006 com | 6 | 1051768 | 1098589 | 1147239 | 1027581 | 997979 | 787738 | 814124 | 767464 | 760634 | 736768 | 923168 | 988830 | 11101882
8 | Sch 008 com | 8 | 293793 | 307726 | 303554 | 292432 | 282379 | 259015 | 249369 | 250784 | 248154 | 256097 | 273379 | 308620 | 3325302
9 | Sch 007 sec | 7 | 0 | 0 | 0 | 0 | 0 | 1958 | 1705 | 1744 | 1971 | 2250 | 0 | 0 | 9628
10 | Sch 023 sec | 23 | 301461 | 296102 | 312006 | 262859 | 242209 | 174860 | 220691 | 214079 | 179433 | 173540 | 233185 | 256526 | 2866951
11 | General Service Total |  | 1647022 | 1702417 | 1762799 | 1582872 | 1522567 | 1223571 | 1285889 | 1234071 | 1190192 | 1168655 | 1429732 | 1553976 | 17303763
12
13 | Irrigation
14 | Sch 010 sec | 10 | 74511 | 23180 | 49929 | 31972 | 13293 | 3278 | 833 | 618 | 714 | 1346 | 13944 | 33956 | 247574
15
16 | Street Lights
17 | Sch 011 sec | 7 | 0 | 0 | 0 | 0 | 0 | 3433 | 3116 | 3225 | 3563 | 4175 | 0 | 0 | 17512
18 | Sch 012 sec | 7 | 0 | 0 | 0 | 0 | 0 | 10790.221 | 10079.0046 | 10678.5748 | 12311.0326 | 13872.9092 | 0 | 0 | 57731.7422
19 | Sch 15 TOSS sec | 12 | 612 | 610 | 806 | 493 | 694 | 617 | 620 | 656 | 641 | 692 | 647 | 663 | 7751
20 | Sch 15 MONL sec | 12 | 0 | 0 | 0 | 0 | 0 | 3099.779 | 2898.9954 | 3025.4252 | 2712.9674 | 3699.0908 | 0 | 0 | 15436.2578
21 | St Lighting Total |  | 612 | 610 | 806 | 493 | 694 | 17940 | 16714 | 17585 | 19228 | 22439 | 647 | 663 | 98431
22
23
24
25 | State of Utah |  | 3371537 | 3526834 | 3648971 | 2872211 | 2687019 | 2693423 | 2488657 | 2513992 | 2368686 | 2279701 | 2206454 | 2289667 | 32947152
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Non Coincident Peaks @ Input
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
|  | COS | [12 empty] | Total | Maximum
| Description | Sch | June | July | August | September | October | November | December | January | February | March | April | May | NCP | NCP
1 | Residential
2 | Sch 001 sec | 1 | 5441517.4583 | 5753143.2769 | 5634721.8559 | 5311739.5206 | 5006909.3607 | 5134413.5566 | 5552588.9139 | 5412772.4493 | 5198440.1384 | 5058210.1057 | 5030944.1517 | 4999249.2786 | 63534650.0667 | 5753143.2769
3 | Sch 007 sec | 7 | 901.7681 | 862.13 | 744.3166 | 591.2692 | 629.8063 | 612.1894 | 521.9024 | 536.2162 | 620.9978 | 705.7795 | 790.5611 | 829.0982 | 8346.0348 | 901.7681
4 | Residential Total |  | 5442419.2264 | 5754005.4068 | 5635466.1725 | 5312330.7899 | 5007539.167 | 5135025.746 | 5553110.8164 | 5413308.6655 | 5199061.1362 | 5058915.8851 | 5031734.7128 | 5000078.3768 | 63542996.1015 | 5754045.045
5
6 | General Service
7 | Sch 006 com | 6 | 1680771 | 1814971 | 1854855 | 1727068 | 1644803 | 1461457 | 1440685 | 1465651 | 1482446 | 1424610 | 1466265 | 1595989 | 19059571 | 1854855
8 | Sch 008 com | 8 | 467926 | 467993 | 467997 | 456174 | 465574 | 449496 | 430889 | 427218 | 421407 | 429334 | 434037 | 442414 | 5360459 | 467997
9 | Sch 007 sec | 7 | 3208.4888 | 3011.3991 | 2626.0281 | 2103.0246 | 2326.5398 | 2155.8755 | 1877.3073 | 1920.2486 | 2170.1893 | 2477.385 | 2703.1023 | 2956.3461 | 29535.9345 | 3208.4888
10 | Sch 009 sub trn | 9 | 747173.5706 | 718571.8249 | 725043.2404 | 711425.2739 | 719330.258 | 715899.1443 | 679229.9831 | 700638.4073 | 705116.2198 | 727202.6153 | 694983.1437 | 706450.6433 | 8551064.3247 | 747173.5706
11 | Sch 023 sec | 23 | 569445.1097 | 609211.1358 | 602826.9797 | 544840.5389 | 559340.5753 | 560761.7432 | 552637.2373 | 571338.0653 | 562157.8355 | 548855.8955 | 541118.8053 | 565357.6183 | 6787891.5398 | 609211.1358
12 | Cust 1 | contract | 118035.2121 | 119760.1201 | 121922.5749 | 102699.2854 | 116568.5393 | 103218.6388 | 105239.6325 | 115596.6275 | 124239.8126 | 94565.3808 | 119542.43 | 118020.8071 | 1359409.0612 | 124239.8126
13 | Cust 2 | contract | 102708.5213 | 109580.4056 | 107835.8725 | 108014.0792 | 113880.935 | 113211.1268 | 105311.8458 | 86977.3095 | 96592.9015 | 99293.2337 | 104450.2243 | 107932.5796 | 1255789.0349 | 113880.935
14 | General Service Total |  | 3689267.9026 | 3843098.8855 | 3883106.6956 | 3652324.2019 | 3621823.8473 | 3406199.5287 | 3315870.006 | 3369339.6583 | 3394129.9587 | 3326338.5103 | 3363099.7056 | 3539120.9944 | 42403719.895 | 3920565.9429
15
16 | Irrigation
17 | Sch 010 sec | 10 | 213283.4709 | 206576.1184 | 193856.5522 | 185787.6542 | 14636.3906 | 3609.2747 | 917.183 | 680.4551 | 786.1568 | 1482.0268 | 15353.1806 | 104979.8731 | 941948.3364 | 213283.4709
18
19 | Street Lights
20 | Sch 011 sec | 7 | 4754.3771 | 4986.7007 | 4512.1439 | 4332.6711 | 4411.9474 | 3779.939 | 3430.903 | 3550.9185 | 3923.0768 | 4596.9255 | 5085.7961 | 4743.3665 | 52108.7656 | 5085.7961
21 | Sch 012 sec | 7 | 16321.8813 | 15636.2391 | 14960.8806 | 13364.8723 | 13833.4324 | 11880.6807 | 11097.5888 | 11757.7516 | 13555.1856 | 15274.9054 | 16391.2053 | 15659.6941 | 169734.3172 | 16391.2053
22 | Sch 15 TOSS sec | 15 | 673.8487 | 671.6466 | 887.4544 | 542.8226 | 764.1356 | 679.354 | 682.6572 | 722.2954 | 705.7795 | 761.9335 | 712.3858 | 730.0028 | 8534.3161 | 887.4544
23 | Sch 15 MONL sec | 15 | 5291.9265 | 4745.4826 | 4819.6623 | 3457.1223 | 3923.3622 | 3413.0427 | 3191.9679 | 3331.1746 | 2987.1398 | 4072.9209 | 4004.8301 | 4984.0798 | 48222.712 | 5291.9265
24 | Street Light Total |  | 27042.0336 | 26040.069 | 25180.1411 | 21697.4884 | 22932.8777 | 19753.0164 | 18403.1168 | 19362.1401 | 21171.1817 | 24706.6853 | 26194.2174 | 26117.1432 | 278600.1107 | 27656.3823
25
26
27 | State of Utah |  | 9372012.6336 | 9829720.4798 | 9737609.5615 | 9172140.1343 | 8666932.2826 | 8564587.5657 | 8888301.1222 | 8802690.919 | 8615148.4334 | 8411443.1076 | 8436381.8165 | 8670296.3875 | 107167264.4437 | 9915550.8412
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended May 2013
Non Coincident Peaks @ Sales
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
|  | COS | [12 empty] | Total
| Description | Sch | June | July | August | September | October | November | December | January | February | March | April | May | NCP
1 | Residential
2 | Sch 001 sec | 1 | 4942071.693 | 5225095.16 | 5117542.964 | 4824205.33 | 4547353.787 | 4663155.102 | 5042948.535 | 4915965.024 | 4721305.05 | 4593945.93 | 4569182.562 | 4540396.78 | 57703167.917
3 | Sch 007 sec | 7 | 819 | 783 | 676 | 537 | 572 | 556 | 474 | 487 | 564 | 641 | 718 | 753 | 7580
4 | Residential Total |  | 4942890.693 | 5225878.16 | 5118218.964 | 4824742.33 | 4547925.787 | 4663711.102 | 5043422.535 | 4916452.024 | 4721869.05 | 4594586.93 | 4569900.562 | 4541149.78 | 57710747.917
5
6 | General Service
7 | Sch 006 com | 6 | 1527821.856 | 1649810.187 | 1686064.074 | 1569905.679 | 1495126.776 | 1328465.32 | 1309583.92 | 1332277.41 | 1347544.666 | 1294971.59 | 1332835.872 | 1450754.965 | 17325162.315
8 | Sch 008 com | 8 | 429478.335 | 429540.355 | 429543.36 | 418692.483 | 427319.442 | 412562.822 | 395484.442 | 392115.254 | 386781.318 | 394057.224 | 398374.446 | 406063.152 | 4920012.633
9 | Sch 007 sec | 7 | 2914 | 2735 | 2385 | 1910 | 2113 | 1958 | 1705 | 1744 | 1971 | 2250 | 2455 | 2685 | 26825
10 | Sch 009 sub trn | 9 | 716651.388 | 689218.029 | 695425.086 | 682363.416 | 689945.48 | 686654.528 | 651483.309 | 672017.195 | 676312.088 | 697496.25 | 666592.95 | 677592 | 8201751.719
11 | Sch 023 sec | 23 | 517179 | 553295.13 | 547496.939 | 494832.742 | 508001.903 | 509292.63 | 501913.826 | 518898.212 | 510560.583 | 498479.552 | 491452.605 | 513466.676 | 6164869.798
12 | Cust 1 | sc | 113213.4512 | 114867.8964 | 116942.0145 | 98504 | 111806.6922 | 99002.1378 | 100940.5735 | 110874.4833 | 119164.5926 | 90702.367 | 114659.099 | 113199.6347 | 1303876.9422
13 | Cust 2 | sc | 98512.8587 | 105104.0252 | 103430.7566 | 103601.6835 | 109228.8771 | 108586.4307 | 101009.8369 | 83424.2698 | 92647.0631 | 95237.0862 | 100183.4128 | 103523.5132 | 1204489.8137
14 | General Service Total |  | 3405770.8889 | 3544570.6226 | 3581287.2301 | 3369810.0035 | 3343542.1703 | 3146521.8685 | 3062120.9073 | 3111350.8241 | 3134981.3107 | 3073194.0692 | 3106553.3848 | 3267284.9409 | 39146988.2209
15
16 | Irrigation
17 | Sch 010 sec | 10 | 193707.401 | 187615.678 | 176063.568 | 168735.268 | 13293 | 3278 | 833 | 618 | 714 | 1346 | 13944 | 95344.371 | 855492.286
18
19 | Street Lights
20 | Sch 011 sec | 7 | 4318 | 4529 | 4098 | 3935 | 4007 | 3433 | 3116 | 3225 | 3563 | 4175 | 4619 | 4308 | 47326
21 | Sch 012 sec | 7 | 14823.7891 | 14201.0781 | 13587.7069 | 12138.1871 | 12563.7408 | 10790.221 | 10079.0046 | 10678.5748 | 12311.0326 | 13872.9092 | 14886.7503 | 14222.3804 | 154155.375
22 | Sch 15 TOSS sec | 15 | 612 | 610 | 806 | 493 | 694 | 617 | 620 | 656 | 641 | 692 | 647 | 663 | 7751
23 | Sch 15 MONL sec | 15 | 4806.2109 | 4309.9219 | 4377.2931 | 3139.8129 | 3563.2592 | 3099.779 | 2898.9954 | 3025.4252 | 2712.9674 | 3699.0908 | 3637.2497 | 4526.6196 | 43796.625
24 | Street Light Total |  | 24560 | 23650 | 22869 | 19706 | 20828 | 17940 | 16714 | 17585 | 19228 | 22439 | 23790 | 23720 | 253029
25
26
27 | State of Utah |  | 8566928.9829 | 8981714.4606 | 8898438.7621 | 8382993.6015 | 7925588.9573 | 7831450.9705 | 8123090.4423 | 8046005.8481 | 7876792.3607 | 7691565.9992 | 7714187.9468 | 7927499.0919 | 97966257.4239