## Sheet1
DPU Exhibit 1.3
Division of Public Utilities' Review and Check of PacifiCorp's Resource Needs
PacifiCorp 2011 IRP Preferred Portfolio
East Side
Year | Existing System Resources w/o DSM (MW) | Current Class 1 DSM Reductions in Load (MW) | Forecast Load Peak (MW) | Load Percent Change | Firm Sales (MW) | Forecast Peak Load plus Sales plus Planning Reserve (MW) | Total Obligation Percent Change | Resource Deficit | Total Estimated Available FOTs 1/ (MW) | Assumed Additions to Class 1 and 2 DSM --Preferred Portfolio (MW) | FOT (@ 90 Percent) and DSM Resources with 13 Percent Planning Margin 2/ (MW) | Resource Deficit less Estimated DSM and Available Effective FOTs 3/ (MW) | Resource Additions (MW) | Resource Deficit plus Assumed Plant Additions (MW) | Comments
2011 | 8229 | 324 | 7184 |  | 758 | 8881 |  | -328 | 640 | 34 | 689.3 | 361.3 |  | 361.3
2012 | 7961 | 329 | 7344 | 2.227% | 997 | 9324 | 4.988% | -1034 | 640 | 138 | 806.82 | -227.18 | 50 | -177.18 | Wyoming wind QFs (143 MW nameplate)
2013 | 7845 | 329 | 7566 | 3.023% | 1045 | 9643 | 3.421% | -1469 | 714 | 153 | 899.028 | -569.972 |  | -519.972
2014 | 7587 | 329 | 7805 | 3.159% | 745 | 9613 | -0.3111% | -1697 | 714 | 213 | 966.828 | -730.172 | 625 | -55.172 | Lakeside 2, per IRP
2015 | 7439 | 329 | 8009 | 2.614% | 745 | 9844 | 2.403% | -2076 | 650 | 346 | 1052.03 | -1023.97 |  | -348.97
2016 | 7620 | 329 | 8201 | 2.397% | 745 | 10063 | 2.225% | -2114 | 650 | 390 | 1101.75 | -1012.25 | 597 | 259.75 | Currant Creek 2, per IRP
2017 | 7668 | 329 | 8377 | 2.146% | 659 | 10165 | 1.014% | -2168 | 550 | 437 | 1053.16 | -1114.84 |  | 157.16
2018 | 7420 | 329 | 8544 | 1.994% | 659 | 10354 | 1.859% | -2605 | 550 | 485 | 1107.4 | -1497.6 | 105 | -120.6 | Wyoming wind (300 MW nameplate)
2019 | 7482 | 329 | 8712 | 1.966% | 659 | 10544 | 1.835% | -2733 | 550 | 534 | 1162.77 | -1570.23 | 580 | 386.77 | Wyoming wind (300 MW nameplate), CCCT @ 475MW
2020 | 7449 | 329 | 8896 | 2.112% | 659 | 10752 | 1.973% | -2974 | 550 | 586 | 1221.53 | -1752.47 | 70 | 274.53 | Wyoming wind (200 MW nameplate)
2011-2020 Average Growth |  |  |  | 2.403% |  |  | 2.147%
West Side
2011 | 3915 | 0 | 3266 |  | 290 | 3913 |  | 2 | 850 | 15 | 881.4 | 883.4 |  | 883.4
2012 | 3512 | 0 | 3374 | 3.307% | 258 | 4079 | 4.242% | -567 | 850 | 30 | 898.35 | 331.35 |  | 331.35
2013 | 3636 | 0 | 3395 | 0.6224% | 258 | 4092 | 0.3187% | -456 | 850 | 105 | 983.1 | 527.1 |  | 527.1
2014 | 3489 | 0 | 3448 | 1.561% | 258 | 4165 | 1.784% | -676 | 850 | 122 | 1002.31 | 326.31 |  | 326.31
2015 | 3631 | 0 | 3491 | 1.247% | 158 | 4101 | -1.537% | -470 | 850 | 149 | 1032.82 | 562.82 |  | 562.82
2016 | 3447 | 0 | 3541 | 1.432% | 108 | 4100 | -0.02438% | -653 | 850 | 166 | 1052.03 | 399.03 |  | 399.03
2017 | 3415 | 0 | 3584 | 1.214% | 108 | 4145 | 1.098% | -730 | 850 | 183 | 1071.24 | 341.24 |  | 341.24
2018 | 3684 | 0 | 3650 | 1.842% | 108 | 4218 | 1.761% | -534 | 850 | 197 | 1087.06 | 553.06 |  | 553.06
2019 | 3584 | 0 | 3666 | 0.4384% | 108 | 4234 | 0.3793% | -650 | 850 | 212 | 1104.01 | 454.01 |  | 454.01
2020 | 3414 | 0 | 3713 | 1.282% | 108 | 4293 | 1.393% | -879 | 850 | 228 | 1122.09 | 243.09 |  | 243.09
2011-2020 Average Growth |  |  |  | 1.435% |  |  | 1.035%
System Total | [13 empty] | Potential FOT Reductions
2011 | 12144 | 324 | 10450 |  | 1048 | 12794 |  | -326 | 1490 | 49 | 1570.7 | 1244.7 |  | 1244.7
2012 | 11473 | 329 | 10718 | 2.565% | 1255 | 13403 | 4.76% | -1601 | 1490 | 168 | 1705.17 | 104.17 | 50 | 154.17 | Wyoming wind QFs (143 MW nameplate)
2013 | 11481 | 329 | 10961 | 2.267% | 1303 | 13735 | 2.477% | -1925 | 1564 | 258 | 1882.128 | -42.872 |  | 7.128
2014 | 11076 | 329 | 11253 | 2.664% | 1003 | 13778 | 0.3131% | -2373 | 1564 | 335 | 1969.138 | -403.862 | 625 | 271.138 | Lakeside 2, per IRP
2015 | 11070 | 329 | 11500 | 2.195% | 903 | 13945 | 1.212% | -2546 | 1500 | 495 | 2084.85 | -461.15 |  | 213.85
2016 | 11067 | 329 | 11742 | 2.104% | 853 | 14163 | 1.563% | -2767 | 1500 | 556 | 2153.78 | -613.22 | 597 | 658.78 | Currant Creek 2, per IRP
2017 | 11083 | 329 | 11961 | 1.865% | 767 | 14310 | 1.038% | -2898 | 1400 | 620 | 2124.4 | -773.6 |  | 498.4
2018 | 11104 | 329 | 12194 | 1.948% | 767 | 14572 | 1.831% | -3139 | 1400 | 682 | 2194.46 | -944.54 | 105 | 432.46 | Wyoming wind (300 MW nameplate)
2019 | 11066 | 329 | 12378 | 1.509% | 767 | 14778 | 1.414% | -3383 | 1400 | 746 | 2266.78 | -1116.22 | 580 | 840.78 | Wyoming wind (300 MW nameplate), CCCT @ 475MW
2020 | 10863 | 329 | 12609 | 1.866% | 767 | 15045 | 1.807% | -3853 | 1400 | 814 | 2343.62 | -1509.38 | 70 | 517.62 | Wyoming wind (200 MW nameplate)
2011-2020 Average Growth |  |  |  | 2.109% |  |  | 1.817%
1/ An additional 375 MW of FOTs are supposedly available from Mid-Columbia at a price premium; one might consider this
as an "emergency backup."
2/ FOTs and DSM are not assigned a planning reserve since the seller presumably has the reserves. Therefore, PacifiCorp reduces its
required planning reserve by 13 percent; this effectively increases the value of FOTs and DSM by 13 percent.
3/ Some excess FOT capacity on the West side can be transferred to the East side to balance the system.
Source: Compiled from PacifiCorp 2011 IRP, Table 5.11, page 102; Table 6.18, page 151; Table 8.17, page 231.

## Sheet1 (2)
DPU Exhibit 4
Division of Public Utilities' Review and Check of PacifiCorp's Resource Needs
The Division's Rough Needs Assessment
East Side
Year | Existing System Resources w/o DSM (MW) | Current Class 1 DSM Reductions in Load (MW) | Forecast Load Peak (MW) | Load Percent Change | Firm Sales (MW) | Forecast Peak Load plus Sales plus Planning Reserve (MW) | Total Obligation Percent Change | Resource Deficit | Total Estimated Available FOTs 1/ (MW) | Assumed Additions to Class 1 and 2 DSM --Preferred Portfolio (MW) | FOT (@ 90 Percent) and DSM Resources with 13 Percent Planning Margin 2/ (MW) | Resource Deficit less Estimated DSM and Available Effective FOTs 3/ (MW) | Resource Additions (MW) | Resource Deficit plus Assumed Plant Additions (MW) | Comments
2011 | 8229 | 324 | 7184 |  | 758 | 8881 |  | -328 | 640 | 34 | 689.3 | 361.3 |  | 361.3
2012 | 7961 | 329 | 7344 | 2.227% | 997 | 9324 | 4.988% | -1034 | 640 | 138 | 806.82 | -227.18 | 50 | -177.18 | Wyoming wind QFs (143 MW nameplate)
2013 | 7845 | 329 | 7566 | 3.023% | 1045 | 9643 | 3.421% | -1469 | 714 | 153 | 899.028 | -569.972 |  | -519.972
2014 | 7587 | 329 | 7805 | 3.159% | 745 | 9613 | -0.3111% | -1697 | 714 | 213 | 966.828 | -730.172 | 637 | -43.172 | Lakeside 2
2015 | 7439 | 329 | 8009 | 2.614% | 745 | 9844 | 2.403% | -2076 | 650 | 346 | 1052.03 | -1023.97 |  | -336.97
2016 | 7620 | 329 | 8201 | 2.397% | 745 | 10063 | 2.225% | -2114 | 650 | 390 | 1101.75 | -1012.25 |  | -325.25
2017 | 7668 | 329 | 8377 | 2.146% | 659 | 10165 | 1.014% | -2168 | 550 | 437 | 1053.16 | -1114.84 | 600 | 172.16 | Currant Creek 2
2018 | 7420 | 329 | 8544 | 1.994% | 659 | 10354 | 1.859% | -2605 | 550 | 485 | 1107.4 | -1497.6 |  | -210.6
2019 | 7482 | 329 | 8712 | 1.966% | 659 | 10544 | 1.835% | -2733 | 550 | 534 | 1162.77 | -1570.23 | 500 | 216.77 | Addional Resource
2020 | 7449 | 329 | 8896 | 2.112% | 659 | 10752 | 1.973% | -2974 | 550 | 586 | 1221.53 | -1752.47 |  | 34.53
2011-2020 Average Growth |  |  |  | 2.403% |  |  | 2.147%
West Side
2011 | 3915 | 0 | 3266 |  | 290 | 3913 |  | 2 | 850 | 15 | 881.4 | 883.4 |  | 883.4
2012 | 3512 | 0 | 3374 | 3.307% | 258 | 4079 | 4.242% | -567 | 850 | 30 | 898.35 | 331.35 |  | 331.35
2013 | 3636 | 0 | 3395 | 0.6224% | 258 | 4092 | 0.3187% | -456 | 850 | 105 | 983.1 | 527.1 |  | 527.1
2014 | 3489 | 0 | 3448 | 1.561% | 258 | 4165 | 1.784% | -676 | 850 | 122 | 1002.31 | 326.31 |  | 326.31
2015 | 3631 | 0 | 3491 | 1.247% | 158 | 4101 | -1.537% | -470 | 850 | 149 | 1032.82 | 562.82 |  | 562.82
2016 | 3447 | 0 | 3541 | 1.432% | 108 | 4100 | -0.02438% | -653 | 850 | 166 | 1052.03 | 399.03 |  | 399.03
2017 | 3415 | 0 | 3584 | 1.214% | 108 | 4145 | 1.098% | -730 | 850 | 183 | 1071.24 | 341.24 |  | 341.24
2018 | 3684 | 0 | 3650 | 1.842% | 108 | 4218 | 1.761% | -534 | 850 | 197 | 1087.06 | 553.06 |  | 553.06
2019 | 3584 | 0 | 3666 | 0.4384% | 108 | 4234 | 0.3793% | -650 | 850 | 212 | 1104.01 | 454.01 |  | 454.01
2020 | 3414 | 0 | 3713 | 1.282% | 108 | 4293 | 1.393% | -879 | 850 | 228 | 1122.09 | 243.09 |  | 243.09
2011-2020 Average Growth |  |  |  | 1.435% |  |  | 1.035%
System Total | [13 empty] | Potential FOT Reductions
2011 | 12144 | 324 | 10450 |  | 1048 | 12794 |  | -326 | 1490 | 49 | 1570.7 | 1244.7 |  | 1244.7
2012 | 11473 | 329 | 10718 | 2.565% | 1255 | 13403 | 4.76% | -1601 | 1490 | 168 | 1705.17 | 104.17 | 50 | 154.17 | Wyoming wind QFs (143 MW nameplate)
2013 | 11481 | 329 | 10961 | 2.267% | 1303 | 13735 | 2.477% | -1925 | 1564 | 258 | 1882.128 | -42.872 |  | 7.128
2014 | 11076 | 329 | 11253 | 2.664% | 1003 | 13778 | 0.3131% | -2373 | 1564 | 335 | 1969.138 | -403.862 | 637 | 283.138 | Lakeside 2
2015 | 11070 | 329 | 11500 | 2.195% | 903 | 13945 | 1.212% | -2546 | 1500 | 495 | 2084.85 | -461.15 |  | 225.85
2016 | 11067 | 329 | 11742 | 2.104% | 853 | 14163 | 1.563% | -2767 | 1500 | 556 | 2153.78 | -613.22 |  | 73.78
2017 | 11083 | 329 | 11961 | 1.865% | 767 | 14310 | 1.038% | -2898 | 1400 | 620 | 2124.4 | -773.6 | 600 | 513.4 | Currant Creek 2
2018 | 11104 | 329 | 12194 | 1.948% | 767 | 14572 | 1.831% | -3139 | 1400 | 682 | 2194.46 | -944.54 |  | 342.46
2019 | 11066 | 329 | 12378 | 1.509% | 767 | 14778 | 1.414% | -3383 | 1400 | 746 | 2266.78 | -1116.22 | 500 | 670.78 | Addional Resource
2020 | 10863 | 329 | 12609 | 1.866% | 767 | 15045 | 1.807% | -3853 | 1400 | 814 | 2343.62 | -1509.38 |  | 277.62
2011-2020 Average Growth |  |  |  | 2.109% |  |  | 1.817%
1/ An additional 375 MW of FOTs are supposedly available from Mid-Columbia at a price premium; one might consider this
as an "emergency backup."
2/ FOTs and DSM are not assigned a planning reserve since the seller presumably has the reserves. Therefore, PacifiCorp reduces its
required planning reserve by 13 percent; this effectively increases the value of FOTs and DSM by 13 percent.
3/ Some excess FOT capacity on the West side can be transferred to the East side to balance the system.
Source: Compiled from PacifiCorp 2011 IRP, Table 5.11, page 102; Table 6.18, page 151; Table 8.17, page 231.