## MEC-PAC Control Matrix
Unit | Year Installed | Regulatory Depreciation Life (non-OR) | Accredited Net MW Rating (100% Share) | NOx Emission Controls |  |  |  |  | SO2 Emission Controls |  | Particulate Controls |  |  | Mercury (Hg) Control | CCR Compliance | Potential to Operate on Full Load Natural Gas | PacifiCorp Ownership | Comments
|  |  |  | Neural Network System | Low Nox Burners | Overfire Air | Selective Non-Catalytic Reduction | Selective Catalytic Reduction | Dry Scrubber | Wet Scrubber | Electrostatic Precipitator | Wet Scrubber | Baghouse | Year and Technology Combination | (Dates shown are initial compliance projects in-service) Pond closure, wet-to-dry conversion, new facilities
Carbon 1 | 1954 | 2020 | 67 | Not Planned | Not Planned | Not Planned | Not Planned | Not Planned | Not Planned | Not Planned | In Service Cold Side | - | Not Planned | Not Planned | 2017 | Under Review | 100%
Carbon 2 | 1957 | 2020 | 105 | Not Planned | Not Planned | Not Planned | Not Planned | Not Planned | Not Planned | Not Planned | In Service Cold Side | - | Not Planned | Not Planned | 2017 | Under Review | 100%
Cholla 4 | 1981 | 2042 | 395 | Not Planned | In Service | In Service | Not Planned | Not Planned | N/A | In Service | N/A | - | In Service | 2015 - ACI | 2017 | Not Planned | 100%
Colstrip 3 | 1984 | 2046 | 740 | Not Planned | In Service | In Service | Not Planned | Not Planned | N/A | In Service | N/A | In Service | N/A | In Service | 2017 | Not Planned | 100%
Colstrip 4 | 1986 | 2046 | 740 | Not Planned | In Service | In Service | Not Planned | Not Planned | N/A | In Service | N/A | In Service | N/A | In Service | 2017 | Not Planned | 100%
Craig 1 | 1980 | 2034 | 428 | Not Planned | In Service | In Service | 2017 | Not Planned | N/A | In Service | N/A | - | In Service | 2015 - Coal Oxidizer | 2017 | Not Planned | 19.28%
Craig 2 | 1979 | 2034 | 428 | Not Planned | In Service | In Service | Not Planned | 2016 | N/A | In Service | N/A | - | In Service | 2015 - Coal Oxidizer | 2017 | Not Planned | 19.28%
Dave Johnston 1 | 1958 | 2027 | 106 | Not Planned | Not Planned2 | Not Planned2 | Not Planned | Not Planned | Not Planned | Not Planned | In Service Cold Side | - | Not Planned | 2015 - Sorb Inj | 2017 | Not Planned | 100%
Dave Johnston 2 | 1960 | 2027 | 106 | Not Planned | Not Planned2 | Not Planned2 | Not Planned | Not Planned | Not Planned | Not Planned | In Service Cold Side | - | Not Planned | 2015 - Sorb Inj | 2017 | Not Planned | 100%
Dave Johnston 3 | 1964 | 2027 | 220 | Not Planned | In Service | In Service | Not Planned2 | Not Planned | In Service | N/A | N/A | - | In Service | 2015 - Sorb Inj + Oxidizer | 2017 | Not Planned | 100%
Dave Johnston 4 | 1972 | 2027 | 330 | Not Planned | In Service | In Service | Not Planned | Not Planned | In Service | N/A | In Service Cold Side | - | In Service | 2015 - Sorb Inj + Oxidizer | 2017 | Not Planned | 100%
Hayden 1 | 1965 | 2030 | 184 | Not Planned | In Service | In Service | Not Planned | 2015 | In Service | N/A | N/A | - | In Service | 2015 - Sorbent Injection | 2017 | Not Planned | 24.46%
Hayden 2 | 1976 | 2030 | 262 | Not Planned | In Service | In Service | Not Planned | 2016 | In Service | N/A | N/A | - | In Service | 2015 - Sorbent Injection | 2017 | Not Planned | 12.6%
Hunter 1 | 1978 | 2042 | 430 | Not Planned | 2014 | 2014 | Not Planned | 20261 | N/A | In Service 2014 -Upgrade | In Service Cold Side | - | 2014 | Not Planned | 2017 | Not Planned | 93.75%
Hunter 2 | 1980 | 2042 | 430 | Not Planned | In Service | In Service | Not Planned | 20231 | N/A | In Service | N/A | - | In Service | Not Planned | 2017 | Not Planned | 60.31%
Hunter 3 | 1983 | 2042 | 460 | Not Planned | In Service | In Service | Not Planned | 20241 | N/A | In Service | N/A | - | In Service | Not Planned | 2017 | Not Planned | 100%
Huntington 1 | 1977 | 2036 | 445 | Not Planned | In Service | In Service | Not Planned | 20231 | N/A | In Service | N/A | - | In Service | Not Planned | 2017 | Not Planned | 100% | SCR in-service date of 2023 included
Huntington 2 | 1974 | 2036 | 450 | Not Planned | In Service | In Service | Not Planned | 20261 | N/A | In Service | N/A | - | In Service | Not Planned | 2017 | Not Planned | 100%
Jim Bridger 1 | 1974 | 2037 | 530 | Not Planned | In Service | In Service | Not Planned | 20222 | N/A | In Service | In Service Cold Side | - | Not Planned | 2015 - Oxidizer + FGD Add | 2017 | Not Planned | 66.67%
Jim Bridger 2 | 1975 | 2037 | 527 | Not Planned | In Service | In Service | Not Planned | 20212 | N/A | In Service | In Service Cold Side | - | Not Planned | 2015 - Oxidizer + FGD Add | 2017 | Not Planned | 66.67%
Jim Bridger 3 | 1976 | 2037 | 530 | Not Planned | In Service | In Service | Not Planned | 2015 | N/A | In Service | In Service Cold Side | - | Not Planned | 2015 - Oxidizer + FGD Add | 2017 | Not Planned | 66.67%
Jim Bridger 4 | 1979 | 2037 | 530 | Not Planned | In Service | In Service | Not Planned | 2016 | N/A | In Service | In Service Cold Side | - | Not Planned | 2015 - Oxidizer + FGD Add | 2017 | Not Planned | 66.67%
Naughton 1 | 1963 | 2029 | 160 | Not Planned | In Service | In Service | Not Planned | Not Planned | N/A | In Service | In Service Cold Side | - | Not Planned | 2015 - Oxidizer + FGD Add | 2017 | Not Planned | 100%
Naughton 2 | 1968 | 2029 | 210 | Not Planned | In Service | In Service | Not Planned | Not Planned | N/A | In Service | In Service Cold Side | - | Not Planned | 2015 - Oxidizer + FGD Add | 2017 | Not Planned | 100%
Naughton 3 | 1971 | 2029 | 330 | Not Planned | In Service | In Service | Not Planned | Not Planned | N/A | In Service | In Service Cold Side | - | Not Planned | Not Planned | 2017 | 2015 | 100%
Wyodak | 1978 | 2039 | 335 | Not Planned | In Service | In Service | Not Planned2 | 20261 | In Service | N/A | N/A | - | In Service | 2015 - Sorb Inj + Oxidizer | 2017 | Not Planned | 80%
1. PacifiCorp has included these SCRs in its economic analyses to add conservatism to the results presented. SCRs are required at Jim Bridger Units 1-4; however, no company commitments or agency actions have been taken that require installation of the other SCRs listed.
2. EPA's proposed action on the state of Wyoming's Regional Haze SIP requires low NOX burners to be installed on Dave Johnston Units 1 and 2 by July 31, 2018; SNCR to be installed on Dave Johnston Unit 3 and Wyodak by 2017; and accelerates SCR installation on Jim Bridger Units 1 and 2 into 2017.