## Sheet1
PACIFICORP
COMPARISON OF SUMMARY OF ESTIMATED SURVIVOR CURVES, NET SALVAGE PERCENT, ORIGINAL COST, BOOK DEPRECIATION RESERVE
AND CALCULATED ANNUAL DEPRECIATION ACCRUALS RELATED TO PACIFICORP PROPOSAL AND STIPULATED SCENARIO AS OF DECEMBER 31, 2013*
FINAL SETTLEMENT
|  |  | PACIFICORP DEPRECIATION STUDY |  |  |  |  | STIPULATED SCENARIO
|  |  | PROBABLE |  | NET | CALCULATED ANNUAL |  | PROBABLE |  | NET | CALCULATED ANNUAL
|  | ORIGINAL | RETIREMENT | SURVIVOR | SALVAGE | ACCRUAL | ACCRUAL | RETIREMENT | SURVIVOR | SALVAGE | ACCRUAL | ACCRUAL | INCREASE/
| ACCOUNT | COST | DATE | CURVE | PERCENT | AMOUNT | RATE | DATE | CURVE | PERCENT | AMOUNT | RATE | (DECREASE)
| -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | (13)=(11)-(6)
STEAM PRODUCTION PLANT
BLUNDELL
310.2 | Land Rights | 35883106.87 | 2037-12-31 | SQUARE | 0 | 637460 | 1.78 | 2037-12-31 | SQUARE | 0 | 749645 | 2.09 | 112185
311 | Structures and Improvements | 7987766.88 | 2037-12-31 | 90-R2 | -4 | 174085 | 2.18 | 2037-12-31 | 120-R1.5 | -4 | 200384 | 2.51 | 26299
312 | Boiler Plant Equipment | 32138163.44 | 2037-12-31 | 60-L1 | -4 | 904045 | 2.81 | 2037-12-31 | 68-S0 | -3 | 956383 | 2.98 | 52338
314 | Turbogenerator Units | 31553409.38 | 2037-12-31 | 55-L1 | -6 | 979401 | 3.1 | 2037-12-31 | 57-S0 | -5 | 1041217 | 3.3 | 61816
315 | Accessory Electric Equipment | 7466709.87 | 2037-12-31 | 75-R2.5 | -3 | 180669 | 2.42 | 2037-12-31 | 75-R2.5 | -3 | 201322 | 2.7 | 20653
316 | Miscellaneous Power Plant Equipment | 1201253.01 | 2037-12-31 | 40-O1 | -5 | 41782 | 3.48 | 2037-12-31 | 40-O1 | -5 | 45166 | 3.76 | 3384
| Reserve Amortization | [9 empty] | -785201.6 |  | -785201.6
| TOTAL BLUNDELL | 116230409.45 |  |  |  | 2917442 | 2.51 |  |  |  | 2408915.4 | 2.07 | -508526.6
CARBON
311 | Structures and Improvements | 15307552.93 | 2015-04-30 | 90-R2 | -48 | 9745917 | 63.67 | 2015-04-30 | 120-R1.5 | -17 | 6179740 | 40.37 | -3566177
312 | Boiler Plant Equipment | 69815616.05 | 2015-04-30 | 60-L1 | -47 | 47039905 | 67.38 | 2015-04-30 | 68-S0 | -17 | 31201031 | 44.69 | -15838874
314 | Turbogenerator Units | 27988926.58 | 2015-04-30 | 55-L1 | -47 | 18973875 | 67.79 | 2015-04-30 | 57-S0 | -17 | 12639970 | 45.16 | -6333905
315 | Accessory Electric Equipment | 6186681.77 | 2015-04-30 | 75-R2.5 | -47 | 4228338 | 68.35 | 2015-04-30 | 75-R2.5 | -17 | 2831240 | 45.76 | -1397098
316 | Miscellaneous Power Plant Equipment | 785531.9 | 2015-04-30 | 40-O1 | -47 | 626361 | 79.74 | 2015-04-30 | 40-O1 | -17 | 446166 | 56.8 | -180195
| TOTAL CARBON | 120084309.23 |  |  |  | 80614396 | 67.13 |  |  |  | 53298147 | 44.38 | -27316249
CHOLLA
310.2 | Land Rights | 1201891.85 | 2042-12-31 | SQUARE | 0 | 34819 | 2.9 | 2042-12-31 | SQUARE | 0 | 34717 | 2.89 | -102
311 | Structures and Improvements | 59529735.65 | 2042-12-31 | 90-R2 | -7 | 1432099 | 2.41 | 2042-12-31 | 120-R1.5 | -6 | 1393362 | 2.34 | -38737
312 | Boiler Plant Equipment | 338609787.76 | 2042-12-31 | 60-L1 | -6 | 10275967 | 3.03 | 2042-12-31 | 68-S0 | -5 | 9791222 | 2.89 | -484745
314 | Turbogenerator Units | 67254416.97 | 2042-12-31 | 55-L1 | -8 | 2007513 | 2.98 | 2042-12-31 | 57-S0 | -7 | 1916204 | 2.85 | -91309
315 | Accessory Electric Equipment | 66300088.91 | 2042-12-31 | 75-R2.5 | -5 | 1564911 | 2.36 | 2042-12-31 | 75-R2.5 | -5 | 1541451 | 2.32 | -23460
316 | Miscellaneous Power Plant Equipment | 4007073.96 | 2042-12-31 | 40-O1 | -7 | 134348 | 3.35 | 2042-12-31 | 40-O1 | -7 | 132640 | 3.31 | -1708
| TOTAL CHOLLA | 536902995.1 |  |  |  | 15449657 | 2.88 |  |  |  | 14809596 | 2.76 | -640061
COLSTRIP
311 | Structures and Improvements | 58645567.13 | 2046-12-31 | 90-R2 | -8 | 961694 | 1.64 | 2046-12-31 | 120-R1.5 | -6 | 1102381 | 1.88 | 140687
312 | Boiler Plant Equipment | 117788667.31 | 2046-12-31 | 60-L1 | -7 | 2392258 | 2.03 | 2046-12-31 | 68-S0 | -6 | 2634729 | 2.24 | 242471
314 | Turbogenerator Units | 34006214.12 | 2046-12-31 | 55-L1 | -9 | 821944 | 2.42 | 2046-12-31 | 57-S0 | -8 | 889007 | 2.61 | 67063
315 | Accessory Electric Equipment | 8893886.22 | 2046-12-31 | 75-R2.5 | -5 | 133722 | 1.5 | 2046-12-31 | 75-R2.5 | -5 | 162961 | 1.83 | 29239
316 | Miscellaneous Power Plant Equipment | 2124534.92 | 2046-12-31 | 40-O1 | -8 | 55221 | 2.6 | 2046-12-31 | 40-O1 | -7 | 61662 | 2.9 | 6441
| Reserve Amortization | [9 empty] | -2293038.3 |  | -2293038.3
| TOTAL COLSTRIP | 221458869.7 |  |  |  | 4364839 | 1.97 |  |  |  | 2557701.7 | 1.15 | -1807137.3
CRAIG
311 | Structures and Improvements | 36504160.2 | 2034-12-31 | 90-R2 | -7 | 796185 | 2.18 | 2034-12-31 | 120-R1.5 | -6 | 771491 | 2.11 | -24694
312 | Boiler Plant Equipment | 102174076.66 | 2034-12-31 | 60-L1 | -6 | 3227313 | 3.16 | 2034-12-31 | 68-S0 | -5 | 3068989 | 3 | -158324
314 | Turbogenerator Units | 27213964.86 | 2034-12-31 | 55-L1 | -7 | 964295 | 3.54 | 2034-12-31 | 57-S0 | -7 | 953201 | 3.5 | -11094
315 | Accessory Electric Equipment | 16744309.76 | 2034-12-31 | 75-R2.5 | -5 | 344121 | 2.06 | 2034-12-31 | 75-R2.5 | -5 | 341644 | 2.04 | -2477
316 | Miscellaneous Power Plant Equipment | 1646012.04 | 2034-12-31 | 40-O1 | -7 | 52063 | 3.16 | 2034-12-31 | 40-O1 | -7 | 51273 | 3.11 | -790
| TOTAL CRAIG | 184282523.52 |  |  |  | 5383977 | 2.92 |  |  |  | 5186598 | 2.81 | -197379
DAVE JOHNSTON
310.2 | Land Rights | 99970.26 | 2027-12-31 | SQUARE | 0 | 2345 | 2.35 | 2027-12-31 | SQUARE | 0 | 2304 | 2.3 | -41
311 | Structures and Improvements | 151253466.81 | 2027-12-31 | 90-R2 | -4 | 8423695 | 5.57 | 2027-12-31 | 120-R1.5 | -4 | 8412996 | 5.56 | -10699
312 | Boiler Plant Equipment | 688471036.6 | 2027-12-31 | 60-L1 | -4 | 39361986 | 5.72 | 2027-12-31 | 68-S0 | -4 | 39169525 | 5.69 | -192461
314 | Turbogenerator Units | 98128001.58 | 2027-12-31 | 55-L1 | -5 | 4778903 | 4.87 | 2027-12-31 | 57-S0 | -5 | 4731860 | 4.82 | -47043
315 | Accessory Electric Equipment | 60114470.64 | 2027-12-31 | 75-R2.5 | -4 | 3462617 | 5.76 | 2027-12-31 | 75-R2.5 | -3 | 3410792 | 5.67 | -51825
316 | Miscellaneous Power Plant Equipment | 8382702.84 | 2027-12-31 | 40-O1 | -5 | 513652 | 6.13 | 2027-12-31 | 40-O1 | -4 | 505764 | 6.03 | -7888
| TOTAL DAVE JOHNSTON | 1006449648.73 |  |  |  | 56543198 | 5.62 |  |  |  | 56233241 | 5.59 | -309957
GADSBY
311 | Structures and Improvements | 15146477.8 | 2022-12-31 | 90-R2 | -13 | 129988 | 0.86 | 2032-12-31 | 120-R1.5 | -15 | 305566 | 2.02 | 175578
312 | Boiler Plant Equipment | 37667118.15 | 2022-12-31 | 60-L1 | -13 | 485382 | 1.29 | 2032-12-31 | 68-S0 | -13 | 837698 | 2.22 | 352316
314 | Turbogenerator Units | 19044013.52 | 2022-12-31 | 55-L1 | -13 | 305875 | 1.61 | 2032-12-31 | 57-S0 | -15 | 462691 | 2.43 | 156816
315 | Accessory Electric Equipment | 7776019.36 | 2022-12-31 | 75-R2.5 | -13 | 262303 | 3.37 | 2032-12-31 | 75-R2.5 | -14 | 223415 | 2.87 | -38888
316 | Miscellaneous Power Plant Equipment | 438918.46 | 2022-12-31 | 40-O1 | -12 | 10075 | 2.3 | 2032-12-31 | 40-O1 | -13 | 13933 | 3.17 | 3858
[11 empty] | -2341500.3333 |  | -2341500.3333
| TOTAL GADSBY | 80072547.29 |  |  |  | 1193623 | 1.49 |  |  |  | -498197.3333 | -0.62 | -1691820.3333
HAYDEN
311 | Structures and Improvements | 17496937.91 | 2030-12-31 | 90-R2 | -5 | 807720 | 4.62 | 2030-12-31 | 120-R1.5 | -5 | 807709 | 4.62 | -11
312 | Boiler Plant Equipment | 55025072.94 | 2030-12-31 | 60-L1 | -5 | 1762622 | 3.2 | 2030-12-31 | 68-S0 | -5 | 1728640 | 3.14 | -33982
314 | Turbogenerator Units | 9132027.11 | 2030-12-31 | 55-L1 | -6 | 343218 | 3.76 | 2030-12-31 | 57-S0 | -6 | 337005 | 3.69 | -6213
315 | Accessory Electric Equipment | 2506150.48 | 2030-12-31 | 75-R2.5 | -5 | 45520 | 1.82 | 2030-12-31 | 75-R2.5 | -5 | 43730 | 1.74 | -1790
316 | Miscellaneous Power Plant Equipment | 1157786.57 | 2030-12-31 | 40-O1 | -6 | 38040 | 3.29 | 2030-12-31 | 40-O1 | -6 | 37283 | 3.22 | -757
| TOTAL HAYDEN | 85317975.01 |  |  |  | 2997120 | 3.51 |  |  |  | 2954367 | 3.46 | -42753
HUNTER
310.2 | Land Rights | 246337.54 | 2042-12-31 | SQUARE | 0 | 3818 | 1.55 | 2042-12-31 | SQUARE | 0 | 3972 | 1.61 | 154
311 | Structures and Improvements | 205687039.72 | 2042-12-31 | 90-R2 | -8 | 3848405 | 1.87 | 2042-12-31 | 120-R1.5 | -7 | 3961970 | 1.93 | 113565
312 | Boiler Plant Equipment | 702626566.22 | 2042-12-31 | 60-L1 | -7 | 20080126 | 2.86 | 2042-12-31 | 68-S0 | -6 | 19619877 | 2.79 | -460249
314 | Turbogenerator Units | 222126262 | 2042-12-31 | 55-L1 | -8 | 7018485 | 3.16 | 2042-12-31 | 57-S0 | -8 | 7035448 | 3.17 | 16963
315 | Accessory Electric Equipment | 97810676.69 | 2042-12-31 | 75-R2.5 | -6 | 1836981 | 1.88 | 2042-12-31 | 75-R2.5 | -6 | 1923169 | 1.97 | 86188
316 | Miscellaneous Power Plant Equipment | 3507125.69 | 2042-12-31 | 40-O1 | -8 | 105228 | 3 | 2042-12-31 | 40-O1 | -8 | 107948 | 3.08 | 2720
| Reserve Amortization | [9 empty] | -5927184 |  | -5927184
| TOTAL HUNTER | 1232004007.86 |  |  |  | 32893043 | 2.67 |  |  |  | 26725200 | 2.17 | -6167843
HUNTINGTON
311 | Structures and Improvements | 115994871.79 | 2036-12-31 | 90-R2 | -8 | 2836862 | 2.45 | 2036-12-31 | 120-R1.5 | -7 | 2766681 | 2.39 | -70181
312 | Boiler Plant Equipment | 536092514.46 | 2036-12-31 | 60-L1 | -6 | 19882251 | 3.71 | 2036-12-31 | 68-S0 | -6 | 19525452 | 3.64 | -356799
314 | Turbogenerator Units | 120883824.42 | 2036-12-31 | 55-L1 | -8 | 4277694 | 3.54 | 2036-12-31 | 57-S0 | -7 | 4152261 | 3.43 | -125433
315 | Accessory Electric Equipment | 46144673.91 | 2036-12-31 | 75-R2.5 | -6 | 1294185 | 2.8 | 2036-12-31 | 75-R2.5 | -6 | 1283203 | 2.78 | -10982
316 | Miscellaneous Power Plant Equipment | 2628590.18 | 2036-12-31 | 40-O1 | -7 | 104547 | 3.98 | 2036-12-31 | 40-O1 | -7 | 103973 | 3.96 | -574
| TOTAL HUNTINGTON | 821744474.76 |  |  |  | 28395539 | 3.46 |  |  |  | 27831570 | 3.39 | -563969
JAMES RIVER
311 | Structures and Improvements | 5711884.85 | 2016-12-31 | 90-R2 | -1 | 265193 | 4.64 | 2015-12-31 | 120-R1.5 | 0 | 366557 | 6.42 | 101364
312 | Boiler Plant Equipment | 5717447.08 | 2016-12-31 | 60-L1 | -1 | 270596 | 4.73 | 2015-12-31 | 68-S0 | 0 | 372396 | 6.51 | 101800
314 | Turbogenerator Units | 18302388.07 | 2016-12-31 | 55-L1 | -1 | 871330 | 4.76 | 2015-12-31 | 57-S0 | 0 | 1214959 | 6.64 | 343629
315 | Accessory Electric Equipment | 4287195.19 | 2016-12-31 | 75-R2.5 | -1 | 201543 | 4.7 | 2015-12-31 | 75-R2.5 | 0 | 277846 | 6.48 | 76303
| TOTAL JAMES RIVER | 34018915.19 |  |  |  | 1608662 | 4.73 |  |  |  | 2231758 | 6.56 | 623096
JIM BRIDGER
310.2 | Land Rights | 281111.1 | 2037-12-31 | SQUARE | 0 | 4014 | 1.43 | 2037-12-31 | SQUARE | 0 | 3828 | 1.36 | -186
311 | Structures and Improvements | 139335557.25 | 2037-12-31 | 90-R2 | -9 | 2698173 | 1.94 | 2037-12-31 | 120-R1.5 | -8 | 2607794 | 1.87 | -90379
312 | Boiler Plant Equipment | 695882280.73 | 2037-12-31 | 60-L1 | -8 | 20897500 | 3 | 2037-12-31 | 68-S0 | -7 | 19874604 | 2.86 | -1022896
314 | Turbogenerator Units | 212082398.67 | 2037-12-31 | 55-L1 | -9 | 7322037 | 3.45 | 2037-12-31 | 57-S0 | -8 | 7117884 | 3.36 | -204153
315 | Accessory Electric Equipment | 58392863.58 | 2037-12-31 | 75-R2.5 | -7 | 1153665 | 1.98 | 2037-12-31 | 75-R2.5 | -7 | 1128566 | 1.93 | -25099
316 | Miscellaneous Power Plant Equipment | 3580470.8 | 2037-12-31 | 40-O1 | -8 | 113117 | 3.16 | 2037-12-31 | 40-O1 | -8 | 111544 | 3.12 | -1573
| TOTAL JIM BRIDGER | 1109554682.13 |  |  |  | 32188506 | 2.9 |  |  |  | 30844220 | 2.78 | -1344286
NAUGHTON
310.2 | Land Rights | 15015.87 | 2029-12-31 | SQUARE | 0 | 222 | 1.48 | 2029-12-31 | SQUARE | 0 | 218 | 1.45 | -4
311 | Structures and Improvements | 113466831.51 | 2029-12-31 | 90-R2 | -5 | 4914720 | 4.33 | 2029-12-31 | 120-R1.5 | -5 | 4929732 | 4.34 | 15012
312 | Boiler Plant Equipment | 516727023.29 | 2029-12-31 | 60-L1 | -5 | 25403539 | 4.92 | 2029-12-31 | 68-S0 | -4 | 24835413 | 4.81 | -568126
314 | Turbogenerator Units | 77841079.96 | 2029-12-31 | 55-L1 | -6 | 3273322 | 4.21 | 2029-12-31 | 57-S0 | -6 | 3245598 | 4.17 | -27724
315 | Accessory Electric Equipment | 61140202.31 | 2029-12-31 | 75-R2.5 | -4 | 3132974 | 5.12 | 2029-12-31 | 75-R2.5 | -4 | 3135107 | 5.13 | 2133
316 | Miscellaneous Power Plant Equipment | 1941066.52 | 2029-12-31 | 40-O1 | -6 | 99790 | 5.14 | 2029-12-31 | 40-O1 | -6 | 99920 | 5.15 | 130
| TOTAL NAUGHTON | 771131219.46 |  |  |  | 36824567 | 4.78 |  |  |  | 36245988 | 4.7 | -578579
WYODAK
310.2 | Land Rights | 164796.8 | 2039-12-31 | SQUARE | 0 | 2810 | 1.71 | 2039-12-31 | SQUARE | 0 | 2726 | 1.65 | -84
311 | Structures and Improvements | 50999493.55 | 2039-12-31 | 90-R2 | -6 | 1064464 | 2.09 | 2039-12-31 | 120-R1.5 | -5 | 1022798 | 2.01 | -41666
312 | Boiler Plant Equipment | 303169721.65 | 2039-12-31 | 60-L1 | -5 | 9781965 | 3.23 | 2039-12-31 | 68-S0 | -4 | 9376339 | 3.09 | -405626
314 | Turbogenerator Units | 62805875.16 | 2039-12-31 | 55-L1 | -7 | 2029015 | 3.23 | 2039-12-31 | 57-S0 | -6 | 1958627 | 3.12 | -70388
315 | Accessory Electric Equipment | 27951228.6 | 2039-12-31 | 75-R2.5 | -4 | 693062 | 2.48 | 2039-12-31 | 75-R2.5 | -4 | 681063 | 2.44 | -11999
316 | Miscellaneous Power Plant Equipment | 1195691.48 | 2039-12-31 | 40-O1 | -6 | 48972 | 4.1 | 2039-12-31 | 40-O1 | -6 | 48714 | 4.07 | -258
| TOTAL WYODAK | 446286807.24 |  |  |  | 13620288 | 3.05 |  |  |  | 13090267 | 2.93 | -530021
| TOTAL DEPRECIABLE STEAM PRODUCTION PLANT | 6765539384.67 |  |  |  | 314994857 | 4.66 |  |  |  | 273919371.7667 | 4.05 | -41075485.2333
310.3 | Water Rights
| Carbon | 865460.63 | [10 empty] | 0
| Dave Johnston | 9700996.61 | [10 empty] | 0
| Gadsby | 8138.01 | [10 empty] | 0
| Hunter | 24271831.3 | [10 empty] | 0
| Huntington | 1471639 | [10 empty] | 0
| JimBridger | 171270 | [10 empty] | 0
| Naughton | 690.97 | [10 empty] | 0
| Wyodak | 13496.8 | [10 empty] | 0
| Total Account 310.30 Water Rights | 36503523.32 | [10 empty] | 0
| TOTAL STEAM PRODUCTION PLANT | 6802042907.99 |  |  |  | 314994857 | 4.63 |  |  |  | 273919371.7667 | 4.03 | -41075485.2333
HYDRAULIC PRODUCTION PLANT
ASHTON/ST. ANTHONY
330.2 | Land Rights | 28699.78 | 2027-12-31 | SQUARE | 0 | 801 | 2.79 | 2027-12-31 | SQUARE | 0 | 801 | 2.79 | 0
331 | Structures and Improvements | 1173118.14 | 2027-12-31 | 120-R1.5 | -2 | 39108 | 3.33 | 2027-12-31 | 120-R1.5 | -2 | 39108 | 3.33 | 0
332 | Reservoirs, Dams and Waterways | 29573678.59 | 2027-12-31 | 120-R2 | -1 | 1830162 | 6.19 | 2027-12-31 | 120-R2 | -1 | 1830162 | 6.19 | 0
333 | Waterwheels, Turbines and Generators | 2431402.09 | 2027-12-31 | 90-L1.5 | -2 | 78004 | 3.21 | 2027-12-31 | 90-L1.5 | -2 | 78004 | 3.21 | 0
334 | Accessory Electric Equipment | 1358678.42 | 2027-12-31 | 70-L0 | -3 | 51201 | 3.77 | 2027-12-31 | 70-L0 | -3 | 51201 | 3.77 | 0
335 | Miscellaneous Power Plant Equipment | 8518.8 | 2027-12-31 | 75-R0.5 | -1 | 240 | 2.82 | 2027-12-31 | 75-R0.5 | -1 | 240 | 2.82 | 0
336 | Roads, Railroads and Bridges | 732.06 | 2027-12-31 | 120-R1.5 | -5 | 12 | 1.64 | 2027-12-31 | 120-R1.5 | -5 | 12 | 1.64 | 0
| TOTAL ASHTON/ST. ANTHONY | 34574827.88 |  |  |  | 1999528 | 5.78 |  |  |  | 1999528 | 5.78 | 0
BEAR RIVER
330.2 | Land Rights | 5879.43 | 2033-12-31 | SQUARE | 0 | 81 | 1.38 | 2033-12-31 | SQUARE | 0 | 81 | 1.38 | 0
331 | Structures and Improvements | 4638270.52 | 2033-12-31 | 120-R1.5 | -3 | 143190 | 3.09 | 2033-12-31 | 120-R1.5 | -3 | 143190 | 3.09 | 0
332 | Reservoirs, Dams and Waterways | 28903985.3 | 2033-12-31 | 120-R2 | -2 | 956665 | 3.31 | 2033-12-31 | 120-R2 | -2 | 956665 | 3.31 | 0
333 | Waterwheels, Turbines and Generators | 10637089.12 | 2033-12-31 | 90-L1.5 | -4 | 372788 | 3.5 | 2033-12-31 | 90-L1.5 | -4 | 372788 | 3.5 | 0
334 | Accessory Electric Equipment | 4042608.89 | 2033-12-31 | 70-L0 | -4 | 153325 | 3.79 | 2033-12-31 | 70-L0 | -4 | 153325 | 3.79 | 0
335 | Miscellaneous Power Plant Equipment | 80931.81 | 2033-12-31 | 75-R0.5 | -1 | 2213 | 2.73 | 2033-12-31 | 75-R0.5 | -1 | 2213 | 2.73 | 0
336 | Roads, Railroads and Bridges | 594627.69 | 2033-12-31 | 120-R1.5 | -3 | 17478 | 2.94 | 2033-12-31 | 120-R1.5 | -3 | 17478 | 2.94 | 0
| TOTAL BEAR RIVER | 48903392.76 |  |  |  | 1645740 | 3.37 |  |  |  | 1645740 | 3.37 | 0
BEND
331 | Structures and Improvements | 56572.92 | 2016-12-31 | 120-R1.5 | 0 | 1180 | 2.09 | 2016-12-31 | 120-R1.5 | 0 | 1180 | 2.09 | 0
332 | Reservoirs, Dams and Waterways | 530917.02 | 2016-12-31 | 120-R2 | 0 | 93670 | 17.64 | 2016-12-31 | 120-R2 | 0 | 93670 | 17.64 | 0
333 | Waterwheels, Turbines and Generators | 94984.56 | 2016-12-31 | 90-L1.5 | -1 | 6454 | 6.79 | 2016-12-31 | 90-L1.5 | -1 | 6454 | 6.79 | 0
334 | Accessory Electric Equipment | 614724.52 | 2016-12-31 | 70-L0 | 0 | 21715 | 3.53 | 2016-12-31 | 70-L0 | 0 | 21715 | 3.53 | 0
335 | Miscellaneous Power Plant Equipment | 15205.65 | 2016-12-31 | 75-R0.5 | 0 | 514 | 3.38 | 2016-12-31 | 75-R0.5 | 0 | 514 | 3.38 | 0
336 | Roads, Railroads and Bridges | 172.45 | 2016-12-31 | 120-R1.5 | 0 | 0 | 0 | 2016-12-31 | 120-R1.5 | 0 | 0 | 0 | 0
| TOTAL BEND | 1312577.12 |  |  |  | 123533 | 9.41 |  |  |  | 123533 | 9.41 | 0
BIG FORK
331 | Structures and Improvements | 603481.95 | 2053-12-31 | 120-R1.5 | -5 | 8525 | 1.41 | 2053-12-31 | 120-R1.5 | -5 | 8525 | 1.41 | 0
332 | Reservoirs, Dams and Waterways | 4681574.38 | 2053-12-31 | 120-R2 | -4 | 60407 | 1.29 | 2053-12-31 | 120-R2 | -4 | 60407 | 1.29 | 0
333 | Waterwheels, Turbines and Generators | 1488399.02 | 2053-12-31 | 90-L1.5 | -8 | 21795 | 1.46 | 2053-12-31 | 90-L1.5 | -8 | 21795 | 1.46 | 0
334 | Accessory Electric Equipment | 295205.77 | 2053-12-31 | 70-L0 | -8 | 4475 | 1.52 | 2053-12-31 | 70-L0 | -8 | 4475 | 1.52 | 0
336 | Roads, Railroads and Bridges | 231345.98 | 2053-12-31 | 120-R1.5 | -4 | 4932 | 2.13 | 2053-12-31 | 120-R1.5 | -4 | 4932 | 2.13 | 0
| TOTAL BIG FORK | 7300007.1 |  |  |  | 100134 | 1.37 |  |  |  | 100134 | 1.37 | 0
CONDIT
330.2 | Land Rights |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
330.4 | Flood Rights |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
331 | Structures and Improvements |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
332 | Reservoirs, Dams and Waterways |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
333 | Waterwheels, Turbines and Generators |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
334 | Accessory Electric Equipment |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
335 | Miscellaneous Power Plant Equipment |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
336 | Roads, Railroads and Bridges |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
| TOTAL CONDIT | 0 | [10 empty] | 0
CUTLER
330.3 | Water Rights | 4818.31 | 2024-12-31 | SQUARE | 0 | 150 | 3.11 | 2024-12-31 | SQUARE | 0 | 150 | 3.11 | 0
330.4 | Flood Rights | 90968.42 | 2024-12-31 | SQUARE | 0 | 3031 | 3.33 | 2024-12-31 | SQUARE | 0 | 3031 | 3.33 | 0
331 | Structures and Improvements | 3948380.27 | 2024-12-31 | 120-R1.5 | -1 | 199880 | 5.06 | 2024-12-31 | 120-R1.5 | -1 | 199880 | 5.06 | 0
332 | Reservoirs, Dams and Waterways | 7511397.6 | 2024-12-31 | 120-R2 | -1 | 376502 | 5.01 | 2024-12-31 | 120-R2 | -1 | 376502 | 5.01 | 0
333 | Waterwheels, Turbines and Generators | 11967826.22 | 2024-12-31 | 90-L1.5 | -1 | 859713 | 7.18 | 2024-12-31 | 90-L1.5 | -1 | 859713 | 7.18 | 0
334 | Accessory Electric Equipment | 2534260.56 | 2024-12-31 | 70-L0 | -2 | 184817 | 7.29 | 2024-12-31 | 70-L0 | -2 | 184817 | 7.29 | 0
335 | Miscellaneous Power Plant Equipment | 12376.95 | 2024-12-31 | 75-R0.5 | -1 | 560 | 4.52 | 2024-12-31 | 75-R0.5 | -1 | 560 | 4.52 | 0
336 | Roads, Railroads and Bridges | 569198.54 | 2024-12-31 | 120-R1.5 | -1 | 25849 | 4.54 | 2024-12-31 | 120-R1.5 | -1 | 25849 | 4.54 | 0
| TOTAL CUTLER | 26639226.87 |  |  |  | 1650502 | 6.2 |  |  |  | 1650502 | 6.2 | 0
EAGLE POINT
330.2 | Land Rights | 12122.48 | 2025-12-31 | SQUARE | 0 | 0 | 0 | 2025-12-31 | SQUARE | 0 | 0 | 0 | 0
331 | Structures and Improvements | 137764.98 | 2025-12-31 | 120-R1.5 | -1 | 1800 | 1.31 | 2025-12-31 | 120-R1.5 | -1 | 1800 | 1.31 | 0
332 | Reservoirs, Dams and Waterways | 1222846.07 | 2025-12-31 | 120-R2 | -1 | 15337 | 1.25 | 2025-12-31 | 120-R2 | -1 | 15337 | 1.25 | 0
333 | Waterwheels, Turbines and Generators | 247700.95 | 2025-12-31 | 90-L1.5 | -4 | 765 | 0.31 | 2025-12-31 | 90-L1.5 | -4 | 765 | 0.31 | 0
334 | Accessory Electric Equipment | 96830.29 | 2025-12-31 | 70-L0 | -2 | 2592 | 2.68 | 2025-12-31 | 70-L0 | -2 | 2592 | 2.68 | 0
336 | Roads, Railroads and Bridges | 105338.24 | 2025-12-31 | 120-R1.5 | -1 | 3118 | 2.96 | 2025-12-31 | 120-R1.5 | -1 | 3118 | 2.96 | 0
| TOTAL EAGLE POINT | 1822603.01 |  |  |  | 23612 | 1.3 |  |  |  | 23612 | 1.3 | 0
FOUNTAIN GREEN
331 | Structures and Improvements |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
332 | Reservoirs, Dams and Waterways |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
333 | Waterwheels, Turbines and Generators |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
334 | Accessory Electric Equipment |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
336 | Roads, Railroads and Bridges |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
| TOTAL FOUNTAIN GREEN | 0 | [10 empty] | 0
GRANITE
331 | Structures and Improvements | 532427.64 | 2030-12-31 | 120-R1.5 | -2 | 23538 | 4.42 | 2030-12-31 | 120-R1.5 | -2 | 23538 | 4.42 | 0
332 | Reservoirs, Dams and Waterways | 3759568.18 | 2030-12-31 | 120-R2 | -1 | 135424 | 3.6 | 2030-12-31 | 120-R2 | -1 | 135424 | 3.6 | 0
333 | Waterwheels, Turbines and Generators | 715247.3 | 2030-12-31 | 90-L1.5 | -4 | 21901 | 3.06 | 2030-12-31 | 90-L1.5 | -4 | 21901 | 3.06 | 0
334 | Accessory Electric Equipment | 206747.71 | 2030-12-31 | 70-L0 | -3 | 7498 | 3.63 | 2030-12-31 | 70-L0 | -3 | 7498 | 3.63 | 0
335 | Miscellaneous Power Plant Equipment | 1385.35 | 2030-12-31 | 75-R0.5 | -2 | 34 | 2.45 | 2030-12-31 | 75-R0.5 | -2 | 34 | 2.45 | 0
| TOTAL GRANITE | 5215376.18 |  |  |  | 188395 | 3.61 |  |  |  | 188395 | 3.61 | 0
KLAMATH RIVER
330.2 | Land Rights | 638992.96 | 2020-12-31 | SQUARE | 0 | 44883 | 7.02 | 2020-12-31 | SQUARE | 0 | 44883 | 7.02 | 0
330.4 | Flood Rights | 252509.75 | 2020-12-31 | SQUARE | 0 | 13315 | 5.27 | 2020-12-31 | SQUARE | 0 | 13315 | 5.27 | 0
331 | Structures and Improvements | 897708.24 | 2020-12-31 | 120-R1.5 | -1 | 70648 | 7.87 | 2020-12-31 | 120-R1.5 | -1 | 70648 | 7.87 | 0
332 | Reservoirs, Dams and Waterways | 11715921.25 | 2020-12-31 | 120-R2 | -1 | 678026 | 5.79 | 2020-12-31 | 120-R2 | -1 | 678026 | 5.79 | 0
333 | Waterwheels, Turbines and Generators | 277224.64 | 2020-12-31 | 90-L1.5 | -3 | 16198 | 5.84 | 2020-12-31 | 90-L1.5 | -3 | 16198 | 5.84 | 0
334 | Accessory Electric Equipment | 836614.03 | 2020-12-31 | 70-L0 | -1 | 69633 | 8.32 | 2020-12-31 | 70-L0 | -1 | 69633 | 8.32 | 0
335 | Miscellaneous Power Plant Equipment | 60488.69 | 2020-12-31 | 75-R0.5 | -1 | 4184 | 6.92 | 2020-12-31 | 75-R0.5 | -1 | 4184 | 6.92 | 0
336 | Roads, Railroads and Bridges | 239834.16 | 2020-12-31 | 120-R1.5 | -1 | 17779 | 7.41 | 2020-12-31 | 120-R1.5 | -1 | 17779 | 7.41 | 0
| TOTAL KLAMATH RIVER | 14919293.72 |  |  |  | 914666 | 6.13 |  |  |  | 914666 | 6.13 | 0
KLAMATH RIVER - ACCELERATED
330.2 | Land Rights | 40941.3 | 2019-12-31 | SQUARE | 0 | 2233 | 5.45 | 2022-12-31 | SQUARE | 0 | 1489 |  | -744
330.4 | Flood Rights | 1029.5 | 2019-12-31 | SQUARE | 0 | 56 | 5.44 | 2022-12-31 | SQUARE | 0 | 37 |  | -19
331 | Structures and Improvements | 13695979.66 | 2019-12-31 | SQUARE | 0 | 1138372 | 8.31 | 2022-12-31 | SQUARE | 0 | 758914 |  | -379458
332 | Reservoirs, Dams and Waterways | 34075662.46 | 2019-12-31 | SQUARE | 0 | 2425041 | 7.12 | 2022-12-31 | SQUARE | 0 | 1616694 |  | -808347
333 | Waterwheels, Turbines and Generators | 17786161.61 | 2019-12-31 | SQUARE | 0 | 1392722 | 7.83 | 2022-12-31 | SQUARE | 0 | 928482 |  | -464240
334 | Accessory Electric Equipment | 16047648.01 | 2019-12-31 | SQUARE | 0 | 1491231 | 9.29 | 2022-12-31 | SQUARE | 0 | 994153 |  | -497078
335 | Miscellaneous Power Plant Equipment | 173066.89 | 2019-12-31 | SQUARE | 0 | 11137 | 6.44 | 2022-12-31 | SQUARE | 0 | 7425 |  | -3712
336 | Roads, Railroads and Bridges | 2547856.13 | 2019-12-31 | SQUARE | 0 | 190487 | 7.48 | 2022-12-31 | SQUARE | 0 | 126991 |  | -63496
| TOTAL KLAMATH RIVER ACCELERATED | 84368345.56 |  |  |  | 6651279 | 7.88 |  |  |  | 4434185 | 5.26 | -2217094
LAST CHANCE
331 | Structures and Improvements | 446366.87 | 2025-12-31 | 120-R1.5 | -1 | 15406 | 3.45 | 2025-12-31 | 120-R1.5 | -1 | 15406 | 3.45 | 0
332 | Reservoirs, Dams and Waterways | 956229.4 | 2025-12-31 | 120-R2 | -1 | 38512 | 4.03 | 2025-12-31 | 120-R2 | -1 | 38512 | 4.03 | 0
333 | Waterwheels, Turbines and Generators | 1060034.98 | 2025-12-31 | 90-L1.5 | -2 | 35563 | 3.35 | 2025-12-31 | 90-L1.5 | -2 | 35563 | 3.35 | 0
334 | Accessory Electric Equipment | 257823.55 | 2025-12-31 | 70-L0 | -2 | 12972 | 5.03 | 2025-12-31 | 70-L0 | -2 | 12972 | 5.03 | 0
336 | Roads, Railroads and Bridges | 64973.32 | 2025-12-31 | 120-R1.5 | -1 | 1995 | 3.07 | 2025-12-31 | 120-R1.5 | -1 | 1995 | 3.07 | 0
| TOTAL LAST CHANCE | 2785428.12 |  |  |  | 104448 | 3.75 |  |  |  | 104448 | 3.75 | 0
LIFTON
330.2 | Land Rights | 20758.93 | 2033-12-31 | SQUARE | 0 | 389 | 1.87 | 2033-12-31 | SQUARE | 0 | 389 | 1.87 | 0
330.3 | Water Rights | 24129.94 | 2033-12-31 | SQUARE | 0 | 466 | 1.93 | 2033-12-31 | SQUARE | 0 | 466 | 1.93 | 0
331 | Structures and Improvements | 1190919.7 | 2033-12-31 | 120-R1.5 | -4 | 33297 | 2.8 | 2033-12-31 | 120-R1.5 | -4 | 33297 | 2.8 | 0
332 | Reservoirs, Dams and Waterways | 8222952.41 | 2033-12-31 | 120-R2 | -3 | 260898 | 3.17 | 2033-12-31 | 120-R2 | -3 | 260898 | 3.17 | 0
333 | Waterwheels, Turbines and Generators | 7747695.49 | 2033-12-31 | 90-L1.5 | -2 | 320003 | 4.13 | 2033-12-31 | 90-L1.5 | -2 | 320003 | 4.13 | 0
334 | Accessory Electric Equipment | 282694.8 | 2033-12-31 | 70-L0 | -4 | 9984 | 3.53 | 2033-12-31 | 70-L0 | -4 | 9984 | 3.53 | 0
335 | Miscellaneous Power Plant Equipment | 2860.68 | 2033-12-31 | 75-R0.5 | -2 | 85 | 2.97 | 2033-12-31 | 75-R0.5 | -2 | 85 | 2.97 | 0
336 | Roads, Railroads and Bridges | 186242.65 | 2033-12-31 | 120-R1.5 | -2 | 7129 | 3.83 | 2033-12-31 | 120-R1.5 | -2 | 7129 | 3.83 | 0
| TOTAL LIFTON | 17678254.6 |  |  |  | 632251 | 3.58 |  |  |  | 632251 | 3.58 | 0
MERWIN
330.2 | Land Rights | 300510.01 | 2058-12-31 | SQUARE | 0 | 1517 | 0.5 | 2058-12-31 | SQUARE | 0 | 1517 | 0.5 | 0
330.5 | Fish/Wildlife | 212279.74 | 2058-12-31 | SQUARE | 0 | 1011 | 0.48 | 2058-12-31 | SQUARE | 0 | 1011 | 0.48 | 0
331 | Structures and Improvements | 94372014.96 | 2058-12-31 | 120-R1.5 | -4 | 1993989 | 2.11 | 2058-12-31 | 120-R1.5 | -4 | 1993989 | 2.11 | 0
332 | Reservoirs, Dams and Waterways | 24113998.96 | 2058-12-31 | 120-R2 | -6 | 442208 | 1.83 | 2058-12-31 | 120-R2 | -6 | 442208 | 1.83 | 0
333 | Waterwheels, Turbines and Generators | 7768646.03 | 2058-12-31 | 90-L1.5 | -16 | 111834 | 1.44 | 2058-12-31 | 90-L1.5 | -16 | 111834 | 1.44 | 0
334 | Accessory Electric Equipment | 9928729.92 | 2058-12-31 | 70-L0 | -8 | 232550 | 2.34 | 2058-12-31 | 70-L0 | -8 | 232550 | 2.34 | 0
335 | Miscellaneous Power Plant Equipment | 157006.82 | 2058-12-31 | 75-R0.5 | -3 | 3250 | 2.07 | 2058-12-31 | 75-R0.5 | -3 | 3250 | 2.07 | 0
336 | Roads, Railroads and Bridges | 2138830.23 | 2058-12-31 | 120-R1.5 | -5 | 34563 | 1.62 | 2058-12-31 | 120-R1.5 | -5 | 34563 | 1.62 | 0
| TOTAL MERWIN | 138992016.67 |  |  |  | 2820922 | 2.03 |  |  |  | 2820922 | 2.03 | 0
NORTH UMPQUA
331 | Structures and Improvements | 106864116.12 | 2038-12-31 | 120-R1.5 | -2 | 4078878 | 3.82 | 2038-12-31 | 120-R1.5 | -2 | 4078878 | 3.82 | 0
332 | Reservoirs, Dams and Waterways | 119045003.23 | 2038-12-31 | 120-R2 | -2 | 3452056 | 2.9 | 2038-12-31 | 120-R2 | -2 | 3452056 | 2.9 | 0
333 | Waterwheels, Turbines and Generators | 23897206.89 | 2038-12-31 | 90-L1.5 | -4 | 780725 | 3.27 | 2038-12-31 | 90-L1.5 | -4 | 780725 | 3.27 | 0
334 | Accessory Electric Equipment | 15581670.98 | 2038-12-31 | 70-L0 | -4 | 583844 | 3.75 | 2038-12-31 | 70-L0 | -4 | 583844 | 3.75 | 0
335 | Miscellaneous Power Plant Equipment | 707251.79 | 2038-12-31 | 75-R0.5 | -2 | 21552 | 3.05 | 2038-12-31 | 75-R0.5 | -2 | 21552 | 3.05 | 0
336 | Roads, Railroads and Bridges | 6806272.66 | 2038-12-31 | 120-R1.5 | -3 | 185663 | 2.73 | 2038-12-31 | 120-R1.5 | -3 | 185663 | 2.73 | 0
| TOTAL NORTH UMPQUA | 272901521.67 |  |  |  | 9102718 | 3.34 |  |  |  | 9102718 | 3.34 | 0
OLMSTED
331 | Structures and Improvements | 188480.45 | 2016-12-31 | 120-R1.5 | -1 | 11250 | 5.97 | 2016-12-31 | 120-R1.5 | -1 | 11250 | 5.97 | 0
334 | Accessory Electric Equipment | 28230.18 | 2016-12-31 | 70-L0 | 0 | 2621 | 9.28 | 2016-12-31 | 70-L0 | 0 | 2621 | 9.28 | 0
335 | Miscellaneous Power Plant Equipment | 3224.02 | 2016-12-31 | 75-R0.5 | 0 | 144 | 4.47 | 2016-12-31 | 75-R0.5 | 0 | 144 | 4.47 | 0
336 | Roads, Railroads and Bridges | 12597.63 | 2016-12-31 | 120-R1.5 | 0 | 1601 | 12.71 | 2016-12-31 | 120-R1.5 | 0 | 1601 | 12.71 | 0
| TOTAL OLMSTED | 232532.28 |  |  |  | 15616 | 6.72 |  |  |  | 15616 | 6.72 | 0
PARIS
331 | Structures and Improvements | 115470.45 | 2017-12-31 | 120-R1.5 | 0 | 11734 | 10.16 | 2017-12-31 | 120-R1.5 | 0 | 11734 | 10.16 | 0
332 | Reservoirs, Dams and Waterways | 95207.14 | 2017-12-31 | 120-R2 | -1 | 0 | 0 | 2017-12-31 | 120-R2 | -1 | 0 | 0 | 0
333 | Waterwheels, Turbines and Generators | 72290.46 | 2017-12-31 | 90-L1.5 | -1 | 0 | 0 | 2017-12-31 | 90-L1.5 | -1 | 0 | 0 | 0
334 | Accessory Electric Equipment | 148531.27 | 2017-12-31 | 70-L0 | -1 | 7273 | 4.9 | 2017-12-31 | 70-L0 | -1 | 7273 | 4.9 | 0
335 | Miscellaneous Power Plant Equipment | 410.96 | 2017-12-31 | 75-R0.5 | 0 | 0 | 0 | 2017-12-31 | 75-R0.5 | 0 | 0 | 0 | 0
| TOTAL PARIS | 431910.28 |  |  |  | 19007 | 4.4 |  |  |  | 19007 | 4.4 | 0
PIONEER
330.2 | Land Rights | 9247.48 | 2030-12-31 | SQUARE | 0 | 101 | 1.09 | 2030-12-31 | SQUARE | 0 | 101 | 1.09 | 0
330.3 | Water Rights | 110805.67 | 2030-12-31 | SQUARE | 0 | 1210 | 1.09 | 2030-12-31 | SQUARE | 0 | 1210 | 1.09 | 0
331 | Structures and Improvements | 511367.26 | 2030-12-31 | 120-R1.5 | -2 | 18118 | 3.54 | 2030-12-31 | 120-R1.5 | -2 | 18118 | 3.54 | 0
332 | Reservoirs, Dams and Waterways | 8084669.41 | 2030-12-31 | 120-R2 | -2 | 239907 | 2.97 | 2030-12-31 | 120-R2 | -2 | 239907 | 2.97 | 0
333 | Waterwheels, Turbines and Generators | 1593836.1 | 2030-12-31 | 90-L1.5 | -2 | 68640 | 4.31 | 2030-12-31 | 90-L1.5 | -2 | 68640 | 4.31 | 0
334 | Accessory Electric Equipment | 533461.61 | 2030-12-31 | 70-L0 | -3 | 19598 | 3.67 | 2030-12-31 | 70-L0 | -3 | 19598 | 3.67 | 0
335 | Miscellaneous Power Plant Equipment | 9467.77 | 2030-12-31 | 75-R0.5 | -1 | 270 | 2.85 | 2030-12-31 | 75-R0.5 | -1 | 270 | 2.85 | 0
336 | Roads, Railroads and Bridges | 70497.26 | 2030-12-31 | 120-R1.5 | -1 | 3643 | 5.17 | 2030-12-31 | 120-R1.5 | -1 | 3643 | 5.17 | 0
| TOTAL PIONEER | 10923352.56 |  |  |  | 351487 | 3.22 |  |  |  | 351487 | 3.22 | 0
PROSPECT # 1, 2 AND 4
330.2 | Land Rights | 3711.84 | 2038-12-31 | SQUARE | 0 | 75 | 2.02 | 2038-12-31 | SQUARE | 0 | 75 | 2.02 | 0
330.4 | Flood Rights | 3166.96 | 2038-12-31 | SQUARE | 0 | 43 | 1.36 | 2038-12-31 | SQUARE | 0 | 43 | 1.36 | 0
331 | Structures and Improvements | 3293639.53 | 2038-12-31 | 120-R1.5 | -3 | 91308 | 2.77 | 2038-12-31 | 120-R1.5 | -3 | 91308 | 2.77 | 0
332 | Reservoirs, Dams and Waterways | 36188926.13 | 2038-12-31 | 120-R2 | -2 | 1181931 | 3.27 | 2038-12-31 | 120-R2 | -2 | 1181931 | 3.27 | 0
333 | Waterwheels, Turbines and Generators | 3875233.33 | 2038-12-31 | 90-L1.5 | -4 | 123224 | 3.18 | 2038-12-31 | 90-L1.5 | -4 | 123224 | 3.18 | 0
334 | Accessory Electric Equipment | 2144390.87 | 2038-12-31 | 70-L0 | -5 | 71541 | 3.34 | 2038-12-31 | 70-L0 | -5 | 71541 | 3.34 | 0
335 | Miscellaneous Power Plant Equipment | 18804.09 | 2038-12-31 | 75-R0.5 | -2 | 573 | 3.05 | 2038-12-31 | 75-R0.5 | -2 | 573 | 3.05 | 0
336 | Roads, Railroads and Bridges | 290688.82 | 2038-12-31 | 120-R1.5 | -3 | 8264 | 2.84 | 2038-12-31 | 120-R1.5 | -3 | 8264 | 2.84 | 0
| TOTAL PROSPECT # 1, 2 AND 4 | 45818561.57 |  |  |  | 1476959 | 3.22 |  |  |  | 1476959 | 3.22 | 0
PROSPECT #3
331 | Structures and Improvements | 331999.42 | 2018-12-31 | 120-R1.5 | 0 | 18124 | 5.46 | 2018-12-31 | 120-R1.5 | 0 | 18124 | 5.46 | 0
332 | Reservoirs, Dams and Waterways | 4210644.95 | 2018-12-31 | 120-R2 | 0 | 174936 | 4.15 | 2018-12-31 | 120-R2 | 0 | 174936 | 4.15 | 0
333 | Waterwheels, Turbines and Generators | 1799012.81 | 2018-12-31 | 90-L1.5 | 0 | 85572 | 4.76 | 2018-12-31 | 90-L1.5 | 0 | 85572 | 4.76 | 0
334 | Accessory Electric Equipment | 468463.67 | 2018-12-31 | 70-L0 | -1 | 24585 | 5.25 | 2018-12-31 | 70-L0 | -1 | 24585 | 5.25 | 0
335 | Miscellaneous Power Plant Equipment | 70751.96 | 2018-12-31 | 75-R0.5 | 0 | 2989 | 4.22 | 2018-12-31 | 75-R0.5 | 0 | 2989 | 4.22 | 0
336 | Roads, Railroads and Bridges | 58925.82 | 2018-12-31 | 120-R1.5 | -1 | 1936 | 3.29 | 2018-12-31 | 120-R1.5 | -1 | 1936 | 3.29 | 0
| TOTAL PROSPECT #3 | 6939798.63 |  |  |  | 308142 | 4.44 |  |  |  | 308142 | 4.44 | 0
SANTA CLARA
331 | Structures and Improvements | 178622.97 | 2020-12-31 | 120-R1.5 | -1 | 9019 | 5.05 | 2020-12-31 | 120-R1.5 | -1 | 9019 | 5.05 | 0
332 | Reservoirs, Dams and Waterways | 1133774.43 | 2020-12-31 | 120-R2 | -1 | 55769 | 4.92 | 2020-12-31 | 120-R2 | -1 | 55769 | 4.92 | 0
333 | Waterwheels, Turbines and Generators | 460842.83 | 2020-12-31 | 90-L1.5 | -1 | 20481 | 4.44 | 2020-12-31 | 90-L1.5 | -1 | 20481 | 4.44 | 0
334 | Accessory Electric Equipment | 680466.61 | 2020-12-31 | 70-L0 | -1 | 37186 | 5.46 | 2020-12-31 | 70-L0 | -1 | 37186 | 5.46 | 0
335 | Miscellaneous Power Plant Equipment | 7820.65 | 2020-12-31 | 75-R0.5 | -1 | 283 | 3.62 | 2020-12-31 | 75-R0.5 | -1 | 283 | 3.62 | 0
336 | Roads, Railroads and Bridges | 2683.77 | 2020-12-31 | 120-R1.5 | -2 | 48 | 1.79 | 2020-12-31 | 120-R1.5 | -2 | 48 | 1.79 | 0
| TOTAL SANTA CLARA | 2464211.26 |  |  |  | 122786 | 4.98 |  |  |  | 122786 | 4.98 | 0
STAIRS
331 | Structures and Improvements | 179687.47 | 2030-12-31 | 120-R1.5 | -3 | 4274 | 2.38 | 2030-12-31 | 120-R1.5 | -3 | 4274 | 2.38 | 0
332 | Reservoirs, Dams and Waterways | 737423.62 | 2030-12-31 | 120-R2 | -2 | 26247 | 3.56 | 2030-12-31 | 120-R2 | -2 | 26247 | 3.56 | 0
333 | Waterwheels, Turbines and Generators | 514366.55 | 2030-12-31 | 90-L1.5 | -3 | 12983 | 2.52 | 2030-12-31 | 90-L1.5 | -3 | 12983 | 2.52 | 0
334 | Accessory Electric Equipment | 174576.17 | 2030-12-31 | 70-L0 | -3 | 4949 | 2.83 | 2030-12-31 | 70-L0 | -3 | 4949 | 2.83 | 0
336 | Roads, Railroads and Bridges | 5492.83 | 2030-12-31 | 120-R1.5 | -1 | 279 | 5.08 | 2030-12-31 | 120-R1.5 | -1 | 279 | 5.08 | 0
| TOTAL STAIRS | 1611546.64 |  |  |  | 48732 | 3.02 |  |  |  | 48732 | 3.02 | 0
SWIFT
330.2 | Land Rights | 6277412.59 | 2058-12-31 | SQUARE | 0 | 53705 | 0.86 | 2058-12-31 | SQUARE | 0 | 53705 | 0.86 | 0
330.5 | Fish/Wildlife | 97228.11 | 2058-12-31 | SQUARE | 0 | 851 | 0.88 | 2058-12-31 | SQUARE | 0 | 851 | 0.88 | 0
331 | Structures and Improvements | 69147822.96 | 2058-12-31 | 120-R1.5 | -4 | 1564703 | 2.26 | 2058-12-31 | 120-R1.5 | -4 | 1564703 | 2.26 | 0
332 | Reservoirs, Dams and Waterways | 51129022.07 | 2058-12-31 | 120-R2 | -7 | 717022 | 1.4 | 2058-12-31 | 120-R2 | -7 | 717022 | 1.4 | 0
333 | Waterwheels, Turbines and Generators | 11769137.29 | 2058-12-31 | 90-L1.5 | -16 | 192004 | 1.63 | 2058-12-31 | 90-L1.5 | -16 | 192004 | 1.63 | 0
334 | Accessory Electric Equipment | 4368833.74 | 2058-12-31 | 70-L0 | -8 | 100223 | 2.29 | 2058-12-31 | 70-L0 | -8 | 100223 | 2.29 | 0
335 | Miscellaneous Power Plant Equipment | 409190.12 | 2058-12-31 | 75-R0.5 | -5 | 5991 | 1.46 | 2058-12-31 | 75-R0.5 | -5 | 5991 | 1.46 | 0
336 | Roads, Railroads and Bridges | 1008338.91 | 2058-12-31 | 120-R1.5 | -5 | 19983 | 1.98 | 2058-12-31 | 120-R1.5 | -5 | 19983 | 1.98 | 0
| TOTAL SWIFT | 144206985.79 |  |  |  | 2654482 | 1.84 |  |  |  | 2654482 | 1.84 | 0
VIVA NAUGHTON
331 | Structures and Improvements | 401422.23 | 2040-12-31 | 120-R1.5 | -3 | 8615 | 2.15 | 2040-12-31 | 120-R1.5 | -3 | 8615 | 2.15 | 0
332 | Reservoirs, Dams and Waterways | 103180.88 | 2040-12-31 | 120-R2 | -2 | 2101 | 2.04 | 2040-12-31 | 120-R2 | -2 | 2101 | 2.04 | 0
333 | Waterwheels, Turbines and Generators | 494000.19 | 2040-12-31 | 90-L1.5 | -7 | 11188 | 2.26 | 2040-12-31 | 90-L1.5 | -7 | 11188 | 2.26 | 0
334 | Accessory Electric Equipment | 166340.78 | 2040-12-31 | 70-L0 | -6 | 4368 | 2.63 | 2040-12-31 | 70-L0 | -6 | 4368 | 2.63 | 0
335 | Miscellaneous Power Plant Equipment | 20313.04 | 2040-12-31 | 75-R0.5 | -2 | 466 | 2.29 | 2040-12-31 | 75-R0.5 | -2 | 466 | 2.29 | 0
| TOTAL VIVA NAUGHTON | 1185257.12 |  |  |  | 26738 | 2.26 |  |  |  | 26738 | 2.26 | 0
WALLOWA FALLS
331 | Structures and Improvements | 111683.12 | 2016-12-31 | 120-R1.5 | 0 | 4925 | 4.41 | 2016-12-31 | 120-R1.5 | 0 | 4925 | 4.41 | 0
332 | Reservoirs, Dams and Waterways | 906296.78 | 2016-12-31 | 120-R2 | 0 | 39745 | 4.39 | 2016-12-31 | 120-R2 | 0 | 39745 | 4.39 | 0
333 | Waterwheels, Turbines and Generators | 104470.11 | 2016-12-31 | 90-L1.5 | 0 | 9506 | 9.1 | 2016-12-31 | 90-L1.5 | 0 | 9506 | 9.1 | 0
334 | Accessory Electric Equipment | 1369981.99 | 2016-12-31 | 70-L0 | 0 | 68319 | 4.99 | 2016-12-31 | 70-L0 | 0 | 68319 | 4.99 | 0
336 | Roads, Railroads and Bridges | 309737.93 | 2016-12-31 | 120-R1.5 | 0 | 14744 | 4.76 | 2016-12-31 | 120-R1.5 | 0 | 14744 | 4.76 | 0
| TOTAL WALLOWA FALLS | 2802169.93 |  |  |  | 137239 | 4.9 |  |  |  | 137239 | 4.9 | 0
WEBER
331 | Structures and Improvements | 365872.2 | 2020-12-31 | 120-R1.5 | -1 | 12992 | 3.55 | 2020-12-31 | 120-R1.5 | -1 | 12992 | 3.55 | 0
332 | Reservoirs, Dams and Waterways | 1349377.37 | 2020-12-31 | 120-R2 | -1 | 52681 | 3.9 | 2020-12-31 | 120-R2 | -1 | 52681 | 3.9 | 0
333 | Waterwheels, Turbines and Generators | 897363.39 | 2020-12-31 | 90-L1.5 | -1 | 37139 | 4.14 | 2020-12-31 | 90-L1.5 | -1 | 37139 | 4.14 | 0
334 | Accessory Electric Equipment | 250631.27 | 2020-12-31 | 70-L0 | -1 | 24445 | 9.75 | 2020-12-31 | 70-L0 | -1 | 24445 | 9.75 | 0
335 | Miscellaneous Power Plant Equipment | 21962.29 | 2020-12-31 | 75-R0.5 | 0 | 871 | 3.97 | 2020-12-31 | 75-R0.5 | 0 | 871 | 3.97 | 0
336 | Roads, Railroads and Bridges | 39697.96 | 2020-12-31 | 120-R1.5 | -1 | 1729 | 4.36 | 2020-12-31 | 120-R1.5 | -1 | 1729 | 4.36 | 0
| TOTAL WEBER | 2924904.48 |  |  |  | 129857 | 4.44 |  |  |  | 129857 | 4.44 | 0
YALE
330.2 | Land Rights | 761579.86 | 2058-12-31 | SQUARE | 0 | 6242 | 0.82 | 2058-12-31 | SQUARE | 0 | 6242 | 0.82 | 0
331 | Structures and Improvements | 7641824.75 | 2058-12-31 | 120-R1.5 | -6 | 122411 | 1.6 | 2058-12-31 | 120-R1.5 | -6 | 122411 | 1.6 | 0
332 | Reservoirs, Dams and Waterways | 36705619.02 | 2058-12-31 | 120-R2 | -8 | 515384 | 1.4 | 2058-12-31 | 120-R2 | -8 | 515384 | 1.4 | 0
333 | Waterwheels, Turbines and Generators | 10568732.39 | 2058-12-31 | 90-L1.5 | -15 | 177242 | 1.68 | 2058-12-31 | 90-L1.5 | -15 | 177242 | 1.68 | 0
334 | Accessory Electric Equipment | 3521875.55 | 2058-12-31 | 70-L0 | -9 | 75366 | 2.14 | 2058-12-31 | 70-L0 | -9 | 75366 | 2.14 | 0
335 | Miscellaneous Power Plant Equipment | 534872.6 | 2058-12-31 | 75-R0.5 | -5 | 7484 | 1.4 | 2058-12-31 | 75-R0.5 | -5 | 7484 | 1.4 | 0
336 | Roads, Railroads and Bridges | 1433536.86 | 2058-12-31 | 120-R1.5 | -5 | 25225 | 1.76 | 2058-12-31 | 120-R1.5 | -5 | 25225 | 1.76 | 0
| TOTAL YALE | 61168041.03 |  |  |  | 929354 | 1.52 |  |  |  | 929354 | 1.52 | 0
| HYDRO DECOMMISSIONING RESERVE |  |  |  | (a) | 1770617 |  |  |  | (a) | 1770617
| TOTAL HYDRAULIC PRODUCTION | 938122142.83 |  |  |  | 33948744 | 3.62 |  |  |  | 31731650 | 3.38 | -2217094
OTHER PRODUCTION PLANT
CHEHALIS
341 | Structures and Improvements | 23262467.97 | 2043-12-31 | 70-S2.5 | -4 | 618676 | 2.66 | 2043-12-31 | 70-S2.5 | -3 | 617223 | 2.65 | -1453
342 | Fuel Holders, Producers and Accessories | 1586175.13 | 2043-12-31 | 50-R2 | -3 | 45694 | 2.88 | 2043-12-31 | 50-R2 | -2 | 45600 | 2.87 | -94
343 | Prime Movers | 191480138.41 | 2043-12-31 | 40-R1 | -5 | 6503214 | 3.4 | 2043-12-31 | 45-R2.5 | -4 | 5829987 | 3.04 | -673227
344 | Generators | 82209665.52 | 2043-12-31 | 50-R2 | -5 | 2420641 | 2.94 | 2043-12-31 | 50-R2 | -4 | 2416032 | 2.94 | -4609
345 | Accessory Electric Equipment | 39186402.66 | 2043-12-31 | 70-R3 | -4 | 1056105 | 2.7 | 2043-12-31 | 70-R3 | -3 | 1053545 | 2.69 | -2560
346 | Miscellaneous Power Plant Equipment | 3234617.2 | 2043-12-31 | 60-R3 | -4 | 88122 | 2.72 | 2043-12-31 | 60-R3 | -1 | 86111 | 2.66 | -2011
| TOTAL CHEHALIS | 340959466.89 |  |  |  | 10732452 | 3.15 |  |  |  | 10048498 | 2.95 | -683954
CURRANT CREEK
341 | Structures and Improvements | 44108607.37 | 2045-12-31 | 70-S2.5 | -4 | 1146839 | 2.6 | 2045-12-31 | 70-S2.5 | -3 | 1141582 | 2.59 | -5257
342 | Fuel Holders, Producers and Accessories | 3279417.64 | 2045-12-31 | 50-R2 | -3 | 92242 | 2.81 | 2045-12-31 | 50-R2 | -2 | 91837 | 2.8 | -405
343 | Prime Movers | 202632126.88 | 2045-12-31 | 40-R1 | -5 | 6812935 | 3.36 | 2045-12-31 | 45-R2.5 | -4 | 6089986 | 3.01 | -722949
344 | Generators | 75510400.72 | 2045-12-31 | 50-R2 | -4 | 2178156 | 2.88 | 2045-12-31 | 50-R2 | -4 | 2193783 | 2.91 | 15627
345 | Accessory Electric Equipment | 42361939.38 | 2045-12-31 | 70-R3 | -4 | 1124567 | 2.65 | 2045-12-31 | 70-R3 | -3 | 1119063 | 2.64 | -5504
346 | Miscellaneous Power Plant Equipment | 2965865.72 | 2045-12-31 | 60-R3 | -4 | 78635 | 2.65 | 2045-12-31 | 60-R3 | -1 | 76679 | 2.59 | -1956
| TOTAL CURRANT CREEK | 370858357.71 |  |  |  | 11433374 | 3.08 |  |  |  | 10712930 | 2.89 | -720444
HERMISTON
341 | Structures and Improvements | 12837041.13 | 2036-12-31 | 70-S2.5 | -4 | 369729 | 2.88 | 2036-12-31 | 70-S2.5 | -3 | 372482 | 2.9 | 2753
342 | Fuel Holders, Producers and Accessories | 25049.87 | 2036-12-31 | 50-R2 | -3 | 764 | 3.05 | 2036-12-31 | 50-R2 | -2 | 771 | 3.08 | 7
343 | Prime Movers | 109425626.66 | 2036-12-31 | 40-R1 | -4 | 4058486 | 3.71 | 2036-12-31 | 45-R2.5 | -4 | 3742396 | 3.42 | -316090
344 | Generators | 39658872.87 | 2036-12-31 | 50-R2 | -4 | 1243244 | 3.13 | 2036-12-31 | 50-R2 | -3 | 1253272 | 3.16 | 10028
345 | Accessory Electric Equipment | 9094367.29 | 2036-12-31 | 70-R3 | -4 | 259597 | 2.85 | 2036-12-31 | 70-R3 | -3 | 261820 | 2.88 | 2223
346 | Miscellaneous Power Plant Equipment | 495647.11 | 2036-12-31 | 60-R3 | -3 | 14097 | 2.84 | 2036-12-31 | 60-R3 | -1 | 14074 | 2.84 | -23
| TOTAL HERMISTON | 171536604.93 |  |  |  | 5945917 | 3.47 |  |  |  | 5644815 | 3.29 | -301102
LAKE SIDE
341 | Structures and Improvements | 27839937.2 | 2047-12-31 | 70-S2.5 | -5 | 776288 | 2.79 | 2047-12-31 | 70-S2.5 | -4 | 769951 | 2.77 | -6337
342 | Fuel Holders, Producers and Accessories | 3483187.22 | 2047-12-31 | 50-R2 | -3 | 104689 | 3.01 | 2047-12-31 | 50-R2 | -3 | 104965 | 3.01 | 276
343 | Prime Movers | 185373459.58 | 2047-12-31 | 40-R1 | -5 | 6450381 | 3.48 | 2047-12-31 | 45-R2.5 | -4 | 5762263 | 3.11 | -688118
344 | Generators | 81585461.85 | 2047-12-31 | 50-R2 | -5 | 2507285 | 3.07 | 2047-12-31 | 50-R2 | -4 | 2486932 | 3.05 | -20353
345 | Accessory Electric Equipment | 44361130.9 | 2047-12-31 | 70-R3 | -4 | 1238495 | 2.79 | 2047-12-31 | 70-R3 | -3 | 1229065 | 2.77 | -9430
346 | Miscellaneous Power Plant Equipment | 3148665.84 | 2047-12-31 | 60-R3 | -4 | 89085 | 2.83 | 2047-12-31 | 60-R3 | -1 | 86543 | 2.75 | -2542
| TOTAL LAKE SIDE | 345791842.59 |  |  |  | 11166223 | 3.23 |  |  |  | 10439719 | 3.02 | -726504
GADBSY PEAKER UNIT 4-6
341 | Structures and Improvements | 4239730.33 | 2032-12-31 | 70-S2.5 | -2 | 144753 | 3.41 | 2032-12-31 | 70-S2.5 | -1 | 145519 | 3.43 | 766
342 | Fuel Holders, Producers and Accessories | 2267380.89 | 2032-12-31 | 50-R2 | -1 | 80533 | 3.55 | 2032-12-31 | 50-R2 | -1 | 81871 | 3.61 | 1338
343 | Prime Movers | 58223301 | 2032-12-31 | 40-R1 | -2 | 2432175 | 4.18 | 2032-12-31 | 45-R2.5 | -2 | 2275262 | 3.91 | -156913
344 | Generators | 15940533.38 | 2032-12-31 | 50-R2 | -2 | 570151 | 3.58 | 2032-12-31 | 50-R2 | -2 | 579790 | 3.64 | 9639
345 | Accessory Electric Equipment | 2916273.71 | 2032-12-31 | 70-R3 | -2 | 105154 | 3.61 | 2032-12-31 | 70-R3 | -1 | 105466 | 3.62 | 312
| TOTAL GADBSY PEAKER UNIT 4-6 | 83587219.31 |  |  |  | 3332766 | 3.99 |  |  |  | 3187908 | 3.81 | -144858
LITTLE MOUNTAIN
341 | Structures and Improvements |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
343 | Prime Movers |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
345 | Accessory Electric Equipment |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
346 | Miscellaneous Power Plant Equipment |  |  | FULLY ACCRUED |  |  |  |  | FULLY ACCRUED |  |  |  | 0
| TOTAL LITTLE MOUNTAIN | 0 |  |  |  | 0 |  |  |  |  | 0 |  | 0
DUNLAP - WIND
341 | Structures and Improvements | 7580532.04 | 2040-12-31 | 70-R1 | -1 | 264388 | 3.49 | 2040-12-31 | 70-R1 | -1 | 264383 | 3.49 | -5
343 | Prime Movers | 207725050.55 | 2040-12-31 | 60-R2.5 | -1 | 6938591 | 3.34 | 2040-12-31 | 60-R2.5 | -1 | 6938449 | 3.34 | -142
344 | Generators | 5552926.16 | 2040-12-31 | 60-R2.5 | -1 | 185421 | 3.34 | 2040-12-31 | 60-R2.5 | -1 | 185418 | 3.34 | -3
345 | Accessory Electric Equipment | 12287111.68 | 2040-12-31 | 60-R3 | -1 | 404385 | 3.29 | 2040-12-31 | 60-R3 | 0 | 400004 | 3.26 | -4381
346 | Miscellaneous Power Plant Equipment | 149026.4 | 2040-12-31 | 60-R3 | 0 | 4849 | 3.25 | 2040-12-31 | 60-R3 | 0 | 4849 | 3.25 | 0
| TOTAL DUNLAP - WIND | 233294646.83 |  |  |  | 7797634 | 3.34 |  |  |  | 7793103 | 3.34 | -4531
FOOTE CREEK - WIND
341 | Structures and Improvements | 109124.9 | 2029-12-31 | 70-R1 | -1 | 3812 | 3.49 | 2029-12-31 | 70-R1 | -1 | 3811 | 3.49 | -1
343 | Prime Movers | 31779091.13 | 2029-12-31 | 60-R2.5 | -1 | 901621 | 2.84 | 2029-12-31 | 60-R2.5 | -1 | 901299 | 2.84 | -322
344 | Generators | 1604375.97 | 2029-12-31 | 60-R2.5 | -1 | 45405 | 2.83 | 2029-12-31 | 60-R2.5 | -1 | 45389 | 2.83 | -16
345 | Accessory Electric Equipment | 2851193.12 | 2029-12-31 | 60-R3 | -1 | 79299 | 2.78 | 2029-12-31 | 60-R3 | -1 | 79270 | 2.78 | -29
| TOTAL FOOTE CREEK - WIND | 36343785.12 |  |  |  | 1030137 | 2.83 |  |  |  | 1029769 | 2.83 | -368
GLENROCK - WIND
341 | Structures and Improvements | 9218325.5 | 2038-12-31 | 70-R1 | -1 | 325674 | 3.53 | 2038-12-31 | 70-R1 | -1 | 325662 | 3.53 | -12
343 | Prime Movers | 436523665.43 | 2038-12-31 | 60-R2.5 | -1 | 14725166 | 3.37 | 2038-12-31 | 60-R2.5 | -1 | 14724528 | 3.37 | -638
344 | Generators | 13518307.85 | 2038-12-31 | 60-R2.5 | -1 | 456068 | 3.37 | 2038-12-31 | 60-R2.5 | -1 | 456048 | 3.37 | -20
345 | Accessory Electric Equipment | 29364689.17 | 2038-12-31 | 60-R3 | -1 | 979833 | 3.34 | 2038-12-31 | 60-R3 | 0 | 969141 | 3.3 | -10692
346 | Miscellaneous Power Plant Equipment | 1156180.05 | 2038-12-31 | 60-R3 | 0 | 37970 | 3.28 | 2038-12-31 | 60-R3 | 0 | 37969 | 3.28 | -1
| TOTAL GLENROCK - WIND | 489781168 |  |  |  | 16524711 | 3.37 |  |  |  | 16513348 | 3.37 | -11363
GOODNOE HILLS - WIND
341 | Structures and Improvements | 5393835.25 | 2038-12-31 | 70-R1 | -1 | 185424 | 3.44 | 2038-12-31 | 70-R1 | -1 | 185414 | 3.44 | -10
343 | Prime Movers | 162203977.81 | 2038-12-31 | 60-R2.5 | -1 | 5349543 | 3.3 | 2038-12-31 | 60-R2.5 | -1 | 5349265 | 3.3 | -278
344 | Generators | 4484768.83 | 2038-12-31 | 60-R2.5 | -1 | 148389 | 3.31 | 2038-12-31 | 60-R2.5 | -1 | 148381 | 3.31 | -8
345 | Accessory Electric Equipment | 9665018.5 | 2038-12-31 | 60-R3 | -1 | 316209 | 3.27 | 2038-12-31 | 60-R3 | 0 | 312750 | 3.24 | -3459
346 | Miscellaneous Power Plant Equipment | 172144.42 | 2038-12-31 | 60-R3 | 0 | 5520 | 3.21 | 2038-12-31 | 60-R3 | 0 | 5519 | 3.21 | -1
| TOTAL GOODNOE HILLS - WIND | 181919744.81 |  |  |  | 6005085 | 3.3 |  |  |  | 6001329 | 3.3 | -3756
HIGH PLAINS / MCFADDEN - WIND
341 | Structures and Improvements | 7764311.98 | 2039-12-31 | 70-R1 | -1 | 269174 | 3.47 | 2039-12-31 | 70-R1 | -1 | 269165 | 3.47 | -9
343 | Prime Movers | 245611404.42 | 2039-12-31 | 60-R2.5 | -1 | 8147661 | 3.32 | 2039-12-31 | 60-R2.5 | -1 | 8147368 | 3.32 | -293
344 | Generators | 6941164.98 | 2039-12-31 | 60-R2.5 | -1 | 230133 | 3.32 | 2039-12-31 | 60-R2.5 | -1 | 230125 | 3.32 | -8
345 | Accessory Electric Equipment | 14735273.61 | 2039-12-31 | 60-R3 | -1 | 481879 | 3.27 | 2039-12-31 | 60-R3 | 0 | 476632 | 3.23 | -5247
346 | Miscellaneous Power Plant Equipment | 113617.52 | 2039-12-31 | 60-R3 | 0 | 3672 | 3.23 | 2039-12-31 | 60-R3 | 0 | 3672 | 3.23 | 0
| TOTAL HIGH PLAINS / MCFADDEN - WIND | 275165772.51 |  |  |  | 9132519 | 3.32 |  |  |  | 9126962 | 3.32 | -5557
LEANING JUNIPER - WIND
341 | Structures and Improvements | 4902328.22 | 2036-12-31 | 70-R1 | -1 | 166349 | 3.39 | 2036-12-31 | 70-R1 | -1 | 166335 | 3.39 | -14
343 | Prime Movers | 155858588.51 | 2036-12-31 | 60-R2.5 | -1 | 5067944 | 3.25 | 2036-12-31 | 60-R2.5 | -1 | 5067490 | 3.25 | -454
344 | Generators | 5435823.48 | 2036-12-31 | 60-R2.5 | -1 | 178237 | 3.28 | 2036-12-31 | 60-R2.5 | -1 | 178222 | 3.28 | -15
345 | Accessory Electric Equipment | 9062847.6 | 2036-12-31 | 60-R3 | -1 | 292805 | 3.23 | 2036-12-31 | 60-R3 | -1 | 292779 | 3.23 | -26
346 | Miscellaneous Power Plant Equipment | 80941.25 | 2036-12-31 | 60-R3 | -1 | 2588 | 3.2 | 2036-12-31 | 60-R3 | 0 | 2559 | 3.16 | -29
| TOTAL LEANING JUNIPER - WIND | 175340529.06 |  |  |  | 5707923 | 3.26 |  |  |  | 5707385 | 3.26 | -538
MARENGO - WIND
341 | Structures and Improvements | 10120995.15 | 2037-12-31 | 70-R1 | -1 | 350882 | 3.47 | 2037-12-31 | 70-R1 | -1 | 350860 | 3.47 | -22
343 | Prime Movers | 326573289.27 | 2037-12-31 | 60-R2.5 | -1 | 10828012 | 3.32 | 2037-12-31 | 60-R2.5 | -1 | 10827307 | 3.32 | -705
344 | Generators | 9332548.07 | 2037-12-31 | 60-R2.5 | -1 | 309612 | 3.32 | 2037-12-31 | 60-R2.5 | -1 | 309590 | 3.32 | -22
345 | Accessory Electric Equipment | 19689083.9 | 2037-12-31 | 60-R3 | -1 | 644248 | 3.27 | 2037-12-31 | 60-R3 | -1 | 644206 | 3.27 | -42
346 | Miscellaneous Power Plant Equipment | 336792.74 | 2037-12-31 | 60-R3 | -1 | 11071 | 3.29 | 2037-12-31 | 60-R3 | 0 | 10949 | 3.25 | -122
| TOTAL MARENGO - WIND | 366052709.13 |  |  |  | 12143825 | 3.32 |  |  |  | 12142912 | 3.32 | -913
SEVEN MILE HILL - WIND
341 | Structures and Improvements | 5928425.82 | 2038-12-31 | 70-R1 | -1 | 204828 | 3.46 | 2038-12-31 | 70-R1 | -1 | 204817 | 3.45 | -11
343 | Prime Movers | 214950936.36 | 2038-12-31 | 60-R2.5 | -1 | 7080332 | 3.29 | 2038-12-31 | 60-R2.5 | -1 | 7079962 | 3.29 | -370
344 | Generators | 6581332 | 2038-12-31 | 60-R2.5 | -1 | 216536 | 3.29 | 2038-12-31 | 60-R2.5 | -1 | 216524 | 3.29 | -12
345 | Accessory Electric Equipment | 13203182.65 | 2038-12-31 | 60-R3 | -1 | 429576 | 3.25 | 2038-12-31 | 60-R3 | 0 | 424873 | 3.22 | -4703
346 | Miscellaneous Power Plant Equipment | 515308.56 | 2038-12-31 | 60-R3 | 0 | 16636 | 3.23 | 2038-12-31 | 60-R3 | 0 | 16636 | 3.23 | 0
| TOTAL SEVEN MILE HILL - WIND | 241179185.39 |  |  |  | 7947908 | 3.3 |  |  |  | 7942812 | 3.29 | -5096
SOLAR GENERATING
344 | Generators - Atlantic City | 5545.93 | 2027-12-31 | SQUARE | 0 | 228 | 4.11 | 2027-12-31 | SQUARE | 0 | 228 | 4.11 | 0
344 | Generators - Canyon Lands | 36389.01 | 2014-12-31 | SQUARE | 0 | 0 | 0 | 2014-12-31 | SQUARE | 0 | 0 | 0 | 0
344 | Generators - Green River | 55086.78 | 2014-12-31 | SQUARE | 0 | 0 | 0 | 2014-12-31 | SQUARE | 0 | 0 | 0 | 0
344 | Generators - Oregon High Desert | 55680.49 | 2015-12-31 | 50-R2 | 0 | 0 | 0 | 2015-12-31 | 50-R2 | 0 | 0 | 0 | 0
| TOTAL SOLAR GENERATING | 152702.21 |  |  |  | 228 | 0.15 |  |  |  | 228 | 0.15 | 0
MOBILE GENERATORS
344 | East Side Mobile Generator | 834509.93 |  | 50-R2 | -5 | 13363 | 1.6 |  | 50-R2 | -5 | 13363 | 1.6 | 0
344 | West Side Mobile Generator | 845205.14 |  | 50-R2 | -5 | 15200 | 1.8 |  | 50-R2 | -5 | 15200 | 1.8 | 0
| TOTAL MOBILE GENERATORS | 1679715.07 |  |  |  | 28563 | 1.7 |  |  |  | 28563 | 1.7 | 0
| TOTAL DEPRECIABLE OTHER PRODUCTION | 3313643449.56 |  |  |  | 108929265 | 3.29 |  |  |  | 106320281 | 3.21 | -2608984
340.3 | Water Rights - Lakeside | 14529040 | [10 empty] | 0
340.3 | Water Rights - Currant Creek | 2891146.49 | [10 empty] | 0
| TOTAL OTHER PRODUCTION | 3331063636.05 |  |  |  | 108929265 |  |  |  |  | 106320281 |  | -2608984
TOTAL PRODUCTION PLANT |  | 11071228686.87 |  |  |  | 457872866 | 4.14 |  |  |  | 411971302.7667 | 3.72 | -45901563.2333
TRANSMISSION PLANT*
350.2 | Rights-of-Way | 144659565.44 |  | 75-R4 | 0 | 1834089 | 1.27 |  | 75-R4 | 0 | 1837176.48 | 1.27 | 3087.48
352 | Structures and Improvements | 161875086.95 |  | 75-R2.5 | -10 | 2326081 | 1.44 |  | 75-R2.5 | -10 | 2298626.23 | 1.42 | -27454.77
353 | Station Equipment | 1889580072.73 |  | 57-S0 | -5 | 33616992 | 1.79 |  | 58-S0 | -5 | 32878693.27 | 1.74 | -738298.73
353.7 | Supervisory Equipment |  |  | 20-R2 | 0 | 582673 | 3.94 | [5 empty] | -582673
354 | Towers and Fixtures | 1223124758.03 |  | 68-R4 | -10 | 19136791 | 1.56 |  | 68-R4 | -10 | 18713808.8 | 1.53 | -422982.2
355 | Poles and Fixtures | 731547357.89 |  | 60-R2 | -40 | 16050811 | 2.19 |  | 60-R2 | -40 | 15947732.4 | 2.18 | -103078.6
356 | Overhead Conductors and Devices | 1087435404.46 |  | 60-R3 | -30 | 21827222 | 2.01 |  | 63-R3 | -30 | 20443785.6 | 1.88 | -1383436.4
357 | Underground Conduit | 3235729.73 |  | 60-R2 | 0 | 52026 | 1.61 |  | 60-R2 | 0 | 51771.68 | 1.6 | -254.32
358 | Underground Conductors and Devices | 7410861.27 |  | 60-R2 | -5 | 124508 | 1.68 |  | 60-R2 | -5 | 123020.3 | 1.66 | -1487.7
359 | Roads and Trails | 11575387.13 |  | 70-R5 | 0 | 154183 | 1.33 |  | 70-R5 | 0 | 152795.11 | 1.32 | -1387.89
| TOTAL TRANSMISSION PLANT | 5260444223.63 |  |  |  | 95705376 | 1.82 |  |  |  | 92447409.87 | 1.76 | -3257966.13
DISTRIBUTION PLANT
OREGON - DISTRIBUTION
360.2 | Rights-of-Way | 4659309.45 |  | 55-S3 | 0 | 58117 | 1.25 |  | 55-S3 | 0 | 56146 | 1.21 | -1971
361 | Structures and Improvements | 23062426.25 |  | 60-R1.5 | -10 | 413378 | 1.79 |  | 60-R1.5 | -10 | 411812 | 1.79 | -1566
362 | Station Equipment | 223286206.53 |  | 52-R0.5 | -15 | 4565601 | 2.08 |  | 55-R1 | -15 | 4324570 | 1.94 | -241031
362.7 | Supervisory Equipment |  |  | 25-R2.5 | 0 | 88447 | 2.71 | [5 empty] | -88447
364 | Poles, Towers and Fixtures | 351243581.25 |  | 55-R1.5 | -100 | 11630696 | 3.31 |  | 55-R1.5 | -100 | 11542181 | 3.29 | -88515
365 | Overhead Conductors and Devices | 247942372.83 |  | 60-R0.5 | -70 | 6546810 | 2.64 |  | 60-R0.5 | -70 | 6509410 | 2.63 | -37400
366 | Underground Conduit | 88547927.44 |  | 70-R2.5 | -50 | 1756602 | 1.98 |  | 70-R2.5 | -50 | 1746391 | 1.97 | -10211
367 | Underground Conductors and Devices | 163293596.44 |  | 58-R2.5 | -35 | 3474555 | 2.13 |  | 58-R2.5 | -35 | 3448484 | 2.11 | -26071
368 | Line Transformers | 396916186.44 |  | 42-R1.5 | -20 | 9793387 | 2.47 |  | 42-R1.5 | -20 | 9667385 | 2.44 | -126002
369.1 | Overhead Services | 75685360.31 |  | 55-R1 | -35 | 1738252 | 2.3 |  | 55-R1 | -35 | 1726212 | 2.28 | -12040
369.2 | Underground Services | 154218449.91 |  | 55-R4 | -40 | 3641494 | 2.36 |  | 55-R4 | -40 | 3614848 | 2.34 | -26646
370 | Meters | 46772833.43 |  | 20-S2.5 | -4 | 1235407 | 2.64 |  | 27-R1 | -4 | 1684537 | 3.6 | 449130
371 | Installations on Customer Premises | 2212745.61 |  | 25-L0 | -50 | 108424 | 4.9 |  | 25-L0 | -50 | 106010 | 4.79 | -2414
373 | Street Lighting and Signal Systems | 22392102.29 |  | 44-R0.5 | -40 | 655626 | 2.93 |  | 44-R0.5 | -40 | 650779 | 2.91 | -4847
| TOTAL OREGON - DISTRIBUTION | 1800233098.18 |  |  |  | 45706796 | 2.54 |  |  |  | 45488765 | 2.53 | -218031
WASHINGTON - DISTRIBUTION
360.2 | Rights-of-Way | 240139.29 |  | 50-R3 | 0 | 3929 | 1.64 |  | 50-R3 | 0 | 3913 | 1.63 | -16
361 | Structures and Improvements | 2266938.88 |  | 60-R2 | -5 | 37294 | 1.65 |  | 60-R2 | -5 | 37251 | 1.64 | -43
362 | Station Equipment | 47937084.33 |  | 53-R1 | -20 | 1008719 | 2.14 |  | 53-R1 | -20 | 1027674 | 2.14 | 18955
362.7 | Supervisory Equipment |  |  | 25-R4 | 0 | 19616 | 2.38 | [5 empty] | -19616
364 | Poles, Towers and Fixtures | 96107953.82 |  | 52-R1.5 | -100 | 3497869 | 3.64 |  | 52-R1.5 | -100 | 3494630 | 3.64 | -3239
365 | Overhead Conductors and Devices | 60160674.23 |  | 60-R1 | -60 | 1511083 | 2.51 |  | 60-R1 | -60 | 1509694 | 2.51 | -1389
366 | Underground Conduit | 16906931.42 |  | 50-R3 | -50 | 481053 | 2.85 |  | 50-R3 | -50 | 480534 | 2.84 | -519
367 | Underground Conductors and Devices | 23741865.3 |  | 50-R3 | -35 | 607808 | 2.56 |  | 50-R3 | -35 | 607166 | 2.56 | -642
368 | Line Transformers | 99549997.18 |  | 43-R2 | -25 | 2633408 | 2.65 |  | 43-R2 | -25 | 2629098 | 2.64 | -4310
369.1 | Overhead Services | 19061444.29 |  | 55-R1 | -30 | 432960 | 2.27 |  | 55-R1 | -30 | 432568 | 2.27 | -392
369.2 | Underground Services | 33450711.3 |  | 55-R4 | -50 | 879144 | 2.63 |  | 55-R4 | -50 | 878374 | 2.63 | -770
370 | Meters | 10531623.88 |  | 25-S5 | -1 | 414035 | 3.93 |  | 25-S5 | -1 | 413838 | 3.93 | -197
371 | Installations on Customer Premises | 473565.68 |  | 30-L0 | -25 | 16541 | 3.49 |  | 30-L0 | -25 | 16493 | 3.48 | -48
373 | Street Lighting and Signal Systems | 3883586.31 |  | 45-R1 | -30 | 102802 | 2.65 |  | 45-R1 | -30 | 102654 | 2.64 | -148
| TOTAL WASHINGTON - DISTRIBUTION | 414312515.91 |  |  |  | 11646261 | 2.81 |  |  |  | 11633887 | 2.81 | -12374
WYOMING - DISTRIBUTION*
360.2 | Rights-of-Way | 4886009.56 |  | 50-R4 | 0 | 88625 | 1.81 |  | 50-R4 | 0 | 97231.59 | 1.99 | 8606.59
361 | Structures and Improvements | 11983795.91 |  | 60-R2.5 | -10 | 211734 | 1.77 |  | 60-R2.5 | -10 | 219303.47 | 1.83 | 7569.47
362 | Station Equipment | 121994965.69 |  | 55-R1 | -10 | 2277096 | 1.89 |  | 55-R1 | -10 | 2427699.82 | 1.99 | 150603.82
362.7 | Supervisory Equipment |  |  | 20-R3 | 0 | 11289 | 0.82 | [5 empty] | -11289
364 | Poles, Towers and Fixtures | 135871014.3 |  | 50-R1 | -100 | 5145464 | 3.79 |  | 50-R1 | -100 | 5421253.47 | 3.99 | 275789.47
365 | Overhead Conductors and Devices | 104873983.77 |  | 57-R0.5 | -40 | 2416729 | 2.3 |  | 57-R0.5 | -40 | 2569412.6 | 2.45 | 152683.6
366 | Underground Conduit | 21826215.04 |  | 42-R3 | -40 | 688360 | 3.15 |  | 42-R3 | -40 | 724630.34 | 3.32 | 36270.34
367 | Underground Conductors and Devices | 53643094.92 |  | 40-R4 | -35 | 1651910 | 3.08 |  | 40-R4 | -35 | 1797043.68 | 3.35 | 145133.68
368 | Line Transformers | 103475505.39 |  | 39-R1 | -25 | 3105505 | 3 |  | 39-R1 | -25 | 3300868.62 | 3.19 | 195363.62
369.1 | Overhead Services | 16604433.35 |  | 60-R1.5 | -25 | 329037 | 1.98 |  | 60-R1.5 | -25 | 345372.21 | 2.08 | 16335.21
369.2 | Underground Services | 35328131.24 |  | 45-S5 | -50 | 1258829 | 3.56 |  | 45-S5 | -50 | 960925.17 | 2.72 | -297903.83
370 | Meters | 14237365.41 |  | 25-S5 | -2 | 562817 | 3.95 |  | 25-S5 | -2 | 575189.56 | 4.04 | 12372.56
371 | Installations on Customer Premises | 800598.75 |  | 25-O1 | -60 | 36873 | 4.61 |  | 25-O1 | -60 | 48836.52 | 6.1 | 11963.52
373 | Street Lighting and Signal Systems | 10144231.9 |  | 50-R0.5 | -45 | 277856 | 2.74 |  | 50-R0.5 | -45 | 293168.3 | 2.89 | 15312.3
| Reserve Amortization | [9 empty] | -2077204.4 |  | -2077204.4
| TOTAL WYOMING - DISTRIBUTION | 635669345.23 |  |  |  | 18062124 | 2.84 |  |  |  | 16703730.95 | 2.63 | -1358393.05
CALIFORNIA - DISTRIBUTION
360.2 | Rights-of-Way | 913239.67 |  | 60-R4 | 0 | 9991 | 1.09 |  | 60-R4 | 0 | 9934 | 1.09 | -57
361 | Structures and Improvements | 4018544.08 |  | 55-R2.5 | -5 | 75094 | 1.87 |  | 55-R2.5 | -5 | 75059 | 1.87 | -35
362 | Station Equipment | 22591925.49 |  | 50-R1 | -25 | 545430 | 2.43 |  | 50-R1 | -25 | 551091 | 2.44 | 5661
362.7 | Supervisory Equipment |  |  | 20-R5 | 0 | 0 | 0 | [5 empty] | 0
364 | Poles, Towers and Fixtures | 59570760.35 |  | 55-R1 | -100 | 2071960 | 3.48 |  | 55-R1 | -100 | 2070945 | 3.48 | -1015
365 | Overhead Conductors and Devices | 35097114.95 |  | 65-R1 | -70 | 867899 | 2.47 |  | 65-R1 | -70 | 867364 | 2.47 | -535
366 | Underground Conduit | 16293670.31 |  | 55-R4 | -45 | 399984 | 2.45 |  | 55-R4 | -45 | 399618 | 2.45 | -366
367 | Underground Conductors and Devices | 17557209.59 |  | 50-R3 | -35 | 440566 | 2.51 |  | 50-R3 | -35 | 440112 | 2.51 | -454
368 | Line Transformers | 48647456.14 |  | 55-R2 | -35 | 1106146 | 2.27 |  | 55-R2 | -35 | 1105234 | 2.27 | -912
369.1 | Overhead Services | 8444024.82 |  | 55-R1 | -30 | 193611 | 2.29 |  | 55-R1 | -30 | 193506 | 2.29 | -105
369.2 | Underground Services | 14535262.83 |  | 60-R4 | -40 | 325643 | 2.24 |  | 60-R4 | -40 | 325459 | 2.24 | -184
370 | Meters | 2870934.64 |  | 20-S2.5 | -4 | 99981 | 3.48 |  | 20-S2.5 | -4 | 99170 | 3.45 | -811
371 | Installations on Customer Premises | 238697.94 |  | 25-L0 | -50 | 12715 | 5.33 |  | 25-L0 | -50 | 12689 | 5.32 | -26
373 | Street Lighting and Signal Systems | 633893.31 |  | 35-L0 | -30 | 22326 | 3.52 |  | 35-L0 | -30 | 22306 | 3.52 | -20
| TOTAL CALIFORNIA - DISTRIBUTION | 231412734.12 |  |  |  | 6171346 | 2.67 |  |  |  | 6172487 | 2.67 | 1141
UTAH - DISTRIBUTION*
360.2 | Rights-of-Way | 11528103.3 |  | 60-R4 | 0 | 180969 | 1.57 |  | 60-R4 | 0 | 191366.51 | 1.66 | 10397.51
361 | Structures and Improvements | 45197522.26 |  | 60-S0.5 | 0 | 717554 | 1.59 |  | 60-S0.5 | 0 | 750278.87 | 1.66 | 32724.87
362 | Station Equipment | 438638895.08 |  | 47-R0.5 | -10 | 9662255 | 2.23 |  | 47-R0.5 | -10 | 10264150.14 | 2.34 | 601895.14
362.7 | Supervisory Equipment |  |  | 25-R3 | 0 | 167682 | 3.1 | [5 empty] | -167682
364 | Poles, Towers and Fixtures | 358682771.73 |  | 50-R0.5 | -80 | 11803542 | 3.29 |  | 50-R0.5 | -80 | 12876711.51 | 3.59 | 1073169.51
365 | Overhead Conductors and Devices | 225423196.49 |  | 52-R0.5 | -45 | 5707031 | 2.53 |  | 52-R0.5 | -45 | 6266764.86 | 2.78 | 559733.86
366 | Underground Conduit | 182711462.17 |  | 60-R2 | -50 | 4319935 | 2.36 |  | 60-R2 | -50 | 4549515.41 | 2.49 | 229580.41
367 | Underground Conductors and Devices | 483573611.91 |  | 50-R2 | -25 | 11252322 | 2.33 |  | 50-R2 | -25 | 12040982.94 | 2.49 | 788660.94
368 | Line Transformers | 444260700.03 |  | 45-R0.5 | -5 | 9492048 | 2.14 |  | 45-R0.5 | -5 | 10351274.31 | 2.33 | 859226.31
369 | Services | 235599098.71 |  | 55-S5 | -25 | 5092421 | 2.16 |  | 55-S5 | -25 | 5348099.54 | 2.27 | 255678.54
370 | Meters | 70863612.72 |  | 25-S5 | -2 | 2331644 | 3.29 |  | 25-S5 | -2 | 2763680.9 | 3.9 | 432036.9
371 | Installations on Customer Premises | 4088553.08 |  | 25-L0 | -60 | 236082 | 5.77 |  | 25-L0 | -60 | 260440.83 | 6.37 | 24358.83
373 | Street Lighting and Signal Systems | 24088512.07 |  | 25-R0.5 | -20 | 1065742 | 4.42 |  | 25-R0.5 | -20 | 1151430.88 | 4.78 | 85688.88
| Reserve Amortization | [9 empty] | -23109549.2308 |  | -23109549.2308
| TOTAL UTAH - DISTRIBUTION | 2524656039.55 |  |  |  | 62029227 | 2.46 |  |  |  | 43705147.4692 | 1.73 | -18324079.5308
IDAHO - DISTRIBUTION*
360.2 | Rights-of-Way | 1082907.86 |  | 50-R4 | 0 | 17785 | 1.64 |  | 50-R4 | 0 | 21549.87 | 1.99 | 3764.87
361 | Structures and Improvements | 2143567.1 |  | 60-R2 | 0 | 31937 | 1.49 |  | 60-R2 | 0 | 35583.21 | 1.66 | 3646.21
362 | Station Equipment | 28995048.39 |  | 55-R1.5 | -10 | 481956 | 1.68 |  | 55-R1.5 | -10 | 577001.46 | 1.99 | 95045.46
362.7 | Supervisory Equipment |  |  | 25-R3 | 0 | 6392 | 1.74 | [5 empty] | -6392
364 | Poles, Towers and Fixtures | 75882177.94 |  | 50-R0.5 | -80 | 2371822 | 3.13 |  | 50-R0.5 | -80 | 2724170.19 | 3.59 | 352348.19
365 | Overhead Conductors and Devices | 37176501.94 |  | 52-R0.5 | -30 | 741962 | 2 |  | 52-R0.5 | -30 | 925694.9 | 2.49 | 183732.9
366 | Underground Conduit | 9131625.82 |  | 60-R2 | -40 | 195865 | 2.14 |  | 60-R2 | -40 | 212766.88 | 2.33 | 16901.88
367 | Underground Conductors and Devices | 25709805.92 |  | 50-R2 | -15 | 520461 | 2.02 |  | 55-R2 | -15 | 588754.56 | 2.29 | 68293.56
368 | Line Transformers | 71302478.57 |  | 45-R0.5 | -5 | 1409847 | 1.98 |  | 50-R0.5 | -5 | 1661347.75 | 2.33 | 251500.75
369 | Services | 31769338.84 |  | 55-S5 | -25 | 661748 | 2.08 |  | 55-S5 | -25 | 721163.99 | 2.27 | 59415.99
370 | Meters | 13535784.19 |  | 25-S5 | -3 | 288690 | 2.13 |  | 25-S5 | -3 | 534663.48 | 3.95 | 245973.48
371 | Installations on Customer Premises | 156565.76 |  | 25-L0 | -45 | 7544 | 4.82 |  | 25-L0 | -45 | 9033.84 | 5.77 | 1489.84
373 | Street Lighting and Signal Systems | 585670.81 |  | 25-R0.5 | -20 | 23621 | 4.03 |  | 25-R0.5 | -20 | 27995.06 | 4.78 | 4374.06
| Reserve Amortization | [9 empty] | -2508698.0769 |  | -2508698.0769
| TOTAL IDAHO - DISTRIBUTION | 297471473.14 |  |  |  | 6759630 | 2.27 |  |  |  | 5531027.1131 | 1.86 | -1228602.8869
TOTAL DISTRIBUTION PLANT |  | 5903755206.13 |  |  |  | 150375384 | 2.55 |  |  |  | 129235044.5323 | 2.19 | -21140339.4677
GENERAL PLANT
OREGON - GENERAL
390 | Structures and Improvements | 74399659.76 |  | 55-R1 | -10 | 1471556 | 1.98 |  | 58-R1 | -10 | 1384220 | 1.86 | -87336
392.01 | Transportation Equipment - Light Trucks and Vans | 10925542.47 |  | 12-L2.5 | 10 | 794603 | 7.27 |  | 12-L2.5 | 10 | 768676 | 7.04 | -25927
392.05 | Transportation Equipment - Medium Trucks | 10608613.32 |  | 16-L3 | 10 | 601106 | 5.67 |  | 16-L3 | 10 | 581650 | 5.48 | -19456
392.09 | Transportation Equipment - Trailers | 3327731.09 |  | 33-L2 | 15 | 85159 | 2.56 |  | 34-L2 | 15 | 81325 | 2.44 | -3834
396.03 | Light Power Operated Equipment | 6165299.8 |  | 9-S3 | 15 | 544873 | 8.84 |  | 9-L3 | 15 | 569006 | 9.23 | 24133
396.07 | Heavy Power Operated Equipment | 25955492.59 |  | 15-L1 | 20 | 1360069 | 5.24 |  | 15-L1 | 20 | 1333382 | 5.14 | -26687
| TOTAL OREGON - GENERAL | 131382339.03 |  |  |  | 4857366 | 3.7 |  |  |  | 4718259 | 3.59 | -139107
WASHINGTON - GENERAL
390 | Structures and Improvements | 10969617.73 |  | 40-R3 | -10 | 276512 | 2.52 |  | 40-R3 | -10 | 276512 | 2.52 | 0
392.01 | Transportation Equipment - Light Trucks and Vans | 2397979.02 |  | 13-L2.5 | 10 | 134170 | 5.6 |  | 13-L2.5 | 10 | 134170 | 5.6 | 0
392.05 | Transportation Equipment - Medium Trucks | 4067621.85 |  | 16-L2.5 | 10 | 206177 | 5.07 |  | 16-L2.5 | 10 | 206177 | 5.07 | 0
392.09 | Transportation Equipment - Trailers | 769219.66 |  | 33-S0.5 | 15 | 18300 | 2.38 |  | 33-S0.5 | 15 | 18300 | 2.38 | 0
396.03 | Light Power Operated Equipment | 1429079.38 |  | 10-R4 | 10 | 80819 | 5.66 |  | 10-R4 | 10 | 80819 | 5.66 | 0
396.07 | Heavy Power Operated Equipment | 6046018.23 |  | 13-L1.5 | 15 | 364836 | 6.03 |  | 13-L1.5 | 15 | 364836 | 6.03 | 0
| TOTAL WASHINGTON - GENERAL | 25679535.87 |  |  |  | 1080814 | 4.21 |  |  |  | 1080814 | 4.21 | 0
WYOMING - GENERAL*
389.2 | Land Rights | 74341.83 |  | 50-SQ | 0 | 1493 | 2.01 |  | 50-SQ | 0 | 1471.97 | 1.98 | -21.03
390 | Structures and Improvements | 14086408.72 |  | 45-S1.5 | -15 | 367464 | 2.61 |  | 58-R1 | -15 | 274684.97 | 1.95 | -92779.03
392.01 | Transportation Equipment - Light Trucks and Vans | 4687923.72 |  | 13-S1.5 | 10 | 328478 | 7.01 |  | 13-S1.5 | 10 | 274243.54 | 5.85 | -54234.46
392.05 | Transportation Equipment - Medium Trucks | 6179421.17 |  | 15-L1.5 | 10 | 394403 | 6.38 |  | 15-L1.5 | 10 | 349755.24 | 5.66 | -44647.76
392.09 | Transportation Equipment - Trailers | 2873027.78 |  | 30-S2 | 5 | 97681 | 3.4 |  | 34-L2 | 5 | 76997.14 | 2.68 | -20683.86
396.03 | Light Power Operated Equipment | 2631435.32 |  | 9-R4 | 15 | 253624 | 9.64 |  | 9-L3 | 15 | 222882.57 | 8.47 | -30741.43
396.07 | Heavy Power Operated Equipment | 32629249.98 |  | 15-L0 | 25 | 1613335 | 4.94 |  | 15-L0 | 25 | 1585781.55 | 4.86 | -27553.45
| TOTAL WYOMING - GENERAL | 63161808.52 |  |  |  | 3056478 | 4.84 |  |  |  | 2785816.98 | 4.41 | -270661.02
CALIFORNIA - GENERAL
390 | Structures and Improvements | 2936056.38 |  | 60-R3 | -20 | 50126 | 1.71 |  | 60-R3 | -20 | 50126 | 1.71 | 0
392.01 | Transportation Equipment - Light Trucks and Vans | 828273.72 |  | 10-S3 | 20 | 28820 | 3.48 |  | 10-S3 | 20 | 28820 | 3.48 | 0
392.05 | Transportation Equipment - Medium Trucks | 961928.43 |  | 15-L2 | 15 | 43238 | 4.49 |  | 15-L2 | 15 | 43238 | 4.49 | 0
392.09 | Transportation Equipment - Trailers | 451193.36 |  | 35-R2 | 5 | 10483 | 2.32 |  | 35-R2 | 5 | 10483 | 2.32 | 0
396.03 | Light Power Operated Equipment | 918153.56 |  | 8-R4 | 15 | 66132 | 7.2 |  | 8-R4 | 15 | 66132 | 7.2 | 0
396.07 | Heavy Power Operated Equipment | 3051020.13 |  | 14-L1.5 | 15 | 151814 | 4.98 |  | 14-L1.5 | 15 | 151814 | 4.98 | 0
| TOTAL CALIFORNIA - GENERAL | 9146625.58 |  |  |  | 350613 | 3.83 |  |  |  | 350613 | 3.83 | 0
UTAH - GENERAL*
389.2 | Land Rights | 33674.09 |  | 45-S0 | 0 | 725 | 2.15 |  | 45-S0 | 0 | 683.58 | 2.03 | -41.42
390 | Structures and Improvements | 88282951.86 |  | 45-S0 | 5 | 1820509 | 2.06 |  | 58-R1 | 5 | 1350729.16 | 1.53 | -469779.84
392.01 | Transportation Equipment - Light Trucks and Vans | 13862141.42 |  | 12-L3 | 10 | 960412 | 6.93 |  | 12-L3 | 10 | 698651.93 | 5.04 | -261760.07
392.3 | Aircraft | 3076269.26 |  | 10-SQ | 64 | 105347 | 3.42 |  | 10-SQ | 64 | 77214.36 | 2.51 | -28132.64
392.05 | Transportation Equipment - Medium Trucks | 20515218.73 |  | 16-L2 | 10 | 1145967 | 5.59 |  | 16-L2 | 10 | 935493.97 | 4.56 | -210473.03
392.09 | Transportation Equipment - Trailers | 6598150.45 |  | 28-S1 | 25 | 171582 | 2.6 |  | 34-L2 | 25 | 126024.67 | 1.91 | -45557.33
396.03 | Light Power Operated Equipment | 5481398.25 |  | 9-L3 | 10 | 540516 | 9.86 |  | 9-L3 | 10 | 443993.26 | 8.1 | -96522.74
396.07 | Heavy Power Operated Equipment | 51442973.19 |  | 14-L0.5 | 15 | 3139793 | 6.1 |  | 14-L0.5 | 15 | 2757343.36 | 5.36 | -382449.64
| TOTAL UTAH - GENERAL | 189292777.25 |  |  |  | 7884851 | 4.17 |  |  |  | 6390134.29 | 3.38 | -1494716.71
IDAHO - GENERAL*
389.2 | Land Rights | 4732.97 |  | 55-R3 | 0 | 81 | 1.71 |  | 55-R3 | 0 | 55.38 | 1.17 | -25.62
390 | Structures and Improvements | 12569829.8 |  | 55-R3 | -5 | 233814 | 1.86 |  | 58-R1 | -5 | 207402.19 | 1.65 | -26411.81
392.01 | Transportation Equipment - Light Trucks and Vans | 2237957.87 |  | 12-S2 | 10 | 159107 | 7.11 |  | 12-S2 | 10 | 95784.6 | 4.28 | -63322.4
392.05 | Transportation Equipment - Medium Trucks | 2825328.74 |  | 15-L2 | 15 | 161962 | 5.73 |  | 15-L2 | 15 | 122619.27 | 4.34 | -39342.73
392.09 | Transportation Equipment - Trailers | 943295.09 |  | 33-L2 | 10 | 25712 | 2.73 |  | 34-L2 | 10 | 21507.13 | 2.28 | -4204.87
396.03 | Light Power Operated Equipment | 1634006.1 |  | 8-R2 | 10 | 196713 | 12.04 |  | 9-L3 | 10 | 125328.27 | 7.67 | -71384.73
396.07 | Heavy Power Operated Equipment | 7348051.09 |  | 18-L0.5 | 25 | 286623 | 3.9 |  | 18-L0.5 | 25 | 274082.31 | 3.73 | -12540.69
| TOTAL IDAHO - GENERAL | 27563201.66 |  |  |  | 1064012 | 3.86 |  |  |  | 846779.15 | 3.07 | -217232.85
AZ, CO, MT, ETC. - GENERAL
390 | Structures and Improvements | 374091.01 |  | 45-R2 | 0 | 5647 | 1.51 |  | 45-R2 | 0 | 5647 | 1.51 | 0
392.01 | Transportation Equipment - Light Trucks and Vans | 459186 |  | 16-R2 | 0 | 11598 | 2.53 |  | 16-R2 | 0 | 11598 | 2.53 | 0
392.05 | Transportation Equipment - Medium Trucks | 255349.41 |  | 19-R2.5 | 15 | 5368 | 2.1 |  | 19-R2.5 | 15 | 5368 | 2.1 | 0
392.09 | Transportation Equipment - Trailers | 7844.26 |  | 25-R1.5 | 0 | 171 | 2.18 |  | 25-R1.5 | 0 | 171 | 2.18 | 0
396.07 | Heavy Power Operated Equipment | 2250061.74 |  | 25-R2 | 5 | 41933 | 1.86 |  | 25-R2 | 5 | 41933 | 1.86 | 0
| TOTAL AZ, CO, MT, ETC. - GENERAL | 3346532.42 |  |  |  | 64717 | 1.93 |  |  |  | 64717 | 1.93 | 0
| TOTAL GENERAL PLANT | 449572820.33 |  |  |  | 18358851 | 4.08 |  |  |  | 16237133.42 | 3.61 | -2121717.58
UTAH MINING
399.3 | Structures and Improvements | 15067474.9 | 2019-12-31 | 40-S1 | -1 | 576177 | 3.82 | 2019-12-31 | 40-S1 | -1 | 573639 | 3.81 | -2538
399.31 | Structures and Improvements - Prep Plant | 24269468.21 | 2042-12-31 | 60-S2 | -7 | 500842 | 2.06 | 2042-12-31 | 60-S2 | -7 | 500293 | 2.06 | -549
399.41 | Surface Processing Equipment - Prep Plant | 8116133.86 | 2042-12-31 | 60-S2 | -7 | 167945 | 2.07 | 2042-12-31 | 60-S2 | -6 | 166083 | 2.05 | -1862
399.44 | Surface Electric Power Facilities | 3415835.77 | 2019-12-31 | 40-R3 | 0 | 215230 | 6.3 | 2019-12-31 | 40-R3 | 0 | 214916 | 6.29 | -314
399.45 | Underground Equipment | 108511642.9 | 2019-12-31 | 12-L1 | 5 | 12935325 | 11.92 | 2019-12-31 | 12-L1 | 5 | 12919564 | 11.91 | -15761
399.46 | Longwall Equipment | 31970552.86 | 2019-12-31 | 10-L4 | 5 | 4210988 | 13.17 | 2019-12-31 | 10-L4 | 7 | 4109731 | 12.85 | -101257
399.51 | Vehicles | 1013192.91 | 2019-12-31 | 14-L2.5 | 5 | 70688 | 6.98 | 2019-12-31 | 14-L2.5 | 5 | 70485 | 6.96 | -203
399.52 | Heavy Construction Equipment | 5412077.48 | 2019-12-31 | 20-R2.5 | 5 | 441252 | 8.15 | 2019-12-31 | 20-R2.5 | 5 | 440548 | 8.14 | -704
399.6 | Miscellaneous Equipment | 1916706.39 | 2019-12-31 | 13-L1.5 | 1 | 177291 | 9.25 | 2019-12-31 | 13-L1.5 | 1 | 176913 | 9.23 | -378
399.61 | Computer Equipment | 178216.42 | 2019-12-31 | 9-S2 | 0 | 20395 | 11.44 | 2019-12-31 | 9-S2 | 0 | 20224 | 11.35 | -171
399.7 | Mine Development | 38414876.89 | 2019-12-31 | SQUARE | 0 | 1628179 | 4.24 | 2019-12-31 | SQUARE | 0 | 1623086 | 4.23 | -5093
| TOTAL UTAH MINING | 238286178.59 |  |  |  | 20944312 | 8.79 |  |  |  | 20815482 | 8.74 | -128830
| TOTAL ELECTRIC PLANT | 22923287115.55 |  |  |  | 743256789 | 3.24 |  |  |  | 670706372.589 | 2.93 | -72550416.411
(a) | Estimated decommissioning costs are $6,633,750
* | Depreciation rates for transmission plant and for Utah, Wyoming and Idaho distribution and general plant are based actual plant and reserve balances as of June 30, 2013.
The annual accrual amounts shown in this schedule are calculated by applying these rates to December 31, 2013 projected balances.