## Exhibit MEB-8
Rocky Mountain Power
State of Utah
Partial Requirements Service Proposal
|  |  | Schedule 31 |  | Full Service Schedule |  |  |  | Input Information
|  |  | Present | Proposed |  | Unit | Price
[6 empty] | 6/30/2015 | Proposed |  | UT 13-035-184 COS | Sch 8 | Sch 9
Customer Charges1 |  |  |  |  | Schedule No. 8 |  |  |  | Trans-Demand (3%) | 0.0645 | 0.0645 | Trans-Demand | 3%
| Secondary Voltage |  | 127 | 136 | Customer Charge | 3282 | 71 |  | Gen-Demand (3%) | 0.29517 | 0.32413 | Gen-Demand | 3%
| Primary Voltage |  | 577 | 617 | Facilities kW | 5010201 | 4.81 |  | Distri - P&C, Transformer | 2.8646
| Transmission Voltage |  | 646 | 691 | On-Peak kW (May - Sept) | 2097818 | 15.72 |  | Target Standby Charge | 3.2243 | 0.38863
Standby Reservation Charge2 |  |  |  |  | On-Peak kW (Oct - Apr) | 2761958 | 11.31 |  | Summer | 3.2243 | 0.38863
| Secondary Voltage |  | 4.66 | 3.22 | Voltage Discount | 2132830 | -1.14 |  | Winter | 3.2243 | 0.38863
| Primary Voltage |  | 3.66 | 2.08 | On-Peak kWh (May - Sept) | 260094535 | 5.1003 | ¢ | Left for Daily Standby Power |  |  | Checking
| Transmission Voltage |  | 2.08 | 0.39 | On-Peak kWh (Oct - Apr) | 625992212 | 3.9925 | ¢ | Summer | 17.31 | 15.91 | -0.033333 | 0.11958
Standby Power Charges3 |  |  |  |  | Off-Peak kWh | 1300960578.5884 | 3.4364 | ¢ | Winter | 12.9 | 11.38 | -0.0033333 | -0.0041667
| On-Peak Secondary Voltage | [7 empty] | Ratio of Average Daily to Monthly kW
|  | May - Sept | 0.6419 | 0.71 | Schedule No. 9 |  |  |  | Summer | 80% | 85%
|  | Oct - Apr | 0.6419 | 0.53 | Customer Charge | 1791 | 262 |  | Winter | 80% | 85%
| On-Peak Primary Voltage |  |  |  | Facilities kW | 9053509 | 2.24 |  | Ratio of Excess Power to Sup Power
|  | May - Sept | 0.6248 | 0.69 | On-Peak kW (May - Sept) | 3715246 | 14.06 |  | Summer | 2 | 2
|  | Oct - Apr | 0.6248 | 0.52 | On-Peak kW (Oct - Apr) | 5150021 | 9.53 |  | Winter | 2 | 2
| On-Peak Transmission Voltage |  |  |  | On-Peak kWh (May-Sept) | 507349132 | 4.6836 | ¢ | COS Adjustment | 100%
|  | May - Sept | 0.4906 | 0.62 | On-Peak kWh (Oct-Apr) | 1382941034 | 3.5219 | ¢ | GRC Filed $m | 76.2521
|  | Oct - Apr | 0.4906 | 0.44 | Off-Peak kWh | 3137145374.7653 | 2.9416 | ¢ | Settlement $m | 76.2521
Excess Power Rate4
| Secondary Voltage | [7 empty] | Rounding | 2
|  | May - Sept | 60.48 | See note 6
|  | Oct - Apr | 60.48 | See note 6 |  |  |  |  | Line Loss -S | 1.1011
| Primary Voltage | [7 empty] | Line Loss -P | 1.0738
|  | May - Sept | 43.59 | See note 6 |  |  |  |  | Line Loss -T | 1.0426
|  | Oct - Apr | 43.59 | See note 6
| Transmission Voltage | [8 empty] | 0.97521
|  | May - Sept | 41.97 | See note 6
|  | Oct - Apr | 41.97 | See note 6
Standby Energy Charges |  |  | Sch 8, 9 | Sch 8, 9
Supplementary Power and Energy Charges5 |  |  | Sch 8, 9 | Sch 8, 9
Notes:
1 per Customer per Month.
2 per kW of Standby Contract Power.
3 per On-Peak kW per Day; No charge for Off-Peak Demand. 1/2 On-Peak Charges during schedule maintenance.
4 per kW.
5 Facilities Charges,Power Charges and Energy Charges for Supplementary Power shall be billed under the applicable
general service schedule.
6 See tariff in UIEC Exhibit COS 2.9 (MEB-9).

## UnitCOS
Unit Costs @ Target ROR
Rocky Mountain Power
Cost Of Service By Rate Schedule
State of Utah
2010 Protocol (Non Wgt)
12 Months Ended June 2015
[5 empty] | 7.716% | = Target Return On Rate Base
|  | Utah |  | General | General | Street & Area | General |  | Traffic | Outdoor | General
|  | Jurisdiction | Residential | Large Dist. | +1 MW | Lighting | Trans | Irrigation | Signals | Lighting | Small Dist. | Industrial | Industrial | Aggregated
| Description | Normalized | Sch 1 | Sch 6 | Sch 8 | Sch. 7,11,12 | Sch 9 | Sch 10 | Sch 15 | Sch 15 | Sch 23 | Cust 1 | Cust 2 | Industrial
14 | UNITS
15 | NCP kW | 98933097.7112 | 57008524.9042 | 17458659.2465 | 4584311.0378 | 244988.8244 | 9632375.4662 | 606327.6225 | 8467 | 49463.1756 | 6868110.4084 | 1085325.0688 | 1386544.9569 | 2471870.0257
16 | Annual KWH | 22506063715.0635 | 6203851850.0024 | 6079744858.0846 | 2187047323 | 85461637.3881 | 5070026322.1908 | 189890000 | 6177949 | 17536444.6119 | 1390888209 | 535721170 | 739717951.7858 | 1275439121.7858
17 | Average Customers | 854847.1667 | 740635.7219 | 15384.1127 | 273.5 | 9698.9167 | 158.25 | 3045 | 2466.3333 | 515.1667 | 82668.1654 | 1 | 1 | 2
18 | Load Factor | 31.16% | 14.91% | 47.7% | 65.35% | 47.79% | 72.1% | 42.9% | 99.95% | 48.57% | 27.74% | 67.62% | 73.08% | 70.68%
| CP Load Factor |  | 61.13% | 77.1% |  | 244.3% | 95.17% | 96.26% | 99.24% | 211.6% | 66.81% | 95.82% | 169.9% | 128.2%
19
20 | GTDRM TOTAL | 100% | 37.13% | 26.01% | 8.676% | 0.5547% | 16.07% | 0.8013% | 0.0335% | 0.04882% | 7.112% | 1.691% | 1.877%
21 | Revenue Requirement | 1924076078.6984 | 714324623.0826 | 500445316.1144 | 166923965.0244 | 10673750.3297 | 309221193.4131 | 15417321.9967 | 644588.8296 | 939413.5089 | 136831078.8794 | 32536454.7669 | 36118373.0543 | 68654827.8212
22 | Per NCP kW | 19.4483 | 12.5301 | 28.6646 | 36.412 | 43.5683 | 32.1023 | 25.4274 | 76.1295 | 18.9922 | 19.9227 | 29.9785 | 26.0492 | 27.7744
23 | Per KWH | 0.085491 | 0.11514 | 0.082314 | 0.076324 | 0.1249 | 0.06099 | 0.081191 | 0.10434 | 0.053569 | 0.098377 | 0.060734 | 0.048827 | 0.053828
24 | Per Customer | 2250.7837 | 964.475 | 32530.0084 | 610325.2835 | 1100.5095 | 1954004.3818 | 5063.1599 | 261.3551 | 1823.5138 | 1655.1847 | 32536454.7669 | 36118373.0543 | 34327413.9106
25
26 | GENERATION-TOTAL | 100% | 31.1% | 27.28% | 9.343% | 0.2693% | 19.96% | 0.7792% | 0.02508% | 0.05663% | 6.672% | 2.104% | 2.414% | 4.518%
27 | Revenue Requirement | 1257704567.409 | 391178358.9699 | 343091548.7996 | 117507471.9059 | 3387320.5825 | 250978676.1212 | 9799482.2876 | 315397.2304 | 712241.2009 | 83914691.2054 | 26462804.6895 | 30356574.4161 | 56819379.1056
28 | Per NCP kW | 12.7127 | 6.8618 | 19.6517 | 25.6325 | 13.8264 | 26.0557 | 16.162 | 37.2502 | 14.3994 | 12.218 | 24.3824 | 21.8937 | 22.9864
29 | Per KWH | 0.055883 | 0.063054 | 0.056432 | 0.053729 | 0.039636 | 0.049502 | 0.051606 | 0.051052 | 0.040615 | 0.060332 | 0.049397 | 0.041038 | 0.044549
30 | Per Customer | 1471.2625 | 528.1657 | 22301.6794 | 429643.4073 | 349.2473 | 1585963.1982 | 3218.2208 | 127.881 | 1382.5452 | 1015.0787 | 26462804.6895 | 30356574.4161 | 28409689.5528
31
32 | GENERATION-DEMAND | 100% | 35.17% | 27.18% | 8.828% | 0.1192% | 17.52% | 0.6799% | 0.02148% | 0.02784% | 7.199% | 1.84% | 1.414% | 3.253%
33 | Revenue Requirement | 558426112.6236 | 196402325.7739 | 151801675.6862 | 49295394.5919 | 665397.651 | 97817764.3767 | 3796704.2647 | 119926.4625 | 155466.3647 | 40203346.9694 | 10272768.0426 | 7895342.4399 | 18168110.4824
34 | Per NCP kW | 5.6445 | 3.4451 | 8.6949 | 10.7531 | 2.716 | 10.1551 | 6.2618 | 14.164 | 3.1431 | 5.8536 | 9.4652 | 5.6943 | 7.3499
35 | Per KWH | 0.024812 | 0.031658 | 0.024968 | 0.02254 | 0.0077859 | 0.019293 | 0.019994 | 0.019412 | 0.0088653 | 0.028905 | 0.019176 | 0.010673 | 0.014245
36 | Per Customer | 653.2467 | 265.1807 | 9867.4313 | 180239.1027 | 68.6054 | 618121.7338 | 1246.8651 | 48.6254 | 301.7788 | 486.322 | 10272768.0426 | 7895342.4399 | 9084055.2412
37
38 | GENERATION-ENERGY | 100% | 27.85% | 27.36% | 9.755% | 0.3892% | 21.9% | 0.8584% | 0.02795% | 0.07962% | 6.251% | 2.315% | 3.212% | 5.527%
39 | Revenue Requirement | 699278454.7855 | 194776033.196 | 191289873.1134 | 68212077.314 | 2721922.9315 | 153160911.7444 | 6002778.0229 | 195470.7679 | 556774.8361 | 43711344.236 | 16190036.647 | 22461231.9762 | 38651268.6232
40 | Per NCP kW | 7.0682 | 3.4166 | 10.9567 | 14.8795 | 11.1104 | 15.9006 | 9.9002 | 23.0862 | 11.2564 | 6.3644 | 14.9172 | 16.1994 | 15.6364
41 | Per KWH | 0.031071 | 0.031396 | 0.031463 | 0.031189 | 0.03185 | 0.030209 | 0.031612 | 0.03164 | 0.03175 | 0.031427 | 0.030221 | 0.030365 | 0.030304
42 | Per Customer | 818.0158 | 262.9849 | 12434.248 | 249404.3046 | 280.642 | 967841.4644 | 1971.3557 | 79.2556 | 1080.7664 | 528.7567 | 16190036.647 | 22461231.9762 | 19325634.3116
43
44 | TRANSMISSION-TOTAL | 100% | 33.26% | 27.16% | 9.038% | 0.19% | 18.88% | 0.7242% | 0.02239% | 0.0386% | 6.861% | 1.966% | 1.859% | 3.825%
45 | Revenue Requirement | 292304091.4579 | 97224375.2272 | 79381417.9587 | 26419046.5725 | 555464.0001 | 55195203.6639 | 2116862.3942 | 65433.6687 | 112835.9256 | 20053528.1802 | 5746859.9424 | 5433063.9246 | 11179923.867
46 | Per NCP kW | 2.9546 | 1.7054 | 4.5468 | 5.7629 | 2.2673 | 5.7302 | 3.4913 | 7.7281 | 2.2812 | 2.9198 | 5.2951 | 3.9184 | 4.5229
47 | Per KWH | 0.012988 | 0.015672 | 0.013057 | 0.01208 | 0.0064996 | 0.010887 | 0.011148 | 0.010591 | 0.0064344 | 0.014418 | 0.010727 | 0.0073448 | 0.0087655
48 | Per Customer | 341.9373 | 131.2715 | 5159.9608 | 96596.1483 | 57.2707 | 348784.8573 | 695.1929 | 26.5307 | 219.028 | 242.5786 | 5746859.9424 | 5433063.9246 | 5589961.9335
49
50 | TRANSMISSION-DEMAND | 100% | 34.93% | 27.13% | 8.827% | 0.1278% | 17.87% | 0.683% | 0.02089% | 0.02683% | 7.08% | 1.856% | 1.446% | 3.302%
51 | Revenue Requirement | 222157622.0556 | 77607188.133 | 60264140.6338 | 19608805.3468 | 283974.7289 | 39705130.9768 | 1517233.5126 | 46398.4125 | 59609.0627 | 15728805.5369 | 4123534.0825 | 3212801.629 | 7336335.7115
52 | Per NCP kW | 2.2455 | 1.3613 | 3.4518 | 4.2774 | 1.1591 | 4.122 | 2.5023 | 5.4799 | 1.2051 | 2.2901 | 3.7994 | 2.3171 | 2.9679
53 | Per KWH | 0.009871 | 0.01251 | 0.0099123 | 0.0089659 | 0.0033228 | 0.0078313 | 0.0079901 | 0.0075103 | 0.0033992 | 0.011308 | 0.0076972 | 0.0043433 | 0.005752
54 | Per Customer | 259.8799 | 104.7846 | 3917.2971 | 71695.8148 | 29.279 | 250901.3016 | 498.2704 | 18.8127 | 115.7083 | 190.2644 | 4123534.0825 | 3212801.629 | 3668167.8557
55
56 | TRANSMISSION-ENERGY | 100% | 27.97% | 27.25% | 9.709% | 0.387% | 22.08% | 0.8548% | 0.02714% | 0.07588% | 6.165% | 2.314% | 3.165% | 5.479%
57 | Revenue Requirement | 70146469.4023 | 19617187.0941 | 19117277.3248 | 6810241.2257 | 271489.2712 | 15490072.6871 | 599628.8815 | 19035.2562 | 53226.8629 | 4324722.6433 | 1623325.8599 | 2220262.2955 | 3843588.1555
58 | Per NCP kW | 0.70903 | 0.34411 | 1.095 | 1.4856 | 1.1082 | 1.6081 | 0.98895 | 2.2482 | 1.0761 | 0.62968 | 1.4957 | 1.6013 | 1.5549
59 | Per KWH | 0.0031168 | 0.0031621 | 0.0031444 | 0.0031139 | 0.0031767 | 0.0030552 | 0.0031578 | 0.0030812 | 0.0030352 | 0.0031093 | 0.0030302 | 0.0030015 | 0.0030135
60 | Per Customer | 82.0573 | 26.487 | 1242.6636 | 24900.3335 | 27.9917 | 97883.5557 | 196.9225 | 7.718 | 103.3197 | 52.3142 | 1623325.8599 | 2220262.2955 | 1921794.0777
61
62 | DISTRIBUTION-TOTAL | 100% | 58.02% | 22.64% | 6.676% | 1.955% | 0.2877% | 1.048% | 0.05197% | 0.0277% | 9.23% | 0.03011% | 0.03327% | 0.06338%
63 | Revenue Requirement | 325371910.4449 | 188787434.9582 | 73657128.9282 | 21721482.813 | 6361180.3361 | 936054.3436 | 3410861.106 | 169099.166 | 90116.9026 | 30032327.3923 | 97958.6365 | 108265.8625 | 206224.499
64 | Per NCP kW | 3.2888 | 3.3116 | 4.2189 | 4.7382 | 25.9652 | 0.097178 | 5.6254 | 19.9716 | 1.8219 | 4.3727 | 0.090257 | 0.078083 | 0.083429
65 | Per KWH | 0.014457 | 0.030431 | 0.012115 | 0.0099319 | 0.074433 | 0.00018463 | 0.017962 | 0.027371 | 0.0051388 | 0.021592 | 0.00018285 | 0.00014636 | 0.00016169
66 | Per Customer | 380.62 | 254.8992 | 4787.8698 | 79420.4125 | 655.865 | 5915.0353 | 1120.1514 | 68.563 | 174.9277 | 363.2877 | 97958.6365 | 108265.8625 | 103112.2495
67
68 | DISTRIBUTION-SUBSTATION | 100% | 49.66% | 29.82% | 9.488% | 0.3965% | 0.09129% | 1.262% | 0.02315% | 0.01668% | 9.207% | 0.01545% | 0.01805% | 0.03351%
69 | Revenue Requirement | 72214636.1637 | 35862037.5964 | 21535350.7372 | 6851954.2799 | 286342.3835 | 65925.7828 | 911155.2625 | 16715.3868 | 12043.4334 | 6648915.4609 | 11159.2694 | 13036.5709 | 24195.8404
70 | Per NCP kW | 0.72993 | 0.62906 | 1.2335 | 1.4947 | 1.1688 | 0.0068442 | 1.5027 | 1.9742 | 0.24348 | 0.96809 | 0.010282 | 0.0094022 | 0.0097885
71 | Per KWH | 0.0032087 | 0.0057806 | 0.0035421 | 0.003133 | 0.0033505 | 1.3003e-05 | 0.0047983 | 0.0027057 | 0.00068677 | 0.0047803 | 2.083e-05 | 1.7624e-05 | 1.8971e-05
72 | Per Customer | 84.4767 | 48.4206 | 1399.8435 | 25052.8493 | 29.5231 | 416.5926 | 299.23 | 6.7774 | 23.3777 | 80.429 | 11159.2694 | 13036.5709 | 12097.9202
73
74 | DISTRIBUTION- P & C | 100% | 56.8% | 22.17% | 7.079% | 3.498% | 0.1041% | 0.8949% | 0.02549% | 0.01235% | 9.379% | 0.01805% | 0.02148% | 0.03952%
75 | Revenue Requirement | 152444375.4202 | 86583266.5534 | 33798859.0667 | 10792145.289 | 5331850.8018 | 158770.7078 | 1364213.0026 | 38855.0981 | 18824.1766 | 14297340.247 | 27510.7299 | 32739.7473 | 60250.4771
76 | Per NCP kW | 1.5409 | 1.5188 | 1.9359 | 2.3541 | 21.7636 | 0.016483 | 2.25 | 4.589 | 0.38057 | 2.0817 | 0.025348 | 0.023612 | 0.024374
77 | Per KWH | 0.0067735 | 0.013956 | 0.0055593 | 0.0049346 | 0.062389 | 3.1316e-05 | 0.0071842 | 0.0062893 | 0.0010734 | 0.010279 | 5.1353e-05 | 4.426e-05 | 4.7239e-05
78 | Per Customer | 178.3294 | 116.904 | 2196.9976 | 39459.3978 | 549.7367 | 1003.2904 | 448.0174 | 15.7542 | 36.54 | 172.9486 | 27510.7299 | 32739.7473 | 30125.2386
79
80 | DISTRIBUTION-TRANSFORMER | 100% | 59.48% | 24.18% | 5.988% | 0.8656% | 0.1277% | 1.671% | 0.01798% | 0.06294% | 7.563% | 0.01957% | 0.02274% | 0.04232%
81 | Revenue Requirement | 59453685.53 | 35361660.537 | 14378148.8619 | 3560142.7067 | 514637.2155 | 75895.7594 | 993700.55 | 10687.4614 | 37420.2657 | 4496233.7984 | 11637.9094 | 13520.4646 | 25158.3739
82 | Per NCP kW | 0.60095 | 0.62029 | 0.82355 | 0.77659 | 2.1007 | 0.0078792 | 1.6389 | 1.2622 | 0.75653 | 0.65465 | 0.010723 | 0.0097512 | 0.010178
83 | Per KWH | 0.0026417 | 0.0057 | 0.0023649 | 0.0016278 | 0.0060219 | 1.497e-05 | 0.005233 | 0.0017299 | 0.0021339 | 0.0032326 | 2.1724e-05 | 1.8278e-05 | 1.9725e-05
84 | Per Customer | 69.5489 | 47.745 | 934.6102 | 13016.9752 | 53.0613 | 479.5941 | 326.3384 | 4.3333 | 72.6372 | 54.3889 | 11637.9094 | 13520.4646 | 12579.187
85
86 | DISTRIBUTION-METER | 100% | 70.83% | 9.268% | 0.3135% | 0.3809% | 5.278% | 0.9141% | 0.26% | 0.04907% | 11.97% | 0.3682% | 0.3709% | 0.7391%
87 | Revenue Requirement | 11235427.0495 | 7957725.1914 | 1041277.2813 | 35223.8621 | 42794.6178 | 593024.2208 | 102706.8928 | 29211.4477 | 5512.7049 | 1344906.9107 | 41368.203 | 41675.7169 | 83043.92
88 | Per NCP kW | 0.11357 | 0.13959 | 0.059642 | 0.0076836 | 0.17468 | 0.061566 | 0.16939 | 3.45 | 0.11145 | 0.19582 | 0.038116 | 0.030057 | 0.033596
89 | Per KWH | 0.00049922 | 0.0012827 | 0.00017127 | 1.6106e-05 | 0.00050075 | 0.00011697 | 0.00054088 | 0.0047283 | 0.00031436 | 0.00096694 | 7.722e-05 | 5.634e-05 | 6.511e-05
90 | Per Customer | 13.1432 | 10.7445 | 67.6852 | 128.7893 | 4.4123 | 3747.3884 | 33.7297 | 11.8441 | 10.7008 | 16.2687 | 41368.203 | 41675.7169 | 41521.96
91
92 | DISTRIBUTION-SERVICE | 100% | 76.68% | 9.671% | 1.605% | 0.618% | 0.1413% | 0.1302% | 0.2452% | 0.05434% | 10.81% | 0.02093% | 0.02429% | 0.04522%
93 | Revenue Requirement | 30023786.2815 | 23022745.08 | 2903492.9812 | 482016.6753 | 185555.3175 | 42437.8728 | 39085.3981 | 73629.772 | 16316.3219 | 3244930.9753 | 6282.5248 | 7293.3628 | 13575.8876
94 | Per NCP kW | 0.30348 | 0.40385 | 0.16631 | 0.10514 | 0.7574 | 0.0044058 | 0.064463 | 8.6961 | 0.32987 | 0.47246 | 0.0057886 | 0.0052601 | 0.0054922
95 | Per KWH | 0.001334 | 0.003711 | 0.00047757 | 0.0002204 | 0.0021712 | 8.3703e-06 | 0.00020583 | 0.011918 | 0.00093042 | 0.002333 | 1.1727e-05 | 9.8597e-06 | 1.0644e-05
96 | Per Customer | 35.1218 | 31.0851 | 188.7332 | 1762.401 | 19.1316 | 268.1698 | 12.8359 | 29.8539 | 31.6719 | 39.2525 | 6282.5248 | 7293.3628 | 6787.9438
97
98 | RETAIL-TOTAL | 100% | 94.26% | 0.3952% | -0.2485% | 0.8797% | -0.4316% | -0.1286% | 0.2746% | 0.05535% | 4.98% | -0.02138% | -0.01769% | -0.03907%
99 | Revenue Requirement | 32763124.6119 | 30883608.8168 | 129479.5166 | -81405.907 | 288210.0324 | -141415.9911 | -42138.0894 | 89960.3961 | 18134.5694 | 1631492.1028 | -7003.6445 | -5797.1901 | -12800.8347
100 | Per NCP kW | 0.33116 | 0.54174 | 0.0074163 | -0.017758 | 1.1764 | -0.014681 | -0.069497 | 10.6248 | 0.36663 | 0.23755 | -0.006453 | -0.004181 | -0.0051786
101 | Per KWH | 0.0014557 | 0.0049781 | 2.1297e-05 | -3.7222e-05 | 0.0033724 | -2.7893e-05 | -0.00022191 | 0.014562 | 0.0010341 | 0.001173 | -1.3073e-05 | -7.837e-06 | -1.0036e-05
102 | Per Customer | 38.3263 | 41.6988 | 8.4164 | -297.645 | 29.7157 | -893.624 | -13.8385 | 36.4754 | 35.2014 | 19.7354 | -7003.6445 | -5797.1901 | -6400.4173
103
104 | MISC - Total | 100% | 39.23% | 26.27% | 8.52% | 0.512% | 14.14% | 0.8301% | 0.02949% | 0.03819% | 7.526% | 1.48% | 1.42% | 2.9%
105 | Revenue Requirement | 15932384.7746 | 6250845.1105 | 4185740.9113 | 1357369.6401 | 81575.3786 | 2252675.2755 | 132254.2982 | 4698.3685 | 6084.9105 | 1199039.9986 | 235835.143 | 226266.0413 | 462101.1843
106 | Per NCP kW | 0.16104 | 0.10965 | 0.23975 | 0.29609 | 0.33298 | 0.23386 | 0.21812 | 0.5549 | 0.12302 | 0.17458 | 0.21729 | 0.16319 | 0.18694
107 | Per KWH | 0.00070792 | 0.0010076 | 0.00068847 | 0.00062064 | 0.00095453 | 0.00044431 | 0.00069648 | 0.00076051 | 0.00034699 | 0.00086207 | 0.00044022 | 0.00030588 | 0.00036231
108 | Per Customer | 18.6377 | 8.4398 | 272.082 | 4962.9603 | 8.4108 | 14234.9149 | 43.4333 | 1.905 | 11.8115 | 14.5043 | 235835.143 | 226266.0413 | 231050.5922
1 | Classified Rev Req
2 | Generation - Demand | 558426112.6236 | 196402325.7739 | 151801675.6862 | 49295394.5919 | 665397.651 | 97817764.3767 | 3796704.2647 | 119926.4625 | 155466.3647 | 40203346.9694 | 10272768.0426 | 7895342.4399 | 18168110.4824
3 | Transmission - Demand | 222157622.0556 | 77607188.133 | 60264140.6338 | 19608805.3468 | 283974.7289 | 39705130.9768 | 1517233.5126 | 46398.4125 | 59609.0627 | 15728805.5369 | 4123534.0825 | 3212801.629 | 7336335.7115
4 | Distribution - Substation | 72214636.1637 | 35862037.5964 | 21535350.7372 | 6851954.2799 | 286342.3835 | 65925.7828 | 911155.2625 | 16715.3868 | 12043.4334 | 6648915.4609 | 11159.2694 | 13036.5709 | 24195.8404
5 | Demand - TOTAL Rev Req | 852798370.8429 | 309871551.5033 | 233601167.0572 | 75756154.2186 | 1235714.7634 | 137588821.1364 | 6225093.0398 | 183040.2618 | 227118.8608 | 62581067.9673 | 14407461.3945 | 11121180.6398 | 25528642.0343
6
7 | Generation - Energy | 699278454.7855 | 194776033.196 | 191289873.1134 | 68212077.314 | 2721922.9315 | 153160911.7444 | 6002778.0229 | 195470.7679 | 556774.8361 | 43711344.236 | 16190036.647 | 22461231.9762 | 38651268.6232
8 | Transmission - Energy | 70146469.4023 | 19617187.0941 | 19117277.3248 | 6810241.2257 | 271489.2712 | 15490072.6871 | 599628.8815 | 19035.2562 | 53226.8629 | 4324722.6433 | 1623325.8599 | 2220262.2955 | 3843588.1555
9 | Misc - Total | 15932384.7746 | 6250845.1105 | 4185740.9113 | 1357369.6401 | 81575.3786 | 2252675.2755 | 132254.2982 | 4698.3685 | 6084.9105 | 1199039.9986 | 235835.143 | 226266.0413 | 462101.1843
10 | Energy - TOTAL Rev Req | 785357308.9623 | 220644065.4007 | 214592891.3496 | 76379688.1797 | 3074987.5813 | 170903659.7071 | 6734661.2027 | 219204.3925 | 616086.6095 | 49235106.8779 | 18049197.6499 | 24907760.3131 | 42956957.963
11
12 | Distribution - Meter | 11235427.0495 | 7957725.1914 | 1041277.2813 | 35223.8621 | 42794.6178 | 593024.2208 | 102706.8928 | 29211.4477 | 5512.7049 | 1344906.9107 | 41368.203 | 41675.7169 | 83043.92
13 | Distribution - Service | 30023786.2815 | 23022745.08 | 2903492.9812 | 482016.6753 | 185555.3175 | 42437.8728 | 39085.3981 | 73629.772 | 16316.3219 | 3244930.9753 | 6282.5248 | 7293.3628 | 13575.8876
14 | Retail Total | 32763124.6119 | 30883608.8168 | 129479.5166 | -81405.907 | 288210.0324 | -141415.9911 | -42138.0894 | 89960.3961 | 18134.5694 | 1631492.1028 | -7003.6445 | -5797.1901 | -12800.8347
15 | Customer - TOTAL Rev Req | 74022337.9429 | 61864079.0882 | 4074249.7791 | 435834.6304 | 516559.9677 | 494046.1024 | 99654.2015 | 192801.6158 | 39963.5962 | 6221329.9887 | 40647.0833 | 43171.8896 | 83818.9729
16
17 | Distribution - P&C | 152444375.4202 | 86583266.5534 | 33798859.0667 | 10792145.289 | 5331850.8018 | 158770.7078 | 1364213.0026 | 38855.0981 | 18824.1766 | 14297340.247 | 27510.7299 | 32739.7473 | 60250.4771
18 | Distribution - Transformer | 59453685.53 | 35361660.537 | 14378148.8619 | 3560142.7067 | 514637.2155 | 75895.7594 | 993700.55 | 10687.4614 | 37420.2657 | 4496233.7984 | 11637.9094 | 13520.4646 | 25158.3739
19 | Load Size - TOTAL Rev Req | 211898060.9502 | 121944927.0905 | 48177007.9286 | 14352287.9957 | 5846488.0173 | 234666.4672 | 2357913.5526 | 49542.5595 | 56244.4423 | 18793574.0454 | 39148.6393 | 46260.2118 | 85408.8511
20
21 | Total Classification Rev Req | 1924076078.6984 | 714324623.0826 | 500445316.1144 | 166923965.0244 | 10673750.3297 | 309221193.4131 | 15417321.9967 | 644588.8296 | 939413.5089 | 136831078.8794 | 32536454.7669 | 36118373.0543 | 68654827.8212
22 | GTDRM Rev Req | 1924076078.6984 | 714324623.0826 | 500445316.1144 | 166923965.0244 | 10673750.3297 | 309221193.4131 | 15417321.9967 | 644588.8296 | 939413.5089 | 136831078.8794 | 32536454.7669 | 36118373.0543 | 68654827.8212
Note on F7: Indicates use of either a Target ROR on rate base or Actual ROR based on current revenues.
Note on B18: Load Factors are derived using the Non Coincident Peak data (@ sales) contained in the Distribution Factor tab.