## References
[5 empty] | June 2015 GRC | April Update
NPC Recommendation | 1.5102 | My rebuttal testimony supports total-Company NPC of $1.510 billion | 0.4212 | Utah Allocated NPC | 641066299.9472 | 636103595.2809
| 25.5861 | ($25.59 per megawatt-hour) |  | SG | 0.42628
| -11.6506 | which is a reduction of approximately $11.7 million from the Company’s initial filing |  | SE | 0.41972
| -4.9627 | Utah allocated NPC were reduced $5.0 million
| 636.1036 | to $636.1 million
Market Caps Adjustment (DPU Adjustment 2; OCS Adjustment 9) | 422850.709 | coal generation does increase when market caps are removed, but only by about 423,000 MWh
| 2.2595 | Of the 2.3 million MWh of additional off-system sales
| 76.44% | 76 percent were the result of the GRID model
| 511872.0997 | “highly illiquid” increase by over 511,000 MWh
| 50.75% | or 51 percent, when caps on market sales are removed from the other market hubs
Third Party Wind Integration (DPU Adjustment; UAE Adjustment) | 2.0311 | $2.03/MWh includes both the intra-hour cost of holding reserves
| 1.6575 | the calculation should use only the intra-hour integration cost of $1.66/MWh
DC Intertie Transmission (DPU Adjustment 5; UAE Adjustment) | 1.9517 | costs included for the test period in this case equate to a rate of $1.95/KW-month.
Rates eff. 6/1/14: Sch 1,7 | 2.3455 | PacifiCorp’s OATT rate for long term PTP service effective June 1, 2014 is $2.35/KW-month
http://www.oasis.oati.com/PPW/PPWdocs/Rate_Table_20140601.pdf

## Figure 2
| Direct Filing | OCS adj 09 | Delta
|  |  | 0 | Source of Increased Sales from Elimination of Market Capacity Constraint
Sales | -9829210.3891 | -12088731.1115 | -2259520.7224 |  | In OCS Adjustment No. 9
Purchases | 12064986.1411 | 13821502.3952 | 1727089.9033
Coal | 41814059.0791 | 42236909.7881 | 422850.709
Gas | 7612356.4427 | 7692505.8073 | 109575.7155
Hydro | 3933747.2316 | 3933747.2316 | 0
Other | 3428578.5306 | 3428578.5306 | 0
Hermiston PPA |  | 29426.3509
COB |  | 38483.2512
Four Corners |  | 104931.0033
Mead |  | 2295.2058
Mid Columbia |  | 841499.532
Mona |  | 511872.0997 | 0.50748
NOB |  | 19217.1092
Palo Verde |  | 208791.702
1727089.9033
[6 empty] | Increased | Source of Increase Sales
[6 empty] | Sales | Purchases | Coal | Gas
[5 empty] | MWH | 2259520.7224 | 1727089.9033 | 422850.709 | 109575.7155
[5 empty] | Percent |  | 76.44% | 18.71% | 4.85%

## Table 1
GRID vs Actual (MWh) *
| 2011 | 2012 | 2013
GRID Sales Volume | 9490557.7967 | 10369939.924 | 11401751.1864
Actual Sales Volume | 6802152.286 | 7746563.814 | 7841250.948
Difference | -2688405.5107 | -2623376.11 | -3560500.2384
* Sales volumes are short-term firm and system balancing sales and do not include long-term firm sales

## Focus Years
|  | NERC EAF | PCRP EAF | NERC CF | PCRP CF
4-yrs ending 2008 | 2005-2008 | 83.4755 | 86.8943 | 71.552 | 84.013
4-yrs ending 2009 | 2006-2009 | 83.0219 | 87.034 | 68.8817 | 83.669
4-yrs ending 2010 | 2007-2010 | 82.3228 | 86.7035 | 66.8252 | 82.8304
4-yrs ending 2011 | 2008-2011 | 82.7524 | 85.9202 | 64.362 | 79.9827
4-yrs ending 2012 | 2009-2012 | 82.6511 | 86.2726 | 60.9831 | 78.0028
4-yrs ending 2013 | 2010-2013 |  | 87.8623 |  | 78.1923