## Appendix B
Appendix B
Avoided Cost Prices $/MWh
UT Compliance 2013.Q1 - 100.0 MW and 85.0% CF
Year | Avoided Cost at | 2012.Q4 Compliance | Difference
| 85.0% CF (2) | Filing (2)
2014 | 29.31 | 28.34 | 0.97
2015 | 29.36 | 30.22 | -0.86
2016 | 30.49 | 31.23 | -0.74
2017 | 32.53 | 32.35 | 0.18
2018 | 35.09 | 34.69 | 0.4
2019 | 35.54 | 38.98 | -3.44
2020 | 38.29 | 43.02 | -4.73
2021 | 42.86 | 45.27 | -2.41
2022 | 48.4 | 52.23 | -3.83
2023 | 52.57 | 55.96 | -3.39
2024 | 55.04 | 58.83 | -3.79
2025 | 59.33 | 58.4 | 0.93
2026 | 61.5 | 62.35 | -0.85
2027 | 63.23 | 62.97 | 0.26
2028 | 69.51 | 64.35 | 5.16
2029 | 71.8 | 66.11 | 5.69
2030 | 72.52 | 66.97 | 5.55
2031 | 73.36 | 68.81 | 4.55
2032 | 74.77 | 69.98 | 4.79
2033 | 76.01 | 71.46 | 4.55
20-Year Levelized Prices (Nominal) @ 7.154% Discount Rate (1) (3) |  |  |  | 2012 RFP Discount Rate
$/MWh | 46.16 | 46.42 | -0.26 | 7.154%
Footnotes:
(1) 2012 RFP - Needs Assessment discount rate
(2) Total avoided costs with capacity included at an 85.0% capacity factor
(3) 20-Year NPC is 2014 - 2033
Avoided Costs calculated monthly are $46.14/MWH

## Table 1
Appendix B
Table 1
Avoided Cost Prices
UT Compliance 2013.Q1 - 100.0 MW and 85.0% CF
Partial Displacement of a 2028 CCCT (400 MW 1x1)
Adjust Capacity payment for Partial Displacement
|  |  |  | Total Price @ | 100%
| Capacity |  | Energy | 85%
Year | Price |  | Only Price | Capacity Factor
| $/kW-yr |  | $/MWh (2) | $/MWh
2014 | 0 |  | 29.3066 | 29.31
2015 | 0 |  | 29.3557 | 29.36
2016 | 0 |  | 30.4864 | 30.49
2017 | 0 |  | 32.5346 | 32.53
2018 | 0 |  | 35.0919 | 35.09
2019 | 0 |  | 35.5415 | 35.54
2020 | 0 |  | 38.2922 | 38.29
2021 | 0 |  | 42.8641 | 42.86
2022 | 0 |  | 48.3992 | 48.4
2023 | 0 |  | 52.5716 | 52.57
2024 | 0 |  | 55.0408 | 55.04
2025 | 0 |  | 59.3318 | 59.33
2026 | 0 |  | 61.4953 | 61.5
2027 | 0 |  | 63.2272 | 63.23
2028 | 193.14 | (4) | 43.6392 | 69.51
2029 | 196.79 |  | 45.372 | 71.8
2030 | 200.54 |  | 45.5844 | 72.52
2031 | 204.36 |  | 45.913 | 73.36
2032 | 208.25 |  | 46.8765 | 74.77
2033 | 212.2 |  | 47.5118 | 76.01
2012 RFP - Needs Assessment Discount Rate
20-Year Levelized Prices (Nominal) @ 7.154% Discount Rate (1) (3) |  |  |  |  | 7.154%
$/kW | 34.7555
$/MWh |  |  | 41.4929 | 46.16
Footnotes:
(1) 2012 RFP - Needs Assessment discount rate
(2) Energy Only Price is the GRID calculated costs and includes some capacity costs
(3) 20 Year NPC is 2014 - 2033
(4) Capacity payments are from a 2028 CCCT (400 MW 1x1)
(5) Avoided Costs calculated monthly starting January 2014
Avoided Costs calculated monthly are $46.14/MWH

## Table 2
Appendix B
Table 2
Avoided Energy Costs - Scheduled Hours ($/MWh)
UT Compliance 2013.Q1 - 100.0 MW and 85.0% CF
Partial Displacement of a 2028 CCCT (400 MW 1x1)
Year |  | Winter Season |  |  |  |  | Summer Season |  |  |  | Winter Season |  |  | IRP Resource
| Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Energy Cost
Energy Only
2014 | 29.3066 | 31.5286 | 30.7448 | 29.8198 | 27.4422 | 25.8338 | 22.8716 | 34.6328 | 33.7593 | 32.5241 | 27.7152 | 26.533 | 28.1602 | 0
2015 | 29.3557 | 28.9854 | 28.2962 | 26.4539 | 26.495 | 25.1934 | 25.0671 | 37.4765 | 37.798 | 36.6708 | 27.4345 | 24.9424 | 27.2153 | 0
2016 | 30.4864 | 27.7107 | 29.0676 | 30.674 | 26.6698 | 27.4482 | 26.4223 | 39.5935 | 40.0091 | 39.3031 | 28.2267 | 24.9417 | 25.5296 | 0
2017 | 32.5346 | 27.601 | 28.3937 | 30.2975 | 28.285 | 28.8774 | 28.5817 | 43.5483 | 45.2821 | 43.8156 | 30.8419 | 25.6158 | 28.7505 | 0
2018 | 35.0919 | 30.8951 | 39.6251 | 30.8495 | 31.4643 | 31.3844 | 31.2463 | 45.9645 | 47.6092 | 45.5006 | 32.5264 | 26.4291 | 27.862 | 0
2019 | 35.5415 | 26.1842 | 28.961 | 34.5193 | 32.3254 | 35.1863 | 34.0946 | 48.9162 | 50.327 | 46.8489 | 33.3723 | 27.1688 | 27.9013 | 0
2020 | 38.2922 | 26.8081 | 37.8045 | 39.6397 | 32.2385 | 38.0421 | 36.5752 | 51.8886 | 51.985 | 49.1113 | 34.7611 | 32.1041 | 28.4159 | 0
2021 | 42.8641 | 36.49 | 40.6678 | 41.1114 | 35.2524 | 41.4336 | 37.6776 | 54.9763 | 54.8016 | 51.9111 | 42.6712 | 41.5746 | 35.4267 | 0
2022 | 48.3992 | 42.62 | 43.0518 | 44.1829 | 49.0119 | 45.4473 | 43.7624 | 59.7461 | 60.6682 | 57.7541 | 49.5602 | 43.636 | 40.8501 | 0
2023 | 52.5716 | 45.0556 | 46.6783 | 48.6203 | 53.4023 | 51.6939 | 47.9742 | 64.0859 | 66.0301 | 62.2475 | 52.9056 | 46.7296 | 44.8675 | 0
2024 | 55.0408 | 53.9772 | 53.8905 | 53.0454 | 52.2862 | 51.0415 | 47.9471 | 64.5322 | 67.0267 | 62.2196 | 55.1488 | 50.9938 | 48.09 | 0
2025 | 59.3318 | 55.8553 | 55.6119 | 55.5286 | 55.0572 | 54.6718 | 52.2332 | 74.85 | 76.1082 | 74.8124 | 56.0551 | 51.8162 | 48.9119 | 0
2026 | 61.4953 | 58.6455 | 59.1279 | 57.9504 | 58.0122 | 55.6975 | 52.7534 | 78.133 | 78.3337 | 77.6511 | 58.3342 | 52.9951 | 49.9335 | 0
2027 | 63.2272 | 60.7819 | 60.6276 | 59.2509 | 59.8694 | 57.2879 | 54.6774 | 80.3805 | 81.3304 | 78.6775 | 60.3753 | 53.906 | 51.1231 | 0
2028 | 43.6392 | 43.3197 | 44.2652 | 41.7176 | 42.6535 | 48.6953 | 42.198 | 41.7559 | 42.6751 | 43.3268 | 43.2154 | 44.5054 | 45.322 | 45.75
2029 | 45.372 | 46.2353 | 46.5379 | 43.8622 | 43.5886 | 48.7823 | 43.8681 | 44.1491 | 44.091 | 44.891 | 44.87 | 46.1436 | 47.4614 | 47.13
2030 | 45.5844 | 46.5321 | 47.7098 | 43.4783 | 42.7659 | 48.2225 | 44.3521 | 44.6608 | 44.1659 | 45.3566 | 44.5184 | 47.2255 | 48.1458 | 47.47
2031 | 45.913 | 46.6224 | 47.138 | 43.7608 | 44.7515 | 49.285 | 44.942 | 44.4491 | 44.3998 | 46.0176 | 44.7817 | 46.3901 | 48.4863 | 47.88
2032 | 46.8765 | 46.8152 | 47.7501 | 44.3354 | 43.7845 | 53.3439 | 45.7769 | 45.3928 | 46.0323 | 47.124 | 45.4148 | 46.6737 | 49.9968 | 48.78
2033 | 47.5118 | 47.1689 | 48.2625 | 45.0386 | 45.2724 | 54.4995 | 46.4787 | 46.1446 | 46.3207 | 47.8655 | 46.0357 | 46.5653 | 50.4367 | 49.74
IRP Resource Energy Costs are provided for comparison purposes only.
Cap Energy Prices (Yes / No)
No
Energy Price escalated at
1.9%

## Table 3
Appendix B
Table 3
Avoided Energy Costs - Unscheduled or Non-dispatch hours($/MWh)
UT Compliance 2013.Q1 - 100.0 MW and 85.0% CF
Partial Displacement of a 2028 CCCT (400 MW 1x1)
Year |  | Winter Season |  |  |  |  | Summer Season |  |  |  | Winter Season |  |  | IRP Resource
| Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Energy Cost
Energy Only
2014 | 29.3066 | 31.5286 | 30.7448 | 29.8198 | 27.4422 | 25.8338 | 22.8716 | 34.6328 | 33.7593 | 32.5241 | 27.7152 | 26.533 | 28.1602 | 0
2015 | 29.3557 | 28.9854 | 28.2962 | 26.4539 | 26.495 | 25.1934 | 25.0671 | 37.4765 | 37.798 | 36.6708 | 27.4345 | 24.9424 | 27.2153 | 0
2016 | 30.4864 | 27.7107 | 29.0676 | 30.674 | 26.6698 | 27.4482 | 26.4223 | 39.5935 | 40.0091 | 39.3031 | 28.2267 | 24.9417 | 25.5296 | 0
2017 | 32.5346 | 27.601 | 28.3937 | 30.2975 | 28.285 | 28.8774 | 28.5817 | 43.5483 | 45.2821 | 43.8156 | 30.8419 | 25.6158 | 28.7505 | 0
2018 | 35.0919 | 30.8951 | 39.6251 | 30.8495 | 31.4643 | 31.3844 | 31.2463 | 45.9645 | 47.6092 | 45.5006 | 32.5264 | 26.4291 | 27.862 | 0
2019 | 35.5415 | 26.1842 | 28.961 | 34.5193 | 32.3254 | 35.1863 | 34.0946 | 48.9162 | 50.327 | 46.8489 | 33.3723 | 27.1688 | 27.9013 | 0
2020 | 38.2922 | 26.8081 | 37.8045 | 39.6397 | 32.2385 | 38.0421 | 36.5752 | 51.8886 | 51.985 | 49.1113 | 34.7611 | 32.1041 | 28.4159 | 0
2021 | 42.8641 | 36.49 | 40.6678 | 41.1114 | 35.2524 | 41.4336 | 37.6776 | 54.9763 | 54.8016 | 51.9111 | 42.6712 | 41.5746 | 35.4267 | 0
2022 | 48.3992 | 42.62 | 43.0518 | 44.1829 | 49.0119 | 45.4473 | 43.7624 | 59.7461 | 60.6682 | 57.7541 | 49.5602 | 43.636 | 40.8501 | 0
2023 | 52.5716 | 45.0556 | 46.6783 | 48.6203 | 53.4023 | 51.6939 | 47.9742 | 64.0859 | 66.0301 | 62.2475 | 52.9056 | 46.7296 | 44.8675 | 0
2024 | 55.0408 | 53.9772 | 53.8905 | 53.0454 | 52.2862 | 51.0415 | 47.9471 | 64.5322 | 67.0267 | 62.2196 | 55.1488 | 50.9938 | 48.09 | 0
2025 | 59.3318 | 55.8553 | 55.6119 | 55.5286 | 55.0572 | 54.6718 | 52.2332 | 74.85 | 76.1082 | 74.8124 | 56.0551 | 51.8162 | 48.9119 | 0
2026 | 61.4953 | 58.6455 | 59.1279 | 57.9504 | 58.0122 | 55.6975 | 52.7534 | 78.133 | 78.3337 | 77.6511 | 58.3342 | 52.9951 | 49.9335 | 0
2027 | 63.2272 | 60.7819 | 60.6276 | 59.2509 | 59.8694 | 57.2879 | 54.6774 | 80.3805 | 81.3304 | 78.6775 | 60.3753 | 53.906 | 51.1231 | 0
2028 | 43.3921 | 43.3197 | 44.2652 | 41.7176 | 42.6535 | 45.75 | 42.198 | 41.7559 | 42.6751 | 43.3268 | 43.2154 | 44.5054 | 45.322 | 45.75
2029 | 45.2081 | 46.2353 | 46.5379 | 43.8622 | 43.5886 | 47.13 | 43.8681 | 44.1491 | 44.091 | 44.891 | 44.87 | 46.1436 | 47.13 | 47.13
2030 | 45.4555 | 46.5321 | 47.47 | 43.4783 | 42.7659 | 47.47 | 44.3521 | 44.6608 | 44.1659 | 45.3566 | 44.5184 | 47.2255 | 47.47 | 47.47
2031 | 45.7511 | 46.6224 | 47.138 | 43.7608 | 44.7515 | 47.88 | 44.942 | 44.4491 | 44.3998 | 46.0176 | 44.7817 | 46.3901 | 47.88 | 47.88
2032 | 46.3883 | 46.8152 | 47.7501 | 44.3354 | 43.7845 | 48.78 | 45.7769 | 45.3928 | 46.0323 | 47.124 | 45.4148 | 46.6737 | 48.78 | 48.78
2033 | 47.0528 | 47.1689 | 48.2625 | 45.0386 | 45.2724 | 49.74 | 46.4787 | 46.1446 | 46.3207 | 47.8655 | 46.0357 | 46.5653 | 49.74 | 49.74
Energy Only costs are calculated by GRID and are capped at the IRP Resource Energy Cost
Denotes months with capped energy prices | bar: Winter Season Jan to Winter Season Apr

## Table 4
Appendix B
Table 4
2012 RFP - Needs Assessment Resource Cost
2028 CCCT (400 MW 1x1)
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr | $/MMBtu | $/MWH | $/MWH
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
2028 CCCT (400 MW 1x1)
2010 | 1214 | 99.55 | 24.4 | 3.57 | 39.85 | 139.4
2011 |  | 102.14 | 25.03 | 3.66 | 40.87 | 143.01
2012 |  | 104.08 | 25.51 | 3.73 | 41.65 | 145.73
2013 |  | 105.64 | 25.89 | 3.79 | 42.29 | 147.93
2014 |  | 107.44 | 26.33 | 3.85 | 42.99 | 150.43
2015 |  | 109.16 | 26.75 | 3.91 | 43.67 | 152.83
2016 |  | 111.02 | 27.2 | 3.98 | 44.42 | 155.44
2017 |  | 113.02 | 27.69 | 4.05 | 45.22 | 158.24
2018 |  | 115.17 | 28.22 | 4.13 | 46.09 | 161.26
2019 |  | 117.24 | 28.73 | 4.2 | 46.91 | 164.15
2020 |  | 119.35 | 29.25 | 4.28 | 47.77 | 167.12
2021 |  | 121.5 | 29.78 | 4.36 | 48.65 | 170.15
2022 |  | 123.81 | 30.35 | 4.44 | 49.56 | 173.37
2023 |  | 126.16 | 30.93 | 4.52 | 50.49 | 176.65
2024 |  | 128.43 | 31.49 | 4.6 | 51.4 | 179.83
2025 |  | 130.74 | 32.06 | 4.68 | 52.31 | 183.05
2026 |  | 133.09 | 32.64 | 4.76 | 53.24 | 186.33
2027 |  | 135.49 | 33.23 | 4.85 | 54.22 | 189.71
2028 |  | 137.93 | 33.83 | 4.94 | 55.21 | 193.14 | 6.66 | 45.75 | 90.38
2029 |  | 140.55 | 34.47 | 5.03 | 56.24 | 196.79 | 6.86 | 47.13 | 92.6
2030 |  | 143.22 | 35.12 | 5.13 | 57.32 | 200.54 | 6.91 | 47.47 | 93.81
2031 |  | 145.94 | 35.79 | 5.23 | 58.42 | 204.36 | 6.97 | 47.88 | 95.1
2032 |  | 148.71 | 36.47 | 5.33 | 59.54 | 208.25 | 7.1 | 48.78 | 96.9
2033 |  | 151.54 | 37.16 | 5.43 | 60.66 | 212.2 | 7.24 | 49.74 | 98.78
2034 |  | 154.42 | 37.87 | 5.53 | 61.8 | 216.22 | 7.37 | 50.63 | 100.59
2035 |  | 157.35 | 38.59 | 5.64 | 63 | 220.35 | 7.51 | 51.59 | 102.51
2036 |  | 160.34 | 39.32 | 5.75 | 64.2 | 224.54 | 7.66 | 52.62 | 104.51
2037 |  | 163.39 | 40.07 | 5.86 | 65.43 | 228.82 | 7.8 | 53.59 | 106.47
2038 |  | 166.66 | 40.87 | 5.98 | 66.75 | 233.41 | 7.96 | 54.69 | 108.63
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2012 RFP - Needs Assessment - [as modeled by System Optimizer]
| (b) | = (a) x 0.082
| (e) | = (d) x (8.76 x 49.4%) + (c)
| (f) | = (b) + (e)
| (g) | Table 5 - Burnertip Natural Gas Price Forecast
| (h) | = 6870 x (g) / 1000
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
2028 CCCT (400 MW 1x1)
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT |  |  | 333.9 | 83.5% | 1330.95 | 25.3866
| CCCT Duct Firing |  |  | 66 | 16.5% | 622.37 | 19.411
| Capacity Weighted |  |  | 399.9 | 100% | 1214 | 24.4
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT |  |  | 333.9 | 56% | 186.984 | 94.65% | 3.7518 | 6784
| CCCT Duct Firing |  |  | 66 | 16% | 10.56 | 5.346% | 0.313 | 8363
| Energy Weighted |  |  | 399.9 | 49.4% | 197.544 | 100% | 3.57 | 6870
Rounded
| CCCT | Duct Firing | Plant Costs - 2012 RFP - Needs Assessment - [as modeled by System Optimizer]
| 333.9 | 66 | MW Plant capacity
| 1330.95 | 622.37 | Plant capacity cost
| 10.7464 | 0 | Fixed O&M plus on-going capital
| 14.6402 | 19.411 | Fixed Pipeline
| 25.3866 | 19.411 | Fixed O&M plus on-going capital cost + Fixed Pipeline Costs
| 3.7518 | 0.313 | Variable O&M Costs in $/MWH
| 6784 | 8363 | Heat Rate in btu/kWh
| 8.2% | 8.2% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 49.4% | Energy Weighted Capacity Factor
|  | 86.7% | Capacity Factor - On-peak 49.4% / 57% (percent of hours on-peak)
Company Official Inflation Forecast Dated December 31, 2012
| 2010 | 1.3% |  | 2019 | 1.8% |  | 2028 | 1.8%
| 2011 | 2.6% |  | 2020 | 1.8% |  | 2029 | 1.9%
| 2012 | 1.9% |  | 2021 | 1.8% |  | 2030 | 1.9%
| 2013 | 1.5% |  | 2022 | 1.9% |  | 2031 | 1.9%
| 2014 | 1.7% |  | 2023 | 1.9% |  | 2032 | 1.9%
| 2015 | 1.6% |  | 2024 | 1.8% |  | 2033 | 1.9%
| 2016 | 1.7% |  | 2025 | 1.8% |  | 2034 | 1.9%
| 2017 | 1.8% |  | 2026 | 1.8% |  | 2035 | 1.9%
| 2018 | 1.9% |  | 2027 | 1.8% |  | 2036 | 1.9%
[7 empty] | 2037 | 1.9%
[7 empty] | 2038 | 2%

## Table 5
Appendix B
Table 5
Burnertip Natural Gas Price Forecast |  | Quote Date
UT Compliance 2013.Q1 - 100.0 MW and 85.0% CF |  | 2012-12-31
PacifiCorp
Delivered
Year | East Side Natural Gas
Fuel Cost
2028 | 6.66
2029 | 6.86 |  | East
2030 | 6.91 | Peak Type: | Delivered | Year | East Side
2031 | 6.97 | 2028-01-01 | 6.9054 | 2028 | 41
2032 | 7.1 | 2028-02-01 | 6.8894 | 2028
2033 | 7.24 | 2028-03-01 | 6.4867 | 2028
2034 | 7.37 | 2028-04-01 | 6.4222 | 2028
2035 | 7.51 | 2028-05-01 | 6.3983 | 2028
2036 | 7.66 | 2028-06-01 | 6.4388 | 2028
2037 | 7.8 | 2028-07-01 | 6.4829 | 2028
2038 | 7.96 | 2028-08-01 | 6.534 | 2028
|  | 2028-09-01 | 6.5572 | 2028
OFPC Forecast dated Dec 31, 2012 |  | 2028-10-01 | 6.679 | 2028
|  | 2028-11-01 | 6.9506 | 2028
|  | 2028-12-01 | 7.1175 | 2028
|  | 2029-01-01 | 7.1603 | 2029
|  | 2029-02-01 | 7.0923 | 2029
|  | 2029-03-01 | 6.7109 | 2029
|  | 2029-04-01 | 6.6451 | 2029
|  | 2029-05-01 | 6.6008 | 2029
|  | 2029-06-01 | 6.6397 | 2029
|  | 2029-07-01 | 6.6815 | 2029
|  | 2029-08-01 | 6.7077 | 2029
|  | 2029-09-01 | 6.7499 | 2029
|  | 2029-10-01 | 6.9022 | 2029
|  | 2029-11-01 | 7.1011 | 2029
|  | 2029-12-01 | 7.3182 | 2029
|  | 2030-01-01 | 7.2425 | 2030
|  | 2030-02-01 | 7.2322 | 2030
|  | 2030-03-01 | 6.6951 | 2030
|  | 2030-04-01 | 6.6282 | 2030
|  | 2030-05-01 | 6.6451 | 2030
|  | 2030-06-01 | 6.6857 | 2030
|  | 2030-07-01 | 6.7183 | 2030
|  | 2030-08-01 | 6.7534 | 2030
|  | 2030-09-01 | 6.7959 | 2030
|  | 2030-10-01 | 6.9 | 2030
|  | 2030-11-01 | 7.2156 | 2030
|  | 2030-12-01 | 7.4047 | 2030
|  | 2031-01-01 | 7.3311 | 2031
|  | 2031-02-01 | 7.3052 | 2031
|  | 2031-03-01 | 6.7994 | 2031
|  | 2031-04-01 | 6.7016 | 2031
|  | 2031-05-01 | 6.7242 | 2031
|  | 2031-06-01 | 6.768 | 2031
|  | 2031-07-01 | 6.8239 | 2031
|  | 2031-08-01 | 6.8414 | 2031
|  | 2031-09-01 | 6.8844 | 2031
|  | 2031-10-01 | 6.9376 | 2031
|  | 2031-11-01 | 7.118 | 2031
|  | 2031-12-01 | 7.4068 | 2031
|  | 2032-01-01 | 7.4703 | 2032
|  | 2032-02-01 | 7.4439 | 2032
|  | 2032-03-01 | 6.9284 | 2032
|  | 2032-04-01 | 6.8289 | 2032
|  | 2032-05-01 | 6.8519 | 2032
|  | 2032-06-01 | 6.8965 | 2032
|  | 2032-07-01 | 6.9536 | 2032
|  | 2032-08-01 | 6.9713 | 2032
|  | 2032-09-01 | 7.0151 | 2032
|  | 2032-10-01 | 7.0694 | 2032
|  | 2032-11-01 | 7.2532 | 2032
|  | 2032-12-01 | 7.5475 | 2032
|  | 2033-01-01 | 7.6121 | 2033
|  | 2033-02-01 | 7.5853 | 2033
|  | 2033-03-01 | 7.06 | 2033
|  | 2033-04-01 | 6.9585 | 2033
|  | 2033-05-01 | 6.9821 | 2033
|  | 2033-06-01 | 7.0275 | 2033
|  | 2033-07-01 | 7.0855 | 2033
|  | 2033-08-01 | 7.1037 | 2033
|  | 2033-09-01 | 7.1483 | 2033
|  | 2033-10-01 | 7.2037 | 2033
|  | 2033-11-01 | 7.3909 | 2033
|  | 2033-12-01 | 7.6908 | 2033
|  | 2034-01-01 | 7.7567 | 2034
|  | 2034-02-01 | 7.7293 | 2034
|  | 2034-03-01 | 7.194 | 2034
|  | 2034-04-01 | 7.0907 | 2034
|  | 2034-05-01 | 7.1146 | 2034
|  | 2034-06-01 | 7.161 | 2034
|  | 2034-07-01 | 7.2201 | 2034
|  | 2034-08-01 | 7.2385 | 2034
|  | 2034-09-01 | 7.284 | 2034
|  | 2034-10-01 | 7.3404 | 2034
|  | 2034-11-01 | 7.5312 | 2034
|  | 2034-12-01 | 7.8369 | 2034
|  | 2035-01-01 | 7.9041 | 2035
|  | 2035-02-01 | 7.8761 | 2035
|  | 2035-03-01 | 7.3307 | 2035
|  | 2035-04-01 | 7.2253 | 2035
|  | 2035-05-01 | 7.2497 | 2035
|  | 2035-06-01 | 7.2969 | 2035
|  | 2035-07-01 | 7.3572 | 2035
|  | 2035-08-01 | 7.376 | 2035
|  | 2035-09-01 | 7.4224 | 2035
|  | 2035-10-01 | 7.4798 | 2035
|  | 2035-11-01 | 7.6742 | 2035
|  | 2035-12-01 | 7.9857 | 2035
|  | 2036-01-01 | 8.0541 | 2036
|  | 2036-02-01 | 8.0257 | 2036
|  | 2036-03-01 | 7.4698 | 2036
|  | 2036-04-01 | 7.3625 | 2036
|  | 2036-05-01 | 7.3874 | 2036
|  | 2036-06-01 | 7.4354 | 2036
|  | 2036-07-01 | 7.4969 | 2036
|  | 2036-08-01 | 7.516 | 2036
|  | 2036-09-01 | 7.5632 | 2036
|  | 2036-10-01 | 7.6219 | 2036
|  | 2036-11-01 | 7.82 | 2036
|  | 2036-12-01 | 8.1373 | 2036
|  | 2037-01-01 | 8.207 | 2037
|  | 2037-02-01 | 8.178 | 2037
|  | 2037-03-01 | 7.6117 | 2037
|  | 2037-04-01 | 7.5023 | 2037
|  | 2037-05-01 | 7.5276 | 2037
|  | 2037-06-01 | 7.5766 | 2037
|  | 2037-07-01 | 7.6392 | 2037
|  | 2037-08-01 | 7.6587 | 2037
|  | 2037-09-01 | 7.7069 | 2037
|  | 2037-10-01 | 7.7665 | 2037
|  | 2037-11-01 | 7.9685 | 2037
|  | 2037-12-01 | 8.2919 | 2037
|  | 2038-01-01 | 8.3711 | 2038
|  | 2038-02-01 | 8.3415 | 2038
|  | 2038-03-01 | 7.7639 | 2038
|  | 2038-04-01 | 7.6522 | 2038
|  | 2038-05-01 | 7.6781 | 2038
|  | 2038-06-01 | 7.7282 | 2038
|  | 2038-07-01 | 7.792 | 2038
|  | 2038-08-01 | 7.8119 | 2038
|  | 2038-09-01 | 7.8609 | 2038
|  | 2038-10-01 | 7.9218 | 2038
|  | 2038-11-01 | 8.1277 | 2038
|  | 2038-12-01 | 8.4577 | 2038
Note on G5: PacifiCorp: Date that deal is evaluated.