## Table 1
Table 1
IRP Preferred Portfolio
Excerpt from 2013 IRP Table 8.7
The 2013 IRP was prepared using a 13% planning reserve margin. See 2013 IRP, page 162.
month offset | 0 | 13 | 26 | 39 | 52 | 65 | 78 | 91 | 104

## Table 2
Table 2
Avoided Costs
Avoided Resource (2013 through 2023)
$/MWH
Year | Winter Season |  |  |  |  | Summer Season |  |  |  | Winter Season
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
On-Peak (Average Energy plus Capacity Payments)
2013 | Summer Season Jul: 46.4813; Summer Season Aug: 49.4811; Summer Season Sep: 42.9128; Winter Season Oct: 44.7798; Winter Season Nov: 46.0645; Winter Season Dec: 48.8195
2014 | 45.5309 | 44.9676 | 44.1057 | 39.7928 | 36.6645 | 34.4224 | 42.4581 | 46.4866 | 38.256 | 40.5946 | 40.6761 | 41.5565
2015 | 43.9512 | 46.0478 | 45.9116 | 42.8738 | 39.2658 | 40.0744 | 47.5965 | 51.1982 | 43.3307 | 44.4214 | 42.6496 | 43.3706
2016 | 47.5869 | 46.0097 | 50.1133 | 47.4128 | 43.7265 | 44.0062 | 52.1064 | 54.7433 | 45.6792 | 47.806 | 42.4687 | 44.7012
2017 | 44.4464 | 42.8055 | 60.0874 | 48.0923 | 46.1176 | 46.1791 | 54.8046 | 57.3537 | 49.1421 | 50.1512 | 44.5094 | 45.3358
2018 | 48.8577 | 46.9691 | 52.2332 | 51.3328 | 50.7685 | 51.6742 | 59.661 | 61.699 | 54.012 | 55.2039 | 49.3459 | 50.3537
2019 | 48.3243 | 47.9416 | 53.1546 | 53.4535 | 54.2795 | 56.672 | 64.8864 | 66.8377 | 57.9641 | 58.9513 | 51.6425 | 50.4943
2020 | 50.5191 | 52.6605 | 60.6768 | 58.126 | 58.357 | 61.1952 | 69.963 | 72.5397 | 62.8341 | 61.839 | 56.1653 | 53.8558
2021 | 62.3936 | 63.7845 | 66.3107 | 66.506 | 66.5615 | 64.9285 | 75.0507 | 78.0004 | 69.1551 | 70.5452 | 66.6036 | 65.0179
2022 | 74.3061 | 74.0541 | 76.0571 | 77.6961 | 73.7311 | 73.3818 | 82.8937 | 86.2147 | 78.1293 | 80.1371 | 77.2732 | 74.9639
2023 | 76.0778 | 76.8415 | 76.8954 | 80.7787 | 77.9295 | 78.1322 | 87.2721 | 89.624 | 81.7085 | 82.4311 | 81.1759 | 78.1563
Off-Peak (Average Energy Costs)
2013 | Summer Season Jul: 34.2513; Summer Season Aug: 37.2511; Summer Season Sep: 30.6828; Winter Season Oct: 32.5498; Winter Season Nov: 33.8345; Winter Season Dec: 36.5895
2014 | 35.0809 | 34.5176 | 33.6557 | 29.3428 | 26.2145 | 23.9724 | 32.0081 | 36.0366 | 27.806 | 30.1446 | 30.2261 | 31.1065
2015 | 31.2112 | 33.3078 | 33.1716 | 30.1338 | 26.5258 | 27.3344 | 34.8565 | 38.4582 | 30.5907 | 31.6814 | 29.9096 | 30.6306
2016 | 32.4869 | 30.9097 | 35.0133 | 32.3128 | 28.6265 | 28.9062 | 37.0064 | 39.6433 | 30.5792 | 32.706 | 27.3687 | 29.6012
2017 | 29.0864 | 27.4455 | 44.7274 | 32.7323 | 30.7576 | 30.8191 | 39.4446 | 41.9937 | 33.7821 | 34.7912 | 29.1494 | 29.9758
2018 | 30.9977 | 29.1091 | 34.3732 | 33.4728 | 32.9085 | 33.8142 | 41.801 | 43.839 | 36.152 | 37.3439 | 31.4859 | 32.4937
2019 | 30.1443 | 29.7616 | 34.9746 | 35.2735 | 36.0995 | 38.492 | 46.7064 | 48.6577 | 39.7841 | 40.7713 | 33.4625 | 32.3143
2020 | 32.0091 | 34.1505 | 42.1668 | 39.616 | 39.847 | 42.6852 | 51.453 | 54.0297 | 44.3241 | 43.329 | 37.6553 | 35.3458
2021 | 41.1936 | 42.5845 | 45.1107 | 45.306 | 45.3615 | 43.7285 | 53.8507 | 56.8004 | 47.9551 | 49.3452 | 45.4036 | 43.8179
2022 | 50.2961 | 50.0441 | 52.0471 | 53.6861 | 49.7211 | 49.3718 | 58.8837 | 62.2047 | 54.1193 | 56.1271 | 53.2632 | 50.9539
2023 | 54.0578 | 54.8215 | 54.8754 | 58.7587 | 55.9095 | 56.1122 | 65.2521 | 67.604 | 59.6885 | 60.4111 | 59.1559 | 56.1363
Combined ( 57% On-Peak 43% Off-Peak)
2013 | Summer Season Jul: 41.2224; Summer Season Aug: 44.2222; Summer Season Sep: 37.6539; Winter Season Oct: 39.5209; Winter Season Nov: 40.8056; Winter Season Dec: 43.5606
2014 | 41.0374 | 40.4741 | 39.6122 | 35.2993 | 32.171 | 29.9289 | 37.9646 | 41.9931 | 33.7625 | 36.1011 | 36.1826 | 37.063
2015 | 38.473 | 40.5696 | 40.4334 | 37.3956 | 33.7876 | 34.5962 | 42.1183 | 45.72 | 37.8525 | 38.9432 | 37.1714 | 37.8924
2016 | 41.0939 | 39.5167 | 43.6203 | 40.9198 | 37.2335 | 37.5132 | 45.6134 | 48.2503 | 39.1862 | 41.313 | 35.9757 | 38.2082
2017 | 37.8416 | 36.2007 | 53.4826 | 41.4875 | 39.5128 | 39.5743 | 48.1998 | 50.7489 | 42.5373 | 43.5464 | 37.9046 | 38.731
2018 | 41.1779 | 39.2893 | 44.5534 | 43.653 | 43.0887 | 43.9944 | 51.9812 | 54.0192 | 46.3322 | 47.5241 | 41.6661 | 42.6739
2019 | 40.5069 | 40.1242 | 45.3372 | 45.6361 | 46.4621 | 48.8546 | 57.069 | 59.0203 | 50.1467 | 51.1339 | 43.8251 | 42.6769
2020 | 42.5598 | 44.7012 | 52.7175 | 50.1667 | 50.3977 | 53.2359 | 62.0037 | 64.5804 | 54.8748 | 53.8797 | 48.206 | 45.8965
2021 | 53.2776 | 54.6685 | 57.1947 | 57.39 | 57.4455 | 55.8125 | 65.9347 | 68.8844 | 60.0391 | 61.4292 | 57.4876 | 55.9019
2022 | 63.9818 | 63.7298 | 65.7328 | 67.3718 | 63.4068 | 63.0575 | 72.5694 | 75.8904 | 67.805 | 69.8128 | 66.9489 | 64.6396
2023 | 66.6092 | 67.3729 | 67.4268 | 71.3101 | 68.4609 | 68.6636 | 77.8035 | 80.1554 | 72.2399 | 72.9625 | 71.7073 | 68.6877
Annual Seasonal Average
Year | Winter Season Feb: Winter Season; Summer Season Jun: Summer Season; Winter Season Oct: Annual Average
|  | Peak | Off-Peak | Combined |  | Peak | Off-Peak | Combined |  | Peak | Off-Peak | Combined
2013 |  | 46.55 | 34.32 | 41.3 |  | 46.29 | 34.06 | 41.03 |  | 46.42 | 34.19 | 41.16
2014 |  | 41.74 | 31.29 | 37.24 |  | 40.41 | 29.96 | 35.91 |  | 41.29 | 30.84 | 36.8
2015 |  | 43.56 | 30.82 | 38.08 |  | 45.55 | 32.81 | 40.07 |  | 44.22 | 31.48 | 38.75
2016 |  | 46.23 | 31.13 | 39.74 |  | 49.13 | 34.03 | 42.64 |  | 47.2 | 32.1 | 40.7
2017 |  | 47.69 | 32.33 | 41.09 |  | 51.87 | 36.51 | 45.27 |  | 49.09 | 33.73 | 42.48
2018 |  | 50.63 | 32.77 | 42.95 |  | 56.76 | 38.9 | 49.08 |  | 52.68 | 34.82 | 45
2019 |  | 52.28 | 34.1 | 44.46 |  | 61.59 | 43.41 | 53.77 |  | 55.38 | 37.2 | 47.57
2020 |  | 56.52 | 38.01 | 48.57 |  | 66.63 | 48.12 | 58.67 |  | 59.89 | 41.38 | 51.94
2021 |  | 65.97 | 44.77 | 56.85 |  | 71.78 | 50.58 | 62.67 |  | 67.9 | 46.7 | 58.79
2022 |  | 76.03 | 52.02 | 65.7 |  | 80.15 | 56.14 | 69.83 |  | 77.4 | 53.39 | 67.08
2023 |  | 78.79 | 56.77 | 69.32 |  | 84.18 | 62.16 | 74.72 |  | 80.59 | 58.57 | 71.12
Source:
Peak | Winter Season Feb: Average energy costs from GRID plus on-peak capacity cost from Table 6 column (c)
Off-Peak | Winter Season Feb: Average energy costs from GRID production cost model study
Combined | Winter Season Feb: Combined costs are 57% on-peak 43% off-peak

## Tables 3 to 6
Table 3 |  |  |  |  | Table 4 |  |  |  |  | Table 5 | [5 empty] | Table 6
Capitalized Energy Costs |  |  |  |  | Total Avoided Energy Cost |  |  |  |  | Total Avoided Cost | [5 empty] | On- & Off- Peak Energy Prices
| Combined | Simple |  | Capitalized |  |  |  | Capitalized | Total |  | Avoided Firm | Total | Total Avoided Costs |  |  |  | Avoided Firm | Capacity Cost | Total | On-Peak | Off-Peak
Year | Cycle CT | Cycle CT | Capitalized | Energy Costs | Year | Gas Fuel Costs | Energy Cost | Energy Costs | Avoided | Year | Capacity | Avoided | At Stated Capacity Factor |  |  | Year | Capacity | Allocated to | Avoided | 4,993 Hours | 3,767 Hours
| Fixed Costs | Fixed Costs | Energy Costs | 51.9% CF |  | Delivered |  | 51.9% CF | Energy Cost |  | Costs | Energy Cost | 75% | 85% | 95% |  | Costs | On-Peak Hours | Energy Cost
| ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/MWH) |  | ($/MMBtu) | ($/MWH) | ($/MWH) | ($/MWH) |  | ($/kW-yr) | ($/MWH) | ($/MWH) | ($/MWH) | ($/MWH) |  | ($/kW-yr) | ($/MWH) | ($/MWH) | ($/MWH) | ($/MWH)
| (a) | (b) | (c) | (d) |  | (a) | (b) | (c) | (d) |  | (a) | (b) | (c) | (d) | (e) |  | (a) | (b) | (c) | (d) | (e)
|  |  | ((a) - (b)) x 50%) | (c)/(8.760 x 51.9%) |  |  |  |  | (b) + (c) |  |  |  | (b)+(a)/(8.76 x 0.75) | (b)+(a)/(8.76 x 0.85) | (b)+(a)/(8.76 x 0.95) |  |  | (a) /(8.76 x 91.1% x 57%) |  | (b) + (c) | (c)
Avoided Resource |  | Fixed Cost x No. Months |  |  | Avoided Resource |  |  |  |  | Avoided Resource | [5 empty] | Avoided Resource
2013 |  | 28.035 |  |  | 2013 |  |  |  | 34.19 | 2013 | 28.035 | 34.19 | 42.65 | 41.66 | 40.87 | 2013 | 28.035 | 12.23 | 34.19 | 46.42 | 34.19
2014 |  | 47.5208 |  |  | 2014 |  |  |  | 30.84 | 2014 | 47.5208 | 30.84 | 38.07 | 37.22 | 36.55 | 2014 | 47.5208 | 10.45 | 30.84 | 41.29 | 30.84
2015 |  | 57.94 |  |  | 2015 |  |  |  | 31.48 | 2015 | 57.94 | 31.48 | 40.3 | 39.26 | 38.44 | 2015 | 57.94 | 12.74 | 31.48 | 44.22 | 31.48
2016 |  | 68.6758 |  |  | 2016 |  |  |  | 32.1 | 2016 | 68.6758 | 32.1 | 42.55 | 41.32 | 40.35 | 2016 | 68.6758 | 15.1 | 32.1 | 47.2 | 32.1
2017 |  | 69.8483 |  |  | 2017 |  |  |  | 33.73 | 2017 | 69.8483 | 33.73 | 44.36 | 43.11 | 42.12 | 2017 | 69.8483 | 15.36 | 33.73 | 49.09 | 33.73
2018 |  | 81.26 |  |  | 2018 |  |  |  | 34.82 | 2018 | 81.26 | 34.82 | 47.19 | 45.73 | 44.58 | 2018 | 81.26 | 17.86 | 34.82 | 52.68 | 34.82
2019 |  | 82.72 |  |  | 2019 |  |  |  | 37.2 | 2019 | 82.72 | 37.2 | 49.79 | 48.31 | 47.14 | 2019 | 82.72 | 18.18 | 37.2 | 55.38 | 37.2
2020 |  | 84.2133 |  |  | 2020 |  |  |  | 41.38 | 2020 | 84.2133 | 41.38 | 54.2 | 52.69 | 51.5 | 2020 | 84.2133 | 18.51 | 41.38 | 59.89 | 41.38
2021 |  | 96.4425 |  |  | 2021 |  |  |  | 46.7 | 2021 | 96.4425 | 46.7 | 61.38 | 59.65 | 58.29 | 2021 | 96.4425 | 21.2 | 46.7 | 67.9 | 46.7
2022 |  | 109.2083 |  |  | 2022 |  |  |  | 53.39 | 2022 | 109.2083 | 53.39 | 70.01 | 68.06 | 66.51 | 2022 | 109.2083 | 24.01 | 53.39 | 77.4 | 53.39
2023 |  | 100.1475 |  |  | 2023 |  |  |  | 58.57 | 2023 | 100.1475 | 58.57 | 73.81 | 72.02 | 70.6 | 2023 | 100.1475 | 22.02 | 58.57 | 80.59 | 58.57
Blended Resource |  | Fixed Cost |  |  | Blended Resource |  | (a) x 6.560 |  |  | Blended Resource | [5 empty] | Blended Resource
2024 | 143.71 | 136.06 | 3.83 | 0.84 | 2024 | 6.23 | 40.8688 | 0.84 | 41.7088 | 2024 | 139.89 | 41.7088 | 63 | 60.5 | 58.52 | 2024 | 139.89 | 30.75 | 41.7088 | 72.4588 | 41.7088
2025 | 146.43 | 138.66 | 3.89 | 0.86 | 2025 | 6.23 | 40.8688 | 0.86 | 41.7288 | 2025 | 142.55 | 41.7288 | 63.43 | 60.87 | 58.86 | 2025 | 142.55 | 31.34 | 41.7288 | 73.0688 | 41.7288
2026 | 149.21 | 141.28 | 3.97 | 0.87 | 2026 | 6.43 | 42.1808 | 0.87 | 43.0508 | 2026 | 145.25 | 43.0508 | 65.16 | 62.56 | 60.5 | 2026 | 145.25 | 31.93 | 43.0508 | 74.9808 | 43.0508
2027 | 151.89 | 143.81 | 4.04 | 0.89 | 2027 | 6.42 | 42.1152 | 0.89 | 43.0052 | 2027 | 147.85 | 43.0052 | 65.51 | 62.86 | 60.77 | 2027 | 147.85 | 32.5 | 43.0052 | 75.5052 | 43.0052
2028 | 154.61 | 146.4 | 4.11 | 0.9 | 2028 | 6.66 | 43.6896 | 0.9 | 44.5896 | 2028 | 150.51 | 44.5896 | 67.5 | 64.8 | 62.68 | 2028 | 150.51 | 33.09 | 44.5896 | 77.6796 | 44.5896
2029 | 157.56 | 149.19 | 4.19 | 0.92 | 2029 | 6.86 | 45.0016 | 0.92 | 45.9216 | 2029 | 153.38 | 45.9216 | 69.27 | 66.52 | 64.35 | 2029 | 153.38 | 33.72 | 45.9216 | 79.6416 | 45.9216
2030 | 160.57 | 152.02 | 4.27 | 0.94 | 2030 | 6.91 | 45.3296 | 0.94 | 46.2696 | 2030 | 156.29 | 46.2696 | 70.06 | 67.26 | 65.05 | 2030 | 156.29 | 34.36 | 46.2696 | 80.6296 | 46.2696
2031 | 163.63 | 154.91 | 4.36 | 0.96 | 2031 | 6.97 | 45.7232 | 0.96 | 46.6832 | 2031 | 159.27 | 46.6832 | 70.93 | 68.07 | 65.82 | 2031 | 159.27 | 35.01 | 46.6832 | 81.6932 | 46.6832
2032 | 166.73 | 157.85 | 4.44 | 0.98 | 2032 | 7.1 | 46.576 | 0.98 | 47.556 | 2032 | 162.29 | 47.556 | 72.26 | 69.35 | 67.06 | 2032 | 162.29 | 35.68 | 47.556 | 83.236 | 47.556
2033 | 169.89 | 160.86 | 4.51 | 0.99 | 2033 | 7.24 | 47.4944 | 0.99 | 48.4844 | 2033 | 165.37 | 48.4844 | 73.65 | 70.69 | 68.36 | 2033 | 165.37 | 36.35 | 48.4844 | 84.8344 | 48.4844
2034 | 173.11 | 163.9 | 4.61 | 1.01 | 2034 | 7.37 | 48.3472 | 1.01 | 49.3572 | 2034 | 168.51 | 49.3572 | 75.01 | 71.99 | 69.61 | 2034 | 168.51 | 37.04 | 49.3572 | 86.3972 | 49.3572
2035 | 176.38 | 167.03 | 4.68 | 1.03 | 2035 | 7.51 | 49.2656 | 1.03 | 50.2956 | 2035 | 171.71 | 50.2956 | 76.43 | 73.36 | 70.93 | 2035 | 171.71 | 37.75 | 50.2956 | 88.0456 | 50.2956
2036 | 179.75 | 170.2 | 4.78 | 1.05 | 2036 | 7.66 | 50.2496 | 1.05 | 51.2996 | 2036 | 174.98 | 51.2996 | 77.93 | 74.8 | 72.33 | 2036 | 174.98 | 38.47 | 51.2996 | 89.7696 | 51.2996
2037 | 183.19 | 173.43 | 4.88 | 1.07 | 2037 | 7.8 | 51.168 | 1.07 | 52.238 | 2037 | 178.31 | 52.238 | 79.38 | 76.19 | 73.66 | 2037 | 178.31 | 39.2 | 52.238 | 91.438 | 52.238
Columns |  |  |  |  | Columns |  |  |  |  | Columns | [5 empty] | Columns
(a) | Table 8 Column (f) |  |  |  | (a) | Table 8 Column (g) |  |  |  | (a) | Table 3 Column (b) + Table 3 Column (c) |  |  |  |  | (a) | Table 3 Column (b) + Table 3 Column (c)
(b) | Table 8 Column (f) |  |  |  | (b) | Table 8 Column (i) Heat rate 6.560 MMBtu/MWh |  |  |  | (b) | Table 4 Column (d) |  |  |  |  | (b) | Table 8 91.1% is the on-peak capacity factor of the proxy resource
| Table 11 for the number of deficit months per year |  |  |  | (c) | Table 3 Column (d) |  |  |  | (c) | For partial year 2013, capacity is allocated across 4,416 hours | [5 empty] | For partial year 2013, capacity is allocated across 4,416 hours
(c) | Capitalized energy split 50% as ordered in Docket No. 03-035-14 |  |  |  | (d) | For 2013-2023 - Table 2 | [9 empty] | (c) | Table 4 Column (d)
(d) | 51.9% CCCT energy weighted capacity factor - Table 8 page 3

## Table 7
Table 7
Comparison between Proposed and Current Avoided Costs
Total Avoided Costs with Capacity Costs included at 85% Capacity Factor
Year | Proposed | Current | Difference
| Avoided Costs (1) | Avoided Costs
| ($/MWH) | ($/MWH) | ($/MWH)
| (a) | (b) | (c)
(a) - (b)
2013 | 41.66 | 47.22 | -5.56
2014 | 37.22 | 48.84 | -11.62
2015 | 39.26 | 60.67 | -21.41
2016 | 41.32 | 63.32 | -22
2017 | 43.11 | 66.75 | -23.64
2018 | 45.73 | 70.11 | -24.38
2019 | 48.31 | 72.74 | -24.43
2020 | 52.69 | 73.77 | -21.08
2021 | 59.65 | 74.86 | -15.21
2022 | 68.06 | 76.81 | -8.75
2023 | 72.02 | 80.54 | -8.52
2024 | 60.5 | 84.61 | -24.11
2025 | 60.87 | 83.43 | -22.56
2026 | 62.56 | 78.25 | -15.69
2027 | 62.86 | 74.9 | -12.04
2028 | 64.8 | 82.03 | -17.23
2029 | 66.52 | 84.36 | -17.84
2030 | 67.26 | 85.84 | -18.58
2031 | 68.07 | 87.47 | -19.4
2032 | 69.35 | 89.17 | -19.82
2033 | 70.69 | 90.82 | -20.13
2034 | 71.99 | 92.55 | -20.56
2035 | 73.36 | 94.25 | -20.89
2036 | 74.8
2037 | 76.19
20 Year (2013 to 2032) Levelized Prices (Nominal) @ 6.882% Discount Rate (2) |  |  |  | Discount Rate - 2013 IRP Page 164
$/MWH | 52.6461 | 70.1084 | -17.4624 | 6.882%
Columns
(a) | Table 5 Column (d)
(b) | Schedule 37 avoided costs approved December 14, 2011
Note: | (1) Avoided costs are presented at expected levels. Actual prices received
by QFs will depend upon actual generation levels.
(2) 2013 IRP discount rate

## Table 8
Table 8
Total Cost of Displaceable Resources
Page 1 of 3
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr
| (a) | (b) | (c) | (d) | (e) | (f)
SCCT Frame UT (SCCT Frame "F" x 1 - 4,250')
2012 | 761.56 | 60.57 | 31.22 | 10.22 | 50.02 | 110.59
2013 |  | 61.42 | 31.66 | 10.36 | 50.72 | 112.14
2014 |  | 62.46 | 32.2 | 10.54 | 51.59 | 114.05
2015 |  | 63.46 | 32.72 | 10.71 | 52.42 | 115.88
2016 |  | 64.48 | 33.24 | 10.88 | 53.25 | 117.73
2017 |  | 65.58 | 33.81 | 11.06 | 54.16 | 119.74
2018 |  | 66.76 | 34.42 | 11.26 | 55.13 | 121.89
2019 |  | 67.96 | 35.04 | 11.46 | 56.12 | 124.08
2020 |  | 69.18 | 35.67 | 11.67 | 57.14 | 126.32
2021 |  | 70.43 | 36.31 | 11.88 | 58.16 | 128.59
2022 |  | 71.77 | 37 | 12.11 | 59.28 | 131.05
2023 |  | 73.13 | 37.7 | 12.34 | 60.4 | 133.53
2024 |  | 74.52 | 38.42 | 12.57 | 61.54 | 136.06
2025 |  | 75.94 | 39.15 | 12.81 | 62.72 | 138.66
2026 |  | 77.38 | 39.89 | 13.05 | 63.9 | 141.28
2027 |  | 78.77 | 40.61 | 13.28 | 65.04 | 143.81
2028 |  | 80.19 | 41.34 | 13.52 | 66.21 | 146.4
2029 |  | 81.71 | 42.13 | 13.78 | 67.48 | 149.19
2030 |  | 83.26 | 42.93 | 14.04 | 68.76 | 152.02
2031 |  | 84.84 | 43.75 | 14.31 | 70.07 | 154.91
2032 |  | 86.45 | 44.58 | 14.58 | 71.4 | 157.85
2033 |  | 88.09 | 45.43 | 14.86 | 72.77 | 160.86
2034 |  | 89.76 | 46.29 | 15.14 | 74.14 | 163.9
2035 |  | 91.47 | 47.17 | 15.43 | 75.56 | 167.03
2036 |  | 93.21 | 48.07 | 15.72 | 76.99 | 170.2
2037 |  | 94.98 | 48.98 | 16.02 | 78.45 | 173.43
2038 |  | 96.78 | 49.91 | 16.32 | 79.93 | 176.71
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| (b) | = (a) x 0.07954 Payment Factor
| (e) | = (d) x (8.76 x 21% ) + (c)
| (f) | = (b) + (e)
SCCT Frame UT (SCCT Frame "F" x 1 - 4,250')
| 181 | MW Plant Capacity
| 761.56 | Plant Capacity Cost - in $/kW
| 8.79 | Fixed O&M & Capitalized O&M
| 22.43 | Fixed Pipeline
| 31.22 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 10.22 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 7.954% | Payment Factor
| 21% | Capacity Factor
Table 8
Total Cost of Displaceable Resources
Page 2 of 3
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
CCCT Dry "J", Adv 1x1 - East Side Resource (5,050')
2012 | 1015 | 80.0429 | 24.78 | 2.64 | 36.78 | 116.82
2013 |  | 81.16 | 25.13 | 2.68 | 37.31 | 118.47
2014 |  | 82.54 | 25.56 | 2.73 | 37.97 | 120.51
2015 |  | 83.86 | 25.97 | 2.77 | 38.56 | 122.42
2016 |  | 85.2 | 26.39 | 2.81 | 39.17 | 124.37
2017 |  | 86.65 | 26.84 | 2.86 | 39.84 | 126.49
2018 |  | 88.21 | 27.32 | 2.91 | 40.55 | 128.76
2019 |  | 89.8 | 27.81 | 2.96 | 41.27 | 131.07
2020 |  | 91.42 | 28.31 | 3.01 | 41.99 | 133.41
2021 |  | 93.07 | 28.82 | 3.06 | 42.73 | 135.8
2022 |  | 94.84 | 29.37 | 3.12 | 43.55 | 138.39
2023 |  | 96.64 | 29.93 | 3.18 | 44.39 | 141.03
2024 |  | 98.48 | 30.5 | 3.24 | 45.23 | 143.71 | 6.23 | 40.87 | 72.48
2025 |  | 100.35 | 31.08 | 3.3 | 46.08 | 146.43 | 6.23 | 40.87 | 73.08
2026 |  | 102.26 | 31.67 | 3.36 | 46.95 | 149.21 | 6.43 | 42.18 | 75
2027 |  | 104.1 | 32.24 | 3.42 | 47.79 | 151.89 | 6.42 | 42.12 | 75.53
2028 |  | 105.97 | 32.82 | 3.48 | 48.64 | 154.61 | 6.66 | 43.69 | 77.7
2029 |  | 107.98 | 33.44 | 3.55 | 49.58 | 157.56 | 6.86 | 45 | 79.66
2030 |  | 110.03 | 34.08 | 3.62 | 50.54 | 160.57 | 6.91 | 45.33 | 80.65
2031 |  | 112.12 | 34.73 | 3.69 | 51.51 | 163.63 | 6.97 | 45.72 | 81.71
2032 |  | 114.25 | 35.39 | 3.76 | 52.48 | 166.73 | 7.1 | 46.58 | 83.25
2033 |  | 116.42 | 36.06 | 3.83 | 53.47 | 169.89 | 7.24 | 47.49 | 84.86
2034 |  | 118.63 | 36.75 | 3.9 | 54.48 | 173.11 | 7.37 | 48.35 | 86.43
2035 |  | 120.88 | 37.45 | 3.97 | 55.5 | 176.38 | 7.51 | 49.27 | 88.07
2036 |  | 123.18 | 38.16 | 4.05 | 56.57 | 179.75 | 7.66 | 50.25 | 89.79
2037 |  | 125.52 | 38.89 | 4.13 | 57.67 | 183.19 | 7.8 | 51.17 | 91.46
2038 |  | 127.9 | 39.63 | 4.21 | 58.77 | 186.67 | 7.96 | 52.22 | 93.28
Table 8
Total Cost of Displaceable Resources
Page 3 of 3
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| (b) | = (a) x 0.07886 Payment Factor
| (e) | = (d) x (8.76 x 51.9%) + (c)
| (f) | = (b) + (e)
| (g) | Table 9 - Natural Gas Price - Delivered to Plant
| (h) | = 6,560 MMBtu/MWH x (g)
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
CCCT Dry "J", Adv 1x1 - East Side Resource (5,050')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT Dry "J" - Turbine |  |  | 380 | 89.83% | 1075 | 25.39
| CCCT Dry "J" - Duct Firing |  |  | 43 | 10.17% | 486 | 19.41
| Capacity Weighted |  |  | 423 | 100% | 1015 | 24.78
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT Dry "J" - Turbine |  |  | 380 | 56% | 212.8 | 96.87% | 2.72 | 6495
| CCCT Dry "J" - Duct Firing |  |  | 43 | 16% | 6.88 | 3.132% | 0.08 | 8611
| Energy Weighted |  |  | 423 | 51.9% | 219.68 | 100% | 2.64 | 6560
Rounded
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| 380 | 43 | MW Plant Capacity
| 1075 | 486 | Plant Capacity Cost
| 10.75 | 0 | Fixed O&M & Capitalized O&M
| 14.64 | 19.41 | Fixed Pipeline
| 25.39 | 19.41 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 2.72 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6495 | 8611 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 51.9% | Energy Weighted Capacity Factor
|  | 91.1% | Capacity Factor - On-peak 51.9% / 57% (percent of hours on-peak)
| Company Official Inflation - Official Forward Price Curve dated March 2013 | [8 empty] | Company Official Inflation Forecast - Dated March 2010
| 2012 | 1.9% |  | 2021 | 1.8% |  | 2030 | 1.9% |  | 2009 | 0.4%
| 2013 | 1.4% |  | 2022 | 1.9% |  | 2031 | 1.9% |  | 2010 | 1.3%
| 2014 | 1.7% |  | 2023 | 1.9% |  | 2032 | 1.9% |  | 2011 | 1.7%
| 2015 | 1.6% |  | 2024 | 1.9% |  | 2033 | 1.9% |  | 2012 | 2%
| 2016 | 1.6% |  | 2025 | 1.9% |  | 2034 | 1.9% |  | 2013 | 2%
| 2017 | 1.7% |  | 2026 | 1.9% |  | 2035 | 1.9% |  | 2014 | 1.9%
| 2018 | 1.8% |  | 2027 | 1.8% |  | 2036 | 1.9% |  | 2015 | 1.9%
| 2019 | 1.8% |  | 2028 | 1.8% |  | 2037 | 1.9% |  | 2016 | 1.9%
| 2020 | 1.8% |  | 2029 | 1.9% |  | 2038 | 1.9% |  | 2017 | 1.9%
|  | 999999999% |  |  | 999999999% |  |  | 999999999% |  | 2018 | 1.9%
[10 empty] | 2019 | 1.8%
[10 empty] | 2020 | 1.7%
[10 empty] | 2021 | 1.6%
[10 empty] | 2022 | 1.6%
[10 empty] | 2023 | 1.6%
[10 empty] | 2024 | 1.7%
[10 empty] | 2025 | 1.7%

## Table 9
Table 9
Natural Gas Price - Delivered to Plant
$/MMBtu
Burnertip
Year | East Side Gas
Fuel Cost
(a)
2013 | 3.88
2014 | 4.12
2015 | 4.2
2016 | 4.29
2017 | 4.44
2018 | 4.61
2019 | 4.99
2020 | 5.44
2021 | 5.7
2022 | 5.79
2023 | 6.26
2024 | 6.23
2025 | 6.23
2026 | 6.43
2027 | 6.42
2028 | 6.66
2029 | 6.86
2030 | 6.91
2031 | 6.97
2032 | 7.1
2033 | 7.24
2034 | 7.37
2035 | 7.51
2036 | 7.66
2037 | 7.8
2038 | 7.96
Source
Official Forward Price Curve dated March 2013

## Table 10
Table 10
Electricity Market Prices
$/MWH
Market Price $/MWH
Year | HLH |  | LLH
| Mid-Columbia | Palo Verde | Mid-Columbia | Palo Verde
| (a) | (b) | (c) | (d)
2013 | 34.12 | 39.1 | 28.37 | 29.36
2014 | 37.24 | 40.88 | 29.94 | 30.69
2015 | 39.99 | 43.13 | 31.5 | 32.59
2016 | 41.99 | 44.88 | 32.5 | 34.39
2017 | 44.64 | 46.88 | 34.5 | 36.39
2018 | 47.14 | 49.13 | 36.5 | 38.54
2019 | 50.52 | 53.03 | 40.53 | 41.84
2020 | 53.26 | 56.47 | 45.17 | 45.34
2021 | 56.76 | 58.83 | 47.88 | 48.74
2022 | 61.08 | 66.61 | 56.38 | 54.22
2023 | 66.43 | 71.57 | 61.16 | 58.88
2024 | 66.79 | 72.37 | 61.87 | 59.23
2025 | 67.09 | 73.11 | 62.94 | 60.27
2026 | 69.63 | 75.64 | 65.29 | 62.13
2027 | 71.64 | 77.45 | 66.89 | 63.88
2028 | 72.72 | 78.44 | 67.93 | 65.14
2029 | 75.54 | 80.95 | 70.44 | 67.95
2030 | 77.13 | 83.09 | 72.4 | 70.02
2031 | 79.29 | 85.21 | 74.4 | 72.01
2032 | 81.21 | 87.47 | 76.22 | 73.43
2033 | 82.9 | 89.59 | 78.02 | 75.56
2034 | 84.36 | 91.38 | 79.85 | 77.11
2035 | 86.56 | 93.4 | 81.6 | 78.97
2036 | 88.92 | 95.12 | 83.49 | 80.76
2037 | 91.09 | 97.08 | 85.24 | 82.5
2038 | 93.49 | 99.61 | 87.38 | 84.83
Source
Official Forward Price Curve dated March 2013

## Table 11
Table 11
Load and Resource (L&R) Balance
Capacity Deficit Months per Year
Peak (MW)
Year | Peak | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2013 | -743.0644 | Jul: -743.0644; Aug: -649.8088; Sep: -36.5446; Oct: 244.3563; Nov: 606.4951; Dec: 1506.1439
2014 | -634.4952 | 1484.0516 | 1858.1781 | 41.7829 | -299.8659 | -1127.9809 | -1269.7792 | -634.4952 | -401.3719 | 439.5291 | 916.2543 | 1108.5977 | 1792.1298
2015 | -757.7518 | 1449.7792 | 946.335 | -706.8071 | -1329.0712 | -1814.3847 | -1888.0596 | -757.7518 | -706.5924 | 129.3034 | 284.6386 | 580.4003 | 1201.5539
2016 | -815.6381 | 1336.4981 | 1251.1035 | -1009.4876 | -1595.6443 | -1868.4919 | -1445.6851 | -815.6381 | -592.424 | -20.0998 | 193.6705 | 411.8134 | 1079.6097
2017 | -934.9131 | 1194.7575 | 1532.7327 | -656.9904 | -1013.6501 | -1926.2058 | -1201.2036 | -934.9131 | -739.1512 | -179.9107 | 127.6469 | 798.1129 | 1035.0975
2018 | -1254.4116 | 1128.3436 | 1519.6642 | -316.3659 | -1279.4268 | -2169.656 | -2090.0797 | -1254.4116 | -1013.0488 | -281.5734 | -56.1532 | 289.9829 | 852.8867
2019 | -1383.6421 | 986.6109 | 1445.3659 | -456.6467 | -1382.0326 | -2286.3107 | -2278.6795 | -1383.6421 | -1178.0918 | -408.9474 | -126.6915 | 302.5668 | 861.2366
2020 | -1461.4656 | 971.2663 | 1432.6403 | -1263.2148 | -1401.288 | -2144.2655 | -2168.3992 | -1461.4656 | -1227.2781 | -374.0793 | -3.6664 | 196.155 | 786.8749
2021 | -1172.6711 | 343.0186 | 753.2172 | -1465.9159 | -1664.3719 | -1407.812 | -1943.0648 | -1172.6711 | -992.6502 | -154.9868 | -766.9336 | -515.5911 | 140.4997
2022 | -1212.1048 | -227.7718 | 226.3948 | -1516.0515 | -2140.1169 | -1945.3939 | -1482.0267 | -1212.1048 | -1011.5692 | -283.2662 | -787.9368 | -581.6912 | 15.0235
2023 | -1256.788 | 692.4672 | 1121.5912 | -291.5079 | -898.807 | -1434.164 | -2075.8132 | -1256.788 | -1050.5804 | -195.7844 | -530.9117 | -186.0302 | 423.3435
2024 |  | Jan: IRP Proxy Resource On-Line Year; QF receives long-run avoided cost
| Deficit | Jan: Month
Year | Months / Year | Jan: Included
2013 | 3 | Jan: 6; Apr: Capacity deficit months per year is a count of the number of months each year
2014 | 5 | Jan: 12; Apr: that the Company is capacity deficit. Positive values reflect months when the
2015 | 6 | Jan: 12; Apr: Company is capacity surplus. Negative values reflect months when the Company
2016 | 7 | Jan: 12; Apr: is capacity deficit.
2017 | 7 | Jan: 12
2018 | 8 | Jan: 12
2019 | 8 | Jan: 12
2020 | 8 | Jan: 12
2021 | 9 | Jan: 12
2022 | 10 | Jan: 12
2023 | 9 | Jan: 12

## Tariff Page
Prices on this tab are formatted to be cut and pasted directly into the tariff page | [5 empty] | Prices on this tab are formatted to be cut and pasted directly into the tariff page
[5 empty] | Total Price @ |  | Non-Levelized Prices |  |  | Levelized Prices
[5 empty] | 85% | Deliveries | Capacity | Capacity | Energy Price | Capacity | Energy Price
Deliveries During | Peak Energy Prices (¢/kWh) |  | Off-Peak Energy Prices (¢/kWh) |  | Capacity Factor | During | Price (a) | Price | ¢/kWh | Price (a) | ¢/kWh
Calendar Year | Winter | Summer | Winter | Summer | ¢/kWh | Calendar Year | $/kW-Mo | $/kW-yr | All kWh | $/kW-Mo | All kWh
2013 | 4.655 | 4.629 | 3.432 | 3.406 | 4.165 | 2013 | 4.67 | 28.04 | 3.419 | 8.0146 | 3.9735
2014 | 4.174 | 4.041 | 3.129 | 2.996 | 3.722 | 2014 | 3.96 | 47.52 | 3.084
2015 | 4.356 | 4.555 | 3.082 | 3.281 | 3.926 | 2015 | 4.83 | 57.94 | 3.148
2016 | 4.623 | 4.913 | 3.113 | 3.403 | 4.132 | 2016 | 5.72 | 68.68 | 3.21
2017 | 4.769 | 5.187 | 3.233 | 3.651 | 4.311 | 2017 | 5.82 | 69.85 | 3.373
2018 | 5.063 | 5.676 | 3.277 | 3.89 | 4.573 | 2018 | 6.77 | 81.26 | 3.482
2019 | 5.228 | 6.159 | 3.41 | 4.341 | 4.83 | 2019 | 6.89 | 82.72 | 3.72
2020 | 5.652 | 6.663 | 3.801 | 4.812 | 5.269 | 2020 | 7.02 | 84.21 | 4.138
2021 | 6.597 | 7.178 | 4.477 | 5.058 | 5.966 | 2021 | 8.04 | 96.44 | 4.67
2022 | 7.603 | 8.015 | 5.202 | 5.614 | 6.806 | 2022 | 9.1 | 109.21 | 5.339
2023 | 7.879 | 8.418 | 5.677 | 6.216 | 7.203 | 2023 | 8.35 | 100.15 | 5.857
2024 | 7.246 | 7.246 | 4.171 | 4.171 | 6.05 | 2024 | 11.66 | 139.89 | 4.171
2025 | 7.307 | 7.307 | 4.173 | 4.173 | 6.088 | 2025 | 11.88 | 142.55 | 4.173
2026 | 7.498 | 7.498 | 4.305 | 4.305 | 6.255 | 2026 | 12.1 | 145.25 | 4.305
2027 | 7.551 | 7.551 | 4.301 | 4.301 | 6.286 | 2027 | 12.32 | 147.85 | 4.301
2028 | 7.768 | 7.768 | 4.459 | 4.459 | 6.48 | 2028 | 12.54 | 150.51 | 4.459
2029 | 7.964 | 7.964 | 4.592 | 4.592 | 6.652 | 2029 | 12.78 | 153.38 | 4.592
2030 | 8.063 | 8.063 | 4.627 | 4.627 | 6.725 | 2030 | 13.02 | 156.29 | 4.627
2031 | 8.169 | 8.169 | 4.668 | 4.668 | 6.807 | 2031 | 13.27 | 159.27 | 4.668
2032 | 8.324 | 8.324 | 4.756 | 4.756 | 6.935 | 2032 | 13.52 | 162.29 | 4.756
2033 | 8.483 | 8.483 | 4.848 | 4.848 | 7.069 | 2033 | 13.78 | 165.37 | 4.848
2034 | 8.64 | 8.64 | 4.936 | 4.936 | 7.199 | 2034 | 14.04 | 168.51 | 4.936 |  |  | Discount Rate - 2013 IRP Page 164
2035 | 8.805 | 8.805 | 5.03 | 5.03 | 7.336 | 2035 | 14.31 | 171.71 | 5.03 |  |  | 6.882%
2036 | 8.977 | 8.977 | 5.13 | 5.13 | 7.48 | 2036 | 14.58 | 174.98 | 5.13
2037 | 9.144 | 9.144 | 5.224 | 5.224 | 7.619 | 2037 | 14.86 | 178.31 | 5.224
| Peak Energy Prices (¢/kWh) |  | Off-Peak Energy Prices (¢/kWh)
| Winter | Summer | Winter | Summer
| 5.9964 | 6.2698 | 3.8828 | 4.1562 | 5.2645