## Inputs
High-Level NEM Rate Impact Analysis
Rocky Mtn Power - Utah
Model Structure
| Sector / Rate Class | Residential
| Base Year | 2015
| Study Period (Years) | 20
System Parameters
| Residential Sales (MWh) | 6976758 | EIA 861, 2013
| Residential Revenues ($) | 758356800 | EIA 861, 2013
| Number of Residential Customers (count) | 733917 | EIA 861, 2013
| Sales per customer (MWh) | 9.5062 | Residential Sales / # of Customers
| Customer growth rate | 1% | User input
| Electricity usage per customer growth rate | 0% | User input
Rate Structure Parameters
| Energy Rate ($/MWh) | 98.3707 | Annual weighted average, RMP Residential rate tariff
| Customer ($/Month) | 6 | RMP Residential rate tariff
| Minimum Bill ($/Month) | 8 | RMP Residential rate tariff
| Fixed Portion of Energy Rate (%) | 66.66% | RMP Presentation See: MW
PV NEM System Parameters
| Average PV installed capacity (MW, DC) | 0.005 | User input
| Unit capacity factor (%) | 16.88% | NREL PV Watts (SLC, UT) | Warning: You have entered a capacity and/or capacity factor that results in the annual generation being greater than annual consumption, which would trigger RMP's minimm bill. This version of the model doesn't account for minimum bills.
| Unit generation (MWh) | 7.3913 | Calculation based on CF and Capacity
| Percent of customers adding DG PV per year | 1% | User input
| Number of years with additional DG PV | 10 | User input
Levelized Avoided Cost Inputs
| Avoided energy ($/MWh) | 60 | Avoided fuel, variable O&M, and line losses.
| Avoided generation capacity capital costs ($/MWh) |  | Capital cost of generation to meet peak load.
| Avoided transmission capital costs ($/MWh) |  | Cost of money savings resulting from defferring T&D capacity additions.
| Avoided distribution capital costs ($/MWh) |  | Cost of money savings resulting from defferring T&D capacity additions. Default from CPR 2014 (assumes zero avoided distribution)
| Avoided environmental Costs ($/MWh) |  | Costs to comply with environemetnal regulations and policy objectives. Default from CPR 2014.
| Fuel price guarantee/avoided risk ($/MWh) |  | Cost of eliminating uncertainty in fuel price fluctuations. Default $0.00
| Variable Avoided Costs ($/MWh) | 60 | Includes avoided energy, avoided environmental, and fuel price guarantee
| Fixed Avoided Costs ($/MWh) | 0 | Includes avoided capital costs associated with generation and T&D capacity
| Total Avoided Costs ($/MWh) | 60 | Sum of variable and fixed avoided costs

## Rate_Impacts_With_v_Without
Utah NEM Rate Impact Analysis
|  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Universal
Customers x customer growth rate |  | Customers (# of customers) | 733917 | 741256.17 | 748668.7317 | 756155.419 | 763716.9732 | 771354.1429 | 779067.6844 | 786858.3612 | 794726.9448 | 802674.2143 | 810700.9564 | 818807.966 | 826996.0456 | 835266.0061 | 843618.6662 | 852054.8528 | 860575.4013 | 869181.1554 | 877872.9669 | 886651.6966
Typical annual demand x demand grwoth rate |  | Usage per customer (annual MWh / customer) | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062 | 9.5062
|  | Total residential electricity usage (MWh) | 6976758 | 7046525.58 | 7116990.8358 | 7188160.7442 | 7260042.3516 | 7332642.7751 | 7405969.2029 | 7480028.8949 | 7554829.1838 | 7630377.4757 | 7706681.2504 | 7783748.0629 | 7861585.5436 | 7940201.399 | 8019603.413 | 8099799.4471 | 8180797.4416 | 8262605.416 | 8345231.4702 | 8428683.7849
Scenario calculations for no DGPV case | No DG PV Case
Forecasted sales | Annual Sales
Sales = Demand - customer generation |  | Annual residential sales (MWh) | 6976758 | 7046525.58 | 7116990.8358 | 7188160.7442 | 7260042.3516 | 7332642.7751 | 7405969.2029 | 7480028.8949 | 7554829.1838 | 7630377.4757 | 7706681.2504 | 7783748.0629 | 7861585.5436 | 7940201.399 | 8019603.413 | 8099799.4471 | 8180797.4416 | 8262605.416 | 8345231.4702 | 8428683.7849
Rates
Fuel and Purchased Power Charge |  | Energy Rate - variable portion ($/MWh) | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968
Energy rate times fixed portion |  | Energy Rate - fixed portion ($/MWh) | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739
Sum of above |  | Total Energy Rate ($/MWh) | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707
Customer charge |  | Customer ($/Month) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Minimum bill |  | Minimum bill ($) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Forecasted Revnues | Annual Revenues and Costs
Energy sales x energy rate x var % |  | Variable Revenues and Costs | 228815392.9373 | 231103546.8667 | 233414582.3353 | 235748728.1587 | 238106215.4403 | 240487277.5947 | 242892150.3706 | 245321071.8743 | 247774282.5931 | 250252025.419 | 252754545.6732 | 255282091.1299 | 257834912.0412 | 260413261.1616 | 263017393.7733 | 265647567.711 | 268304043.3881 | 270987083.822 | 273696954.6602 | 276433924.2068
Energy sales x energy rate x fixed % |  | Fixed Revenues and Costs | 457493524.0912 | 462068459.3321 | 466689143.9254 | 471356035.3647 | 476069595.7183 | 480830291.6755 | 485638594.5923 | 490494980.5382 | 495399930.3436 | 500353929.647 | 505357468.9435 | 510411043.6329 | 515515154.0692 | 520670305.6099 | 525877008.666 | 531135778.7527 | 536447136.5402 | 541811607.9056 | 547229723.9847 | 552702021.2245
Sum of fixed and variable |  | Total Energy Rate Revenues and Costs | 686308917.0285 | 693172006.1988 | 700103726.2608 | 707104763.5234 | 714175811.1586 | 721317569.2702 | 728530744.9629 | 735816052.4125 | 743174212.9367 | 750605955.066 | 758112014.6167 | 765693134.7629 | 773350066.1105 | 781083566.7716 | 788894402.4393 | 796783346.4637 | 804751179.9283 | 812798691.7276 | 820926678.6449 | 829135945.4313
Customers x customer charge |  | Customer Charge Revenues and Costs | 52842024 | 53370444.24 | 53904148.6824 | 54443190.1692 | 54987622.0709 | 55537498.2916 | 56092873.2745 | 56653802.0073 | 57220340.0274 | 57792543.4276 | 58370468.8619 | 58954173.5505 | 59543715.286 | 60139152.4389 | 60740543.9633 | 61347949.4029 | 61961428.8969 | 62581043.1859 | 63206853.6178 | 63838922.154
Sum of Energy Rate and Customer Charge |  | Total Revenues and Costs | 739150941.0285 | 746542450.4388 | 754007874.9432 | 761547953.6926 | 769163433.2295 | 776855067.5618 | 784623618.2374 | 792469854.4198 | 800394552.964 | 808398498.4937 | 816482483.4786 | 824647308.3134 | 832893781.3965 | 841222719.2105 | 849634946.4026 | 858131295.8666 | 866712608.8253 | 875379734.9135 | 884133532.2627 | 892974867.5853
|  | Percent of total costs that are "fixed" | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04% | 69.04%
With DG PV
Forecasted sales | Annual Sales
% of customers with PV + grwoth rate |  | Customers with PV (%) | 1% | 2% | 3% | 4% | 5% | 6% | 7% | 8% | 9% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Customers x % with DGPV * typical DGPV gen |  | Annual Customer PV Gen (MWh) | 54245.9507 | 109576.8204 | 166008.8829 | 223558.629 | 282242.7691 | 342078.2361 | 403082.1882 | 465272.0115 | 528665.3231 | 593279.9737 | 599212.7735 | 605204.9012 | 611256.9502 | 617369.5197 | 623543.2149 | 629778.6471 | 636076.4335 | 642437.1979 | 648861.5698 | 655350.1855
Net Sales = Demand - customer generation |  | Net annual residential sales [after PV] (MWh) | 6922512.0493 | 6936948.7596 | 6950981.9529 | 6964602.1152 | 6977799.5825 | 6990564.539 | 7002887.0146 | 7014756.8833 | 7026163.8607 | 7037097.502 | 7107468.477 | 7178543.1617 | 7250328.5934 | 7322831.8793 | 7396060.1981 | 7470020.8001 | 7544721.0081 | 7620168.2182 | 7696369.9003 | 7773333.5993
|  | Installed DG PV (MW) | 36.6959 | 74.1256 | 112.3003 | 151.2311 | 190.9292 | 231.4062 | 272.6737 | 314.7433 | 357.6271 | 401.3371 | 405.3505 | 409.404 | 413.498 | 417.633 | 421.8093 | 426.0274 | 430.2877 | 434.5906 | 438.9365 | 443.3258
Rates
New variable costs / net sales |  | Energy Rate - variable portion ($/MWh) | 32.5836 | 32.3671 | 32.1471 | 31.9236 | 31.6965 | 31.4656 | 31.231 | 30.9925 | 30.75 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034
New fixed costs / net sales |  | Energy Rate - fixed portion ($/MWh) | 66.0878 | 66.6098 | 67.14 | 67.6788 | 68.2263 | 68.7828 | 69.3483 | 69.9233 | 70.5079 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023
Sum of above |  | Total Energy Rate ($/kWh) | 98.6714 | 98.9769 | 99.2872 | 99.6024 | 99.9228 | 100.2484 | 100.5793 | 100.9158 | 101.2579 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057
Same as No DG PV |  | Customer ($/Month) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Same as No DG PV |  | Minimum bill ($) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Forecasted Revnues / Costs | Annual Revenues and Costs
Costs avoided |  | Avoided costs - variable | 3254757.0414 | 6574609.2236 | 9960532.9738 | 13413517.738 | 16934566.1443 | 20524694.1669 | 24184931.2933 | 27916320.6928 | 31719919.3872 | 35596798.4235 | 35952766.4077 | 36312294.0718 | 36675417.0125 | 37042171.1826 | 37412592.8944 | 37786718.8234 | 38164586.0116 | 38546231.8717 | 38931694.1905 | 39321011.1324
Costs avoided |  | Avoided costs - fixed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No DG PV less avoided fixed costs |  | Variable Revenues and Costs | 225560635.8959 | 224528937.643 | 223454049.3615 | 222335210.4206 | 221171649.296 | 219962583.4278 | 218707219.0773 | 217404751.1815 | 216054363.2058 | 214655226.9956 | 216801779.2655 | 218969797.0582 | 221159495.0287 | 223371089.979 | 225604800.8788 | 227860848.8876 | 230139457.3765 | 232440851.9503 | 234765260.4698 | 237112913.0745
No DG PV less avoided fixed costs |  | Fixed Revenues and Costs | 457493524.0912 | 462068459.3321 | 466689143.9254 | 471356035.3647 | 476069595.7183 | 480830291.6755 | 485638594.5923 | 490494980.5382 | 495399930.3436 | 500353929.647 | 505357468.9435 | 510411043.6329 | 515515154.0692 | 520670305.6099 | 525877008.666 | 531135778.7527 | 536447136.5402 | 541811607.9056 | 547229723.9847 | 552702021.2245
Sum of fixed and variable |  | Total Energy Rate Revenues and Costs | 683054159.9871 | 686597396.9752 | 690143193.287 | 693691245.7853 | 697241245.0143 | 700792875.1033 | 704345813.6696 | 707899731.7197 | 711454293.5494 | 715009156.6426 | 722159248.209 | 729380840.6911 | 736674649.098 | 744041395.589 | 751481809.5449 | 758996627.6403 | 766586593.9167 | 774252459.8559 | 781994984.4544 | 789814934.299
Same as No DG PV |  | Customer Charge Revenues and Costs | 52842024 | 53370444.24 | 53904148.6824 | 54443190.1692 | 54987622.0709 | 55537498.2916 | 56092873.2745 | 56653802.0073 | 57220340.0274 | 57792543.4276 | 58370468.8619 | 58954173.5505 | 59543715.286 | 60139152.4389 | 60740543.9633 | 61347949.4029 | 61961428.8969 | 62581043.1859 | 63206853.6178 | 63838922.154
Sum of Energy Rate and Customer Charge |  | Total Revenues and Costs | 735896183.9871 | 739967841.2152 | 744047341.9694 | 748134435.9546 | 752228867.0852 | 756330373.3949 | 760438686.9441 | 764553533.727 | 768674633.5768 | 772801700.0702 | 780529717.0709 | 788335014.2416 | 796218364.384 | 804180548.0279 | 812222353.5081 | 820344577.0432 | 828548022.8137 | 836833503.0418 | 845201838.0722 | 853653856.4529
|  | Percent of total costs that are "fixed" | 69.35% | 69.66% | 69.97% | 70.28% | 70.6% | 70.92% | 71.24% | 71.56% | 71.89% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22% | 72.22%
Differences
Rates
|  | Change in Energy Rate - variable portion ($/MWh) | -0.21317 | -0.4297 | -0.64969 | -0.8732 | -1.1003 | -1.3312 | -1.5658 | -1.8043 | -2.0468 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934 | -2.2934
|  | Change in Energy Rate - fixed portion ($/MWh) | 0.51385 | 1.0358 | 1.5661 | 2.1049 | 2.6524 | 3.2088 | 3.7744 | 4.3494 | 4.9339 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284 | 5.5284
|  | Change in Total Energy Rate ($/MWh) | 0.30068 | 0.60611 | 0.9164 | 1.2317 | 1.552 | 1.8776 | 2.2086 | 2.545 | 2.8871 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | 3.2349 | `
|  | Change in Customer ($/Month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Change in Minimum bill ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Change in Energy Rate - variable portion (%) | -0.65% | -1.31% | -1.981% | -2.662% | -3.355% | -4.059% | -4.774% | -5.502% | -6.241% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993% | -6.993%
|  | Change in Energy Rate - fixed portion (%) | 0.7836% | 1.58% | 2.388% | 3.21% | 4.045% | 4.893% | 5.756% | 6.633% | 7.524% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431% | 8.431%
|  | Change in Total Energy Rate (%) | 0.3057% | 0.6161% | 0.9316% | 1.252% | 1.578% | 1.909% | 2.245% | 2.587% | 2.935% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289% | 3.289%
Avoided Costs |  | Energy Rate impact due to AC (¢/kWh) | -0.046651 | -0.093303 | -0.13995 | -0.18661 | -0.23326 | -0.27991 | -0.32656 | -0.37321 | -0.41986 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651 | -0.46651
Recovery of Lost Revenues |  | Energy rate impact due to lost revenues (¢/kWh) | 0.076719 | 0.15391 | 0.23159 | 0.30977 | 0.38846 | 0.46767 | 0.54742 | 0.62772 | 0.70857 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001 | 0.79001
Net Effect |  | Energy rate impact of both (¢/kWh) | 0.030068 | 0.060611 | 0.09164 | 0.12317 | 0.1552 | 0.18776 | 0.22086 | 0.2545 | 0.28871 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349 | 0.32349
Averages
|  |  | 10 yrs | 20 yrs
|  | Change in Energy Rate - variable portion ($/MWh) | 2015: -1.2308; 2016: -1.7621
|  | Change in Energy Rate - fixed portion ($/MWh) | 2015: 2.9668; 2016: 4.2476
|  | Change in Total Energy Rate ($/MWh) | 2015: 1.736; 2016: 2.4855
|  | Customer ($/Month) | 2015: 0; 2016: 0
|  | Minimum bill ($) | 2015: 0; 2016: 0
|  | Change in Energy Rate - variable portion (%) | 2015: -3.753%; 2016: -5.373%
|  | Change in Energy Rate - fixed portion (%) | 2015: 4.524%; 2016: 6.478%
Total Energy Rate (%)
|  | Energy Rate impact due to AC (¢/kWh) | 2015: -0.25658; 2016: -0.36155
|  | Energy rate impact due to lost revenues (¢/kWh) | 2015: 0.43019; 2016: 0.6101
|  | Energy rate impact of both (¢/kWh) | 2015: 0.1736; 2016: 0.24855

## year_to_year_calcs
Utah NEM Rate Impact Analysis
|  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Scenario calculations for no DGPV case | No DG PV Case
Rates
Fuel and Purchased Power Charge |  | Energy Rate - variable portion ($/MWh) | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968 | 32.7968
Energy rate times fixed portion |  | Energy Rate - fixed portion ($/MWh) | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739 | 65.5739
Sum of above |  | Total Energy Rate ($/MWh) | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707 | 98.3707
Customer charge |  | Customer ($/Month) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Minimum bill |  | Minimum bill ($) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
With DG PV
Rates
New variable costs / net sales |  | Energy Rate - variable portion ($/MWh) | 32.5836 | 32.3671 | 32.1471 | 31.9236 | 31.6965 | 31.4656 | 31.231 | 30.9925 | 30.75 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034 | 30.5034
New fixed costs / net sales |  | Energy Rate - fixed portion ($/MWh) | 66.0878 | 66.6098 | 67.14 | 67.6788 | 68.2263 | 68.7828 | 69.3483 | 69.9233 | 70.5079 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023 | 71.1023
Sum of above |  | Total Energy Rate ($/MWh) | 98.6714 | 98.9769 | 99.2872 | 99.6024 | 99.9228 | 100.2484 | 100.5793 | 100.9158 | 101.2579 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057 | 101.6057
Same as No DG PV |  | Customer ($/Month) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Same as No DG PV |  | Minimum bill ($) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Year-to-Year Impacts
Rates - Change from Previous Year
|  | Energy Rate - variable portion ($/MWh) | ---- | -0.21654 | -0.21998 | -0.22351 | -0.22713 | -0.23084 | -0.23463 | -0.23852 | -0.24251 | -0.2466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy Rate - fixed portion ($/MWh) | ---- | 0.52197 | 0.53028 | 0.53879 | 0.5475 | 0.55643 | 0.56559 | 0.57496 | 0.58458 | 0.59443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Energy Rate ($/MWh) | ---- | 0.30543 | 0.31029 | 0.31527 | 0.32037 | 0.3256 | 0.33095 | 0.33644 | 0.34207 | 0.34783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Customer ($/Month) | ---- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Minimum bill ($) | ---- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy Rate - variable portion (%) | ---- | -0.6646% | -0.6797% | -0.6953% | -0.7115% | -0.7283% | -0.7457% | -0.7637% | -0.7825% | -0.802% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | Energy Rate - fixed portion (%) | ---- | 0.7898% | 0.7961% | 0.8025% | 0.809% | 0.8156% | 0.8223% | 0.8291% | 0.836% | 0.8431% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | Total Energy Rate (%) | ---- | 0.3095% | 0.3135% | 0.3175% | 0.3217% | 0.3259% | 0.3301% | 0.3345% | 0.339% | 0.3435% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Ref_Sheet
Table 1: RMP Residential Tariff
https://www.rockymountainpower.net/content/dam/rocky_mountain_power/doc/About_Us/Rates_and_Regulation/Utah/Approved_Tariffs/Rate_Schedules/Residential_Service.pdf
Customer Charge
Single Phase | 6 | per customer month
Three phase | 12 | per customer month
Energy Charge | cents per kwh | usage block
Summer Block 1 | 8.8498 | 400 | kWh | 5 | moths of the year
Summer Block 2 | 11.5429 | 600 | kWh | 5 | moths of the year
Summer Block 3 | 14.4508 |  | all remaining kWh | 5 | moths of the year
Winter Block 1 | 8.8498 | 400 |  | 7 | months of the year
Winter Block 2 | 10.3111 | 600 | all remaining kWh | 7 | months of the year
Summer Average | 10.1963 | Synapse Calculation
Winter Average | 9.5804 | Synapse Calculation
Annual Weighted Average | 9.8371 | Synapse Calculation
Minimum Bill
Single Phase | 8 | per customer month
Three phase | 16 | per customer month
Table 2: Utah Solar Generation Profile
Available online at: www.pvwatts.nrel.gov
PVWatts: Monthly PV Performance Data
Requested Location: | Salt Lake City Utah
Location: | SALT LAKE CITY, UT
Lat (deg N): | 40.77
Long (deg W): | 111.97
Elev (m): | 1288
DC System Size (kW): | 5
Module Type: | Standard
Array Type: | Fixed (roof mount)
Array Tilt (deg): | 20
Array Azimuth (deg): | 180
System Losses: | 14
Invert Efficiency: | 96
DC to AC Size Ratio: | 1.1
Average Cost of Electricity Purchased from Utility ($/kWh): | 0.1
Initial Cost | 3.3
Cost of Electricity Generated by System ($/kWh): | 0.18
Month | AC System Output(kWh) | Solar Radiation (kWh/m^2/day) | Plane of Array Irradiance (W/m^2) | DC array Output (kWh) | Value ($)
1 | 362.889 | 2.7561 | 85.4399 | 381.1025 | 37.41
2 | 455.8474 | 3.8987 | 109.1629 | 477.0622 | 47
3 | 608.9019 | 4.8356 | 149.9045 | 636.7689 | 62.78
4 | 678.0981 | 5.7174 | 171.5211 | 708.8629 | 69.91
5 | 836.8476 | 7.0186 | 217.5781 | 873.9233 | 86.28
6 | 802.8485 | 7.2569 | 217.7068 | 838.452 | 82.77
7 | 840.4924 | 7.552 | 234.1117 | 877.5559 | 86.65
8 | 812.5726 | 7.2177 | 223.7479 | 848.5435 | 83.78
9 | 698.0347 | 6.1601 | 184.8024 | 728.7742 | 71.97
10 | 594.2084 | 4.9352 | 152.9901 | 620.8773 | 61.26
11 | 401.7037 | 3.3142 | 99.4264 | 421.0105 | 41.42
12 | 298.8479 | 2.2689 | 70.3368 | 314.5163 | 30.81
Total | 7391.2923 | 62.9314 | 1916.7287 | 7727.4496 | 762.04
Table 3: Avoided Costs in Utah
Value of Solar in Utah Clean Power Research 2014.
Available online: http://www.psc.utah.gov/utilities/electric/13docs/13035184/255147Exhibit%20A%20to%20Wright%20Testimony%20-%20UCE%202_1%20DT%20-%20Value%20of%20Solar%20in%20Utah%205-22-2014.pdf
Fuel Value | 0.043 | ($/kWh) |  | 43 | $/MWh
Plant O&M Value | 0.013 | ($/kWh) |  | 13 | $/MWh
Generation Capacity Value | 0.014 | ($/kWh) |  | 14 | $/MWh
Avoided T&D Capacity Cost | 0.011 | ($/kWh) |  | 11 | $/MWh
Avoided Environmental Cost | 0.009 | ($/kWh) |  | 9 | $/MWh
Fuel Price Guarantee Value | 0.026 | ($/kWh) |  | 26 | $/MWh
Table 4: Conversion factors
kWh per MWh | 1000
cents per dollar | 100