## Appliance chart
Appliance | Watts | kW | Usage in mins
Lighting (Incandescent light bulb) | 60 | 0.06 | 60
Television | 120 | 0.12 | 60
Washer/Dryer | 3500 | 3.5 | 10
Central Air Conditioner | 3500 | 3.5 | 30
Cooking Stove top | 1500 | 1.5 | 20
Microwave | 1700 | 1.7 | 3
Vacuum | 1400 | 1.4 | 3
Source: | http://energyusecalculator.com/calculate_electrical_usage.htm
Appliances used in each minute in one hour
| Lights | Television | Washer/Dryer | Central A/C | Cooking stove | Microwave | Vacuum | Total kW | Average Demand
1 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68 | over 15 mins | 6.3467
2 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68 | over 30 mins | 4.85
3 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68 | over 60 mins | 3.3783
4 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
5 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
6 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
7 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
8 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
9 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
10 | 0.06 | 0.12 | 3.5 | 3.5 | 1.5 |  |  | 8.68
11 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
12 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
13 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
14 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
15 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
16 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
17 | 0.06 | 0.12 |  |  | 1.5 |  |  | 1.68
18 | 0.06 | 0.12 |  |  | 1.5 | 1.7 |  | 3.38
19 | 0.06 | 0.12 |  |  | 1.5 | 1.7 |  | 3.38
20 | 0.06 | 0.12 |  |  | 1.5 | 1.7 |  | 3.38
21 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
22 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
23 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
24 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
25 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
26 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
27 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
28 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
29 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
30 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
31 | 0.06 | 0.12 | [5 empty] | 0.18
32 | 0.06 | 0.12 | [5 empty] | 0.18
33 | 0.06 | 0.12 | [5 empty] | 0.18
34 | 0.06 | 0.12 | [5 empty] | 0.18
35 | 0.06 | 0.12 | [5 empty] | 0.18
36 | 0.06 | 0.12 | [5 empty] | 0.18
37 | 0.06 | 0.12 | [5 empty] | 0.18
38 | 0.06 | 0.12 | [5 empty] | 0.18
39 | 0.06 | 0.12 | [5 empty] | 0.18
40 | 0.06 | 0.12 | [5 empty] | 0.18
41 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
42 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
43 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
44 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
45 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
46 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
47 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
48 | 0.06 | 0.12 |  | 3.5 |  |  |  | 3.68
49 | 0.06 | 0.12 |  | 3.5 |  |  | 1.4 | 5.08
50 | 0.06 | 0.12 |  | 3.5 |  |  | 1.4 | 5.08
51 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
52 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
53 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
54 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
55 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
56 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
57 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
58 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
59 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58
60 | 0.06 | 0.12 |  |  |  |  | 1.4 | 1.58