## Appendix B
Appendix B
Avoided Cost Prices $/MWh
Utah 2014.Q1 - 100.0 MW and 85.0% CF
Year | Avoided Cost at | UT 2013.Q3 | Difference
| 85.0% CF (2) | Compliance Filing
2015 | 30.39 | 30.09 | 0.3
2016 | 28.29 | 27.98 | 0.31
2017 | 27.31 | 26.97 | 0.34
2018 | 28.78 | 29.66 | -0.88
2019 | 29.47 | 31.17 | -1.7
2020 | 34.42 | 35.73 | -1.31
2021 | 38.6 | 39.38 | -0.78
2022 | 44.42 | 45.17 | -0.75
2023 | 47.87 | 50.93 | -3.06
2024 | 48.09 | 52.51 | -4.42
2025 | 50.35 | 54.29 | -3.94
2026 | 53.72 | 56.79 | -3.07
2027 | 56.9 | 58.32 | -1.42
2028 | 65.55 | 66.03 | -0.48
2029 | 68.06 | 69.52 | -1.46
2030 | 69.66 | 70.52 | -0.86
2031 | 71.28 | 72.02 | -0.74
2032 | 72.7 | 73.42 | -0.72
2033 | 74.32 | 75.12 | -0.8
2034 | 75.97 | 76.72 | -0.75
20-Year Levelized Prices (Nominal) @ 6.882% Discount Rate (1) (3) |  |  |  | Discount Rate - 2013 IRP Page 164 | Adjust from calculated annually to calculated monthly
$/MWh | 44.53 | 45.72 | -1.19 | 6.882% | -0.02
Footnotes:
(1) Discount Rate - 2013 IRP Page 164
(2) Total Avoided Costs with Capacity included at an 85.0% capacity factor
(3) 20-Year NPC is 2015 - 2034
(4) Levelized monthly. Avoided costs levelized annually are $44.56/MWH
x Extrapolated

## Table 1
Appendix B
Table 1
Avoided Cost Prices
Utah 2014.Q1 - 100.0 MW and 85.0% CF
Partial Displacement - CCCT Dry "F", 2x1 - East Side Resource (5,050')
Adjust Capacity payment for Partial Displacement
|  |  |  | Total Price @ | 100%
| Capacity |  | Energy | 85%
Year | Price |  | Only Price | Capacity Factor
| $/kW-yr |  | $/MWh (2) | $/MWh
2015 | 0 |  | 30.3942 | 30.39
2016 | 0 |  | 28.2947 | 28.29
2017 | 0 |  | 27.3115 | 27.31
2018 | 0 |  | 28.7784 | 28.78 | Percent of QF
2019 | 0 |  | 29.4693 | 29.47 | 0% | 2024 CCCT
2020 | 0 |  | 34.4163 | 34.42 | 100% | 2028 CCCT
2021 | 0 |  | 38.6029 | 38.6
2022 | 0 |  | 44.4157 | 44.42
2023 | 0 |  | 47.8726 | 47.87
2024 | 0 |  | 48.086 | 48.09
2025 | 0 |  | 50.3531 | 50.35
2026 | 0 |  | 53.7195 | 53.72
2027 | 0 |  | 56.896 | 56.9
2028 | 149.32 | (4) | 45.5527 | 65.55
2029 | 152.16 |  | 47.6283 | 68.06
2030 | 155.04 |  | 48.8348 | 69.66
2031 | 158.15 |  | 50.044 | 71.28
2032 | 161.32 |  | 51.0939 | 72.7
2033 | 164.54 |  | 52.2174 | 74.32
2034 | 167.82 |  | 53.4338 | 75.97
2035 | 170.81
Discount Rate - 2013 IRP Page 164
20-Year Levelized Prices (Nominal) @ 6.882% Discount Rate (1) (3) |  |  |  |  | 6.882%
$/kW | 33.561 |  |  |  | Adjust from calculated annually to calculated monthly
$/MWh |  |  | 40.0535 | 44.53 | -0.026665
Footnotes:
(1) Discount Rate - 2013 IRP Page 164
(2) 'Energy Only' is the GRID calculated costs and includes some capacity costs.
(3) 20 Year NPC is 2015 - 2034
(4) 0.0% of capacity payment is from a 2024 CCCT Dry "J", Adv 1x1 - East Side Resource (5,050')
(4) 100.0% of capacity payment is from a 2028 CCCT Dry "F", 2x1 - East Side Resource (5,050')
(5) Avoided Costs calculated monthly starting January 2015
Avoided Costs calculated annually are $44.56/MWH

## Table 2
Appendix B
Table 2
Avoided Energy Costs - Scheduled Hours ($/MWh)
Utah 2014.Q1 - 100.0 MW and 85.0% CF
Partial Displacement - CCCT Dry "F", 2x1 - East Side Resource (5,050')
Year |  | Winter Season |  |  |  |  | Summer Season |  |  |  | Winter Season |  |  | IRP Resource
| Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Energy Cost (1)
Energy Only
2015 | 30.3942 | 31.1921 | 31.9737 | 32.3337 | 26.8223 | 25.4496 | 26.2349 | 38.2389 | 36.2808 | 30.801 | 27.7311 | 29.0299 | 28.5146 | 0
2016 | 28.2947 | 27.6004 | 30.6845 | 31.55 | 25.2696 | 24.5338 | 24.9871 | 36.949 | 34.8756 | 27.1585 | 26.3958 | 25.3214 | 24.0281 | 0
2017 | 27.3115 | 25.2592 | 26.3678 | 31.3993 | 25.2843 | 24.7086 | 24.2753 | 33.8485 | 31.1676 | 25.5642 | 26.344 | 25.5805 | 27.5718 | 0
2018 | 28.7784 | 26.2356 | 26.3339 | 30.9641 | 26.3699 | 25.452 | 25.9463 | 36.0332 | 33.5591 | 26.6224 | 29.5315 | 29.1564 | 28.6737 | 0
2019 | 29.4693 | 23.9424 | 26.1464 | 29.8005 | 25.8243 | 24.2316 | 26.1088 | 39.7272 | 37.8266 | 32.6506 | 30.2241 | 29.0462 | 27.6444 | 0
2020 | 34.4163 | 26.6431 | 29.8409 | 33.7492 | 31.0128 | 30.9072 | 31.3037 | 45.9542 | 45.5987 | 44.716 | 31.5014 | 30.8559 | 30.625 | 0
2021 | 38.6029 | 30.5565 | 36.9909 | 37.6975 | 32.9462 | 35.0323 | 34.0672 | 48.9809 | 48.2251 | 45.3741 | 36.8965 | 37.9606 | 38.2204 | 0
2022 | 44.4157 | 43.2068 | 44.6309 | 43.3231 | 39.4387 | 41.1858 | 38.1497 | 52.8339 | 51.3872 | 47.3205 | 44.435 | 42.5059 | 44.2615 | 0
2023 | 47.8726 | 44.4288 | 46.4378 | 44.2271 | 43.612 | 42.8357 | 42.4948 | 57.5333 | 55.3051 | 51.1886 | 47.7724 | 49.4639 | 48.8808 | 0
2024 | 48.086 | 38.9903 | 40.8689 | 48.3239 | 44.355 | 43.8044 | 42.1296 | 60.3763 | 59.7532 | 53.6098 | 48.6607 | 49.1155 | 46.4776 | 0
2025 | 50.3531 | 50.0545 | 47.3819 | 46.8907 | 44.0682 | 46.6307 | 44.6784 | 61.5061 | 62.131 | 54.5051 | 50.1137 | 44.4811 | 51.0671 | 0
2026 | 53.7195 | 51.5886 | 51.2443 | 51.7748 | 48.3615 | 47.3557 | 47.6086 | 66.9429 | 66.1346 | 62.5661 | 52.9647 | 46.6493 | 50.8902 | 0
2027 | 56.896 | 56.2083 | 55.0397 | 54.3708 | 48.9016 | 50.8648 | 49.7864 | 69.2182 | 66.6796 | 64.1574 | 55.4638 | 54.6286 | 56.9269 | 0
2028 | 45.5527 | 46.5113 | 45.7828 | 44.5869 | 43.3065 | 42.0045 | 41.9539 | 44.1204 | 44.431 | 43.4257 | 45.6233 | 54.8951 | 50.0495 | 44.59
2029 | 47.6283 | 48.7031 | 47.7738 | 46.2225 | 46.219 | 44.4147 | 44.0922 | 46.6004 | 47.05 | 46.0875 | 48.2146 | 55.9373 | 50.2974 | 46.44
2030 | 48.8348 | 52.1795 | 51.0155 | 45.7584 | 44.6977 | 44.6772 | 44.9012 | 47.7985 | 47.9342 | 46.4939 | 49.3382 | 57.9196 | 53.4717 | 48.36
2031 | 50.044 | 53.5516 | 52.1603 | 46.8075 | 45.9796 | 45.4828 | 45.7386 | 48.787 | 49.1264 | 47.713 | 50.375 | 60.2507 | 54.7446 | 49.32
2032 | 51.0939 | 54.6341 | 53.2637 | 47.7807 | 47.1256 | 46.656 | 47.0197 | 49.6972 | 49.865 | 48.9818 | 51.244 | 61.1134 | 55.8807 | 50.35
2033 | 52.2174 | 55.7711 | 54.4327 | 48.8011 | 48.171 | 47.5631 | 48.0218 | 50.8287 | 51.2885 | 49.9921 | 52.4191 | 62.4519 | 57.0743 | 51.38
2034 | 53.4338 | 56.9284 | 55.5281 | 49.7983 | 49.1287 | 49.3247 | 49.0848 | 51.8939 | 52.4904 | 51.2903 | 53.4795 | 64.2354 | 58.2254 | 52.34
(1) | See Table 3, Column (h).
Consistent with Docket No. 03-035-14, QFs requesting a tolling option will have variable energy priced at the IRP Resource Energy Cost (heat rate
times the cost of fuel). Additionally, the energy price for unscheduled or non-firm deliveries is capped at the IRP Resource Energy Cost.
Cap Energy Prices (Yes / No)
No
Energy Price escalated at
1.9%

## Table 3
Appendix B
Table 3
CCCT Resource Costs - 2013 Integrated Resource Plan
CCCT Dry "F", 2x1 - East Side Resource (5,050')
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
CCCT Dry "F", 2x1 - East Side Resource (5,050')
2012 | 1026 | 80.91 | 21.73 | 2.43 | 31.86 | 112.77
2013 |  | 82.04 | 22.03 | 2.46 | 32.29 | 114.33
2014 |  | 83.27 | 22.36 | 2.5 | 32.78 | 116.05
2015 |  | 84.69 | 22.74 | 2.54 | 33.33 | 118.02
2016 |  | 86.21 | 23.15 | 2.59 | 33.95 | 120.16
2017 |  | 87.76 | 23.57 | 2.64 | 34.58 | 122.34
2018 |  | 89.34 | 23.99 | 2.69 | 35.21 | 124.55
2019 |  | 90.86 | 24.4 | 2.74 | 35.83 | 126.69
2020 |  | 92.5 | 24.84 | 2.79 | 36.47 | 128.97
2021 |  | 94.26 | 25.31 | 2.84 | 37.15 | 131.41
2022 |  | 95.96 | 25.77 | 2.89 | 37.82 | 133.78
2023 |  | 97.69 | 26.23 | 2.94 | 38.49 | 136.18
2024 |  | 99.45 | 26.7 | 2.99 | 39.17 | 138.62
2025 |  | 101.24 | 27.18 | 3.04 | 39.86 | 141.1
2026 |  | 103.16 | 27.7 | 3.1 | 40.63 | 143.79
2027 |  | 105.12 | 28.23 | 3.16 | 41.41 | 146.53
2028 |  | 107.12 | 28.77 | 3.22 | 42.2 | 149.32 | 6.5 | 44.59 | 80.4
2029 |  | 109.16 | 29.32 | 3.28 | 43 | 152.16 | 6.77 | 46.44 | 82.93
2030 |  | 111.23 | 29.88 | 3.34 | 43.81 | 155.04 | 7.05 | 48.36 | 85.54
2031 |  | 113.45 | 30.48 | 3.41 | 44.7 | 158.15 | 7.19 | 49.32 | 87.25
2032 |  | 115.72 | 31.09 | 3.48 | 45.6 | 161.32 | 7.34 | 50.35 | 89.04
2033 |  | 118.03 | 31.71 | 3.55 | 46.51 | 164.54 | 7.49 | 51.38 | 90.84
2034 |  | 120.39 | 32.34 | 3.62 | 47.43 | 167.82 | 7.63 | 52.34 | 92.59
2035 |  | 122.8 | 32.99 | 3.69 | 48.38 | 171.18 | 7.79 | 53.44 | 94.49
2036 |  | 125.38 | 33.68 | 3.77 | 49.4 | 174.78 | 7.95 | 54.54 | 96.46
2037 |  | 128.01 | 34.39 | 3.85 | 50.44 | 178.45 | 8.12 | 55.7 | 98.5
2038 |  | 130.7 | 35.11 | 3.93 | 51.5 | 182.2 | 8.29 | 56.87 | 100.57
2039 |  | 133.44 | 35.85 | 4.01 | 52.57 | 186.01 | #N/A | #N/A | #N/A
2040 |  | 136.24 | 36.6 | 4.09 | 53.65 | 189.89 | #N/A | #N/A | #N/A
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| (b) | = (a) x 0.07886
| (e) | = (d) x (8.76 x 47.6%) + (c)
| (f) | = (b) + (e)
| (g) | Table 4 - Burnertip Natural Gas Price Forecast
| (h) | = 6,860 MMBtu/MWH x $/MMBtu
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
CCCT Dry "F", 2x1 - East Side Resource (5,050')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT Dry "J" - Turbine |  |  | 523 | 79.12% | 1159 | 22.42
| CCCT Dry "J" - Duct Firing |  |  | 138 | 20.88% | 522 | 19.12
| Capacity Weighted |  |  | 661 | 100% | 1026 | 21.73
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT Dry "J" - Turbine |  |  | 523 | 56% | 292.88 | 92.99% | 2.61 | 6738
| CCCT Dry "J" - Duct Firing |  |  | 138 | 16% | 22.08 | 7.01% | 0.08 | 8482
| Energy Weighted |  |  | 661 | 47.6% | 314.96 | 100% | 2.43 | 6860
Rounded
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| 523 | 138 | MW Plant Capacity
| 1159 | 522 | Plant Capacity Cost
| 7.23 | 0 | Fixed O&M & Capitalized O&M
| 15.19 | 19.12 | Fixed Pipeline
| 22.42 | 19.12 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 2.61 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6738 | 8482 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 47.6% | Energy Weighted Capacity Factor
|  | 83.5% | Capacity Factor - On-peak 47.6% / 57% (percent of hours on-peak)
Company Official Inflation Forecast Dated December 31, 2013
| 2012 | 1.9% |  | 2021 | 1.9% |  | 2030 | 1.9%
| 2013 | 1.4% |  | 2022 | 1.8% |  | 2031 | 2%
| 2014 | 1.5% |  | 2023 | 1.8% |  | 2032 | 2%
| 2015 | 1.7% |  | 2024 | 1.8% |  | 2033 | 2%
| 2016 | 1.8% |  | 2025 | 1.8% |  | 2034 | 2%
| 2017 | 1.8% |  | 2026 | 1.9% |  | 2035 | 2%
| 2018 | 1.8% |  | 2027 | 1.9% |  | 2036 | 2.1%
| 2019 | 1.7% |  | 2028 | 1.9% |  | 2037 | 2.1%
| 2020 | 1.8% |  | 2029 | 1.9% |  | 2038 | 2.1%
[7 empty] | 2039 | 2.1%
[7 empty] | 2040 | 2.1%

## Table 4
Appendix B
Table 4
Burnertip Natural Gas Price Forecast |  | Quote Date
Utah 2014.Q1 - 100.0 MW and 85.0% CF |  | 2013-12-31
PacifiCorp
Delivered
Year | East Side Natural Gas
Fuel Cost
2024 | 5.72
2025 | 5.85 |  | East
2026 | 6.04 | Peak Type: | Delivered | Year | East Side
2027 | 6.27 | 2024-01-01 | 6.0294 | 2024 | 43
2028 | 6.5 | 2024-02-01 | 5.9896 | 2024
2029 | 6.77 | 2024-03-01 | 5.642 | 2024
2030 | 7.05 | 2024-04-01 | 5.5717 | 2024
2031 | 7.19 | 2024-05-01 | 5.4503 | 2024
2032 | 7.34 | 2024-06-01 | 5.4574 | 2024
2033 | 7.49 | 2024-07-01 | 5.5161 | 2024
2034 | 7.63 | 2024-08-01 | 5.5451 | 2024
2035 | 7.79 | 2024-09-01 | 5.5806 | 2024
2036 | 7.95 | 2024-10-01 | 5.7094 | 2024
2037 | 8.12 | 2024-11-01 | 5.9504 | 2024
2038 | 8.29 | 2024-12-01 | 6.19 | 2024
|  | 2025-01-01 | 6.2797 | 2025
Official Forward Price Curve Forecast dated Dec 31, 2013 |  | 2025-02-01 | 6.1782 | 2025
|  | 2025-03-01 | 5.6784 | 2025
|  | 2025-04-01 | 5.5918 | 2025
|  | 2025-05-01 | 5.5991 | 2025
|  | 2025-06-01 | 5.6096 | 2025
|  | 2025-07-01 | 5.7073 | 2025
|  | 2025-08-01 | 5.7374 | 2025
|  | 2025-09-01 | 5.7477 | 2025
|  | 2025-10-01 | 5.7929 | 2025
|  | 2025-11-01 | 6.014 | 2025
|  | 2025-12-01 | 6.2361 | 2025
|  | 2026-01-01 | 6.3885 | 2026
|  | 2026-02-01 | 6.3066 | 2026
|  | 2026-03-01 | 5.9105 | 2026
|  | 2026-04-01 | 5.8353 | 2026
|  | 2026-05-01 | 5.7668 | 2026
|  | 2026-06-01 | 5.7989 | 2026
|  | 2026-07-01 | 5.8718 | 2026
|  | 2026-08-01 | 5.9058 | 2026
|  | 2026-09-01 | 5.918 | 2026
|  | 2026-10-01 | 6.0488 | 2026
|  | 2026-11-01 | 6.2145 | 2026
|  | 2026-12-01 | 6.4728 | 2026
|  | 2027-01-01 | 6.6728 | 2027
|  | 2027-02-01 | 6.503 | 2027
|  | 2027-03-01 | 6.0551 | 2027
|  | 2027-04-01 | 5.9817 | 2027
|  | 2027-05-01 | 5.9738 | 2027
|  | 2027-06-01 | 6.0097 | 2027
|  | 2027-07-01 | 6.0716 | 2027
|  | 2027-08-01 | 6.102 | 2027
|  | 2027-09-01 | 6.1409 | 2027
|  | 2027-10-01 | 6.229 | 2027
|  | 2027-11-01 | 6.6244 | 2027
|  | 2027-12-01 | 6.8768 | 2027
|  | 2028-01-01 | 6.8874 | 2028
|  | 2028-02-01 | 6.7739 | 2028
|  | 2028-03-01 | 6.2303 | 2028
|  | 2028-04-01 | 6.1398 | 2028
|  | 2028-05-01 | 6.1406 | 2028
|  | 2028-06-01 | 6.1478 | 2028
|  | 2028-07-01 | 6.207 | 2028
|  | 2028-08-01 | 6.2394 | 2028
|  | 2028-09-01 | 6.2787 | 2028
|  | 2028-10-01 | 6.4035 | 2028
|  | 2028-11-01 | 7.0817 | 2028
|  | 2028-12-01 | 7.4326 | 2028
|  | 2029-01-01 | 7.2175 | 2029
|  | 2029-02-01 | 7.0511 | 2029
|  | 2029-03-01 | 6.5394 | 2029
|  | 2029-04-01 | 6.4616 | 2029
|  | 2029-05-01 | 6.4632 | 2029
|  | 2029-06-01 | 6.4551 | 2029
|  | 2029-07-01 | 6.5514 | 2029
|  | 2029-08-01 | 6.6124 | 2029
|  | 2029-09-01 | 6.649 | 2029
|  | 2029-10-01 | 6.7024 | 2029
|  | 2029-11-01 | 7.1049 | 2029
|  | 2029-12-01 | 7.4468 | 2029
|  | 2030-01-01 | 7.795 | 2030
|  | 2030-02-01 | 7.5739 | 2030
|  | 2030-03-01 | 6.7469 | 2030
|  | 2030-04-01 | 6.6361 | 2030
|  | 2030-05-01 | 6.5669 | 2030
|  | 2030-06-01 | 6.6046 | 2030
|  | 2030-07-01 | 6.6938 | 2030
|  | 2030-08-01 | 6.7543 | 2030
|  | 2030-09-01 | 6.7988 | 2030
|  | 2030-10-01 | 6.93 | 2030
|  | 2030-11-01 | 7.569 | 2030
|  | 2030-12-01 | 7.9744 | 2030
|  | 2031-01-01 | 7.9508 | 2031
|  | 2031-02-01 | 7.7253 | 2031
|  | 2031-03-01 | 6.8818 | 2031
|  | 2031-04-01 | 6.7688 | 2031
|  | 2031-05-01 | 6.6982 | 2031
|  | 2031-06-01 | 6.7367 | 2031
|  | 2031-07-01 | 6.8276 | 2031
|  | 2031-08-01 | 6.8893 | 2031
|  | 2031-09-01 | 6.9347 | 2031
|  | 2031-10-01 | 7.0685 | 2031
|  | 2031-11-01 | 7.7203 | 2031
|  | 2031-12-01 | 8.1337 | 2031
|  | 2032-01-01 | 8.1097 | 2032
|  | 2032-02-01 | 7.8796 | 2032
|  | 2032-03-01 | 7.0193 | 2032
|  | 2032-04-01 | 6.904 | 2032
|  | 2032-05-01 | 6.832 | 2032
|  | 2032-06-01 | 6.8713 | 2032
|  | 2032-07-01 | 6.9641 | 2032
|  | 2032-08-01 | 7.027 | 2032
|  | 2032-09-01 | 7.0733 | 2032
|  | 2032-10-01 | 7.2098 | 2032
|  | 2032-11-01 | 7.8746 | 2032
|  | 2032-12-01 | 8.2963 | 2032
|  | 2033-01-01 | 8.2719 | 2033
|  | 2033-02-01 | 8.0371 | 2033
|  | 2033-03-01 | 7.1596 | 2033
|  | 2033-04-01 | 7.0421 | 2033
|  | 2033-05-01 | 6.9686 | 2033
|  | 2033-06-01 | 7.0086 | 2033
|  | 2033-07-01 | 7.1033 | 2033
|  | 2033-08-01 | 7.1675 | 2033
|  | 2033-09-01 | 7.2147 | 2033
|  | 2033-10-01 | 7.3539 | 2033
|  | 2033-11-01 | 8.032 | 2033
|  | 2033-12-01 | 8.4621 | 2033
|  | 2034-01-01 | 8.4372 | 2034
|  | 2034-02-01 | 8.1978 | 2034
|  | 2034-03-01 | 7.3027 | 2034
|  | 2034-04-01 | 7.1828 | 2034
|  | 2034-05-01 | 7.1078 | 2034
|  | 2034-06-01 | 7.1486 | 2034
|  | 2034-07-01 | 7.2453 | 2034
|  | 2034-08-01 | 7.3107 | 2034
|  | 2034-09-01 | 7.3589 | 2034
|  | 2034-10-01 | 7.5009 | 2034
|  | 2034-11-01 | 8.1926 | 2034
|  | 2034-12-01 | 8.6314 | 2034
|  | 2035-01-01 | 8.6058 | 2035
|  | 2035-02-01 | 8.3617 | 2035
|  | 2035-03-01 | 7.4487 | 2035
|  | 2035-04-01 | 7.3264 | 2035
|  | 2035-05-01 | 7.2499 | 2035
|  | 2035-06-01 | 7.2916 | 2035
|  | 2035-07-01 | 7.3901 | 2035
|  | 2035-08-01 | 7.4569 | 2035
|  | 2035-09-01 | 7.506 | 2035
|  | 2035-10-01 | 7.6508 | 2035
|  | 2035-11-01 | 8.3563 | 2035
|  | 2035-12-01 | 8.8038 | 2035
|  | 2036-01-01 | 8.7864 | 2036
|  | 2036-02-01 | 8.5372 | 2036
|  | 2036-03-01 | 7.605 | 2036
|  | 2036-04-01 | 7.4802 | 2036
|  | 2036-05-01 | 7.4021 | 2036
|  | 2036-06-01 | 7.4446 | 2036
|  | 2036-07-01 | 7.5452 | 2036
|  | 2036-08-01 | 7.6133 | 2036
|  | 2036-09-01 | 7.6635 | 2036
|  | 2036-10-01 | 7.8113 | 2036
|  | 2036-11-01 | 8.5317 | 2036
|  | 2036-12-01 | 8.9886 | 2036
|  | 2037-01-01 | 8.9709 | 2037
|  | 2037-02-01 | 8.7164 | 2037
|  | 2037-03-01 | 7.7646 | 2037
|  | 2037-04-01 | 7.6372 | 2037
|  | 2037-05-01 | 7.5575 | 2037
|  | 2037-06-01 | 7.6008 | 2037
|  | 2037-07-01 | 7.7035 | 2037
|  | 2037-08-01 | 7.7731 | 2037
|  | 2037-09-01 | 7.8243 | 2037
|  | 2037-10-01 | 7.9754 | 2037
|  | 2037-11-01 | 8.7108 | 2037
|  | 2037-12-01 | 9.1773 | 2037
|  | 2038-01-01 | 9.1592 | 2038
|  | 2038-02-01 | 8.8994 | 2038
|  | 2038-03-01 | 7.9275 | 2038
|  | 2038-04-01 | 7.7974 | 2038
|  | 2038-05-01 | 7.7161 | 2038
|  | 2038-06-01 | 7.7604 | 2038
|  | 2038-07-01 | 7.8652 | 2038
|  | 2038-08-01 | 7.9363 | 2038
|  | 2038-09-01 | 7.9885 | 2038
|  | 2038-10-01 | 8.1427 | 2038
|  | 2038-11-01 | 8.8937 | 2038
|  | 2038-12-01 | 9.37 | 2038
Note on G5: PacifiCorp: Date that deal is evaluated.