## Appendix B
Appendix B
Avoided Cost Prices $/MWh
Utah 2014.Q2 - 100.0 MW and 85.0% CF
Year | Avoided Cost at | Utah 2014.Q1 | Difference
| 85.0% CF (2) | April 2014
2015 | 31.16 | 30.39 | 0.77
2016 | 26.85 | 28.29 | -1.44
2017 | 26.79 | 27.31 | -0.52
2018 | 28.28 | 28.78 | -0.5
2019 | 29.4 | 29.47 | -0.07
2020 | 30.68 | 34.42 | -3.74
2021 | 32.37 | 38.6 | -6.23
2022 | 35.6 | 44.42 | -8.82
2023 | 35.98 | 47.87 | -11.89
2024 | 36.06 | 48.09 | -12.03
2025 | 37.3 | 50.35 | -13.05
2026 | 39.15 | 53.72 | -14.57
2027 | 40.9 | 56.9 | -16
2028 | 47.95 | 65.55 | -17.6
2029 | 50.93 | 68.06 | -17.13
2030 | 66.96 | 69.66 | -2.7
2031 | 68.75 | 71.28 | -2.53
2032 | 70.36 | 72.7 | -2.34
2033 | 71.8 | 74.32 | -2.52
2034 | 73.53 | 75.97 | -2.44
20-Year Levelized Prices (Nominal) @ 6.882% Discount Rate (1) (3) |  |  |  | Discount Rate - 2013 IRP Page 164
$/MWh | 38.7268 | 44.5567 | -5.8298 | 6.882%
Footnotes:
(1) Discount Rate - 2013 IRP Page 164
(2) Total Avoided Costs with Capacity included at an 85.0% capacity factor
(3) 20-Year NPC is 2015 - 2034
x Extrapolated

## Table 1
Appendix B
Study_Name:
Table 1 | [7 empty] | Utah 2014.Q2
Avoided Cost Prices | [7 empty] | Resource Capacity
Utah 2014.Q2 - 100.0 MW and 85.0% CF | [7 empty] | 100 | MW
[5 empty] | Adjust Capacity payment for Partial Displacement |  |  | 85% | CF
|  |  |  | Total Price @ | 100% |  | 332 | Avoided Cost Resource
| Capacity |  | Energy | 85%
Year | Price |  | Only Price | Capacity Factor
| $/kW-yr |  | $/MWh (2) | $/MWh |  |  | AnnMWh
2015 | 0 |  | 31.1588 | 31.16 |  |  | 744600
2016 | 0 |  | 26.8499 | 26.85 |  |  | 746640
2017 | 0 |  | 26.7931 | 26.79 |  |  | 744600
2018 | 0 |  | 28.2817 | 28.28 | Percent of QF |  | 744600
2019 | 0 |  | 29.404 | 29.4 | 0% | 423 CCCT (2027) | 744600
2020 | 0 |  | 30.6816 | 30.68 | 0% | 423 CCCT (2028) | 746640
2021 | 0 |  | 32.3741 | 32.37 | 0% | 411 CCCT (2028) | 744600
2022 | 0 |  | 35.6008 | 35.6 | 100% | 661 CCCT (2030) | 744600
2023 | 0 |  | 35.9817 | 35.98 |  |  | 744600
2024 | 0 |  | 36.0571 | 36.06 |  |  | 746640
2025 | 0 |  | 37.3016 | 37.3 |  |  | 744600
2026 | 0 |  | 39.1533 | 39.15 |  |  | 744600
2027 | 0 |  | 40.901 | 40.9 |  |  | 744600
2028 | 0 |  | 47.9495 | 47.95 |  |  | 746640
2029 | 0 |  | 50.9278 | 50.93 |  |  | 744600
2030 | 157.29 | (4) | 45.8364 | 66.96 |  |  | 744600
2031 | 160.26 |  | 47.2255 | 68.75 |  |  | 744600
2032 | 163.33 |  | 48.4867 | 70.36 |  |  | 746640
2033 | 166.59 |  | 49.4277 | 71.8 |  |  | 744600
2034 | 169.76 |  | 50.7348 | 73.53 |  |  | 744600
2035 | 0
Discount Rate - 2013 IRP Page 164
20-Year Levelized Prices (Nominal) @ 6.882% Discount Rate (1) (3) |  |  |  |  | 6.882%
$/kW | 23.1114
$/MWh |  |  | 35.6258 | 38.7268
Footnotes:
(1) Discount Rate - 2013 IRP Page 164
(2) 'Energy Only' is the GRID calculated costs and includes some capacity costs.
(3) 20 Year NPC is 2015 - 2034
(4) The capacity payment is devived from:
2030 - 661 MW - CCCT Dry "F" 2x1 - East Side Resource (5,050') ( 100.0%)

## Table 2
Appendix B
Table 2
Avoided Energy Costs - Scheduled Hours ($/MWh)
Utah 2014.Q2 - 100.0 MW and 85.0% CF
0
Year |  | Winter Season |  |  |  |  | Summer Season |  |  |  | Winter Season |  |  | IRP Resource
| Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Energy Cost (1)
Energy Only
2015 | 31.1588 | 28.969 | 34.0945 | 32.7284 | 25.5383 | 25.3831 | 26.4017 | 39.5329 | 39.27 | 38.1373 | 27.1571 | 25.6858 | 31.0058 | 0
2016 | 26.8499 | 26.7074 | 27.2033 | 29.7394 | 22.7616 | 25.2456 | 24.4335 | 33.4986 | 31.0585 | 23.7489 | 23.1263 | 24.8209 | 29.5028 | 0
2017 | 26.7931 | 28.7665 | 28.4906 | 27.8658 | 22.6828 | 21.8966 | 22.2492 | 30.495 | 30.6722 | 27.1615 | 24.1221 | 25.4421 | 31.5262 | 0
2018 | 28.2817 | 30.2045 | 26.2836 | 29.3436 | 25.5363 | 23.8047 | 24.7928 | 32.6751 | 33.0254 | 28.8015 | 25.8526 | 28.8537 | 29.8479 | 0
2019 | 29.404 | 31.4858 | 29.7917 | 30.3121 | 25.4438 | 24.7035 | 24.039 | 35.1485 | 35.8263 | 29.3577 | 26.374 | 27.5875 | 32.4544 | 0
2020 | 30.6816 | 30.5195 | 29.6607 | 28.7758 | 28.6291 | 25.0681 | 26.3081 | 37.0053 | 37.119 | 31.0425 | 28.5032 | 32.0949 | 33.2375 | 0
2021 | 32.3741 | 24.3667 | 31.2222 | 31.0753 | 34.9997 | 29.4609 | 27.4422 | 38.3778 | 36.835 | 31.6621 | 31.1331 | 34.9552 | 36.8334 | 0
2022 | 35.6008 | 36.6402 | 33.1884 | 35.8176 | 32.7151 | 32.6253 | 29.2407 | 41.3516 | 39.7561 | 35.9749 | 36.8753 | 34.651 | 37.8228 | 0
2023 | 35.9817 | 36.503 | 34.6831 | 36.2421 | 34.5454 | 30.4868 | 31.0326 | 41.4073 | 40.9018 | 33.7061 | 34.7212 | 37.1732 | 40.0111 | 0
2024 | 36.0571 | 39.4488 | 35.3264 | 36.6368 | 37.8042 | 31.6687 | 30.5092 | 42.3637 | 41.7796 | 33.2519 | 34.1769 | 34.1724 | 35.2258 | 0
2025 | 37.3016 | 34.3785 | 33.4814 | 35.9382 | 45.0803 | 35.0562 | 32.4817 | 45.7424 | 45.1827 | 33.6405 | 35.5528 | 35.4985 | 35.1355 | 0
2026 | 39.1533 | 37.2228 | 33.8371 | 36.6856 | 38.5032 | 36.1531 | 33.4058 | 48.6205 | 49.5018 | 39.5429 | 37.5639 | 39.8667 | 38.2505 | 0
2027 | 40.901 | 41.7748 | 39.0759 | 38.5706 | 41.2235 | 37.7241 | 35.507 | 50.2635 | 48.3574 | 41.7129 | 37.9047 | 37.7658 | 40.516 | 0
2028 | 47.9495 | 46.7099 | 42.9013 | 43.0874 | 41.7445 | 41.5684 | 42.7755 | 61.7472 | 60.4165 | 51.8674 | 46.7202 | 45.5503 | 49.6618 | 0
2029 | 50.9278 | 49.5015 | 46.831 | 44.3517 | 44.0269 | 44.2264 | 47.1986 | 65.7959 | 63.8428 | 53.1819 | 50.0405 | 48.4088 | 52.9797 | 0
2030 | 45.8364 | 50.3011 | 48.2641 | 43.339 | 42.6168 | 42.9455 | 42.764 | 44.5338 | 44.9953 | 44.2745 | 45.1587 | 49.2733 | 51.663 | 48.84
2031 | 47.2255 | 52.1708 | 49.9225 | 44.5372 | 45.7854 | 44.1297 | 43.8824 | 45.4269 | 46.0205 | 45.1064 | 46.279 | 50.3396 | 53.2448 | 49.87
2032 | 48.4867 | 53.3888 | 51.1455 | 45.9407 | 48.3511 | 45.1543 | 44.8389 | 46.5428 | 46.9192 | 46.5203 | 47.4231 | 51.4722 | 54.2256 | 50.83
2033 | 49.4277 | 54.4738 | 52.2478 | 46.8318 | 49.7184 | 46.1271 | 45.6173 | 47.357 | 47.9169 | 47.317 | 48.3032 | 52.2105 | 55.1923 | 51.86
2034 | 50.7348 | 55.8804 | 53.804 | 48.1644 | 50.994 | 47.4093 | 46.7847 | 48.5626 | 48.9506 | 48.7634 | 49.3544 | 53.5788 | 56.7774 | 52.89
(1) | See Table 3, Column (h).
Consistent with Docket No. 03-035-14, QFs requesting a tolling option will have variable energy priced at the IRP Resource Energy Cost (heat rate
times the cost of fuel). Additionally, the energy price for unscheduled or non-firm deliveries is capped at the IRP Resource Energy Cost.
Cap Energy Prices (Yes / No)
No
Energy Price escalated at
1.9%

## Table 3 423 (hidden)
Appendix B
Table 3
CCCT Resource Costs - 2013 Integrated Resource Plan
423 MW - CCCT Dry "J", Adv 1x1 - East Side Resource (5,050')
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
423 MW - CCCT Dry "J", Adv 1x1 - East Side Resource (5,050')
2012 | 1015 | 80.04 | 24.78 | 2.64 | 36.78 | 116.82
2013 |  | 81.16 | 25.13 | 2.68 | 37.31 | 118.47
2014 |  | 82.54 | 25.56 | 2.73 | 37.97 | 120.51
2015 |  | 84.03 | 26.02 | 2.78 | 38.66 | 122.69
2016 |  | 85.29 | 26.41 | 2.82 | 39.23 | 124.52
2017 |  | 86.83 | 26.89 | 2.87 | 39.94 | 126.77
2018 |  | 88.48 | 27.4 | 2.92 | 40.68 | 129.16
2019 |  | 90.07 | 27.89 | 2.97 | 41.39 | 131.46
2020 |  | 91.78 | 28.42 | 3.03 | 42.2 | 133.98
2021 |  | 93.62 | 28.99 | 3.09 | 43.04 | 136.66
2022 |  | 95.49 | 29.57 | 3.15 | 43.89 | 139.38
2023 |  | 97.4 | 30.16 | 3.21 | 44.75 | 142.15
2024 |  | 99.45 | 30.79 | 3.28 | 45.7 | 145.15
2025 |  | 101.44 | 31.41 | 3.35 | 46.64 | 148.08
2026 |  | 103.47 | 32.04 | 3.42 | 47.59 | 151.06
2027 |  | 105.54 | 32.68 | 3.49 | 48.55 | 154.09 | 6.3 | 41.33 | 75.22
2028 |  | 107.55 | 33.3 | 3.56 | 49.49 | 157.04 | 6.54 | 42.9 | 77.44
2029 |  | 109.59 | 33.93 | 3.63 | 50.43 | 160.02 | 6.83 | 44.8 | 80
2030 |  | 111.67 | 34.57 | 3.7 | 51.39 | 163.06 | 7.12 | 46.71 | 82.58
2031 |  | 113.79 | 35.23 | 3.77 | 52.37 | 166.16 | 7.27 | 47.69 | 84.24
2032 |  | 115.95 | 35.9 | 3.84 | 53.36 | 169.31 | 7.41 | 48.61 | 85.85
2033 |  | 118.27 | 36.62 | 3.92 | 54.44 | 172.71 | 7.56 | 49.59 | 87.58
2034 |  | 120.52 | 37.32 | 3.99 | 55.46 | 175.98 | 7.71 | 50.58 | 89.29
2035 |  | 122.93 | 38.07 | 4.07 | 56.57 | 179.5 | 7.86 | 51.56 | 91.04
2036 |  | 125.39 | 38.83 | 4.15 | 57.7 | 183.09 | 8.03 | 52.68 | 92.95
2037 |  | 127.9 | 39.61 | 4.23 | 58.84 | 186.74 | 8.2 | 53.79 | 94.86
2038 |  | 130.46 | 40.4 | 4.31 | 60 | 190.46 | 8.37 | 54.91 | 96.8
2039 |  | 133.07 | 41.21 | 4.4 | 61.21 | 194.28 | #N/A | #N/A | #N/A
2040 |  | 135.73 | 42.03 | 4.49 | 62.44 | 198.17 | #N/A | #N/A | #N/A
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| (b) | = (a) x 0.07886
| (e) | = (d) x (8.76 x 51.9%) + (c)
| (f) | = (b) + (e)
| (g) | Table 4 - Burnertip Natural Gas Price Forecast
| (h) | = 6,560 MMBtu/MWH x $/MMBtu
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
423 MW - CCCT Dry "J", Adv 1x1 - East Side Resource (5,050')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT Dry "J" - Turbine |  |  | 380 | 89.83% | 1075 | 25.39
| CCCT Dry "J" - Duct Firing |  |  | 43 | 10.17% | 486 | 19.41
| Capacity Weighted |  |  | 423 | 100% | 1015 | 24.78
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT Dry "J" - Turbine |  |  | 380 | 56% | 212.8 | 96.87% | 2.72 | 6495
| CCCT Dry "J" - Duct Firing |  |  | 43 | 16% | 6.88 | 3.132% | 0.08 | 8611
| Energy Weighted |  |  | 423 | 51.9% | 219.68 | 100% | 2.64 | 6560
Rounded
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| 380 | 43 | MW Plant Capacity
| 1075 | 486 | Plant Capacity Cost
| 10.75 | 0 | Fixed O&M & Capitalized O&M
| 14.64 | 19.41 | Fixed Pipeline
| 25.39 | 19.41 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 2.72 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6495 | 8611 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 51.9% | Energy Weighted Capacity Factor
Company Official Inflation Forecast Dated June 30, 2014
| 2012 | 1.9% |  | 2021 | 2% |  | 2030 | 1.9%
| 2013 | 1.4% |  | 2022 | 2% |  | 2031 | 1.9%
| 2014 | 1.7% |  | 2023 | 2% |  | 2032 | 1.9%
| 2015 | 1.8% |  | 2024 | 2.1% |  | 2033 | 2%
| 2016 | 1.5% |  | 2025 | 2% |  | 2034 | 1.9%
| 2017 | 1.8% |  | 2026 | 2% |  | 2035 | 2%
| 2018 | 1.9% |  | 2027 | 2% |  | 2036 | 2%
| 2019 | 1.8% |  | 2028 | 1.9% |  | 2037 | 2%
| 2020 | 1.9% |  | 2029 | 1.9% |  | 2038 | 2%
[7 empty] | 2039 | 2%
[7 empty] | 2040 | 2%

## Table 3 411 (hidden)
Appendix B
Table 3
CCCT Resource Costs - 2013 Integrated Resource Plan
441 MW - CCCT Dry "J", Adv 1x1 - East Side Resource (6,500')
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
441 MW - CCCT Dry "J", Adv 1x1 - East Side Resource (6,500')
2012 | 1045 | 82.41 | 23.16 | 2.71 | 35.46 | 117.87
2013 |  | 83.56 | 23.48 | 2.75 | 35.96 | 119.52
2014 |  | 84.98 | 23.88 | 2.8 | 36.59 | 121.57
2015 |  | 86.51 | 24.31 | 2.85 | 37.24 | 123.75
2016 |  | 87.81 | 24.67 | 2.89 | 37.78 | 125.59
2017 |  | 89.39 | 25.11 | 2.94 | 38.45 | 127.84
2018 |  | 91.09 | 25.59 | 3 | 39.2 | 130.29
2019 |  | 92.73 | 26.05 | 3.05 | 39.89 | 132.62
2020 |  | 94.49 | 26.54 | 3.11 | 40.65 | 135.14
2021 |  | 96.38 | 27.07 | 3.17 | 41.45 | 137.83
2022 |  | 98.31 | 27.61 | 3.23 | 42.27 | 140.58
2023 |  | 100.28 | 28.16 | 3.29 | 43.09 | 143.37
2024 |  | 102.39 | 28.75 | 3.36 | 44 | 146.39
2025 |  | 104.44 | 29.33 | 3.43 | 44.89 | 149.33
2026 |  | 106.53 | 29.92 | 3.5 | 45.8 | 152.33
2027 |  | 108.66 | 30.52 | 3.57 | 46.72 | 155.38
2028 |  | 110.72 | 31.1 | 3.64 | 47.62 | 158.34 | 6.54 | 42.9 | 77.79
2029 |  | 112.82 | 31.69 | 3.71 | 48.52 | 161.34 | 6.83 | 44.8 | 80.36
2030 |  | 114.96 | 32.29 | 3.78 | 49.44 | 164.4 | 7.12 | 46.71 | 82.94
2031 |  | 117.14 | 32.9 | 3.85 | 50.37 | 167.51 | 7.27 | 47.69 | 84.61
2032 |  | 119.37 | 33.53 | 3.92 | 51.32 | 170.69 | 7.41 | 48.61 | 86.23
2033 |  | 121.76 | 34.2 | 4 | 52.35 | 174.11 | 7.56 | 49.59 | 87.96
2034 |  | 124.07 | 34.85 | 4.08 | 53.36 | 177.43 | 7.71 | 50.58 | 89.68
2035 |  | 126.55 | 35.55 | 4.16 | 54.43 | 180.98 | 7.86 | 51.56 | 91.44
2036 |  | 129.08 | 36.26 | 4.24 | 55.5 | 184.58 | 8.03 | 52.68 | 93.36
2037 |  | 131.66 | 36.99 | 4.32 | 56.59 | 188.25 | 8.2 | 53.79 | 95.28
2038 |  | 134.29 | 37.73 | 4.41 | 57.74 | 192.03 | 8.37 | 54.91 | 97.23
2039 |  | 136.98 | 38.48 | 4.5 | 58.9 | 195.88 | #N/A | #N/A | #N/A
2040 |  | 139.72 | 39.25 | 4.59 | 60.08 | 199.8 | #N/A | #N/A | #N/A
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| (b) | = (a) x 0.07886
| (e) | = (d) x (8.76 x 51.8%) + (c)
| (f) | = (b) + (e)
| (g) | Table 4 - Burnertip Natural Gas Price Forecast
| (h) | = 6,560 MMBtu/MWH x $/MMBtu
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
441 MW - CCCT Dry "J", Adv 1x1 - East Side Resource (6,500')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT Dry "J" - Turbine |  |  | 368 | 89.54% | 1110 | 23.6
| CCCT Dry "J" - Duct Firing |  |  | 43 | 10.46% | 486 | 19.41
| Capacity Weighted |  |  | 411 | 100% | 1045 | 23.16
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT Dry "J" - Turbine |  |  | 368 | 56% | 206.08 | 96.77% | 2.8 | 6495
| CCCT Dry "J" - Duct Firing |  |  | 43 | 16% | 6.88 | 3.231% | 0.08 | 8611
| Energy Weighted |  |  | 411 | 51.8% | 212.96 | 100% | 2.71 | 6560
Rounded
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| 368 | 43 | MW Plant Capacity
| 1110 | 486 | Plant Capacity Cost
| 11.09 | 0 | Fixed O&M & Capitalized O&M
| 12.51 | 19.41 | Fixed Pipeline
| 23.6 | 19.41 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 2.8 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6495 | 8611 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 51.8% | Energy Weighted Capacity Factor
Company Official Inflation Forecast Dated June 30, 2014
| 2012 | 1.9% |  | 2021 | 2% |  | 2030 | 1.9%
| 2013 | 1.4% |  | 2022 | 2% |  | 2031 | 1.9%
| 2014 | 1.7% |  | 2023 | 2% |  | 2032 | 1.9%
| 2015 | 1.8% |  | 2024 | 2.1% |  | 2033 | 2%
| 2016 | 1.5% |  | 2025 | 2% |  | 2034 | 1.9%
| 2017 | 1.8% |  | 2026 | 2% |  | 2035 | 2%
| 2018 | 1.9% |  | 2027 | 2% |  | 2036 | 2%
| 2019 | 1.8% |  | 2028 | 1.9% |  | 2037 | 2%
| 2020 | 1.9% |  | 2029 | 1.9% |  | 2038 | 2%
[7 empty] | 2039 | 2%
[7 empty] | 2040 | 2%

## Table 3 661
Appendix B
Table 3
CCCT Resource Costs - 2013 Integrated Resource Plan
661 MW - CCCT Dry "F" 2x1 - East Side Resource (5,050')
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
661 MW - CCCT Dry "F" 2x1 - East Side Resource (5,050')
2012 | 1026 | 80.91 | 21.73 | 2.43 | 31.86 | 112.77
2013 |  | 82.04 | 22.03 | 2.46 | 32.29 | 114.33
2014 |  | 83.43 | 22.4 | 2.5 | 32.82 | 116.25
2015 |  | 84.93 | 22.8 | 2.55 | 33.43 | 118.36
2016 |  | 86.2 | 23.14 | 2.59 | 33.94 | 120.14
2017 |  | 87.75 | 23.56 | 2.64 | 34.57 | 122.32
2018 |  | 89.42 | 24.01 | 2.69 | 35.23 | 124.65
2019 |  | 91.03 | 24.44 | 2.74 | 35.87 | 126.9
2020 |  | 92.76 | 24.9 | 2.79 | 36.53 | 129.29
2021 |  | 94.62 | 25.4 | 2.85 | 37.28 | 131.9
2022 |  | 96.51 | 25.91 | 2.91 | 38.04 | 134.55
2023 |  | 98.44 | 26.43 | 2.97 | 38.81 | 137.25
2024 |  | 100.51 | 26.99 | 3.03 | 39.62 | 140.13
2025 |  | 102.52 | 27.53 | 3.09 | 40.41 | 142.93
2026 |  | 104.57 | 28.08 | 3.15 | 41.21 | 145.78
2027 |  | 106.66 | 28.64 | 3.21 | 42.02 | 148.68
2028 |  | 108.69 | 29.18 | 3.27 | 42.82 | 151.51
2029 |  | 110.76 | 29.73 | 3.33 | 43.62 | 154.38
2030 |  | 112.86 | 30.29 | 3.39 | 44.43 | 157.29 | 7.12 | 48.84 | 86.56
2031 |  | 115 | 30.87 | 3.45 | 45.26 | 160.26 | 7.27 | 49.87 | 88.3
2032 |  | 117.19 | 31.46 | 3.52 | 46.14 | 163.33 | 7.41 | 50.83 | 90
2033 |  | 119.53 | 32.09 | 3.59 | 47.06 | 166.59 | 7.56 | 51.86 | 91.81
2034 |  | 121.8 | 32.7 | 3.66 | 47.96 | 169.76 | 7.71 | 52.89 | 93.6
2035 |  | 124.24 | 33.35 | 3.73 | 48.9 | 173.14 | 7.86 | 53.92 | 95.44
2036 |  | 126.72 | 34.02 | 3.8 | 49.87 | 176.59 | 8.03 | 55.09 | 97.44
2037 |  | 129.25 | 34.7 | 3.88 | 50.88 | 180.13 | 8.2 | 56.25 | 99.45
2038 |  | 131.84 | 35.39 | 3.96 | 51.9 | 183.74 | 8.37 | 57.42 | 101.48
2039 |  | 134.48 | 36.1 | 4.04 | 52.95 | 187.43 | #N/A | #N/A | #N/A
2040 |  | 137.17 | 36.82 | 4.12 | 54 | 191.17 | #N/A | #N/A | #N/A
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| (b) | = (a) x 0.07886
| (e) | = (d) x (8.76 x 47.6%) + (c)
| (f) | = (b) + (e)
| (g) | Table 4 - Burnertip Natural Gas Price Forecast
| (h) | = 6,860 MMBtu/MWH x $/MMBtu
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
661 MW - CCCT Dry "F" 2x1 - East Side Resource (5,050')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT Dry "J" - Turbine |  |  | 523 | 79.12% | 1159 | 22.42
| CCCT Dry "J" - Duct Firing |  |  | 138 | 20.88% | 522 | 19.12
| Capacity Weighted |  |  | 661 | 100% | 1026 | 21.73
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT Dry "J" - Turbine |  |  | 523 | 56% | 292.88 | 92.99% | 2.61 | 6738
| CCCT Dry "J" - Duct Firing |  |  | 138 | 16% | 22.08 | 7.01% | 0.08 | 8482
| Energy Weighted |  |  | 661 | 47.6% | 314.96 | 100% | 2.43 | 6860
Rounded
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2 - Page 112
| 523 | 138 | MW Plant Capacity
| 1159 | 522 | Plant Capacity Cost
| 7.23 | 0 | Fixed O&M & Capitalized O&M
| 15.19 | 19.12 | Fixed Pipeline
| 22.42 | 19.12 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 2.61 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6738 | 8482 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 47.6% | Energy Weighted Capacity Factor
Company Official Inflation Forecast Dated June 30, 2014
| 2012 | 1.9% |  | 2021 | 2% |  | 2030 | 1.9%
| 2013 | 1.4% |  | 2022 | 2% |  | 2031 | 1.9%
| 2014 | 1.7% |  | 2023 | 2% |  | 2032 | 1.9%
| 2015 | 1.8% |  | 2024 | 2.1% |  | 2033 | 2%
| 2016 | 1.5% |  | 2025 | 2% |  | 2034 | 1.9%
| 2017 | 1.8% |  | 2026 | 2% |  | 2035 | 2%
| 2018 | 1.9% |  | 2027 | 2% |  | 2036 | 2%
| 2019 | 1.8% |  | 2028 | 1.9% |  | 2037 | 2%
| 2020 | 1.9% |  | 2029 | 1.9% |  | 2038 | 2%
[7 empty] | 2039 | 2%
[7 empty] | 2040 | 2%

## Table 4
Appendix B
Table 4
Burnertip Natural Gas Price Forecast |  | Quote Date
Utah 2014.Q2 - 100.0 MW and 85.0% CF |  | 2014-06-30
PacifiCorp
Delivered
Year | East Side Natural Gas
Fuel Cost
2015 | 4.17
2016 | 4.1 |  | East
2017 | 4.26 | Peak Type: | Delivered | Year | East Side
2018 | 4.55 | 2015-01-01 | 4.7226 | 2015 | 43
2019 | 4.77 | 2015-02-01 | 4.6931 | 2015
2020 | 4.99 | 2015-03-01 | 4.5975 | 2015
2021 | 5.17 | 2015-04-01 | 3.9229 | 2015
2022 | 5.35 | 2015-05-01 | 3.8127 | 2015
2023 | 5.54 | 2015-06-01 | 4.0125 | 2015
2024 | 5.73 | 2015-07-01 | 3.9595 | 2015
2025 | 5.87 | 2015-08-01 | 3.9718 | 2015
2026 | 6.06 | 2015-09-01 | 3.8915 | 2015
2027 | 6.3 | 2015-10-01 | 3.9564 | 2015
2028 | 6.54 | 2015-11-01 | 4.1864 | 2015
2029 | 6.83 | 2015-12-01 | 4.337 | 2015
2030 | 7.12 | 2016-01-01 | 4.4591 | 2016
2031 | 7.27 | 2016-02-01 | 4.4398 | 2016
2032 | 7.41 | 2016-03-01 | 4.3797 | 2016
2033 | 7.56 | 2016-04-01 | 3.8354 | 2016
2034 | 7.71 | 2016-05-01 | 3.8466 | 2016
2035 | 7.86 | 2016-06-01 | 3.8761 | 2016
2036 | 8.03 | 2016-07-01 | 3.9025 | 2016
2037 | 8.2 | 2016-08-01 | 3.9107 | 2016
2038 | 8.37 | 2016-09-01 | 3.9015 | 2016
|  | 2016-10-01 | 3.9239 | 2016
Official Forward Price Curve Forecast dated Jun 30, 2014 |  | 2016-11-01 | 4.2775 | 2016
|  | 2016-12-01 | 4.4494 | 2016
|  | 2017-01-01 | 4.598 | 2017
|  | 2017-02-01 | 4.5786 | 2017
|  | 2017-03-01 | 4.5186 | 2017
|  | 2017-04-01 | 3.9788 | 2017
|  | 2017-05-01 | 3.9921 | 2017
|  | 2017-06-01 | 4.0226 | 2017
|  | 2017-07-01 | 4.0582 | 2017
|  | 2017-08-01 | 4.0724 | 2017
|  | 2017-09-01 | 4.0684 | 2017
|  | 2017-10-01 | 4.0948 | 2017
|  | 2017-11-01 | 4.4693 | 2017
|  | 2017-12-01 | 4.6514 | 2017
|  | 2018-01-01 | 4.805 | 2018
|  | 2018-02-01 | 4.7847 | 2018
|  | 2018-03-01 | 4.7236 | 2018
|  | 2018-04-01 | 4.3217 | 2018
|  | 2018-05-01 | 4.336 | 2018
|  | 2018-06-01 | 4.3594 | 2018
|  | 2018-07-01 | 4.3899 | 2018
|  | 2018-08-01 | 4.4102 | 2018
|  | 2018-09-01 | 4.4164 | 2018
|  | 2018-10-01 | 4.4489 | 2018
|  | 2018-11-01 | 4.6982 | 2018
|  | 2018-12-01 | 4.8814 | 2018
|  | 2019-01-01 | 5.0085 | 2019
|  | 2019-02-01 | 4.9872 | 2019
|  | 2019-03-01 | 4.9251 | 2019
|  | 2019-04-01 | 4.5537 | 2019
|  | 2019-05-01 | 4.568 | 2019
|  | 2019-06-01 | 4.5903 | 2019
|  | 2019-07-01 | 4.6188 | 2019
|  | 2019-08-01 | 4.6412 | 2019
|  | 2019-09-01 | 4.6473 | 2019
|  | 2019-10-01 | 4.6809 | 2019
|  | 2019-11-01 | 4.9205 | 2019
|  | 2019-12-01 | 5.1149 | 2019
|  | 2020-01-01 | 5.2268 | 2020
|  | 2020-02-01 | 5.2044 | 2020
|  | 2020-03-01 | 5.1413 | 2020
|  | 2020-04-01 | 4.7538 | 2020
|  | 2020-05-01 | 4.7802 | 2020
|  | 2020-06-01 | 4.8107 | 2020
|  | 2020-07-01 | 4.8535 | 2020
|  | 2020-08-01 | 4.8516 | 2020
|  | 2020-09-01 | 4.8699 | 2020
|  | 2020-10-01 | 4.9167 | 2020
|  | 2020-11-01 | 5.1414 | 2020
|  | 2020-12-01 | 5.36 | 2020
|  | 2021-01-01 | 5.3895 | 2021
|  | 2021-02-01 | 5.3396 | 2021
|  | 2021-03-01 | 5.1567 | 2021
|  | 2021-04-01 | 4.9437 | 2021
|  | 2021-05-01 | 4.9527 | 2021
|  | 2021-06-01 | 4.9833 | 2021
|  | 2021-07-01 | 5.0191 | 2021
|  | 2021-08-01 | 5.0621 | 2021
|  | 2021-09-01 | 5.0924 | 2021
|  | 2021-10-01 | 5.1523 | 2021
|  | 2021-11-01 | 5.3624 | 2021
|  | 2021-12-01 | 5.6051 | 2021
|  | 2022-01-01 | 5.5522 | 2022
|  | 2022-02-01 | 5.4748 | 2022
|  | 2022-03-01 | 5.1721 | 2022
|  | 2022-04-01 | 5.1337 | 2022
|  | 2022-05-01 | 5.1252 | 2022
|  | 2022-06-01 | 5.156 | 2022
|  | 2022-07-01 | 5.1849 | 2022
|  | 2022-08-01 | 5.2227 | 2022
|  | 2022-09-01 | 5.2466 | 2022
|  | 2022-10-01 | 5.3038 | 2022
|  | 2022-11-01 | 5.6866 | 2022
|  | 2022-12-01 | 5.9425 | 2022
|  | 2023-01-01 | 5.6633 | 2023
|  | 2023-02-01 | 5.6636 | 2023
|  | 2023-03-01 | 5.4733 | 2023
|  | 2023-04-01 | 5.3739 | 2023
|  | 2023-05-01 | 5.2891 | 2023
|  | 2023-06-01 | 5.319 | 2023
|  | 2023-07-01 | 5.3502 | 2023
|  | 2023-08-01 | 5.38 | 2023
|  | 2023-09-01 | 5.4141 | 2023
|  | 2023-10-01 | 5.4921 | 2023
|  | 2023-11-01 | 5.9534 | 2023
|  | 2023-12-01 | 6.163 | 2023
|  | 2024-01-01 | 6.0426 | 2024
|  | 2024-02-01 | 6.0026 | 2024
|  | 2024-03-01 | 5.6544 | 2024
|  | 2024-04-01 | 5.5838 | 2024
|  | 2024-05-01 | 5.4622 | 2024
|  | 2024-06-01 | 5.4693 | 2024
|  | 2024-07-01 | 5.5282 | 2024
|  | 2024-08-01 | 5.5572 | 2024
|  | 2024-09-01 | 5.5928 | 2024
|  | 2024-10-01 | 5.7219 | 2024
|  | 2024-11-01 | 5.9635 | 2024
|  | 2024-12-01 | 6.2035 | 2024
|  | 2025-01-01 | 6.3071 | 2025
|  | 2025-02-01 | 6.205 | 2025
|  | 2025-03-01 | 5.7031 | 2025
|  | 2025-04-01 | 5.6161 | 2025
|  | 2025-05-01 | 5.6235 | 2025
|  | 2025-06-01 | 5.634 | 2025
|  | 2025-07-01 | 5.7321 | 2025
|  | 2025-08-01 | 5.7624 | 2025
|  | 2025-09-01 | 5.7727 | 2025
|  | 2025-10-01 | 5.8182 | 2025
|  | 2025-11-01 | 6.0402 | 2025
|  | 2025-12-01 | 6.2632 | 2025
|  | 2026-01-01 | 6.4159 | 2026
|  | 2026-02-01 | 6.3336 | 2026
|  | 2026-03-01 | 5.9358 | 2026
|  | 2026-04-01 | 5.8603 | 2026
|  | 2026-05-01 | 5.7915 | 2026
|  | 2026-06-01 | 5.8239 | 2026
|  | 2026-07-01 | 5.897 | 2026
|  | 2026-08-01 | 5.9311 | 2026
|  | 2026-09-01 | 5.9434 | 2026
|  | 2026-10-01 | 6.0749 | 2026
|  | 2026-11-01 | 6.2412 | 2026
|  | 2026-12-01 | 6.5006 | 2026
|  | 2027-01-01 | 6.7009 | 2027
|  | 2027-02-01 | 6.5305 | 2027
|  | 2027-03-01 | 6.0807 | 2027
|  | 2027-04-01 | 6.0069 | 2027
|  | 2027-05-01 | 5.9991 | 2027
|  | 2027-06-01 | 6.035 | 2027
|  | 2027-07-01 | 6.0972 | 2027
|  | 2027-08-01 | 6.1278 | 2027
|  | 2027-09-01 | 6.1668 | 2027
|  | 2027-10-01 | 6.2554 | 2027
|  | 2027-11-01 | 6.6523 | 2027
|  | 2027-12-01 | 6.9058 | 2027
|  | 2028-01-01 | 6.9302 | 2028
|  | 2028-02-01 | 6.8161 | 2028
|  | 2028-03-01 | 6.269 | 2028
|  | 2028-04-01 | 6.178 | 2028
|  | 2028-05-01 | 6.1788 | 2028
|  | 2028-06-01 | 6.1861 | 2028
|  | 2028-07-01 | 6.2455 | 2028
|  | 2028-08-01 | 6.2783 | 2028
|  | 2028-09-01 | 6.3178 | 2028
|  | 2028-10-01 | 6.4434 | 2028
|  | 2028-11-01 | 7.1258 | 2028
|  | 2028-12-01 | 7.4788 | 2028
|  | 2029-01-01 | 7.276 | 2029
|  | 2029-02-01 | 7.1083 | 2029
|  | 2029-03-01 | 6.5924 | 2029
|  | 2029-04-01 | 6.514 | 2029
|  | 2029-05-01 | 6.5156 | 2029
|  | 2029-06-01 | 6.5074 | 2029
|  | 2029-07-01 | 6.6045 | 2029
|  | 2029-08-01 | 6.6659 | 2029
|  | 2029-09-01 | 6.7029 | 2029
|  | 2029-10-01 | 6.7567 | 2029
|  | 2029-11-01 | 7.1626 | 2029
|  | 2029-12-01 | 7.5072 | 2029
|  | 2030-01-01 | 7.8723 | 2030
|  | 2030-02-01 | 7.649 | 2030
|  | 2030-03-01 | 6.8138 | 2030
|  | 2030-04-01 | 6.702 | 2030
|  | 2030-05-01 | 6.6321 | 2030
|  | 2030-06-01 | 6.6701 | 2030
|  | 2030-07-01 | 6.7602 | 2030
|  | 2030-08-01 | 6.8213 | 2030
|  | 2030-09-01 | 6.8662 | 2030
|  | 2030-10-01 | 6.9987 | 2030
|  | 2030-11-01 | 7.6441 | 2030
|  | 2030-12-01 | 8.0534 | 2030
|  | 2031-01-01 | 8.0296 | 2031
|  | 2031-02-01 | 7.8019 | 2031
|  | 2031-03-01 | 6.95 | 2031
|  | 2031-04-01 | 6.8359 | 2031
|  | 2031-05-01 | 6.7645 | 2031
|  | 2031-06-01 | 6.8034 | 2031
|  | 2031-07-01 | 6.8953 | 2031
|  | 2031-08-01 | 6.9576 | 2031
|  | 2031-09-01 | 7.0035 | 2031
|  | 2031-10-01 | 7.1386 | 2031
|  | 2031-11-01 | 7.7969 | 2031
|  | 2031-12-01 | 8.2144 | 2031
|  | 2032-01-01 | 8.1902 | 2032
|  | 2032-02-01 | 7.9578 | 2032
|  | 2032-03-01 | 7.0889 | 2032
|  | 2032-04-01 | 6.9725 | 2032
|  | 2032-05-01 | 6.8998 | 2032
|  | 2032-06-01 | 6.9395 | 2032
|  | 2032-07-01 | 7.0332 | 2032
|  | 2032-08-01 | 7.0967 | 2032
|  | 2032-09-01 | 7.1434 | 2032
|  | 2032-10-01 | 7.2812 | 2032
|  | 2032-11-01 | 7.9527 | 2032
|  | 2032-12-01 | 8.3786 | 2032
|  | 2033-01-01 | 8.3539 | 2033
|  | 2033-02-01 | 8.1169 | 2033
|  | 2033-03-01 | 7.2306 | 2033
|  | 2033-04-01 | 7.1119 | 2033
|  | 2033-05-01 | 7.0376 | 2033
|  | 2033-06-01 | 7.0781 | 2033
|  | 2033-07-01 | 7.1737 | 2033
|  | 2033-08-01 | 7.2385 | 2033
|  | 2033-09-01 | 7.2862 | 2033
|  | 2033-10-01 | 7.4268 | 2033
|  | 2033-11-01 | 8.1117 | 2033
|  | 2033-12-01 | 8.5461 | 2033
|  | 2034-01-01 | 8.5209 | 2034
|  | 2034-02-01 | 8.2791 | 2034
|  | 2034-03-01 | 7.3751 | 2034
|  | 2034-04-01 | 7.2541 | 2034
|  | 2034-05-01 | 7.1784 | 2034
|  | 2034-06-01 | 7.2196 | 2034
|  | 2034-07-01 | 7.3171 | 2034
|  | 2034-08-01 | 7.3832 | 2034
|  | 2034-09-01 | 7.4318 | 2034
|  | 2034-10-01 | 7.5753 | 2034
|  | 2034-11-01 | 8.2738 | 2034
|  | 2034-12-01 | 8.7169 | 2034
|  | 2035-01-01 | 8.6912 | 2035
|  | 2035-02-01 | 8.4446 | 2035
|  | 2035-03-01 | 7.5226 | 2035
|  | 2035-04-01 | 7.3991 | 2035
|  | 2035-05-01 | 7.3218 | 2035
|  | 2035-06-01 | 7.3639 | 2035
|  | 2035-07-01 | 7.4634 | 2035
|  | 2035-08-01 | 7.5308 | 2035
|  | 2035-09-01 | 7.5804 | 2035
|  | 2035-10-01 | 7.7267 | 2035
|  | 2035-11-01 | 8.4391 | 2035
|  | 2035-12-01 | 8.8911 | 2035
|  | 2036-01-01 | 8.8736 | 2036
|  | 2036-02-01 | 8.6219 | 2036
|  | 2036-03-01 | 7.6804 | 2036
|  | 2036-04-01 | 7.5543 | 2036
|  | 2036-05-01 | 7.4755 | 2036
|  | 2036-06-01 | 7.5184 | 2036
|  | 2036-07-01 | 7.62 | 2036
|  | 2036-08-01 | 7.6888 | 2036
|  | 2036-09-01 | 7.7394 | 2036
|  | 2036-10-01 | 7.8889 | 2036
|  | 2036-11-01 | 8.6163 | 2036
|  | 2036-12-01 | 9.0777 | 2036
|  | 2037-01-01 | 9.0598 | 2037
|  | 2037-02-01 | 8.8028 | 2037
|  | 2037-03-01 | 7.8416 | 2037
|  | 2037-04-01 | 7.7129 | 2037
|  | 2037-05-01 | 7.6324 | 2037
|  | 2037-06-01 | 7.6762 | 2037
|  | 2037-07-01 | 7.7799 | 2037
|  | 2037-08-01 | 7.8502 | 2037
|  | 2037-09-01 | 7.9019 | 2037
|  | 2037-10-01 | 8.0544 | 2037
|  | 2037-11-01 | 8.7972 | 2037
|  | 2037-12-01 | 9.2683 | 2037
|  | 2038-01-01 | 9.25 | 2038
|  | 2038-02-01 | 8.9876 | 2038
|  | 2038-03-01 | 8.0062 | 2038
|  | 2038-04-01 | 7.8747 | 2038
|  | 2038-05-01 | 7.7925 | 2038
|  | 2038-06-01 | 7.8373 | 2038
|  | 2038-07-01 | 7.9432 | 2038
|  | 2038-08-01 | 8.015 | 2038
|  | 2038-09-01 | 8.0678 | 2038
|  | 2038-10-01 | 8.2234 | 2038
|  | 2038-11-01 | 8.9818 | 2038
|  | 2038-12-01 | 9.4629 | 2038
Note on G5: PacifiCorp: Date that deal is evaluated.