## UAE Direct Exhibit 1.1, p. 1
Derivation of UAE Recommended Transmission Voltage Delivery Facilities Rate
Using Step 1 Settlement Rates from RMP's 2014 General Rate Case, Docket 13-035-184
RMP's Schedule 9 2014 GRC Step 1 Demand-Related Revenue1
Line |  | Forecasted | Step 1 |  | Step 1
No. | Schedule 9 Composite | Units | Rate |  | Revenues
1 | Facilities kW | 9053509 | 2.19 | /kW | 19827184.71
2 | On-Peak kW (May - Sept) | 3715246 | 13.75 | /kW | 51084632.5
3 | On-Peak kW (Oct - Apr) | 5150021 | 9.32 | /kW | 47998195.72
4 | Total |  |  |  | 118910012.93
RMP's 2014 GRC Schedule 9 Unit Cost at RMP's Requested Rate of Return2
Unit
| Unit Cost @ Requested ROR |  | Cost |  | Percent
5 | Production |  | 10.1551 | /kW | 71.13%
6 | Transmission |  | 4.122 | /kW | 28.87%
7 | Total |  | 14.2772 | /kW | 100%
Transmission Monthly Delivery Facilities Charge using Step 1 Rates
|  | Forecasted | Step 1 |  | Step 1
| Schedule 32 Transmission Rate | Units | Rate3 |  | Revenues
8 | Delivery Facilities Charge per kW | 9053509 | 3.79 | /kW | 34331284.4433
Data Sources:
1. 2014 General Rate Case Settlement Stipulation, Exhibit C, p. 10 of 36 filed June 25, 2014 in Docket 13-035-184.
2. RMP Witness Joelle R. Steward, 2014 General Rate Case Direct Filing Cost-of-Service Study Model in Docket 13-035-184.
3. The Ln. 8 dollar amount is derived by multiplying the Ln. 4 total dollar amount times the transmission percent in Ln. 6. The Ln. 8 rate is derived by dividing the resulting dollar amount by the facilities kW forecast units.

## UAE Direct Exhibit 1.1, p. 2
Derivation of UAE Recommended Secondary/Primary Voltage Delivery Facilities Rates
Using Step 1 Settlement Rates from RMP's 2014 General Rate Case, Docket 13-035-184
RMP's Schedule 8 2014 GRC Step 1 Demand-Related Revenue1
Line |  | Forecasted | Step 1 |  | Step 1
No. | Schedule 8 Composite | Units | Rate |  | Revenues
1 | Facilities kW | 5010201 | 4.71 | /kW | 23598046.71
2 | On-Peak kW (May - Sept) | 2097818 | 15.4 | /kW | 32306397.2
3 | On-Peak kW (Oct - Apr) | 2761958 | 11.08 | /kW | 30602494.64
4 | Total |  |  |  | 86506938.55
RMP's 2014 GRC Schedule 8 Unit Cost at RMP's Requested Rate of Return2
Unit
| Unit Cost @ Requested ROR |  | Cost |  | Percent
5 | Production |  | 10.7531 | /kW | 54.71%
6 | Transmission |  | 4.2774 | /kW | 21.76%
7 | Distribution (Substations, P&C & Transformers) |  | 4.6254 | /kW | 23.53%
8 | Total |  | 19.6558 | /kW | 100%
Secondary & Primary Monthly Delivery Facilities Charge using Step 1 Rates
|  | Forecasted | Step 1 |  | Step 1
| Schedule 32 Seconday & Primary Rates | Units | Rate3 |  | Revenues
9 | Delivery Facilities Charge per kW - Secondary | 5010201 | 7.82 | /kW | 39181809.3394
10 | RMP Voltage Discount (See Exhibit RMP ____ (DLT-2)) |  | -1.14 | /kW
11 | Delivery Facilities Charge per kW - Primary |  | 6.68 | /kW
Data Sources:
1. 2014 General Rate Case Settlement Stipulation, Exhibit C, p. 10 of 36 filed June 25, 2014 in Docket 13-035-184.
2. RMP Witness Joelle R. Steward, 2014 General Rate Case Direct Filing Cost-of-Service Study Model in Docket 13-035-184.
3. The Ln. 9 dollar amount is derived by multiplying the Ln. 4 total dollar amount times the combined transmission and distribution percents in Ln. 6 and Ln. 7. The Ln. 9 rate is derived by dividing the resulting dollar amount by the facilities kW forecast units.

## UAE Direct Exhibit 1.2, p. 1
Derivation of UAE Recommended Transmission Voltage Hourly Shaping Rate
Using Step 1 Settlement Rates in RMP's 2014 Rate Case, Docket 13-035-184
Line
No. | Description | Amount | Source
Summer Period
1 | Theoretical Maximum On-Peak Load Factor | 100%
2 | Sch. 9 Forecasted Summer On-Peak Load Factor | 80.52% | see p. 3
3 | Midpoint Sch. 9 Summer On-Peak Load Factor | 90.26% | = [Ln. 1 + Ln. 2] ÷ 2
Hypothetical Customer Usage Information
4 | Facilities kW | 2000 | Assumed Amount
5 | Contract Demand kW | 2000 | Assumed Amount
6 | Average Summer On-Peak Hours | 169.6 | Input
7 | On-Peak Load Factor | 90.26% | = Ln 3
|  |  | Step 1 | Step 1
| Sch 9 Demand-Related Charges1 | Units | Rate | Revenue
8 | Facilities Charge ($/kW) | 2000 | 2.19 | 4380
9 | Demand Charge ($/kW) | 2000 | 13.75 | 27500
10 | Total Demand-Related Revenue |  |  | 31880
| Derivation of Summer Hourly Shaping Charge2 | Units | Rate | Revenue
11 | UAE Recommended Delivery Facilities Charge ($/kW) | 2000 | 3.79 | 7580
12 | UAE Recommended Hourly Shaping Charge (¢/kWh) | 306158.6914 | 7.9371 | 24300
13 | Total [Set to Ln. 10] |  |  | 31880
Non-Summer Period
14 | Theoretical Maximum On-Peak Load Factor | 100%
15 | Forecasted Non-Summer On-Peak Load Factor | 79.38% | see p. 3
16 | Midpoint Non-Summer On-Peak Load Factor | 89.69% | = [Ln. 14 + Ln. 15] ÷ 2
Hypothetical Customer Usage Information
17 | Facilities kW | 2000 | Assumed Amount
18 | Contract Demand kW | 2000 | Assumed Amount
19 | Average Non-Summer On-Peak Hours | 338.2857 | Input
20 | On-Peak Load Factor | 89.69% | = Ln 16
|  |  | Step 1 | Step 1
| Sch 9 Demand-Related Charges1 | Units | Rate | Revenue
21 | Facilities Charge ($/kW) | 2000 | 2.19 | 4380
22 | Demand Charge ($/kW) | 2000 | 9.32 | 18640
23 | Total Demand-Related Revenue |  |  | 23020
| Derivation of Non-Summer Hourly Shaping Charge3 | Units | Rate | Revenue
24 | UAE Recommended Delivery Facilities Charge ($/kW) | 2000 | 3.79 | 7580
25 | UAE Recommended Hourly Shaping Charge (¢/kWh) | 606816.8589 | 2.5444 | 15440
26 | Total [Set to Ln. 23] |  |  | 23020
Notes:
1. Source: Step 1 Rates from 2014 General Rate Case Settlement Stipulation, Exhibit C, Page 10 of 36, filed June 25, 2014 in Docket 13-035-184.
2. The hourly shaping revenue equals total revenue less UAE's recommended delivery facilities charge revenue. The hourly shaping billing units are derived by multiplying the contract demand times the average summer on-peak hours times the on-peak load factor. To derive the hourly shaping charge, the revenue (in cents) is divided by the hourly shaping billing units. The resulting equation is $24,300 ÷ (2000 kW x 170 hours x 90.26%) = 7.9371 ¢/kWh.
3. The hourly shaping revenue equals total revenue less UAE's recommended delivery facilities charge revenue. The hourly shaping billing units are derived by multiplying the contract demand times the average non-summer on-peak hours times the on-peak load factor. To derive the hourly shaping charge, the revenue (in cents) is divided by the hourly shaping billing units. The resulting equation is $15,440 ÷ (2000 kW x 338 hours x 89.69%) = 2.5444 ¢/kWh.

## UAE Direct Exhibit 1.2, p. 2
Derivation of UAE Recommended Secondary/Primary Voltage Hourly Shaping Rate
Using Step 1 Settlement Rates in RMP's 2014 Rate Case, Docket 13-035-184
Line
No. | Description | Amount | Source
Summer Period
1 | Theoretical Maximum On-Peak Load Factor | 100%
2 | Forecasted Summer On-Peak Load Factor | 73.1% | see p. 3
3 | Midpoint Summer On-Peak Load Factor | 86.55% | = [Ln. 1 + Ln. 2] ÷ 2
Hypothetical Customer Usage Information
4 | Facilities kW | 2000 | Assumed Amount
5 | Contract Demand kW | 2000 | Assumed Amount
6 | Average Summer On-Peak Hours | 169.6 | Input
7 | On-Peak Load Factor | 86.55% | = Ln 3
|  |  | Step 1 | Step 1
| Sch 8 Demand-Related Charges1 | Units | Rate | Revenue
8 | Facilities Charge ($/kW) | 2000 | 4.71 | 9420
9 | Demand Charge ($/kW) | 2000 | 15.4 | 30800
10 | Total Demand-Related Revenue |  |  | 40220
| Derivation of Summer Hourly Shaping Charge2 | Units | Rate | Revenue
11 | UAE Recommended Delivery Facilities Charge ($/kW) | 2000 | 7.82 | 15640
12 | UAE Recommended Hourly Shaping Charge - Secondary (¢/kWh) | 293583.3651 | 8.3724 | 24580
13 | Total [Set to Ln. 10] |  |  | 40220
14 | UAE Recommended Hourly Shaping Charge - Primary (¢/kWh) |  | 8.3724
Non-Summer Period
15 | Theoretical Maximum On-Peak Load Factor | 100%
16 | Forecasted Non-Summer On-Peak Load Factor | 67% | see p. 3
17 | Midpoint Non-Summer On-Peak Load Factor | 83.5% | = [Ln. 15 + Ln. 16] ÷ 2
Hypothetical Customer Usage Information
18 | Facilities kW | 2000 | Assumed Amount
19 | Contract Demand kW | 2000 | Assumed Amount
20 | Average Non-Summer On-Peak Hours | 338.2857 | Input
21 | On-Peak Load Factor | 83.5% | = Ln 17
|  |  | Step 1 | Step 1
| Sch 8 Demand-Related Charges1 | Units | Rate | Revenue
22 | Facilities Charge ($/kW) | 2000 | 4.71 | 9420
23 | Demand Charge ($/kW) | 2000 | 11.08 | 22160
24 | Total Demand-Related Revenue |  |  | 31580
| Derivation of Non-Summer Hourly Shaping Charge3 | Units | Rate | Revenue
25 | UAE Recommended Delivery Facilities Charge ($/kW) | 2000 | 7.82 | 15640
26 | UAE Recommended Hourly Shaping Charge - Secondary (¢/kWh) | 564933.6981 | 2.8216 | 15940
27 | Total [Set to Ln. 24] |  |  | 31580
28 | UAE Recommended Hourly Shaping Charge - Primary (¢/kWh) |  | 2.8216
Notes:
1. Source: Step 1 Rates from 2014 General Rate Case Settlement Stipulation, Exhibit C, Page 10 of 36, filed June 25, 2014 in Docket 13-035-184.
2. The hourly shaping revenue equals total revenue less UAE's recommended delivery facilities charge revenue. The hourly shaping billing units are derived by multiplying the contract demand times the average summer on-peak hours times the on-peak load factor. To derive the hourly shaping charge, the revenue (in cents) is divided by the hourly shaping billing units. The resulting equation is $24,580 ÷ (2000 kW x 170 hours x 86.55%) = 8.3724 ¢/kWh.
3. The hourly shaping revenue equals total revenue less UAE's recommended delivery facilities charge revenue. The hourly shaping billing units are derived by multiplying the contract demand times the average non-summer on-peak hours times the on-peak load factor. To derive the hourly shaping charge, the revenue (in cents) is divided by the hourly shaping billing units. The resulting equation is $15,940 ÷ (2000 kW x 338 hours x 83.50%) = 2.8216 ¢/kWh.

## UAE Direct Exhibit 1.2, p. 3
Schedule 9 On-Peak Load Factor Calculation
Jul-14 to Jun-15
Line |  | Forecasted
No. | Schedule No. 9 - Composite | Units | Source
1 | On-Peak kW (May - Sept) | 3715246 | See Note 1
2 | On-Peak kW (Oct - Apr) | 5150021 | See Note 1
3 | Avg. On-Peak kW (May - Sept) | 743049.2 | = Ln. 1 ÷ 5
4 | Avg. On-Peak kW (Oct - Apr) | 735717.2857 | = Ln. 2 ÷ 7
5 | On-Peak kWh (May-Sept) | 507349132 | See Note 1
6 | On-Peak kWh (Oct-Apr) | 1382941034 | See Note 1
7 | Total On-Peak kWh | 1890290166
8 | On-Peak Hours (May - Sept) | 848 | Per Tariff
9 | On-Peak Hours (Oct - Apr) | 2368 | Per Tariff
10 | Total On-Peak Hours | 3216
11 | Load Factor (May - Sept) | 80.52% | = Ln. 5 ÷ [Ln. 3 x Ln. 8]
12 | Load Factor (Oct - Apr) | 79.38% | = Ln. 6 ÷ [Ln. 4 x Ln. 9]
Schedule 8 On-Peak Load Factor Calculation
Jul-14 to Jun-15
Line |  | Forecasted
No. | Schedule 8 Composite | Units | Source
13 | On-Peak kW (May - Sept) | 2097818 | See Note 1
14 | On-Peak kW (Oct - Apr) | 2761958 | See Note 1
15 | Avg. On-Peak kW (May - Sept) | 419563.6 | = Ln. 13 ÷ 5
16 | Avg. On-Peak kW (Oct - Apr) | 394565.4286 | = Ln. 14 ÷ 7
17 | On-Peak kWh (May - Sept) | 260094535 | See Note 1
18 | On-Peak kWh (Oct - Apr) | 625992212 | See Note 1
19 | Total On-Peak kWh | 886086747
20 | On-Peak Hours (May - Sept) | 848 | Per Tariff
21 | On-Peak Hours (Oct - Apr) | 2368 | Per Tariff
22 | Total On-Peak Hours | 3216
23 | Load Factor (May - Sept) | 73.1% | = Ln. 17 ÷ [Ln. 15 x Ln. 20]
24 | Load Factor (Oct - Apr) | 67% | = Ln. 18 ÷ [Ln. 16 x Ln. 21]
Note 1. Source: 2014 General Rate Case Settlement Stipulation, Exhibit C, Page 10 of 36, filed June 25, 2014 in Docket 13-035-184.