## No dsm tables
Load Forecast - November 2008 (2008 IRP - "Pre-DSM" version)
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2009 | 15475196.7793 | 4481972.014 | 1006036.283 | 24211642.7295 | 10077831.2032 | 3746721.604 | 2558991.738 | 61558392.3511 |  | 2781.0804 | 850.405 | 186.533 | 4677.9844 | 1342.7289 | 775.961 | 433.67 | 2462.5173 | 760.716 | 167.322 | 4508.8539 | 1253.356 | 627.621 | 362.31 | 10142.6962
2010 | 15488359.2063 | 4490263.093 | 1036284.435 | 24766082.0697 | 10422330.0233 | 3784241.803 | 2584665.927 | 62572226.5574 |  | 2794.5116 | 855.837 | 196.749 | 4795.7662 | 1371.0731 | 785.276 | 448.05 | 2476.2812 | 768.091 | 173.695 | 4625.5923 | 1290.1716 | 654.095 | 372.08 | 10360.0061
2011 | 15733361.2243 | 4528860.283 | 1072926.921 | 25331348.9332 | 10873984.2032 | 3825481.333 | 2613580.391 | 63979543.2887 |  | 2825.2035 | 863.377 | 203.968 | 4874.9628 | 1418.7503 | 795.489 | 452.54 | 2525.6132 | 780.01 | 180.753 | 4708.2249 | 1353.6623 | 681.836 | 400.79 | 10630.8894
2012 | 16096835.4715 | 4564433.867 | 1108124.325 | 26227764.8994 | 11341534.0284 | 3875330.15 | 2646899.628 | 65860922.3693 |  | 2853.6004 | 875.804 | 210.398 | 5033.0424 | 1473.4646 | 806.136 | 485.33 | 2579.2563 | 815.966 | 187.468 | 4853.8995 | 1394.214 | 715.868 | 430.98 | 10977.6517
2013 | 16395769.6953 | 4586106.928 | 1119430.885 | 26990389.28 | 11738006.408 | 4024940.101 | 2747850.68 | 67602493.9773 |  | 2914.4925 | 884.393 | 212.427 | 5201.8445 | 1532.0071 | 835.143 | 491 | 2638.3012 | 799.766 | 189.906 | 5007.7898 | 1439.8177 | 748.394 | 437.19 | 11261.1647
2014 | 16648638.3443 | 4620451.573 | 1128072.304 | 27811229.9407 | 12117111.3204 | 4142097.914 | 2831937.296 | 69299538.6924 |  | 2958.4325 | 897.396 | 214.404 | 5360.4968 | 1580.7426 | 858.457 | 496.95 | 2694.6081 | 814.977 | 189.491 | 5174.2895 | 1484.8714 | 690.758 | 401.59 | 11450.5851
2015 | 16790822.5023 | 4652541.855 | 1136688.8 | 28631506.6403 | 12498119.9446 | 4172873.274 | 2853244.97 | 70735797.9862 |  | 2988.6905 | 909.305 | 216.43 | 5521.7166 | 1630.5382 | 866.945 | 492.91 | 2728.1191 | 825.951 | 191.23 | 5322.4589 | 1530.0222 | 717.58 | 414.24 | 11729.6012
2016 | 16979579.2725 | 4692854.232 | 1148202.367 | 29355209.0489 | 12926718.1503 | 4211551.876 | 2879648.739 | 72193763.6857 |  | 3010.4376 | 919.456 | 218.271 | 5661.5145 | 1679.7819 | 874.454 | 510.7 | 2762.7761 | 836.214 | 193.599 | 5457.5378 | 1576.634 | 758.814 | 446.04 | 12031.6149
2017 | 17080573.4323 | 4709745.337 | 1153152.436 | 29791002.618 | 13240453.2296 | 4237528.936 | 2897984.999 | 73110440.988 |  | 3033.0594 | 930.574 | 220.541 | 5774.9007 | 1729.2307 | 881.285 | 517.88 | 2795.3122 | 846.323 | 198.874 | 5567.6908 | 1615.9758 | 772.868 | 454.17 | 12251.2138
2018 | 17281372.1653 | 4752289.47 | 1165355.72 | 30363898.5306 | 13581557.0483 | 4278351.059 | 2926146.36 | 74348970.3533 |  | 3058.8475 | 942.439 | 223.32 | 5901.9584 | 1775.7084 | 889.956 | 535.79 | 2835.5273 | 889.45 | 197.427 | 5685.6148 | 1655.7556 | 785.604 | 472.97 | 12522.3487
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - February 2009 (2008 IRP - "Pre-DSM" version)
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2009 | 14717735.2543 | 4339278.7334 | 966289.773 | 24066263.0645 | 10167694.8526 | 3718077.163 | 2538246.579 | 60513585.4199 |  | 2735.7884 | 829.4142 | 174.7333 | 4605.6914 | 1355.7585 | 763.4631 | 430.48 | 2361.736 | 727.9246 | 157.6044 | 4440.0502 | 1268.1256 | 625.355 | 360.68 | 9941.4757
2010 | 14810829.2133 | 4344912.4584 | 966218.4982 | 24522312.0008 | 10646811.1762 | 3750819.805 | 2561930.265 | 61603833.4168 |  | 2737.7813 | 831.196 | 178.5047 | 4714.0606 | 1406.8089 | 772.9531 | 442.4 | 2394.7785 | 737.3358 | 158.1396 | 4546.1368 | 1307.2923 | 648.7783 | 368.3 | 10160.7612
2011 | 14921508.9293 | 4371402.1409 | 1004953.6071 | 25404576.7352 | 11188877.6827 | 3785956.7142 | 2586654.604 | 63263930.4134 |  | 2751.775 | 841.4434 | 187.7119 | 4878.352 | 1467.0585 | 781.2881 | 443.644 | 2418.8891 | 746.3867 | 166.1984 | 4709.6502 | 1371.199 | 674.238 | 394.896 | 10481.4575
2012 | 15115695.9815 | 4417268.2701 | 1037280.942 | 26168642.3104 | 11845913.8323 | 3829463.9186 | 2615677.921 | 65029943.1759 |  | 2768.9232 | 851.4324 | 193.77 | 5016.0306 | 1549.8957 | 790.0198 | 473.987 | 2445.8164 | 781.6157 | 172.2124 | 4837.816 | 1439.0083 | 705.3851 | 423.109 | 10804.9628
2013 | 15159619.3983 | 4424099.174 | 1055642.4848 | 26884446.285 | 12253896.5817 | 3974809.2648 | 2713731.88 | 66466245.0686 |  | 2787.203 | 861.5453 | 198.2944 | 5160.1903 | 1594.9563 | 817.5156 | 478.816 | 2462.3403 | 763.366 | 176.2195 | 4968.0725 | 1489.5709 | 736.8632 | 428.023 | 11024.4554
2014 | 15223467.3553 | 4443316.4677 | 1071103.9668 | 27682220.9277 | 12674295.5352 | 4088985.92 | 2795706.247 | 67979096.4197 |  | 2796.0448 | 869.9747 | 201.2521 | 5307.8508 | 1644.6332 | 839.531 | 489.323 | 2485.5517 | 774.7775 | 177.2471 | 5125.5918 | 1537.6974 | 683.2796 | 394.824 | 11178.9692
2015 | 15283484.2583 | 4463834.5727 | 1084174.9965 | 28492383.7853 | 13088772.285 | 4118092.0756 | 2815909.652 | 69346651.6254 |  | 2803.0907 | 878.6893 | 204.33 | 5457.4769 | 1693.3464 | 846.8682 | 478.667 | 2500.9985 | 782.5841 | 179.8382 | 5261.5327 | 1585.2416 | 708.0977 | 406.368 | 11424.6607
2016 | 15382411.8385 | 4496641.6941 | 1100267.8863 | 29188166.5659 | 13549958.6819 | 4154170.6734 | 2840576.781 | 70712194.1211 |  | 2809.4588 | 887.3429 | 207.2921 | 5581.6391 | 1743.932 | 853.0671 | 496.291 | 2516.779 | 790.4705 | 183.0582 | 5382.3464 | 1634.972 | 745.966 | 436.496 | 11690.0882
2017 | 15401999.6323 | 4506713.3455 | 1109879.9058 | 29596660.809 | 13908105.9723 | 4178291.0372 | 2857694.463 | 71559345.1652 |  | 2816.7403 | 896.8519 | 210.6324 | 5678.8265 | 1796.8131 | 858.6741 | 502.287 | 2530.4753 | 798.085 | 188.9783 | 5478.2265 | 1677.9281 | 758.5773 | 443.465 | 11875.7354
2018 | 15513151.8533 | 4542281.6577 | 1126644.5333 | 30141987.7616 | 14293815.1091 | 4215982.0297 | 2883742.185 | 72717605.1298 |  | 2826.7432 | 907.1492 | 214.4011 | 5788.5219 | 1846.1169 | 865.9561 | 523.555 | 2551.1711 | 836.6546 | 188.6897 | 5580.7017 | 1721.622 | 769.895 | 461.266 | 12110.0001
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - October 2009 (2008 IRP Update) "Pre-DSM" version
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2010 | 14146530.3521 | 4483576.6046 | 946287.3001 | 24294697.8083 | 10022708.806 | 3311467.3134 | 2198489.4002 | 59403757.5846 |  | 2660.0599 | 845.4976 | 172.7568 | 4691.082 | 1329.8042 | 698.5202 | 468.4091 | 2245.6902 | 750.175 | 152.8539 | 4546.2564 | 1251.3215 | 595.0589 | 341.601 | 9882.9567
2011 | 14380454.728 | 4512494.5891 | 972669.3945 | 24943198.5984 | 10352917.2774 | 3722404.6917 | 2225925.1742 | 61110064.4533 |  | 2690.988 | 849.1505 | 178.6136 | 4806.0673 | 1374.3652 | 770.7789 | 472.1619 | 2283.8244 | 759.4629 | 157.819 | 4667.4831 | 1291.562 | 686.3746 | 351.7382 | 10198.2641
2012 | 14843482.646 | 4563201.7985 | 1002345.9328 | 25968092.5683 | 10837132.6954 | 3796971.4848 | 2253356.0713 | 63264583.1971 |  | 2737.0017 | 858.2588 | 184.0034 | 4977.026 | 1421.3758 | 785.3741 | 475.9148 | 2348.0695 | 792.0599 | 163.6284 | 4833.6739 | 1342.3664 | 700.1344 | 358.8331 | 10538.7656
2013 | 15062869.1291 | 4571700.323 | 1015802.4764 | 26918297.7796 | 11357516.2477 | 3919407.1315 | 2280793.1085 | 65126386.1957 |  | 2799.6246 | 867.3779 | 186.8714 | 5151.6259 | 1497.7089 | 809.7068 | 479.6676 | 2387.1672 | 777.22 | 166.7817 | 5004.3077 | 1402.2779 | 725.1028 | 367.7828 | 10830.6401
2014 | 15205085.4244 | 4590153.5152 | 1026562.1481 | 27795597.0646 | 11896326.9397 | 4090398.1944 | 2308213.5364 | 66912336.8228 |  | 2835.6128 | 874.31 | 189.275 | 5304.1839 | 1558.8718 | 841.7017 | 483.4205 | 2418.0641 | 788.1203 | 166.325 | 5153.0124 | 1463.2437 | 756.8622 | 376.5976 | 11122.2253
2015 | 15303231.5317 | 4607979.6105 | 1036983.6258 | 28508281.1986 | 12454198.2202 | 4128899.3059 | 2335645.7172 | 68375219.2101 |  | 2859.4877 | 881.0273 | 191.7047 | 5430.7755 | 1619.4496 | 851.2336 | 487.1734 | 2435.9476 | 795.3161 | 168.5853 | 5271.4739 | 1525.3204 | 774.4287 | 383.8248 | 11354.8967
2016 | 15423718.4562 | 4637826.7698 | 1050641.8954 | 29306675.0713 | 12861601.1612 | 4171422.3062 | 2363061.0067 | 69814946.6669 |  | 2879.428 | 887.4431 | 194.1409 | 5567.748 | 1658.8672 | 859.208 | 490.9262 | 2451.6311 | 802.5128 | 171.4508 | 5410.8574 | 1569.299 | 788.4677 | 391.156 | 11585.3749
2017 | 15446753.6893 | 4643971.6273 | 1058193.6446 | 29804384.2799 | 13128929.4019 | 4201648.0576 | 2390500.248 | 70674380.9485 |  | 2897.9958 | 894.5684 | 196.88 | 5670.4986 | 1698.3066 | 866.5445 | 494.6791 | 2462.7285 | 809.4525 | 177.2675 | 5511.206 | 1600.7019 | 795.3301 | 398.3603 | 11755.0468
2018 | 15535683.068 | 4676977.5479 | 1072218.8365 | 30382349.5408 | 13412924.0552 | 4247146.3373 | 2417916.0145 | 71745215.4002 |  | 2916.7024 | 902.5081 | 200.0694 | 5777.2697 | 1731.9716 | 875.8591 | 498.4319 | 2476.1925 | 843.8898 | 176.5878 | 5610.4902 | 1632.8302 | 805.072 | 405.7056 | 11950.768
2019 | 15648921.7169 | 4708154.0324 | 1086040.3477 | 30966450.4371 | 13723600.2735 | 4292332.6237 | 2445357.0367 | 72870856.4681 |  | 2937.6086 | 911.4721 | 203.0591 | 5884.5723 | 1770.4602 | 885.1452 | 502.1848 | 2493.1432 | 828.3453 | 179.3981 | 5714.6547 | 1668.5835 | 814.3736 | 413.0242 | 12111.5225
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - March 2010 "Pre-DSM" version
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2011 | 14877043.5165 | 4523629.5298 | 955076.9901 | 25478508.4137 | 10417029.0156 | 3714029.1298 | 2225925.1742 | 62191241.7699 |  | 2740.0155 | 852.5126 | 176.1179 | 4881.1154 | 1381.0142 | 767.4343 | 472.1619 | 2336.9948 | 767.1466 | 158.7867 | 4738.3114 | 1300.0252 | 680.3022 | 351.7382 | 10333.3051
2012 | 15460371.4769 | 4571132.3808 | 977744.636 | 26604603.0664 | 10919240.1636 | 3786145.0658 | 2253356.0713 | 64572592.8608 |  | 2793.9296 | 861.3565 | 180.1066 | 5048.9854 | 1454.0366 | 782.0101 | 475.9148 | 2393.0091 | 799.438 | 164.6189 | 4903.5099 | 1350.442 | 694.6348 | 358.8331 | 10664.4856
2013 | 15567258.5059 | 4567657.0572 | 988418.7643 | 27495047.5614 | 11480141.7209 | 3923096.645 | 2280793.1085 | 66302413.3631 |  | 2840.4427 | 868.2614 | 183.2987 | 5210.1778 | 1502.4847 | 806.3872 | 479.6676 | 2416.0356 | 783.9559 | 168.1114 | 5059.9592 | 1419.5568 | 720.8852 | 367.7828 | 10936.2868
2014 | 15714598.0778 | 4592240.8238 | 1002685.5498 | 28423224.8052 | 12087927.3577 | 4092854.4438 | 2308213.5364 | 68221744.5944 |  | 2870.3007 | 874.2567 | 186.5092 | 5383.1123 | 1573.4435 | 840.2108 | 483.4205 | 2446.6389 | 796.2675 | 165.0292 | 5228.1312 | 1488.4378 | 756.6527 | 376.5976 | 11257.755
2015 | 15834293.7963 | 4617863.7085 | 1016132.2544 | 29065367.1535 | 12692965.9729 | 4145071.3388 | 2335645.7172 | 69707339.9416 |  | 2896.5804 | 881.575 | 189.5673 | 5509.9359 | 1632.9484 | 851.1469 | 487.1734 | 2466.6349 | 805.318 | 168.4551 | 5346.3387 | 1555.0617 | 776.8363 | 383.8248 | 11502.4695
2016 | 15988387.4753 | 4658344.8654 | 1032091.7763 | 29823277.6708 | 13169849.7587 | 4206384.3535 | 2363061.0067 | 71241396.9067 |  | 2919.0369 | 888.8735 | 192.5065 | 5621.748 | 1680.8702 | 860.8523 | 490.9262 | 2485.2624 | 814.6166 | 172.9774 | 5462.4047 | 1607.2923 | 793.6877 | 391.156 | 11727.3971
2017 | 16027999.9454 | 4670908.9537 | 1041356.9251 | 30285307.9944 | 13496380.4239 | 4242854.5211 | 2390500.248 | 72155309.0115 |  | 2940.5087 | 897.0753 | 195.2677 | 5731.1346 | 1720.5027 | 869.9532 | 494.6791 | 2498.8455 | 823.4252 | 179.5067 | 5568.272 | 1645.5763 | 803.1142 | 398.3603 | 11917.1001
2018 | 16118939.2513 | 4699406.267 | 1053421.3144 | 30847561.8797 | 13919937.7721 | 4294317.9945 | 2417916.0145 | 73351500.4934 |  | 2959.9252 | 905.1213 | 198.1257 | 5842.5205 | 1767.691 | 879.7974 | 498.4319 | 2512.1384 | 857.8496 | 179.6038 | 5671.2366 | 1691.032 | 813.9075 | 405.7056 | 12131.4735
2019 | 16220855.3327 | 4728813.7497 | 1066399.3676 | 31428958.9399 | 14354124.6375 | 4348106.3599 | 2445357.0367 | 74592615.4241 |  | 2980.5073 | 913.5152 | 201.0125 | 5957.6262 | 1812.2371 | 890.0389 | 502.1848 | 2526.3182 | 842.7506 | 183.152 | 5782.2174 | 1738.1552 | 824.8373 | 413.0242 | 12310.4548
2020 | 16354884.5427 | 4764820.8626 | 1081583.184 | 32072686.0234 | 14754864.1864 | 4409815.2037 | 2472782.7888 | 75911436.7916 |  | 3000.5201 | 921.0273 | 203.967 | 6066.6017 | 1852.5578 | 899.6464 | 505.9377 | 2548.2742 | 854.4853 | 179.794 | 5883.7229 | 1780.9916 | 835.3433 | 420.7992 | 12503.4105
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - July 2010 "Pre-DSM" version
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2011 | 14884854.5727 | 4504771.1298 | 949402.2537 | 25396157.5595 | 10592408.1262 | 3681991.1064 | 2188201.884 | 62197786.6324 |  | 2704.3969 | 847.7096 | 175.35 | 4890.6868 | 1399.3855 | 759.291 | 449.902 | 2315.1032 | 765.4174 | 158.9928 | 4746.6378 | 1327.091 | 672.1653 | 335.917 | 10321.3245
2012 | 15386637.9069 | 4559537.1393 | 977260.0676 | 26501389.4776 | 11002707.6835 | 3746505.6308 | 2233885.24 | 64407923.1458 |  | 2780.6357 | 859.7446 | 180 | 5042.2295 | 1450.2965 | 769.6836 | 455.944 | 2373.8383 | 797.5121 | 164.8586 | 4903.06 | 1368.6549 | 682.6315 | 340.987 | 10631.5424
2013 | 15523829.0425 | 4555833.2398 | 988898.9539 | 27262969.1625 | 11428098.14 | 3803872.6693 | 2264877.296 | 65828378.5041 |  | 2827.1481 | 866.5474 | 183.36 | 5176.8374 | 1493.8301 | 781.7933 | 461.985 | 2397.7807 | 782.1334 | 167.6484 | 5028.9126 | 1419.1398 | 695.3485 | 346.228 | 10837.1914
2014 | 15635880.4986 | 4577212.3881 | 1003427.4349 | 27828999.3856 | 11903340.5963 | 3946015.562 | 2303142.522 | 67198018.3875 |  | 2851.8814 | 871.9223 | 186.65 | 5295.9341 | 1541.3152 | 807.9917 | 468.027 | 2421.8118 | 793.2218 | 167.8412 | 5152.4482 | 1474.5868 | 715.8223 | 353.107 | 11078.8392
2015 | 15743311.1863 | 4600880.9837 | 1017209.6658 | 28396302.7423 | 12209558.3377 | 4065274.2873 | 2341424.054 | 68373961.2572 |  | 2873.229 | 878.3109 | 189.8 | 5400.2549 | 1568.5883 | 829.886 | 474.068 | 2438.7208 | 801.4052 | 170.9545 | 5253.3786 | 1507.7642 | 753.0232 | 359.004 | 11284.2504
2016 | 15896711.5846 | 4639598.7676 | 1033703.0848 | 29125662.4606 | 12487248.1599 | 4203956.1719 | 2387411.955 | 69774292.1845 |  | 2893.2977 | 884.6649 | 192.84 | 5506.08 | 1591.545 | 852.2797 | 480.109 | 2455.9891 | 809.7882 | 174.9998 | 5349.1351 | 1538.1194 | 787.7846 | 364.65 | 11480.4663
2017 | 15939764.7092 | 4649818.9685 | 1043265.1192 | 29560978.3688 | 12644590.7759 | 4325981.6109 | 2417997.764 | 70582397.3165 |  | 2913.484 | 891.8323 | 195.67 | 5609.1782 | 1615.1219 | 876.9218 | 486.152 | 2468.9366 | 817.6964 | 178.1769 | 5452.9524 | 1558.1679 | 818.7668 | 370.123 | 11664.82
2018 | 16031615.3474 | 4675391.1033 | 1055492.3649 | 30101974.6968 | 12899362.0292 | 4378543.1099 | 2456298.017 | 71598676.6686 |  | 2931.6489 | 898.7512 | 198.52 | 5715.1706 | 1643.7884 | 886.7568 | 492.197 | 2481.0984 | 850.7011 | 180.5296 | 5554.3773 | 1584.8276 | 829.7602 | 375.663 | 11856.9573
2019 | 16128975.1108 | 4700823.6992 | 1068169.1021 | 30650539.6358 | 13191786.1395 | 4433364.7974 | 2494611.331 | 72668269.8158 |  | 2950.1777 | 905.7854 | 201.3 | 5822.5319 | 1672.8352 | 897.0073 | 498.245 | 2493.2881 | 834.485 | 182.8652 | 5652.3934 | 1616.5104 | 840.9327 | 381.052 | 12001.5268
2020 | 16251738.3863 | 4732648.6818 | 1082817.3827 | 31245155.2455 | 13554503.8092 | 4495721.7328 | 2541152.53 | 73903737.7684 |  | 2967.0861 | 911.8928 | 204.2 | 5923.6117 | 1715.0229 | 906.4885 | 504.296 | 2512.022 | 844.8968 | 182.5847 | 5760.3567 | 1655.3981 | 851.5559 | 388.242 | 12195.0561
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - October 2010 "Pre-DSM" version [2011 IRP]
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2011 | 14968933.1082 | 4579565.4943 | 954604.3564 | 26106815.404 | 10611407.5247 | 3721678.9364 | 2188201.884 | 63131206.708 |  | 2709.0402 | 857.3361 | 174.82 | 4965.9823 | 1411.4522 | 761.9381 | 449.902 | 2331.6926 | 774.6267 | 159.793 | 4839.5942 | 1328.9293 | 678.8461 | 335.917 | 10449.3989
2012 | 15487788.3114 | 4676478.4451 | 969066.5575 | 26746468.4887 | 11040463.9299 | 3804257.7459 | 2233885.24 | 64958408.7184 |  | 2773.8217 | 870.8907 | 176.88 | 5035.5821 | 1451.1917 | 773.341 | 455.944 | 2396.3522 | 813.2291 | 163.081 | 4935.3658 | 1375.9518 | 690.7568 | 340.987 | 10715.7238
2013 | 15669032.7784 | 4703107.046 | 972280.3476 | 27389581.363 | 11451701.3724 | 3937678.6601 | 2264877.296 | 66388258.8634 |  | 2814.5008 | 879.3283 | 178.33 | 5166.0603 | 1495.9609 | 798.1516 | 461.985 | 2429.1452 | 801.6796 | 163.9918 | 5074.2337 | 1423.3698 | 721.2543 | 346.228 | 10959.9023
2014 | 15853824.371 | 4754378.6484 | 982164.2579 | 28151361.2889 | 11883924.0015 | 4106332.022 | 2303142.522 | 68035127.1117 |  | 2837.0042 | 885.5076 | 180.34 | 5300.2033 | 1540.8915 | 828.0946 | 468.027 | 2466.4989 | 817.0476 | 163.3823 | 5231.3957 | 1471.0346 | 749.915 | 353.107 | 11252.3811
2015 | 16038453.0168 | 4809526.2916 | 991174.6797 | 28805998.1201 | 12220507.1006 | 4234971.1515 | 2341424.054 | 69442054.4143 |  | 2856.9768 | 893.1322 | 182.46 | 5407.9926 | 1573.2312 | 850.8756 | 474.068 | 2496.0731 | 829.7331 | 165.7154 | 5354.1731 | 1509.2497 | 787.1799 | 359.004 | 11501.1284
2016 | 16283651.7135 | 4880686.9431 | 1002320.3425 | 29650388.6382 | 12548965.6675 | 4357546.8355 | 2387411.955 | 71110972.0952 |  | 2876.9182 | 901.0228 | 184.5 | 5519.6265 | 1601.706 | 870.1187 | 480.109 | 2528.1895 | 842.7139 | 168.7869 | 5473.9266 | 1544.8105 | 817.1124 | 364.65 | 11740.1899
2017 | 16419175.9695 | 4921944.2819 | 1009108.8512 | 30196791.2482 | 12770303.7766 | 4415978.1259 | 2417997.764 | 72151300.0172 |  | 2898.5616 | 909.6547 | 186.3 | 5628.2841 | 1624.551 | 881.8522 | 486.152 | 2556.7047 | 855.1237 | 171.159 | 5602.1319 | 1573.6502 | 831.0427 | 370.123 | 11959.9352
2018 | 16602014.4902 | 4977007.0057 | 1018715.62 | 30840594.204 | 13055536.9332 | 4473968.0971 | 2456298.017 | 73424134.3672 |  | 2917.7539 | 917.6635 | 188.13 | 5738.3966 | 1652.9086 | 891.5058 | 492.197 | 2583.824 | 892.7914 | 172.8575 | 5725.7794 | 1600.8738 | 842.4462 | 375.663 | 12194.2353
2019 | 16789205.2501 | 5030425.4343 | 1028331.4818 | 31491636.8462 | 13346735.1799 | 4532675.3968 | 2494611.331 | 74713620.9201 |  | 2936.9059 | 925.4812 | 189.78 | 5848.7803 | 1683.4992 | 901.3092 | 498.245 | 2610.8701 | 880.0207 | 174.4954 | 5845.1857 | 1632.6 | 853.7203 | 381.052 | 12377.9441
2020 | 16998650.6723 | 5089930.1598 | 1039248.188 | 32188155.8747 | 13680764.4978 | 4598605.9523 | 2541152.53 | 76136507.8748 |  | 2954.0972 | 932.1514 | 191.39 | 5953.8049 | 1720.1353 | 910.2621 | 504.296 | 2643.6474 | 894.1555 | 173.6743 | 5975.2094 | 1667.9945 | 864.4795 | 388.242 | 12607.4025
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - November 2011 "Pre-DSM" version [2011 IRP Update]
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2012 | 14633531 | 4489106 | 939964 | 25870440 | 9932573 | 3754354 | 2249508 | 61869476 |  | 2623.6977 | 855.9032 | 173.2993 | 4809.4001 | 1344.2717 | 760.029 | 467 | 2270 | 753 | 160 | 4712 | 1251 | 693 | 337 | 10176
2013 | 14878262 | 4524843 | 945224 | 26610204 | 10266692 | 3794710 | 2270687 | 63290622 |  | 2667.021 | 859.4048 | 172.8498 | 4940.9542 | 1370.5085 | 772.1508 | 472 | 2348 | 760 | 159 | 4801 | 1305 | 700 | 345 | 10418
2014 | 15215187 | 4562715 | 949910 | 27547018 | 10670403 | 3952903 | 2301301 | 65199437 |  | 2705.7716 | 864.1289 | 173.4006 | 5109.1375 | 1418.9162 | 808.9143 | 477 | 2406 | 770 | 156 | 4985 | 1348 | 718 | 351 | 10734
2015 | 15425484 | 4596856 | 954678 | 28183414 | 11198588 | 4069785 | 2334185 | 66762990 |  | 2742.162 | 867.9812 | 174.3452 | 5179.944 | 1476.288 | 836.6726 | 484 | 2433 | 782 | 159 | 5121 | 1389 | 750 | 351 | 10985 |  |  |  |  | 2013 IRP | 2013 IRP Update | 2015 IRP
2016 | 15650722 | 4654570 | 963498 | 29095245 | 11659925 | 4195615 | 1145452 | 67365027 |  | 2759.8527 | 871.6048 | 177.8958 | 5306.0603 | 1549.128 | 862.7137 | 462 | 2462 | 789 | 162 | 5251 | 1439 | 777 |  | 10880 |  |  |  | 2015 | 63527997.7295 | 63220770 | 63594000
2017 | 15922162 | 4684798 | 984073 | 30042583 | 12627590 | 4284951 | 0 | 68546157 |  | 2790.9335 | 876.3874 | 181.7138 | 5432.2502 | 1619.333 | 885.0639 | 0 | 2509 | 796 | 168 | 5389 | 1544 | 794 |  | 11200 |  |  |  | 2016 | 63431505.4363 | 63543020 | 63644160
2018 | 16100139 | 4729516 | 989512 | 30690560 | 12878798 | 4344040 | 0 | 69732565 |  | 2818.9433 | 880.7954 | 182.686 | 5530.8517 | 1646.2467 | 898.3239 | 0 | 2536 | 807 | 169 | 5508 | 1570 | 804 |  | 11394 |  |  |  | 2017 | 63246310.7584 | 63426040 | 63414410
2019 | 16275349 | 4773472 | 994961 | 31322719 | 13168649 | 4388547 | 0 | 70923697 |  | 2837.5828 | 885.211 | 183.5192 | 5633.9525 | 1682.7605 | 908.3193 | 0 | 2563 | 811 | 170 | 5623 | 1600 | 811 |  | 11578 |  |  |  | 2018 | 64219328.1562 | 64379000 | 64335670
2020 | 16477506 | 4824727 | 1002175 | 32045903 | 13452010 | 4439442 | 0 | 72241763 |  | 2853.7413 | 888.9344 | 184.156 | 5738.1321 | 1702.8236 | 917.2553 | 0 | 2594 | 820 | 168 | 5753 | 1625 | 816 |  | 11776 |  |  |  | 2019 | 65183187.1722 | 65325360 | 65099110
2021 | 16585884 | 4849416 | 1003722 | 32604382 | 13690560 | 4467965 | 0 | 73201929 |  | 2869.5337 | 892.9906 | 182.4513 | 5843.2242 | 1731.7204 | 925.9994 | 0 | 2619 | 827 | 170 | 5872 | 1657 | 831 |  | 11976 |  |  |  | 2020 | 66226672.1308 | 66909690 | 65882150
| 16871437.8732 | 4935957.3402 | 1010254.9631 | 33253828.1366 | 13917504.681 | 4508015.1984 |  | 74496998.1925 | [8 empty] | 2668.9809 | 831.9104 | 166.1087 | 5972.7976 | 1689.483 | 837.7195 |  | 12167 |  |  |  | 2021 | 66917768.933 | 67665770 | 66317890
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load. | [27 empty] | 2022 | 67814244.2592 | 68636570 | 67038440
[28 empty] | 2023 | 68781288.0938 | 69701020 | 67731040
Load Forecast - June 2012 "Pre-DSM" version [2013 IRP]
| Energy Loads (MWh) | [8 empty] | Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System |  |  |  |  | 2013 IRP | 2013 IRP Update | 2015 IRP
2013 | 14877799.7513 | 4453504.4007 | 903816.1293 | 25153750.4355 | 10190042.5077 | 3740820.0686 | 2236652.708 | 61556386.0011 | 61559356.051 | 2698.7408 | 859.3356 | 154.8837 | 4790.4437 | 1356.3665 | 758.0722 | 464.005 | 2328.7161 | 743.4191 | 142.9095 | 4631.6088 | 1276.5109 | 684.7834 | 326.654 | 10134.6019 | 10158.317 | -2970.0499 | -23.7151 | 2015 | 10494.438 | 10152.159 | 10368.343
2014 | 15150179.4377 | 4479048.1192 | 905134.1327 | 25718950.8259 | 10408488.9663 | 3779426.969 | 2257218.571 | 62698447.0218 | 62701190.602 | 2754.182 | 865.6613 | 155.4491 | 4901.973 | 1386.5031 | 768.2108 | 467.58 | 2377.3706 | 752.0397 | 140.0887 | 4745.0153 | 1301.5363 | 684.3917 | 330.767 | 10331.2093 | 10363.389 | -2743.5802 | -32.1797 | 2016 | 10358.7522 | 10041.983 | 10224.701
2015 | 15371113.6595 | 4510404.7579 | 908752.2412 | 26010381.9147 | 10626523.6327 | 3819927.3196 | 2280894.204 | 63527997.7295 | 63530854.878 | 2810.0311 | 873.7455 | 156.4502 | 4987.1086 | 1408.6425 | 778.7824 | 473.214 | 2407.9421 | 757.6898 | 140.9511 | 4826.3044 | 1326.2926 | 700.808 | 334.45 | 10494.438 | 10533.497 | -2857.1485 | -39.059 | 2017 | 10512.7959 | 10209.911 | 10381.458
2016 | 15638182.3836 | 4561495.1805 | 916004.4186 | 26478251.5814 | 10856134.9506 | 3868347.8616 | 1113089.06 | 63431505.4363 | 63435159.426 | 2837.8716 | 881.7424 | 157.7081 | 5093.1968 | 1428.2266 | 787.8482 | 457.92 | 2457.0171 | 765.1765 | 142.5933 | 4930.099 | 1349.4814 | 714.3849 | 0 | 10358.7522 | 10403.851 | -3653.9897 | -45.0988 | 2018 | 10687.0932 | 10352.387 | 10522.107
2017 | 15821900.2377 | 4587860.5823 | 918237.4252 | 27010019.2891 | 11012432.1 | 3895861.1241 | 0 | 63246310.7584 | 63249285.182 | 2888.8929 | 891.148 | 158.9929 | 5180.055 | 1447.3958 | 796.3565 | 0 | 2491.5083 | 771.9694 | 144.2125 | 5013.84 | 1370.5414 | 720.7241 | 0 | 10512.7959 | 10559.555 | -2974.4236 | -46.7591 | 2019 | 10815.4064 | 10482.552 | 10634.546
2018 | 16003366.8586 | 4630206.5296 | 923754.8955 | 27542258.9279 | 11188259.425 | 3931481.5197 | 0 | 64219328.1562 | 64222139.576 | 2927.0388 | 900.416 | 160.4049 | 5274.4005 | 1465.8392 | 804.4914 | 0 | 2521.7716 | 803.0134 | 145.1276 | 5100.1609 | 1390.0373 | 726.9823 | 0 | 10687.0932 | 10733.641 | -2811.4198 | -46.5478 | 2020 | 10971.7698 | 10776.858 | 10754.966
2019 | 16181468.5735 | 4672594.2993 | 928941.1143 | 28073751.7476 | 11360999.3939 | 3965432.0435 | 0 | 65183187.1722 | 65185860.811 | 2966.9651 | 910.0319 | 161.4908 | 5368.0245 | 1483.6501 | 812.2158 | 0 | 2547.1042 | 786.3364 | 145.9457 | 5194.086 | 1409.7088 | 732.2254 | 0 | 10815.4064 | 10862.798 | -2673.6388 | -47.3916 | 2021 | 11132.5318 | 10928.807 | 10875.659
2020 | 16377832.9243 | 4722543.6609 | 935083.0061 | 28622537.9805 | 11563804.7082 | 4004869.8506 | 0 | 66226672.1308 | 66230071.123 | 3002.9578 | 918.9008 | 162.2539 | 5460.6034 | 1507.5505 | 818.9215 | 0 | 2576.3918 | 794.9846 | 144.2673 | 5290.2739 | 1429.1973 | 736.655 | 0 | 10971.7698 | 11020.456 | -3398.9922 | -48.6862 | 2022 | 11279.9842 | 11075.979 | 10995.747
2021 | 16491187.5601 | 4746085.8744 | 935580.206 | 29021169.4648 | 11698580.3766 | 4025165.451 | 0 | 66917768.933 | 66920833.885 | 3039.1382 | 931.7667 | 163.2959 | 5553.5366 | 1524.6473 | 825.7293 | 0 | 2603.5677 | 800.7555 | 145.0135 | 5387.1631 | 1448.2306 | 747.8014 | 0 | 11132.5318 | 11180.317 | -3064.952 | -47.7852 | 2023 | 11420.7155 | 11231.966 | 11105.431
2022 | 16652789.2684 | 4784841.3523 | 938913.5173 | 29514597.4942 | 11866488.1632 | 4056614.4638 | 0 | 67814244.2592 | 67817101.156 | 3073.7171 | 941.0101 | 164.1786 | 5649.7175 | 1542.6926 | 832.7284 | 0 | 2630.5194 | 807.0332 | 145.8979 | 5475.4098 | 1467.3799 | 753.744 | 0 | 11279.9842 | 11329.276 | -2856.8968 | -49.2918
2023 | 16838823.1888 | 4825058.07 | 942144.0255 | 30049623.2897 | 12039496.7358 | 4086142.7841 | 0 | 68781288.0938 | 68784066.872 | 3111.5113 | 952.5157 | 164.9954 | 5733.6045 | 1561.6053 | 839.3934 | 0 | 2659.4375 | 812.7673 | 147.2147 | 5556.2453 | 1486.6709 | 758.3798 | 0 | 11420.7155 | 11469.67 | -2778.7782 | -48.9545
* Southeast Idaho (SE-ID) is a contractual exchange agreement with a another utility and not to be considered part of PacifiCorp's Idaho load.
Load Forecast - Oct 2013 "Pre-DSM" version [2013 IRP Update]
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2013 | 14696040 | 4468960 | 897510 | 25199200 | 10207540 | 3732760 | 2221530 | 61423540 |  | 2664.261 | 798.482 | 158.826 | 4483.283 | 1357.767 | 769.495 | 463.682 | 2123.804 | 735.639 | 146.654 | 4360.889 | 1294.556 | 692.083 | 323.447 | 9677.072
2014 | 14923360 | 4486700 | 893190 | 25045480 | 10363830 | 3718360 | 2240890 | 61671810 |  | 2651.061 | 864.699 | 157.006 | 4631.005 | 1384.803 | 775.026 | 467.199 | 2295.124 | 733.177 | 145.794 | 4505.13 | 1310.675 | 667.146 | 327.275 | 9984.321
2015 | 15189220 | 4518200 | 896110 | 26029690 | 10579850 | 3744330 | 2263370 | 63220770 |  | 2711.832 | 875.78 | 157.609 | 4707.005 | 1406.35 | 782.144 | 472.775 | 2337.611 | 738.076 | 146.853 | 4573.583 | 1335.446 | 690.831 | 329.759 | 10152.159
2016 | 15330480 | 4567610 | 902370 | 27064180 | 10799120 | 3777310 | 1101950 | 63543020 |  | 2744.71 | 884.367 | 158.377 | 4864.479 | 1424.835 | 789.077 | 439.613 | 2357.107 | 743.605 | 148.64 | 4729.235 | 1357.658 | 705.738 | 0 | 10041.983
2017 | 15523770 | 4592920 | 903900 | 27661650 | 10943500 | 3800300 | 0 | 63426040 |  | 2777.953 | 894.085 | 159.095 | 4965.904 | 1442.658 | 795.745 | 0 | 2394.919 | 749.146 | 149.381 | 4827.652 | 1377.656 | 711.157 | 0 | 10209.911
2018 | 15654580 | 4630880 | 907500 | 28254680 | 11103180 | 3828180 | 0 | 64379000 |  | 2815.33 | 903.313 | 159.764 | 5058.007 | 1460.02 | 802.694 | 0 | 2416.07 | 758.563 | 149.992 | 4915.101 | 1396.358 | 716.303 | 0 | 10352.387
2019 | 15794210 | 4668890 | 911200 | 28825420 | 11268210 | 3857430 | 0 | 65325360 |  | 2844.103 | 912.457 | 160.293 | 5140.558 | 1477.376 | 809.971 | 0 | 2438.104 | 760.389 | 150.597 | 4997.774 | 1414.871 | 720.817 | 0 | 10482.552
2020 | 15958340 | 4715380 | 915940 | 29973520 | 11456530 | 3889980 | 0 | 66909690 |  | 2871.267 | 920.816 | 160.792 | 5377.176 | 1499.233 | 816.691 | 0 | 2464.944 | 767.386 | 149.644 | 5243.301 | 1433.223 | 718.36 | 0 | 10776.858
2021 | 16038280 | 4736970 | 916850 | 30487500 | 11572410 | 3913760 | 0 | 67665770 |  | 2899.287 | 929.498 | 161.459 | 5467.971 | 1514.698 | 823.511 | 0 | 2487.929 | 772.894 | 150.83 | 5334.116 | 1450.245 | 732.793 | 0 | 10928.807
2022 | 16176320 | 4772560 | 920630 | 31103380 | 11719810 | 3943870 | 0 | 68636570 |  | 2926.684 | 937.719 | 162.187 | 5563.388 | 1530.983 | 831.174 | 0 | 2512.057 | 778.345 | 151.986 | 5426.29 | 1467.37 | 739.931 | 0 | 11075.979
2023 | 16336850 | 4809360 | 924510 | 31783990 | 11870410 | 3975900 | 0 | 69701020 |  | 2957.344 | 945.957 | 162.892 | 5665.045 | 1547.351 | 838.74 | 0 | 2538.126 | 783.611 | 152.721 | 5526.844 | 1484.619 | 746.045 | 0 | 11231.966
Load Forecast - September 2014 "Pre-DSM" version [2015 IRP]
| Energy Loads (MWh) | [8 empty] | Non Pre-DSM Noncoincidental Peak (MW) | [6 empty] | Coincidental Peak (MW)
Calendar year | OR | WA | CA | UT | WY | ID | SE-ID * | System |  | OR | WA | CA | UT | WY | ID | SE-ID * | OR | WA | CA | UT | WY | ID | SE-ID * | System
2014 | 14827220 | 4511090 | 894510 | 25979790 | 10451100 | 3765530 | 2240890 | 62670130 |  | 2677.261 | 874.968 | 166.038 | 4796.65 | 1399.881 | 776.873 | 467.199 | 2288.287 | 726.691 | 148.498 | 4689.26 | 1355.043 | 664.466 | 329.049 | 10201.294
2015 | 15055940 | 4546380 | 897240 | 26470940 | 10597730 | 3762400 | 2263370 | 63594000 |  | 2727.552 | 881.83 | 165.933 | 4882.263 | 1416.49 | 781.042 | 472.775 | 2329.099 | 731.273 | 148.45 | 4769.998 | 1371.622 | 686.645 | 331.256 | 10368.343
2016 | 15197090 | 4604260 | 903780 | 27119080 | 10879850 | 3787070 | 1153030 | 63644160 |  | 2745.22 | 887.821 | 166.246 | 4996.593 | 1441.914 | 786.583 | 439.613 | 2354.164 | 737.199 | 150.191 | 4880.688 | 1400.451 | 702.008 | 0 | 10224.701
2017 | 15340670 | 4632780 | 906110 | 27727030 | 11000420 | 3807400 | 0 | 63414410 |  | 2778.219 | 894.082 | 166.682 | 5103.936 | 1453.234 | 791.126 | 0 | 2382.729 | 742.306 | 151.114 | 4984.754 | 1414.601 | 705.954 | 0 | 10381.458
2018 | 15477180 | 4667630 | 909820 | 28297970 | 11150420 | 3832650 | 0 | 64335670 |  | 2806.993 | 899.565 | 167.087 | 5196.909 | 1467.463 | 796.209 | 0 | 2403.626 | 750.368 | 151.647 | 5075.607 | 1431.031 | 709.828 | 0 | 10522.107
2019 | 15626100 | 4700270 | 912960 | 28789180 | 11210330 | 3860270 | 0 | 65099110 |  | 2836.43 | 904.643 | 167.47 | 5277.132 | 1475.345 | 801.77 | 0 | 2425.612 | 751.975 | 152.12 | 5152.764 | 1438.974 | 713.101 | 0 | 10634.546
2020 | 15751620 | 4731330 | 914010 | 29245590 | 11352800 | 3886800 | 0 | 65882150 |  | 2854.977 | 908.901 | 167.715 | 5350.612 | 1486.249 | 806.156 | 0 | 2451.229 | 757.815 | 150.677 | 5233.559 | 1453.449 | 708.237 | 0 | 10754.966
2021 | 15808060 | 4736960 | 912370 | 29595670 | 11358260 | 3906570 | 0 | 66317890 |  | 2875.668 | 912.829 | 168.061 | 5431.545 | 1489.919 | 810.624 | 0 | 2471.646 | 761.316 | 151.755 | 5313.039 | 1456.084 | 721.819 | 0 | 10875.659
2022 | 15932470 | 4759830 | 914420 | 30038620 | 11459580 | 3933520 | 0 | 67038440 |  | 2902.57 | 916.773 | 168.424 | 5512.557 | 1500.838 | 816.216 | 0 | 2493.584 | 765.384 | 152.774 | 5388.725 | 1467.816 | 727.464 | 0 | 10995.747
2023 | 16087420 | 4784020 | 916660 | 30491320 | 11489280 | 3962340 | 0 | 67731040 |  | 2930.837 | 920.961 | 168.797 | 5587.736 | 1507.206 | 821.65 | 0 | 2517.13 | 769.167 | 153.602 | 5461.675 | 1471.766 | 732.091 | 0 | 11105.431
2024 | 16271900 | 4822220 | 921460 | 31023270 | 11620590 | 3997280 | 0 | 68656720 |  | 2959.7 | 925.064 | 169.135 | 5670.913 | 1515.392 | 827.95 | 0 | 2535.943 | 773.02 | 154.078 | 5540.338 | 1485.588 | 735.34 | 0 | 11224.307