## Study Steps
Table H.13 - Wind Integration Cost Simulations in PaR, 2012 WIS
| PaR Model Simulation | Forward Term | Load | Wind Profile | Incremental Reserve | Day-ahead Forecast Error
Regulating Margin Reserve Cost Runs
| 1 | 2015 | 2015 Load Forecast | Expected Profile | No | None
| 2 | 2015 | 2015 Load Forecast | Expected Profile | Yes | None
Regulating Margin Cost = System Cost from PaR Simulation 2 less System Cost from PaR Simulation 1
System Balancing Cost Runs
| 3 | 2015 | 2013 Day-ahead Forecast | 2013 Day-ahead Forecast | Yes | None
| 4 | 2015 | 2013 Actual | 2013 Day-ahead Forecast | Yes | For Load
| 5 | 2015 | 2013 Actual | 2013 Actual | Yes | For Load and Wind
Load System Balancing Cost = System Cost from PaR simulation 4 (which uses the unit commitment from Simulation 3) less system cost from PaR simulation 3
Wind System Balancing Cost = System Cost from PaR simulation 5 (which uses the unit commitment from Simulation 4) less system cost from PaR simulation 4
Table H.12 - Wind Integration Cost Simulations in PaR
| PaR Model Simulation | Forward Term | Load | Wind Profile | Incremental Reserve | Day-ahead Forecast Error | Comments
Regulating Margin Reserve Cost Runs
| 1 | 2015 | 2015 Load Forecast | Expected Profile | Load | None
| 2 | 2015 | 2015 Load Forecast | Expected Profile | Load and Wind | None
Regulating Margin Cost = System Cost from PaR Simulation 2 less System Cost from PaR Simulation 1
System Balancing Cost Runs
| 3 | 2015 | 2013 Day-ahead Forecast | 2013 Day-ahead Forecast | Yes | None | Commit units based on day-ahead load forecast, and day-ahead wind forecast
| 4 | 2015 | 2013 Actual | 2013 Actual | Yes | For Load | Apply commitment from Simulation 3
| 5 | 2015 | 2013 Actual | 2013 Day-ahead Forecast | Yes | For Load | Commit units based on actual Load, and day-ahead wind forecast
| 6 | 2015 | 2013 Actual | 2013 Actual | Yes | For Load and Wind | Apply commitment from Simulation 5
| 7 | 2015 | 2013 Actual | 2013 Actual | Yes | For Load and Wind | Commit units based on actual Load, and actual wind forecast
Load System Balancing Cost = System Cost from PaR Simulation 6, which uses the unit commitement from
Simulation 5 based on actual load (and day-ahead wind) less System Cost from PaR Simulation 4, which uses the unit commitment from
Simulation 3 based on day-ahead forecast load (and day-ahead wind)
Wind System Balancing Cost = System Cost from PaR Simulation 7, which commits units based on actual wind (and actual load)
less System Cost from PaR Simulation 6, which uses the unit commitment from Simulation 5 based on day-ahdead wind (and actual load)