## Legend
Date
Data as/of | 6/3/116
Fiscal Year | FY2017
Event Begin Date/Time | 2016-04-30 19:41 | Event Begin Time
Event End Date/Time | 2016-05-02 | Event End Time
Month Begin | 2016-05-01
Month End | 2016-05-31
Year Begin | 2016-01-01
Year End | 2016-05-31
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-04-30 19:41 | through | 2016-05-02
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 72719 | 3.892% | 32308736.363 | 442 | 1868631 | 39910 | 25025 | 45022 | 2612 | 59 | 0 | 1 | 34.41% | 17.2901 | 0.038916 | 444.2957
RMP | Rocky Mountain Power | 72719 | 6.626% | 32308736.363 | 442 | 1097421 | 39910 | 25025 | 45022 | 2612 | 59 | 0 | 1 | 34.41% | 29.4406 | 0.066264 | 444.2957
UT | Utah | 72719 | 8.297% | 32308736.363 | 442 | 876438 | 39910 | 25025 | 45022 | 2612 | 59 | 0 | 1 | 34.41% | 36.8637 | 0.038916 | 444.2957
UT | AMERICAN FORK | 1 | 0.00104% | 506 | 1 | 96134 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0% | 0.0052635 | 1.0402e-05 | 506
UT | CEDAR CITY | 54 | 0.1678% | 13606.216 | 2 | 32172 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 0% | 0.42292 | 0.0016785 | 251.967
UT | CEDAR CITY (MILFORD) | 0 | na | 0 | 0 | 2687 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | EVANSTON | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | JORDAN VALLEY | 83 | 0.03851% | 24414.016 | 6 | 215554 | 0 | 4 | 79 | 0 | 0 | 0 | 0 | 4.819% | 0.11326 | 0.00038505 | 294.1448
UT | LAYTON | 10241 | 14.86% | 1591844.7 | 36 | 68923 | 12427 | 7957 | 2274 | 10 | 0 | 0 | 0 | 77.7% | 23.096 | 0.14859 | 155.4384
UT | MOAB | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | MONTPELIER | 276 | 8.793% | 95286.983 | 2 | 3139 | 0 | 0 | 276 | 0 | 0 | 0 | 0 | 0% | 30.3558 | 0.087926 | 345.2427
UT | OGDEN | 47832 | 45.94% | 28413330.935 | 354 | 104112 | 25213 | 7658 | 37512 | 2602 | 59 | 0 | 1 | 16.01% | 272.9112 | 0.45943 | 594.0235
UT | PARK CITY | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | PRICE | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | RICHFIELD | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | RICHFIELD (DELTA) | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | SLC METRO | 12133 | 5.645% | 1670841.902 | 27 | 214931 | 2090 | 8614 | 3519 | 0 | 0 | 0 | 0 | 71% | 7.7739 | 0.056451 | 137.7105
UT | SMITHFIELD | 425 | 1.851% | 80910.3 | 5 | 22965 | 0 | 2 | 423 | 0 | 0 | 0 | 0 | 0.4706% | 3.5232 | 0.018506 | 190.3772
UT | TOOELE | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | TREMONTON | 1674 | 16.79% | 417995.311 | 9 | 9972 | 0 | 790 | 884 | 0 | 0 | 0 | 0 | 47.19% | 41.9169 | 0.16787 | 249.6985
UT | VERNAL | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-04-30 19:41 | through | 2016-05-02 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-04-30 | 3821 | 0.436% | 1763167.884 | 29 | 876438 | 2011 | 2450 | 680 | 690 | 1 | 0 | 0 | 64.12% | 2.0117 | 0.0043597 | 461.4415
| 2016-05-01 | 68898 | 7.861% | 30545568.479 | 413 | 876438 | 37899 | 22575 | 44342 | 1922 | 58 | 0 | 1 | 32.77% | 34.8519 | 0.078611 | 443.3448
Data as of
6/3/116

## SSC by State
| Utah | Event |  | 2016-04-30 19:41 | through | 2016-05-02 |  | Month |  | 2016-05-01 | through | 2016-05-31 |  | YTD | FY2017 | 2016-01-01 | through | 2016-05-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 17.4972 | 0.040937 | 427.4127 | 0.20713 | 0.0020218 | 102.4496 | 31.7706 | 0.19927 | 159.4359 | 9.3727 | 0.094647 | 99.0278 | 93.6335 | 0.61117 | 153.205 | 45.2152 | 0.41032 | 110.196
RMP | Rocky Mountain Power | 29.688 | 0.067835 | 437.6478 | 0.24741 | 0.0015719 | 157.4003 | 48.8209 | 0.28096 | 173.767 | 10.6829 | 0.10281 | 103.9075 | 99.8593 | 0.64621 | 154.5297 | 45.5541 | 0.40979 | 111.1653
UT | Utah | 36.8788 | 0.083123 | 443.6667 | 0.015144 | 0.00015175 | 99.7941 | 56.076 | 0.29185 | 192.1371 | 9.9319 | 0.098469 | 100.8634 | 101.5806 | 0.63907 | 158.9501 | 43.9394 | 0.39676 | 110.7464
UT | AMERICAN FORK | 0.001183 | 2.9666e-05 | 39.8782 | 0.00060567 | 2.8525e-05 | 21.2333 | 0.82561 | 0.0060369 | 136.7595 | 0.7828 | 0.0055931 | 139.9574 | 5.5939 | 0.073646 | 75.9569 | 5.3732 | 0.072432 | 74.1835
UT | CEDAR CITY | 0.015752 | 6.2754e-05 | 251.0173 | 0.00022789 | 1.141e-06 | 199.733 | 0.38982 | 0.0051435 | 75.7877 | 0.34129 | 0.0048458 | 70.4302 | 3.4913 | 0.026079 | 133.8704 | 2.96 | 0.021465 | 137.8971
UT | CEDAR CITY (MILFORD) | 0 | 0 | 0 | 0.0047796 | 3.0807e-05 | 155.1494 | 0.20107 | 0.0013829 | 145.3983 | 0.20082 | 0.0013658 | 147.0413 | 1.1525 | 0.0081033 | 142.2275 | 0.38188 | 0.0078477 | 48.6621
UT | EVANSTON | 0 | 0 | 0 | 0 | 0 | 0 | 0.0020155 | 9.1279e-06 | 220.8105 | 0.001982 | 7.9869e-06 | 248.1524 | 0.049447 | 0.00025102 | 196.9864 | 0.036997 | 0.00018028 | 205.2228
UT | JORDAN VALLEY | 0.032636 | 0.00012551 | 260.0277 | 0.0095306 | 9.1279e-05 | 104.4127 | 0.98898 | 0.0075293 | 131.3496 | 0.84547 | 0.0069566 | 121.5353 | 10.1615 | 0.065216 | 155.8124 | 9.0164 | 0.06217 | 145.0283
UT | LAYTON | 1.8163 | 0.011685 | 155.4384 | 0 | 0 | 0 | 2.1237 | 0.016642 | 127.6087 | 0.36782 | 0.0050203 | 73.2655 | 5.2959 | 0.039047 | 135.63 | 3.4689 | 0.027288 | 127.1225
UT | MOAB | 0 | 0 | 0 | 0 | 0 | 0 | 0.051266 | 0.00054425 | 94.1954 | 0.048353 | 0.00052143 | 92.732 | 2.921 | 0.017544 | 166.4975 | 1.3132 | 0.010718 | 122.5229
UT | MONTPELIER | 0.10872 | 0.00031491 | 345.2427 | 0 | 0 | 0 | 0.10922 | 0.00032176 | 339.4359 | 0.00049511 | 6.8459e-06 | 72.3223 | 0.56105 | 0.0039535 | 141.911 | 0.45232 | 0.0036386 | 124.3131
UT | OGDEN | 32.4191 | 0.054575 | 594.0235 | 0 | 0 | 0 | 34.6427 | 0.079081 | 438.064 | 3.0191 | 0.021626 | 139.6059 | 38.857 | 0.096529 | 402.5412 | 5.1145 | 0.034623 | 147.7205
UT | PARK CITY | 0 | 0 | 0 | 0 | 0 | 0 | 1.5184 | 0.020854 | 72.8098 | 1.5184 | 0.020854 | 72.8098 | 5.5077 | 0.047342 | 116.3401 | 4.2375 | 0.038715 | 109.4551
UT | PRICE | 0 | 0 | 0 | 0 | 0 | 0 | 0.32627 | 0.0028776 | 113.384 | 0.32627 | 0.0028776 | 113.384 | 1.2508 | 0.015096 | 82.8567 | 0.9959 | 0.012771 | 77.9812
UT | RICHFIELD | 0 | 0 | 0 | 0 | 0 | 0 | 0.067317 | 0.0010063 | 66.8923 | 0.062918 | 0.00096983 | 64.8752 | 1.3032 | 0.010977 | 118.7199 | 0.5165 | 0.010011 | 51.5936
UT | RICHFIELD (DELTA) | 0 | 0 | 0 | 0 | 0 | 0 | 0.12268 | 0.00063667 | 192.6858 | 0.10004 | 0.00039478 | 253.4081 | 0.51124 | 0.0035234 | 145.0995 | 0.18886 | 0.0012619 | 149.6613
UT | SLC METRO | 1.9159 | 0.013935 | 137.4924 | 0 | 0 | 0 | 13.3764 | 0.13661 | 97.9167 | 1.5706 | 0.017553 | 89.4786 | 19.6288 | 0.18651 | 105.2422 | 6.6889 | 0.061369 | 108.9957
UT | SMITHFIELD | 0.092317 | 0.00048492 | 190.3772 | 0 | 0 | 0 | 0.099988 | 0.0009744 | 102.6146 | 0.090487 | 0.00094359 | 95.896 | 0.70993 | 0.0063872 | 111.149 | 0.61439 | 0.0058749 | 104.578
UT | TOOELE | 0 | 0 | 0 | 0 | 0 | 0 | 0.25246 | 0.0029164 | 86.5668 | 0.17655 | 0.0016772 | 105.2593 | 2.1772 | 0.015348 | 141.8524 | 0.76546 | 0.0062594 | 122.2891
UT | TREMONTON | 0.47693 | 0.00191 | 249.6985 | 0 | 0 | 0 | 0.9604 | 0.0090206 | 106.4678 | 0.46082 | 0.0069885 | 65.9397 | 2.2303 | 0.021442 | 104.0135 | 1.7287 | 0.019352 | 89.3275
UT | VERNAL | 0 | 0 | 0 | 0 | 0 | 0 | 0.017722 | 0.00026699 | 66.3783 | 0.017722 | 0.00026699 | 66.3783 | 0.17769 | 0.0020754 | 85.6177 | 0.085673 | 0.00078043 | 109.776
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
6/3/116