## Summary
Appendix D
Wind Integration Cost
2016.Q2 Compliance Filing | [5 empty] | Appendix D - UT 2016.Q2 - Integration Study
Year | Intra-hour |  |  | Inter-hour | Wind Integration
| $ | MWH | $/MWH | $/MWH | $/MWH
2016 | 1070894.6198 | 1004187 | 1.07 | 0.72 | 1.79 |  | 2016 from the UT 2015.Q2 Study
2017 | 958562.2672 | 1001443 | 0.96 | 0.73 | 1.69
2018 | 781730.6135 | 1001443 | 0.78 | 0.75 | 1.53
2019 | 616381.9392 | 1001443 | 0.62 | 0.77 | 1.39
2020 | 625498.3361 | 1004187 | 0.62 | 0.79 | 1.41
2021 | 867853.1159 | 1001443 | 0.87 | 0.81 | 1.68
2022 | 942628.7303 | 1001443 | 0.94 | 0.83 | 1.77
2023 | 1016485.3411 | 1001443 | 1.02 | 0.84 | 1.86
2024 | 1189322.7933 | 1004187 | 1.18 | 0.86 | 2.04
2025 | 1435298.8197 | 1001443 | 1.43 | 0.88 | 2.31
2026 | 1517662.9692 | 1001443 | 1.52 | 0.9 | 2.42
2027 | 1450736.7435 | 1001443 | 1.45 | 0.92 | 2.37
2028 | 1975456.2337 | 1004187 | 1.97 | 0.94 | 2.91
2029 | 2093323.2011 | 1001443 | 2.09 | 0.96 | 3.05
2030 | 2070434.6279 | 1001443 | 2.07 | 0.98 | 3.05
2031 | 1924365.2065 | 1001443 | 1.92 | 1.01 | 2.93
2032 | 2089463.1481 | 1004187 | 2.08 | 1.03 | 3.11
2033 | 2051438.0495 | 1001443 | 2.05 | 1.05 | 3.1
2034 | 2514503.7016 | 1001443 | 2.51 | 1.07 | 3.58
2035 | 2742614.0365 | 1001443 | 2.74 | 1.1 | 3.84
2036 | 3164915.2131 | 1004187 | 3.15 | 1.12 | 4.27
2037 | 3394819.3326 | 1001443 | 3.39 | 1.15 | 4.54
2038 | 3590746.2725 | 1001443 | 3.59 | 1.17 | 4.76
2039 | 3673333 | 1001443 | 3.67 | 1.2 | 4.87
2040 | 3757820 | 1004187 | 3.74 | 1.23 | 4.97
2041 | 3844250 | 1001443 | 3.84 | 1.26 | 5.1
2042 | 3932668 | 1001443 | 3.93 | 1.28 | 5.21
20-year (2017 - 2036) Nominal Levelized Wind Integration Costs at 6.66% Discount Rate | [5 empty] | Discount Rate - 2015 IRP Page 141
(Comparison Purposes Only) |  |  |  |  | 2.2332 | 6.66%
2014 Wind Study - IRP Wyoming Wind Resource
40% | Capacity Factor
8760 | Hours per year |  | 1001443
285.8 | MW Resource |  | 1004187

## Inter-Hour Costs
Appendix B
Table 4
Wind Integration Costs
$/MWH
Year | Inter-hour Wind Integration Costs | Official Inflation Forecast Dated 2016 2nd Quarter
$/MWh
2015 | 0.71 | 2015
2016 | 0.71852 | 2016 | 1.2%
2017 | 0.73433 | 2017 | 2.2%
2018 | 0.75195 | 2018 | 2.4%
2019 | 0.77 | 2019 | 2.4%
2020 | 0.78848 | 2020 | 2.4%
2021 | 0.8074 | 2021 | 2.4%
2022 | 0.82597 | 2022 | 2.3%
2023 | 0.84497 | 2023 | 2.3%
2024 | 0.8644 | 2024 | 2.3%
2025 | 0.88342 | 2025 | 2.2%
2026 | 0.90286 | 2026 | 2.2%
2027 | 0.92272 | 2027 | 2.2%
2028 | 0.94302 | 2028 | 2.2%
2029 | 0.96282 | 2029 | 2.1%
2030 | 0.984 | 2030 | 2.2%
2031 | 1.0057 | 2031 | 2.2%
2032 | 1.0278 | 2032 | 2.2%
2033 | 1.0504 | 2033 | 2.2%
2034 | 1.0735 | 2034 | 2.2%
2035 | 1.0971 | 2035 | 2.2%
2036 | 1.1212 | 2036 | 2.2%
2037 | 1.1459 | 2037 | 2.2%
2038 | 1.1723 | 2038 | 2.3%
2039 | 1.1992 | 2039 | 2.3%
2040 | 1.2268 | 2040 | 2.3%
2041 | 1.255 | 2041 | 2.3%
2042 | 1.2839 | 2042 | 2.3%
Inter-hour wind integration costs per 2014 Wind Integration Study
Appendix H of the 2015 IRP