## Legend
Date
Data as/of | 6/3/116
Fiscal Year | FY2017
Event Begin Date/Time | 2016-05-19 17:37 | Event Begin Time
Event End Date/Time | 2016-05-20 17:37 | Event End Time
Month Begin | 2016-05-01
Month End | 2016-05-31
Year Begin | 2016-01-01
Year End | 2016-05-31
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-05-19 17:37 | through | 2016-05-20 17:37
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 100592 | 5.383% | 9896844.747 | 242 | 1868631 | 7173 | 90994 | 9598 | 0 | 0 | 0 | 0 | 90.46% | 5.2963 | 0.053832 | 98.386
RMP | Rocky Mountain Power | 100592 | 9.166% | 9896844.747 | 242 | 1097421 | 7173 | 90994 | 9598 | 0 | 0 | 0 | 0 | 90.46% | 9.0183 | 0.091662 | 98.386
UT | Utah | 100592 | 11.48% | 9896844.747 | 242 | 876438 | 7173 | 90994 | 9598 | 0 | 0 | 0 | 0 | 90.46% | 11.2921 | 0.053832 | 98.386
UT | AMERICAN FORK | 389 | 0.4046% | 37523.3 | 6 | 96134 | 0 | 384 | 5 | 0 | 0 | 0 | 0 | 98.71% | 0.39032 | 0.0040464 | 96.4609
UT | CEDAR CITY | 207 | 0.6434% | 28927.7 | 8 | 32172 | 0 | 203 | 4 | 0 | 0 | 0 | 0 | 98.07% | 0.89916 | 0.0064342 | 139.7473
UT | CEDAR CITY (MILFORD) | 15 | 0.5582% | 214.233 | 2 | 2687 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 100% | 0.079729 | 0.0055824 | 14.2822
UT | EVANSTON | 1 | 0.1422% | 29.417 | 1 | 703 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.041845 | 0.0014225 | 29.417
UT | JORDAN VALLEY | 419 | 0.1944% | 101361.632 | 14 | 215554 | 3744 | 140 | 279 | 0 | 0 | 0 | 0 | 33.41% | 0.47024 | 0.0019438 | 241.9132
UT | LAYTON | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | MOAB | 20 | 0.2095% | 2552.667 | 1 | 9547 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 100% | 0.26738 | 0.0020949 | 127.6333
UT | MONTPELIER | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | OGDEN | 3539 | 3.399% | 596418.395 | 16 | 104112 | 0 | 3009 | 530 | 0 | 0 | 0 | 0 | 85.02% | 5.7286 | 0.033992 | 168.5274
UT | PARK CITY | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | PRICE | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
UT | RICHFIELD | 32 | 0.2118% | 3855.116 | 4 | 15110 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 100% | 0.25514 | 0.0021178 | 120.4724
UT | RICHFIELD (DELTA) | 212 | 6.099% | 19839.434 | 7 | 3476 | 0 | 207 | 5 | 0 | 0 | 0 | 0 | 97.64% | 5.7075 | 0.06099 | 93.5822
UT | SLC METRO | 94558 | 43.99% | 9019123.837 | 170 | 214931 | 3429 | 86125 | 8433 | 0 | 0 | 0 | 0 | 91.08% | 41.9629 | 0.43995 | 95.3819
UT | SMITHFIELD | 7 | 0.03048% | 606.867 | 2 | 22965 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 100% | 0.026426 | 0.00030481 | 86.6953
UT | TOOELE | 1086 | 4.845% | 66533.666 | 7 | 22414 | 0 | 844 | 242 | 0 | 0 | 0 | 0 | 77.72% | 2.9684 | 0.048452 | 61.2649
UT | TREMONTON | 107 | 1.073% | 19858.483 | 4 | 9972 | 0 | 7 | 100 | 0 | 0 | 0 | 0 | 6.542% | 1.9914 | 0.01073 | 185.5933
UT | VERNAL | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | 0 | 0 | 0
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-05-19 17:37 | through | 2016-05-20 17:37 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-05-19 | 99269 | 11.33% | 9630857.129 | 179 | 876438 | 3768 | 90267 | 9002 | 0 | 0 | 0 | 0 | 90.93% | 10.9886 | 0.11326 | 97.0178
| 2016-05-20 | 1323 | 0.151% | 265987.618 | 63 | 876438 | 3405 | 727 | 596 | 0 | 0 | 0 | 0 | 54.95% | 0.30349 | 0.0015095 | 201.0488
Data as of
6/3/116

## SSC by State
| Utah | Event |  | 2016-05-19 17:37 | through | 2016-05-20 17:37 |  | Month |  | 2016-05-01 | through | 2016-05-31 |  | YTD | FY2017 | 2016-01-01 | through | 2016-05-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 5.7881 | 0.059506 | 97.2684 | 0.49176 | 0.0056742 | 86.6657 | 31.7706 | 0.19927 | 159.4359 | 9.3727 | 0.094647 | 99.0278 | 93.6335 | 0.61117 | 153.205 | 45.2152 | 0.41032 | 110.196
RMP | Rocky Mountain Power | 9.4451 | 0.095755 | 98.6376 | 0.42681 | 0.0040932 | 104.2715 | 48.8209 | 0.28096 | 173.767 | 10.6829 | 0.10281 | 103.9075 | 99.8593 | 0.64621 | 154.5297 | 45.5541 | 0.40979 | 111.1653
UT | Utah | 11.7839 | 0.11961 | 98.5165 | 0.4918 | 0.00484 | 101.6113 | 56.076 | 0.29185 | 192.1371 | 9.9319 | 0.098469 | 100.8634 | 101.5806 | 0.63907 | 158.9501 | 43.9394 | 0.39676 | 110.7464
UT | AMERICAN FORK | 0.042813 | 0.00044384 | 96.4609 | 0 | 0 | 0 | 0.82561 | 0.0060369 | 136.7595 | 0.7828 | 0.0055931 | 139.9574 | 5.5939 | 0.073646 | 75.9569 | 5.3732 | 0.072432 | 74.1835
UT | CEDAR CITY | 0.033121 | 0.00023847 | 138.892 | 0.00011494 | 2.282e-06 | 50.367 | 0.38982 | 0.0051435 | 75.7877 | 0.34129 | 0.0048458 | 70.4302 | 3.4913 | 0.026079 | 133.8704 | 2.96 | 0.021465 | 137.8971
UT | CEDAR CITY (MILFORD) | 0.00057825 | 1.9397e-05 | 29.8118 | 0.00033381 | 2.282e-06 | 146.2835 | 0.20107 | 0.0013829 | 145.3983 | 0.20082 | 0.0013658 | 147.0413 | 1.1525 | 0.0081033 | 142.2275 | 0.38188 | 0.0078477 | 48.6621
UT | EVANSTON | 3.3564e-05 | 1.141e-06 | 29.417 | 0 | 0 | 0 | 0.0020155 | 9.1279e-06 | 220.8105 | 0.001982 | 7.9869e-06 | 248.1524 | 0.049447 | 0.00025102 | 196.9864 | 0.036997 | 0.00018028 | 205.2228
UT | JORDAN VALLEY | 0.19068 | 0.00078271 | 243.6109 | 0.075026 | 0.00030464 | 246.2751 | 0.98898 | 0.0075293 | 131.3496 | 0.84547 | 0.0069566 | 121.5353 | 10.1615 | 0.065216 | 155.8124 | 9.0164 | 0.06217 | 145.0283
UT | LAYTON | 0.0013963 | 4.5639e-06 | 305.95 | 0.0013963 | 4.5639e-06 | 305.95 | 2.1237 | 0.016642 | 127.6087 | 0.36782 | 0.0050203 | 73.2655 | 5.2959 | 0.039047 | 135.63 | 3.4689 | 0.027288 | 127.1225
UT | MOAB | 0.0029125 | 2.282e-05 | 127.6333 | 0 | 0 | 0 | 0.051266 | 0.00054425 | 94.1954 | 0.048353 | 0.00052143 | 92.732 | 2.921 | 0.017544 | 166.4975 | 1.3132 | 0.010718 | 122.5229
UT | MONTPELIER | 0 | 0 | 0 | 0 | 0 | 0 | 0.10922 | 0.00032176 | 339.4359 | 0.00049511 | 6.8459e-06 | 72.3223 | 0.56105 | 0.0039535 | 141.911 | 0.45232 | 0.0036386 | 124.3131
UT | OGDEN | 0.80338 | 0.0042969 | 186.9662 | 0.12288 | 0.000259 | 474.433 | 34.6427 | 0.079081 | 438.064 | 3.0191 | 0.021626 | 139.6059 | 38.857 | 0.096529 | 402.5412 | 5.1145 | 0.034623 | 147.7205
UT | PARK CITY | 0.00084324 | 5.7049e-06 | 147.81 | 0.00084324 | 5.7049e-06 | 147.81 | 1.5184 | 0.020854 | 72.8098 | 1.5184 | 0.020854 | 72.8098 | 5.5077 | 0.047342 | 116.3401 | 4.2375 | 0.038715 | 109.4551
UT | PRICE | 0.00014424 | 1.141e-06 | 126.417 | 0.00014424 | 1.141e-06 | 126.417 | 0.32627 | 0.0028776 | 113.384 | 0.32627 | 0.0028776 | 113.384 | 1.2508 | 0.015096 | 82.8567 | 0.9959 | 0.012771 | 77.9812
UT | RICHFIELD | 0.0047602 | 4.5639e-05 | 104.3012 | 0.00036161 | 9.1279e-06 | 39.6166 | 0.067317 | 0.0010063 | 66.8923 | 0.062918 | 0.00096983 | 64.8752 | 1.3032 | 0.010977 | 118.7199 | 0.5165 | 0.010011 | 51.5936
UT | RICHFIELD (DELTA) | 0.022636 | 0.00024189 | 93.5822 | 0 | 0 | 0 | 0.12268 | 0.00063667 | 192.6858 | 0.10004 | 0.00039478 | 253.4081 | 0.51124 | 0.0035234 | 145.0995 | 0.18886 | 0.0012619 | 149.6613
UT | SLC METRO | 10.5644 | 0.112 | 94.3218 | 0.2737 | 0.0041144 | 66.5218 | 13.3764 | 0.13661 | 97.9167 | 1.5706 | 0.017553 | 89.4786 | 19.6288 | 0.18651 | 105.2422 | 6.6889 | 0.061369 | 108.9957
UT | SMITHFIELD | 0.017366 | 0.00014262 | 121.7595 | 0.016673 | 0.00013464 | 123.8395 | 0.099988 | 0.0009744 | 102.6146 | 0.090487 | 0.00094359 | 95.896 | 0.70993 | 0.0063872 | 111.149 | 0.61439 | 0.0058749 | 104.578
UT | TOOELE | 0.076248 | 0.0012414 | 61.4217 | 0.00033452 | 2.282e-06 | 146.592 | 0.25246 | 0.0029164 | 86.5668 | 0.17655 | 0.0016772 | 105.2593 | 2.1772 | 0.015348 | 141.8524 | 0.76546 | 0.0062594 | 122.2891
UT | TREMONTON | 0.022658 | 0.00012209 | 185.5933 | 0 | 0 | 0 | 0.9604 | 0.0090206 | 106.4678 | 0.46082 | 0.0069885 | 65.9397 | 2.2303 | 0.021442 | 104.0135 | 1.7287 | 0.019352 | 89.3275
UT | VERNAL | 0 | 0 | 0 | 0 | 0 | 0 | 0.017722 | 0.00026699 | 66.3783 | 0.017722 | 0.00026699 | 66.3783 | 0.17769 | 0.0020754 | 85.6177 | 0.085673 | 0.00078043 | 109.776
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
6/3/116