## Legend
Date
Data as/of | 2016-10-13
Fiscal Year | FY2017
Event Begin Date/Time | 2016-09-22 15:35 | Event Begin Time
Event End Date/Time | 2016-09-24 16:37 | Event End Time
Month Begin | 2016-09-01
Month End | 2016-09-30
Year Begin | 2016-01-01
Year End | 2016-09-30
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-09-22 15:35 | through | 2016-09-24 16:37
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 77339 | 4.139% | 29932638.932 | 303 | 1868631 | 17323 | 29023 | 45877 | 2367 | 72 | 0 | 0 | 37.53% | 16.0185 | 0.041388 | 387.0316
RMP | Rocky Mountain Power | 77339 | 7.047% | 29932638.932 | 303 | 1097421 | 17323 | 29023 | 45877 | 2367 | 72 | 0 | 0 | 37.53% | 27.2754 | 0.070473 | 387.0316
UT | Utah | 77339 | 8.824% | 29932638.932 | 303 | 876438 | 17323 | 29023 | 45877 | 2367 | 72 | 0 | 0 | 37.53% | 34.1526 | 0.088242 | 387.0316
UT | AMERICAN FORK | 98 | 0.1019% | 23746.016 | 10 | 96134 | 0 | 55 | 43 | 0 | 0 | 0 | 0 | 56.12% | 0.24701 | 0.0010194 | 242.3063
UT | CEDAR CITY | 1247 | 3.876% | 340168.443 | 16 | 32172 | 8 | 28 | 1219 | 0 | 0 | 0 | 0 | 2.245% | 10.5734 | 0.03876 | 272.7894
UT | CEDAR CITY (MILFORD) | 161 | 5.992% | 12211.85 | 1 | 2687 | 0 | 161 | 0 | 0 | 0 | 0 | 0 | 100% | 4.5448 | 0.059918 | 75.85
UT | JORDAN VALLEY | 554 | 0.257% | 81670.352 | 23 | 215554 | 0 | 375 | 179 | 0 | 0 | 0 | 0 | 67.69% | 0.37889 | 0.0025701 | 147.4194
UT | LAYTON | 30659 | 44.48% | 14765369.775 | 66 | 68923 | 7891 | 6190 | 23417 | 1031 | 21 | 0 | 0 | 20.19% | 214.2299 | 0.44483 | 481.5998
UT | MOAB | 1 | 0.01047% | 351.033 | 1 | 9547 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0% | 0.036769 | 0.00010474 | 351.033
UT | OGDEN | 29407 | 28.25% | 12549609.356 | 95 | 104112 | 4501 | 13195 | 14826 | 1335 | 51 | 0 | 0 | 44.87% | 120.5395 | 0.28246 | 426.7559
UT | PARK CITY | 939 | 3.001% | 359466.817 | 16 | 31292 | 0 | 126 | 813 | 0 | 0 | 0 | 0 | 13.42% | 11.4875 | 0.030008 | 382.8188
UT | PRICE | 75 | 0.7218% | 24163.233 | 5 | 10391 | 1 | 2 | 73 | 0 | 0 | 0 | 0 | 2.667% | 2.3254 | 0.0072178 | 322.1764
UT | RICHFIELD | 4518 | 29.9% | 162306.733 | 14 | 15110 | 0 | 4410 | 108 | 0 | 0 | 0 | 0 | 97.61% | 10.7417 | 0.29901 | 35.9245
UT | RICHFIELD (DELTA) | 6 | 0.1726% | 2292.184 | 2 | 3476 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0% | 0.65943 | 0.0017261 | 382.0307
UT | SLC METRO | 9616 | 4.474% | 1596816.809 | 39 | 214931 | 4920 | 4469 | 5146 | 1 | 0 | 0 | 0 | 46.47% | 7.4294 | 0.04474 | 166.0583
UT | SMITHFIELD | 3 | 0.01306% | 915.033 | 3 | 22965 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 33.33% | 0.039845 | 0.00013063 | 305.011
UT | TOOELE | 26 | 0.116% | 6898.148 | 5 | 22414 | 2 | 7 | 19 | 0 | 0 | 0 | 0 | 26.92% | 0.30776 | 0.00116 | 265.3134
UT | TREMONTON | 24 | 0.2407% | 5931.4 | 4 | 9972 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0% | 0.59481 | 0.0024067 | 247.1417
UT | VERNAL | 5 | 0.03871% | 721.75 | 3 | 12916 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 80% | 0.05588 | 0.00038712 | 144.35
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-09-22 15:35 | through | 2016-09-24 16:37 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-09-22 | 61465 | 7.013% | 26605480.181 | 150 | 876438 | 11234 | 18231 | 40964 | 2248 | 22 | 0 | 0 | 29.66% | 30.3564 | 0.07013 | 432.8558
| 2016-09-23 | 14615 | 1.668% | 2839504.152 | 114 | 876438 | 4136 | 10639 | 3807 | 119 | 50 | 0 | 0 | 72.8% | 3.2398 | 0.016675 | 194.287
| 2016-09-24 | 1259 | 0.1436% | 487654.599 | 39 | 876438 | 1953 | 153 | 1106 | 0 | 0 | 0 | 0 | 12.15% | 0.55641 | 0.0014365 | 387.3349
Data as of
2016-10-13

## SSC by State
| Utah | Event |  | 2016-09-22 15:35 | through | 2016-09-24 16:37 |  | Month |  | 2016-09-01 | through | 2016-09-30 |  | YTD | FY2017 | 2016-01-01 | through | 2016-09-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 17.2171 | 0.04872 | 353.3922 | 1.2201 | 0.0073621 | 165.7277 | 26.9601 | 0.15133 | 178.152 | 10.9416 | 0.10994 | 99.52 | 166.6175 | 1.1752 | 141.7724 | 94.2518 | 0.85216 | 110.6037
RMP | Rocky Mountain Power | 28.9069 | 0.080953 | 357.08 | 1.6679 | 0.010532 | 158.3696 | 39.7809 | 0.18718 | 212.53 | 12.5055 | 0.1167 | 107.1551 | 187.6908 | 1.2384 | 151.5531 | 98.5542 | 0.86706 | 113.6644
UT | Utah | 35.0759 | 0.095628 | 366.7957 | 0.96906 | 0.0074506 | 130.0651 | 46.2755 | 0.18642 | 248.2363 | 12.1229 | 0.098175 | 123.4828 | 187.157 | 1.1389 | 164.3306 | 95.3632 | 0.80835 | 117.9729
UT | AMERICAN FORK | 0.20548 | 0.0028855 | 71.2117 | 0.17839 | 0.0027737 | 64.3144 | 0.91779 | 0.0080759 | 113.6459 | 0.8907 | 0.0079641 | 111.8395 | 8.9633 | 0.10305 | 86.9775 | 8.7156 | 0.10173 | 85.6756
UT | CEDAR CITY | 0.47896 | 0.0022021 | 217.5015 | 0.090833 | 0.00077929 | 116.5585 | 0.84111 | 0.0068425 | 122.9253 | 0.45299 | 0.0054197 | 83.582 | 5.9058 | 0.044715 | 132.076 | 4.9864 | 0.038678 | 128.9204
UT | CEDAR CITY (MILFORD) | 0.013934 | 0.0001837 | 75.85 | 0 | 0 | 0 | 0.12125 | 0.00106 | 114.3866 | 0.10731 | 0.00087627 | 122.4652 | 2.0475 | 0.01343 | 152.4499 | 1.2629 | 0.012991 | 97.2136
UT | EVANSTON | 0 | 0 | 0 | 0 | 0 | 0 | 0.00016763 | 2.282e-06 | 73.458 | 0.00016763 | 2.282e-06 | 73.458 | 0.071581 | 0.00041189 | 173.7849 | 0.059131 | 0.00034115 | 173.3262
UT | JORDAN VALLEY | 0.33284 | 0.0027441 | 121.2941 | 0.23965 | 0.002112 | 113.4748 | 2.2034 | 0.014165 | 155.5524 | 2.1103 | 0.013533 | 155.9323 | 21.148 | 0.15694 | 134.7486 | 19.9097 | 0.15327 | 129.9032
UT | LAYTON | 16.8642 | 0.03517 | 479.5111 | 0.017206 | 0.00018826 | 91.395 | 17.5339 | 0.040622 | 431.6319 | 0.6869 | 0.005641 | 121.7682 | 24.8735 | 0.096716 | 257.1796 | 6.1995 | 0.049976 | 124.0485
UT | MOAB | 0.0020356 | 1.8256e-05 | 111.5052 | 0.0016351 | 1.7115e-05 | 95.5367 | 0.090634 | 0.0011821 | 76.6745 | 0.090233 | 0.0011809 | 76.4094 | 4.1227 | 0.027365 | 150.6528 | 2.5145 | 0.020539 | 122.4275
UT | MONTPELIER | 0 | 0 | 0 | 0 | 0 | 0 | 0.097738 | 0.00059559 | 164.1022 | 0.097738 | 0.00059559 | 164.1022 | 0.71547 | 0.0069372 | 103.1351 | 0.60675 | 0.0066223 | 91.6221
UT | OGDEN | 14.4372 | 0.033774 | 427.4621 | 0.11832 | 0.00022135 | 534.5195 | 16.4701 | 0.058662 | 280.7597 | 2.1512 | 0.02511 | 85.6714 | 59.9467 | 0.19087 | 314.0665 | 11.8853 | 0.095413 | 124.5663
UT | PARK CITY | 0.47147 | 0.0012905 | 365.3501 | 0.061321 | 0.00021907 | 279.9172 | 0.70651 | 0.0026813 | 263.4942 | 0.29636 | 0.0016099 | 184.0854 | 7.4415 | 0.059494 | 125.0797 | 5.7612 | 0.049796 | 115.6956
UT | PRICE | 0.040825 | 0.00015289 | 267.0174 | 0.013255 | 6.7318e-05 | 196.9 | 1.9121 | 0.012157 | 157.2831 | 1.8845 | 0.012072 | 156.1142 | 4.0047 | 0.036889 | 108.5602 | 3.7222 | 0.034478 | 107.9576
UT | RICHFIELD | 0.18531 | 0.0051561 | 35.9393 | 0.0001175 | 1.141e-06 | 102.983 | 0.50061 | 0.0064968 | 77.0555 | 0.31542 | 0.0013418 | 235.0741 | 2.1748 | 0.020566 | 105.7449 | 1.2028 | 0.014445 | 83.272
UT | RICHFIELD (DELTA) | 0.0026153 | 6.8459e-06 | 382.0307 | 0 | 0 | 0 | 0.23078 | 0.0010874 | 212.2376 | 0.22816 | 0.0010805 | 211.1618 | 0.99284 | 0.0096413 | 102.9779 | 0.66785 | 0.007373 | 90.5802
UT | SLC METRO | 1.897 | 0.011369 | 166.8603 | 0.075053 | 0.00039706 | 189.0215 | 2.9121 | 0.020606 | 141.3214 | 1.0901 | 0.0096345 | 113.1512 | 34.0873 | 0.28806 | 118.3358 | 19.3255 | 0.15194 | 127.1899
UT | SMITHFIELD | 0.041293 | 0.00013349 | 309.3209 | 0.040249 | 0.00013007 | 309.4343 | 0.70968 | 0.0022637 | 313.5031 | 0.70864 | 0.0022603 | 313.5159 | 2.0325 | 0.015736 | 129.1578 | 1.9359 | 0.015221 | 127.1881
UT | TOOELE | 0.067563 | 0.00027041 | 249.8529 | 0.059693 | 0.00024075 | 247.9478 | 0.28265 | 0.0023607 | 119.7338 | 0.27478 | 0.002331 | 117.8811 | 3.1289 | 0.023135 | 135.2481 | 1.7093 | 0.014016 | 121.9531
UT | TREMONTON | 0.068092 | 0.0002282 | 298.3914 | 0.061324 | 0.00020081 | 305.38 | 0.64801 | 0.0054881 | 118.0751 | 0.64124 | 0.0054607 | 117.4279 | 4.7139 | 0.035377 | 133.2476 | 4.2055 | 0.03326 | 126.446
UT | VERNAL | 0.012841 | 0.00010839 | 118.4635 | 0.012017 | 0.00010269 | 117.0254 | 0.096937 | 0.0020675 | 46.8868 | 0.096113 | 0.0020618 | 46.6171 | 0.78598 | 0.0095637 | 82.1833 | 0.69313 | 0.008263 | 83.8839
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-10-13