## Reporting Templates
1. Number of Customer Generation Systems (Data for report compiled on 6/13/2017)
Net Metering Facilities by Resource Type
Resource | Facilities as of March 31, 2016 | New Facilities April 1, 2016 to March 31, 2017 | Total Facilities |  | New Facilities January 1, 2016 to December 31, 2016
Solar | 8133 | 12408 | 20541 |  | 10478
Wind | 50 | 0 | 50 |  | 0
Solar and Wind | 23 | 1 | 24 |  | 0
Other* | 1 | 0 | 0 |  | 0
Hydro | 3 | 0 | 3 |  | 1
Fuel Cell | 1 | 0 | 1 |  | 0
Total | 8211 | 12409 | 20619 |  | 10479
* Project Removed October 2016
Non-Net Metering Facilities by Resource Type
Resource | Facilities as of March 31, 2016 | New Facilities April 1, 2016 to March 31, 2017 | Total Facilities
Solar | 14 | 3 | 17
Wind | 1 | 0 | 1
Solar and Wind | 0 | 0 | 0
Hydro | 21 | 0 | 21
Thermal | 3 | 1 | 4
Gas | 6 | 0 | 6
Fuel Cell | 0 | 0 | 0
Total | 45 | 4 | 49
Historic to December 31, 2009 The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
2. Individual Capacity of Each Installation
See Attachment A
3. Total kW Combined Capacity
Net Metering Generation Capacity by Resource Type (kW)
Resource | Facilities as of March 31, 2016 | New Facilities April 1, 2016 to March 31, 2017 | Total Facilities |  | New Facilities January 1, 2016 to December 31, 2016
Solar | 66242.69 | 93653.07 | 159895.76 |  | 92850.78
Wind | 195.7 | 0 | 195.7 |  | 0
Solar and Wind | 264.68 | 28.36 | 293.04 |  | 0
Other | 30 | 0 | 30 |  | 0
Hydro | 100.6 | 0 | 100.6 |  | 110
Fuel Cell | 15 | 0 | 15 |  | 0
Total | 66848.67 | 93681.43 | 160530.1 |  | 92960.78
Non-Net Metering Generation Capacity by Resource Type (MW)
Resource | Facilities as of March 31, 2016 | New Facilities April 1, 2016 to March 31, 2017 | Total Facilities
Solar | 35.695 | 9 | 44.695
Wind | 0.04 | 0 | 0.04
Solar and Wind | 0 | 0 | 0
Hydro | 36.6 | 0 | 36.6
Thermal | 36.5 | 6 | 42.5
Gas | 7.41 | 0 | 7.41
Fuel Cell | 0 | 0 | 0
Total | 116.245 | 15 | 131.245
4. Number of Expired Credits per Customer
See Attachement A
5. Total Value of Expired Credits (as reported on June 13, 2017)
Expired Credits at End of Annualized Period
Customers |  | kWh | Value | Total Value
4553 |  | 2556277 | 0.0221 | 56493.7217
6. Excess Net Metering Generation per Month
Excess Net Metering Generation per Month- kWh
2016-04-01 | 1262560
2016-05-01 | 2013732
2016-06-01 | 2256396
2016-07-01 | 1225873
2016-08-01 | 936729
2016-09-01 | 1303894
2016-10-01 | 1517994
2016-11-01 | 988710
2016-12-01 | 221375
2017-01-01 | 152207
2017-02-01 | 221770
2017-03-01 | 947971
13049211
7. Unforseen Problems or Barriers in the Tariff.
There are no unforeseen problems or barriers.
8. Measurement to Cap
Net Metering Activity to Cap as of March 31, 2017
| Maximum Cap kW | Current Enrolled kW
| 923000 | 160530.1