## Base
Front Office Trade Partial Displacement
Displacement in Base Case
| Year | Displaced Resource | 2017 IRP - Resource Size | Partial Displacement Summer | Partial Displacement Winter | Remaining MW | FOT Type |  | IRP Additions (Namepate MW) |  |  |  | Base Case Displacement (Deferred Namaplate MW)
| 2017 | IRP17 FOT NOB - SMR | 90.3 | 90.3 | 90.3 | 0 | Summer | Year | IRP Thermal | IRP Baseload Renewable | IRP Solar | IRP Wind | Thermal | Solar | Wind | FOT Summer | FOT Winter
| 2017 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.023 | -11.023
| 2017 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79.4791 | 79.4791
| 2017 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335.0827 | 303.1
| 2017 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 462.7 | 296.4
| 2017 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2021 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 395.2 | 302.8
| 2017 | IRP17 FOT MidColumbia - SMR | 311.4 | 311.4 | 311.4 | 0 | Summer | 2022 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 444.8 | 304.6
| 2017 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2023 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 418.7 | 310.3
| 2017 | IRP17 FOT MidColumbia - WTR | 253.2 | 253.2 | 253.2 | 0 | Winter | 2024 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 428.2 | 304
| 2018 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2025 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 537.8 | 316.9
| 2018 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2026 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 499.3 | 329.6
| 2018 | IRP17 FOT NOB - SMR | 3.8 | 3.8 | 3.8 | 0 | Summer | 2027 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 500 | 343.4
| 2018 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2028 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 1247 | 357.4
| 2018 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2029 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 1575 | 757.9
| 2018 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2030 | 0 | 0 | 650.848 | 1431.3 | 0 | 650.848 | 577.9949 | 1575 | 793.6
| 2018 | IRP17 FOT MidColumbia - WTR | 308 | 308 | 308 | 0 | Winter | 2031 | 0 | 0 | 745.457 | 1431.3 | 0 | 745.457 | 577.9949 | 1575 | 809.4
| 2018 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2032 | 0 | 0 | 877.752 | 1431.3 | 0 | 877.752 | 577.9949 | 1575 | 776.4
| 2018 | IRP17 FOT MidColumbia - SMR | 315.1 | 315.1 | 315.1 | 0 | Summer | 2033 | 0 | 0 | 1854.098 | 2231.3 | 0 | 1854.098 | 577.9949 | 1006.0433 | 867.7
| 2019 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2034 | 0 | 0 | 1854.098 | 2231.3 | 0 | 1854.098 | 577.9949 | 965.1298 | 875
| 2019 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2035 | 0 | 0 | 1860.098 | 2563.916 | 0 | 1860.098 | 577.9949 | 945.7593 | 945.7593
| 2019 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2036 | 0 | 0 | 1860.098 | 2713.026 | 0 | 1860.098 | 577.9949 | 665.1721 | 665.1721
| 2019 | IRP17 FOT NOB - SMR | 100 | 100 | 100 | 0 | Summer
| 2019 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2019 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - WTR | 303.1 | 303.1 | 303.1 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - SMR - 2 | 123.6 | 123.6 | 123.6 | 0 | Summer
| 2019 | IRP17 FOT MidColumbia - SMR | 400 | 400 | 400 | 0 | Summer
| 2020 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT NOB - SMR | 70.9 | 70.9 | 70.9 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT MidColumbia - WTR | 296.4 | 296.4 | 296.4 | 0 | Winter
| 2020 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR | 391.8 | 391.8 | 391.8 | 0 | Summer
| 2021 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
1 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
3 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2021 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2021 | IRP17 FOT NOB - WTR | 302.8 | 0 | 302.8 | 0 | Winter
6 | 2021 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2021 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
8 | 2021 | IRP17 FOT MidColumbia - WTR | 395.2 | 395.2 | 0 | 395.2 | Winter
| 2022 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2022 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
1 | 2022 | IRP17 FOT MidColumbia - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2022 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
3 | 2022 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2022 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2022 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2022 | IRP17 FOT NOB - SMR | 304.6 | 0 | 304.6 | 304.6 | Summer
7 | 2022 | IRP17 FOT COB - SMR | 44.8 | 44.8 | 0 | 0 | Summer
8 | 2022 | IRP17 FOT MidColumbia - WTR2 | 400 | 400 | 0 | 400 | Winter
| 2023 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2023 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
1 | 2023 | IRP17 FOT MidColumbia - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2023 | IRP17 FOT Mona - WTR | 32 | 32 | 0 | 32 | Winter
3 | 2023 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2023 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2023 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2023 | IRP17 FOT NOB - WTR | 310.3 | 0 | 310.3 | 0 | Winter
7 | 2023 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
8 | 2023 | IRP17 FOT MidColumbia - WTR2 | 386.7 | 386.7 | 0 | 386.7 | Winter
| 2024 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2024 | IRP17 FOT MidColumbia - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2024 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2024 | IRP17 FOT Mona - WTR | 57.8 | 57.8 | 0 | 57.8 | Winter
3 | 2024 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2024 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2024 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2024 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
7 | 2024 | IRP17 FOT NOB - WTR | 370.4 | 370.4 | 0 | 370.4 | Winter
8 | 2024 | IRP17 FOT MidColumbia - SMR - 2 | 304 | 0 | 304 | 304 | Summer
| 2025 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2025 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2025 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2025 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2025 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2025 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2025 | IRP17 FOT NOB - SMR | 37.8 | 37.8 | 0 | 0 | Summer
6 | 2025 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2025 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2025 | IRP17 FOT MidColumbia - SMR - 2 | 316.9 | 0 | 316.9 | 316.9 | Summer
| 2026 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2026 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2026 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2026 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2026 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2026 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2026 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2026 | IRP17 FOT COB - SMR | 399.3 | 399.3 | 0 | 0 | Summer
7 | 2026 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2026 | IRP17 FOT MidColumbia - SMR - 2 | 329.6 | 0 | 329.6 | 329.6 | Summer
| 2027 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2027 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2027 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2027 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2027 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2027 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2027 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2027 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2027 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2027 | IRP17 FOT MidColumbia - SMR - 2 | 343.4 | 0 | 343.4 | 343.4 | Summer
| 2028 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2028 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2028 | IRP17 FOT MidColumbia - WTR | 142.3 | 142.3 | 0 | 142.3 | Winter
2 | 2028 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2028 | IRP17 FOT Mona - WTR | 229.7 | 229.7 | 0 | 229.7 | Winter
4 | 2028 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2028 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2028 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2028 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2028 | IRP17 FOT MidColumbia - SMR - 2 | 357.4 | 0 | 357.4 | 357.4 | Summer
| 2029 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2029 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2029 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2029 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2029 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2029 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2029 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2029 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2029 | IRP17 FOT NOB - WTR | 257.9 | 0 | 257.9 | 0 | Winter
8 | 2029 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2030 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2030 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822
| 2030 | IRP17 SOregonCal Solar | 21.262 | 13.7785 | 13.7785 | 7.4835
| 2030 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
0 | 2030 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2030 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2030 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2030 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2030 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2030 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2030 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2030 | IRP17 FOT NOB - WTR | 293.6 | 0 | 293.6 | 0 | Winter
8 | 2030 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2031 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2031 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822
| 2031 | IRP17 SOregonCal Solar | 115.871 | 75.0881 | 75.0881 | 40.7829
| 2031 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
0 | 2031 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2031 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2031 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2031 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2031 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2031 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2031 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2031 | IRP17 FOT NOB - WTR | 309.4 | 0 | 309.4 | 0 | Winter
8 | 2031 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2032 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2032 | IRP17 Yakima Solar | 641.623 | 345.5871 | 345.5871 | 296.0359
| 2032 | IRP17 SOregonCal Solar | 236.129 | 153.0191 | 153.0191 | 83.1099
| 2032 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
0 | 2032 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2032 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2032 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2032 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2032 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2032 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2032 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2032 | IRP17 FOT NOB - WTR | 276.4 | 0 | 276.4 | 0 | Winter
8 | 2032 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2033 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2033 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2033 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2033 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2033 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588
| 2033 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
0 | 2033 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2033 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2033 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2033 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2033 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2033 | IRP17 FOT NOB - SMR | 375 | 206.0433 | 0 | 168.9567 | Summer
6 | 2033 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
7 | 2033 | IRP17 FOT NOB - WTR | 367.7 | 0 | 367.7 | 0 | Winter
8 | 2033 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2034 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2034 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2034 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2034 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2034 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588
| 2034 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
0 | 2034 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2034 | IRP17 FOT MidColumbia - WTR | 289.4 | 289.4 | 0 | 289.4 | Winter
2 | 2034 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2034 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2034 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2034 | IRP17 FOT NOB - SMR | 375 | 175.7298 | 0 | 199.2702 | Summer
6 | 2034 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
7 | 2034 | IRP17 FOT NOB - WTR | 375 | 0 | 375 | 0 | Winter
8 | 2034 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2035 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2035 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2035 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2035 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2035 | IRP17 Utah South Solar T | 800.102 | 476.8432 | 476.8432 | 323.2588
| 2035 | IRP17 Utah South Solar F | 5 | 0.59672 | 0.59672 | 4.4033
| 2035 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
| 2035 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515
| 2035 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554
| 2035 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547
0 | 2035 | IRP17 FOT MidColumbia - WTR2 | 300 | 0 | 300 | 0 | Winter
1 | 2035 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2035 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2035 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2035 | IRP17 FOT Mona - SMR | 375 | 145.7593 | 0 | 229.2407 | Summer
5 | 2035 | IRP17 FOT NOB - SMR | 400 | 0 | 0 | 400 | Summer
6 | 2035 | IRP17 FOT COB - SMR | 100 | 0 | 100 | 100 | Summer
7 | 2035 | IRP17 FOT MidColumbia - SMR - 2 | 231.4 | 0 | 231.4 | 231.4 | Summer
8 | 2035 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 314.3593 | 400 | Summer
| 2036 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2036 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2036 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2036 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2036 | IRP17 Utah South Solar T | 800.102 | 476.8432 | 476.8432 | 323.2588
| 2036 | IRP17 Utah South Solar F | 5 | 0.59672 | 0.59672 | 4.4033
| 2036 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
| 2036 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515
| 2036 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554
| 2036 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547
|  | IRP17 UT Wind | 149.11 | 0 | 0 | 149.11
0 | 2036 | IRP17 FOT MidColumbia - WTR2 | 300 | 0 | 300 | 0 | Winter
1 | 2036 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2036 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2036 | IRP17 FOT Mona - WTR | 369.3 | 265.1721 | 0 | 369.3 | Winter
4 | 2036 | IRP17 FOT Mona - SMR | 375 | 0 | 0 | 375 | Summer
5 | 2036 | IRP17 FOT NOB - SMR | 400 | 0 | 0 | 400 | Summer
6 | 2036 | IRP17 FOT COB - SMR | 100 | 0 | 100 | 100 | Summer
7 | 2036 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 265.1721 | 375 | Summer
8 | 2036 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer

## AC
Front Office Trade Partial Displacement
Displacement in Base Case
| Year | Displaced Resource | 2017 IRP - Resource Size | Partial Displacement Summer | Partial Displacement Winter | Remaining MW | FOT Type |  | IRP Additions (Namepate MW) |  |  |  | Base Case Displacement (Deferred MW)
| 2017 | IRP17 FOT NOB - SMR | 90.3 | 90.3 | 90.3 | 0 | Summer | Year | IRP Thermal | IRP Baseload Renewable | IRP Solar | IRP Wind | Thermal | Solar | Wind | FOT Summer | FOT Winter
| 2017 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.023 | -11.023
| 2017 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79.4791 | 79.4791
| 2017 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335.0827 | 303.1
| 2017 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 462.7 | 296.4
| 2017 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2021 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 395.2 | 302.8
| 2017 | IRP17 FOT MidColumbia - SMR | 311.4 | 311.4 | 311.4 | 0 | Summer | 2022 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 444.8 | 304.6
| 2017 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2023 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 418.7 | 310.3
| 2017 | IRP17 FOT MidColumbia - WTR | 253.2 | 253.2 | 253.2 | 0 | Winter | 2024 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 428.2 | 304
| 2018 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2025 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 537.8 | 316.9
| 2018 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2026 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 499.3 | 329.6
| 2018 | IRP17 FOT NOB - SMR | 3.8 | 3.8 | 3.8 | 0 | Summer | 2027 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 500 | 343.4
| 2018 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2028 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 1247 | 357.4
| 2018 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2029 | 0 | 0 | 0 | 1310.6 | 0 | 0 | 577.9949 | 1575 | 757.9
| 2018 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2030 | 0 | 0 | 650.848 | 1431.3 | 0 | 650.848 | 577.9949 | 1575 | 793.6
| 2018 | IRP17 FOT MidColumbia - WTR | 308 | 308 | 308 | 0 | Winter | 2031 | 0 | 0 | 745.457 | 1431.3 | 0 | 745.457 | 577.9949 | 1575 | 809.4
| 2018 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2032 | 0 | 0 | 877.752 | 1431.3 | 0 | 877.752 | 577.9949 | 1575 | 776.4
| 2018 | IRP17 FOT MidColumbia - SMR | 315.1 | 315.1 | 315.1 | 0 | Summer | 2033 | 0 | 0 | 1854.098 | 2231.3 | 0 | 1854.098 | 577.9949 | 1006.0433 | 867.7
| 2019 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2034 | 0 | 0 | 1854.098 | 2231.3 | 0 | 1854.098 | 577.9949 | 965.1298 | 875
| 2019 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2035 | 0 | 0 | 1860.098 | 2563.916 | 0 | 1860.098 | 577.9949 | 945.7593 | 945.7593
| 2019 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2036 | 0 | 0 | 1860.098 | 2713.026 | 0 | 1860.098 | 577.9949 | 665.1721 | 665.1721
| 2019 | IRP17 FOT NOB - SMR | 100 | 100 | 100 | 0 | Summer
| 2019 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2019 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - WTR | 303.1 | 303.1 | 303.1 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - SMR - 2 | 123.6 | 123.6 | 123.6 | 0 | Summer
| 2019 | IRP17 FOT MidColumbia - SMR | 400 | 400 | 400 | 0 | Summer
| 2020 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT NOB - SMR | 70.9 | 70.9 | 70.9 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT MidColumbia - WTR | 296.4 | 296.4 | 296.4 | 0 | Winter
| 2020 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR | 391.8 | 391.8 | 391.8 | 0 | Summer
| 2021 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
1 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
3 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2021 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2021 | IRP17 FOT NOB - WTR | 302.8 | 0 | 302.8 | 0 | Winter
6 | 2021 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2021 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
8 | 2021 | IRP17 FOT MidColumbia - WTR | 395.2 | 395.2 | 0 | 395.2 | Winter
| 2022 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2022 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
1 | 2022 | IRP17 FOT MidColumbia - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2022 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
3 | 2022 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2022 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2022 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2022 | IRP17 FOT NOB - SMR | 304.6 | 0 | 304.6 | 304.6 | Summer
7 | 2022 | IRP17 FOT COB - SMR | 44.8 | 44.8 | 0 | 0 | Summer
8 | 2022 | IRP17 FOT MidColumbia - WTR2 | 400 | 400 | 0 | 400 | Winter
| 2023 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2023 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
1 | 2023 | IRP17 FOT MidColumbia - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2023 | IRP17 FOT Mona - WTR | 32 | 32 | 0 | 32 | Winter
3 | 2023 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2023 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2023 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2023 | IRP17 FOT NOB - WTR | 310.3 | 0 | 310.3 | 0 | Winter
7 | 2023 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
8 | 2023 | IRP17 FOT MidColumbia - WTR2 | 386.7 | 386.7 | 0 | 386.7 | Winter
| 2024 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2024 | IRP17 FOT MidColumbia - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2024 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2024 | IRP17 FOT Mona - WTR | 57.8 | 57.8 | 0 | 57.8 | Winter
3 | 2024 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2024 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2024 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2024 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
7 | 2024 | IRP17 FOT NOB - WTR | 370.4 | 370.4 | 0 | 370.4 | Winter
8 | 2024 | IRP17 FOT MidColumbia - SMR - 2 | 304 | 0 | 304 | 304 | Summer
| 2025 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2025 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2025 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2025 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2025 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2025 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2025 | IRP17 FOT NOB - SMR | 37.8 | 37.8 | 0 | 0 | Summer
6 | 2025 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2025 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2025 | IRP17 FOT MidColumbia - SMR - 2 | 316.9 | 0 | 316.9 | 316.9 | Summer
| 2026 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2026 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2026 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2026 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2026 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2026 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2026 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2026 | IRP17 FOT COB - SMR | 399.3 | 399.3 | 0 | 0 | Summer
7 | 2026 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2026 | IRP17 FOT MidColumbia - SMR - 2 | 329.6 | 0 | 329.6 | 329.6 | Summer
| 2027 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2027 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2027 | IRP17 FOT MidColumbia - WTR | 0 | 0 | 0 | 0 | Winter
2 | 2027 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2027 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
4 | 2027 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2027 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
6 | 2027 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2027 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2027 | IRP17 FOT MidColumbia - SMR - 2 | 343.4 | 0 | 343.4 | 343.4 | Summer
| 2028 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2028 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2028 | IRP17 FOT MidColumbia - WTR | 142.3 | 142.3 | 0 | 142.3 | Winter
2 | 2028 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2028 | IRP17 FOT Mona - WTR | 229.7 | 229.7 | 0 | 229.7 | Winter
4 | 2028 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
5 | 2028 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2028 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2028 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2028 | IRP17 FOT MidColumbia - SMR - 2 | 357.4 | 0 | 357.4 | 357.4 | Summer
| 2029 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
0 | 2029 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2029 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2029 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2029 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2029 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2029 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2029 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2029 | IRP17 FOT NOB - WTR | 257.9 | 0 | 257.9 | 0 | Winter
8 | 2029 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2030 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2030 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822
| 2030 | IRP17 SOregonCal Solar | 21.262 | 13.7785 | 13.7785 | 7.4835
| 2030 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
0 | 2030 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2030 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2030 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2030 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2030 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2030 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2030 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2030 | IRP17 FOT NOB - WTR | 293.6 | 0 | 293.6 | 0 | Winter
8 | 2030 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2031 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2031 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822
| 2031 | IRP17 SOregonCal Solar | 115.871 | 75.0881 | 75.0881 | 40.7829
| 2031 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
0 | 2031 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2031 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2031 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2031 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2031 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2031 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2031 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2031 | IRP17 FOT NOB - WTR | 309.4 | 0 | 309.4 | 0 | Winter
8 | 2031 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2032 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2032 | IRP17 Yakima Solar | 641.623 | 345.5871 | 345.5871 | 296.0359
| 2032 | IRP17 SOregonCal Solar | 236.129 | 153.0191 | 153.0191 | 83.1099
| 2032 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
0 | 2032 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2032 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2032 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2032 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2032 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2032 | IRP17 FOT NOB - SMR | 375 | 375 | 0 | 0 | Summer
6 | 2032 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
7 | 2032 | IRP17 FOT NOB - WTR | 276.4 | 0 | 276.4 | 0 | Winter
8 | 2032 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2033 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2033 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2033 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2033 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2033 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588
| 2033 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
0 | 2033 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2033 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2033 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2033 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2033 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2033 | IRP17 FOT NOB - SMR | 375 | 306.0433 | 0 | 68.9567 | Summer
6 | 2033 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
7 | 2033 | IRP17 FOT NOB - WTR | 367.7 | 0 | 367.7 | 0 | Winter
8 | 2033 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2034 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2034 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2034 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2034 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2034 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588
| 2034 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
0 | 2034 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
1 | 2034 | IRP17 FOT MidColumbia - WTR | 289.4 | 289.4 | 0 | 289.4 | Winter
2 | 2034 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2034 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2034 | IRP17 FOT Mona - SMR | 100 | 0 | 100 | 100 | Summer
5 | 2034 | IRP17 FOT NOB - SMR | 375 | 275.7298 | 0 | 99.2702 | Summer
6 | 2034 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
7 | 2034 | IRP17 FOT NOB - WTR | 375 | 0 | 375 | 0 | Winter
8 | 2034 | IRP17 FOT MidColumbia - SMR - 2 | 400 | 0 | 400 | 400 | Summer
| 2035 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2035 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2035 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2035 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2035 | IRP17 Utah South Solar T | 800.102 | 476.8432 | 476.8432 | 323.2588
| 2035 | IRP17 Utah South Solar F | 5 | 0.59672 | 0.59672 | 4.4033
| 2035 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
| 2035 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515
| 2035 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554
| 2035 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547
0 | 2035 | IRP17 FOT MidColumbia - WTR2 | 300 | 0 | 300 | 0 | Winter
1 | 2035 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2035 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2035 | IRP17 FOT Mona - WTR | 400 | 400 | 0 | 400 | Winter
4 | 2035 | IRP17 FOT Mona - SMR | 375 | 245.7593 | 0 | 129.2407 | Summer
5 | 2035 | IRP17 FOT NOB - SMR | 400 | 0 | 0 | 400 | Summer
6 | 2035 | IRP17 FOT COB - SMR | 100 | 0 | 100 | 100 | Summer
7 | 2035 | IRP17 FOT MidColumbia - SMR - 2 | 231.4 | 0 | 231.4 | 231.4 | Summer
8 | 2035 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 400 | 400 | Summer
| 2036 | Energy Vision 2020 Wind | 1311 | 91.3232 | 91.3232 | 1219.6768
| 2036 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991
| 2036 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471
| 2036 | IRP17 Dave Johnston Wind | 120.7 | 0 | 0 | 120.7
| 2036 | IRP17 Utah South Solar T | 800.102 | 476.8432 | 476.8432 | 323.2588
| 2036 | IRP17 Utah South Solar F | 5 | 0.59672 | 0.59672 | 4.4033
| 2036 | IRP17 Goshen Wind 2 | 800 | 0 | 0 | 800
| 2036 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515
| 2036 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554
| 2036 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547
|  | IRP17 UT Wind | 149.11 | 0 | 0 | 149.11
0 | 2036 | IRP17 FOT MidColumbia - WTR2 | 300 | 0 | 300 | 0 | Winter
1 | 2036 | IRP17 FOT MidColumbia - WTR | 300 | 300 | 0 | 300 | Winter
2 | 2036 | IRP17 FOT Mona - WTR | 100 | 100 | 0 | 100 | Winter
3 | 2036 | IRP17 FOT Mona - WTR | 369.3 | 365.1721 | 0 | 369.3 | Winter
4 | 2036 | IRP17 FOT Mona - SMR | 375 | 0 | 0 | 375 | Summer
5 | 2036 | IRP17 FOT NOB - SMR | 400 | 0 | 0 | 400 | Summer
6 | 2036 | IRP17 FOT COB - SMR | 100 | 0 | 100 | 100 | Summer
7 | 2036 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 365.1721 | 375 | Summer
8 | 2036 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer

## Displacement
Partial Displacement (MW) | [23 empty] | Nameplate Capacity (MW)
BASE | [11 empty] | AC | [11 empty] | BASE | [11 empty] | AC
Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8% | Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8% | Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8% | Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8%
Cumulative Displ CC Adjusted | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind | Cumulative Displ CC Adjusted | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind | Cumulative Displ Nameplate | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind | Cumulative Displ Nameplate | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 0 | 0 | 0 | 0 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 0 | 0 | 0 | 0 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 339.1038 | 0 | 0 | 13.7785 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2030 | 339.1038 | 0 | 0 | 13.7785 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2030 | 629.586 | 0 | 0 | 21.262 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2030 | 629.586 | 0 | 0 | 21.262 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 339.1038 | 0 | 0 | 75.0881 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 339.1038 | 0 | 0 | 75.0881 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 629.586 | 0 | 0 | 115.871 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 629.586 | 0 | 0 | 115.871 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 345.5871 | 0 | 0 | 153.0191 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2032 | 345.5871 | 0 | 0 | 153.0191 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2032 | 641.623 | 0 | 0 | 236.129 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2032 | 641.623 | 0 | 0 | 236.129 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 350.0969 | 476.8432 | 0 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2033 | 350.0969 | 476.8432 | 0 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2033 | 649.996 | 799.102 | 0 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2033 | 649.996 | 799.102 | 0 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 350.0969 | 476.8432 | 0 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2034 | 350.0969 | 476.8432 | 0 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2034 | 649.996 | 799.102 | 0 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2034 | 649.996 | 799.102 | 0 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2035 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2035 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2035 | 649.996 | 800.102 | 5 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2035 | 649.996 | 800.102 | 5 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2036 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 91.3232 | 0 | 0 | 0 | 0 | 0 | 0 | 2036 | 649.996 | 800.102 | 5 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0 | 2036 | 649.996 | 800.102 | 5 | 405 | 577.9949 | 0 | 0 | 0 | 0 | 0 | 0
2017 |  |  |  | 0 | [11 empty] | 0
2018 |  |  |  | 0 | [11 empty] | 0
2019 |  |  |  | 0 | [11 empty] | 0
2020 |  |  |  | 0 | [11 empty] | 0
2021 |  |  |  | 0 | [11 empty] | 0
2022 |  |  |  | 0 | [11 empty] | 0
2023 |  |  |  | 0 | [11 empty] | 0
2024 |  |  |  | 0 | [11 empty] | 0
2025 |  |  |  | 0 | [11 empty] | 0
2026 |  |  |  | 0 | [11 empty] | 0
2027 |  |  |  | 0 | [11 empty] | 0
2028 |  |  |  | 0 | [11 empty] | 0
2029 |  |  |  | 0 | [11 empty] | 0
2030 |  |  |  | 3.4508 | [11 empty] | 3.4508
2031 |  |  |  | 64.7605 | [11 empty] | 64.7605
2032 |  |  |  | 142.6915 | [11 empty] | 142.6915
2033 |  |  |  | 252.1252 | [11 empty] | 252.1252
2034 |  |  |  | 252.1252 | [11 empty] | 252.1252
2035 |  |  |  | 252.1252 | [11 empty] | 252.1252
2036 |  |  |  | 252.1252 | [11 empty] | 252.1252