## Base
Front Office Trade Partial Displacement
Displacement in Base Case
| Year | Displaced Resource | Resource Size | Partial Displacement Summer | Partial Displacement Winter | Remaining MW | FOT Type |  | IRP Additions (Nameplate MW) |  |  |  | Base Case Displacement (Deferred MW)
| 2017 | IRP17 FOT NOB - SMR | 90.3 | -10.3925 | -10.3925 | 100.6925 | Summer | Year | IRP Thermal | IRP Baseload Renewable | IRP Solar | IRP Wind | Thermal | Solar | Wind | FOT Summer | FOT Winter
| 2017 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.016 | -11.016
| 2017 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -218.1089 | -218.1089
| 2017 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -171.328 | -171.328
| 2017 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.5324 | 16.5324
| 2017 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter | 2021 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 395.2 | 302.8
| 2017 | IRP17 FOT MidColumbia - SMR | 311.4 | 0 | 0 | 311.4 | Summer | 2022 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 444.8 | 304.6
| 2017 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2023 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 418.7 | 310.3
| 2017 | IRP17 FOT MidColumbia - WTR | 253.2 | 0 | 0 | 253.2 | Winter | 2024 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 428.2 | 304
| 2017 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2025 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 537.8 | 316.9
| 2018 | IRP17 FOT NOB - SMR | 3.8 | -205.7631 | -205.7631 | 209.5631 | Summer | 2026 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 499.3 | 329.6
| 2018 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2027 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 500 | 343.4
| 2018 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2028 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 1175.2207 | 357.4
| 2018 | IRP17 FOT MidColumbia - SMR | 315.1 | 0 | 0 | 315.1 | Summer | 2029 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 1175.1617 | 757.9
| 2018 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2030 | 0 | 0 | 650.848 | 1750.2 | 0 | 650.848 | 536.5 | 763.6632 | 763.6632
| 2018 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2031 | 0 | 0 | 745.457 | 1750.2 | 0 | 745.457 | 536.5 | 698.695 | 698.695
| 2018 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter | 2032 | 0 | 0 | 877.752 | 1750.2 | 0 | 877.752 | 536.5 | 610.9467 | 610.9467
| 2018 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2033 | 0 | 0 | 1854.098 | 2550.2 | 0 | 1854.098 | 536.5 | 17.2644 | 17.2644
| 2018 | IRP17 FOT MidColumbia - WTR | 308 | 0 | 0 | 308 | Winter | 2034 | 0 | 0 | 1854.098 | 2550.2 | 0 | 1854.098 | 536.5 | 17.1232 | 17.1232
| 2018 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2035 | 0 | 0 | 1860.098 | 2882.816 | 0 | 1860.098 | 536.5 | 14.4903 | 14.4903
| 2019 | IRP17 FOT Mona - SMR | 0 | -161.6301 | -161.6301 | 161.6301 | Summer | 2036 | 0 | 0 | 1860.098 | 3031.926 | 0 | 1860.098 | 536.5 | 14.3505 | 14.3505
| 2019 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
| 2019 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2019 | IRP17 FOT MidColumbia - SMR - 2 | 123.6 | 0 | 0 | 123.6 | Summer
| 2019 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
| 2019 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - WTR | 303.1 | 0 | 0 | 303.1 | Winter
| 2019 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT NOB - SMR | 70.9 | 15.5966 | 0 | 55.3034 | Summer
| 2020 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR | 391.8 | 0 | 0 | 391.8 | Summer
| 2020 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT MidColumbia - WTR | 296.4 | 0 | 15.5966 | 280.8034 | Winter
| 2020 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2021 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150
0 | 2021 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2021 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2021 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
3 | 2021 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
4 | 2021 | IRP17 FOT MidColumbia - SMR | 395.2 | 372.8302 | 0 | 22.3698 | Summer
5 | 2021 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2021 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2021 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2021 | IRP17 FOT MidColumbia - WTR | 302.8 | 0 | 285.6604 | 17.1396 | Winter
9 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2022 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150
0 | 2022 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2022 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2022 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
3 | 2022 | IRP17 FOT MidColumbia - SMR - 2 | 44.8 | 44.8 | 0 | 0 | Summer
4 | 2022 | IRP17 FOT MidColumbia - SMR | 400 | 374.8226 | 0 | 25.1774 | Summer
5 | 2022 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2022 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2022 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2022 | IRP17 FOT MidColumbia - WTR | 304.6 | 0 | 287.3585 | 17.2415 | Winter
9 | 2022 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2023 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2023 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2023 | IRP17 FOT NOB - SMR | 32 | 32 | 0 | 0 | Summer
2 | 2023 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2023 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2023 | IRP17 FOT MidColumbia - SMR | 386.7 | 363 | 0 | 23.7 | Summer
5 | 2023 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2023 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2023 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2023 | IRP17 FOT MidColumbia - WTR | 310.3 | 0 | 292.7358 | 17.5642 | Winter
9 | 2023 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2024 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2024 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2024 | IRP17 FOT NOB - SMR | 57.8 | 57.8 | 0 | 0 | Summer
2 | 2024 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2024 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2024 | IRP17 FOT MidColumbia - SMR | 370.4 | 346.1623 | 0 | 24.2377 | Summer
5 | 2024 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2024 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2024 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2024 | IRP17 FOT MidColumbia - WTR | 304 | 0 | 286.7925 | 17.2075 | Winter
9 | 2024 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2025 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2025 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2025 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2025 | IRP17 FOT MidColumbia - SMR - 2 | 37.8 | 37.8 | 0 | 0 | Summer
3 | 2025 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2025 | IRP17 FOT MidColumbia - SMR | 400 | 369.5585 | 0 | 30.4415 | Summer
5 | 2025 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2025 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2025 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2025 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2025 | IRP17 FOT MidColumbia - WTR | 316.9 | 0 | 298.9623 | 17.9377 | Winter
| 2026 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2026 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2026 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2026 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2026 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2026 | IRP17 FOT MidColumbia - SMR | 399.3 | 371.0377 | 0 | 28.2623 | Summer
5 | 2026 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2026 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2026 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2026 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2026 | IRP17 FOT MidColumbia - WTR | 329.6 | 0 | 310.9434 | 18.6566 | Winter
| 2027 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2027 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2027 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2027 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2027 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2027 | IRP17 FOT MidColumbia - SMR | 400 | 371.6981 | 0 | 28.3019 | Summer
5 | 2027 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2027 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2027 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2027 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2027 | IRP17 FOT MidColumbia - WTR | 343.4 | 0 | 323.9623 | 19.4377 | Winter
| 2028 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2028 | IRP17 FOT Mona - SMR | 142.3 | 142.3 | 0 | 0 | Summer
1 | 2028 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2028 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 375 | 0 | 0 | Summer
3 | 2028 | IRP17 FOT COB - SMR | 229.7 | 229.7 | 0 | 0 | Summer
4 | 2028 | IRP17 FOT MidColumbia - SMR | 400 | 261.6988 | 0 | 138.3012 | Summer
5 | 2028 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2028 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2028 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2028 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2028 | IRP17 FOT MidColumbia - WTR | 357.4 | 0 | 337.1698 | 20.2302 | Winter
| 2029 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2029 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2029 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2029 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 375 | 0 | 0 | Summer
3 | 2029 | IRP17 FOT COB - SMR | 400 | 333.6431 | 0 | 66.3569 | Summer
4 | 2029 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2029 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2029 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2029 | IRP17 FOT MidColumbia - WTR2 | 257.9 | 0 | 257.9 | 0 | Winter
8 | 2029 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2029 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 357.1 | 42.9 | Winter
| 2030 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2030 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822 | Winter
| 2030 | IRP17 SOregonCal Solar | 21.262 | 13.7785 | 13.7785 | 7.4835 | Winter
| 2030 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2030 | IRP17 Goshen Wind | 161 | 25.438 | 25.438 | 135.562 | Winter
| 2030 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
0 | 2030 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2030 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2030 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 320.437 | 0 | 54.563 | Summer
3 | 2030 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2030 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2030 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2030 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2030 | IRP17 FOT MidColumbia - WTR2 | 293.6 | 0 | 293.6 | 0 | Winter
8 | 2030 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2030 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 326.837 | 73.163 | Winter
| 2031 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2031 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822 | Winter
| 2031 | IRP17 SOregonCal Solar | 115.871 | 75.0881 | 75.0881 | 40.7829 | Winter
| 2031 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2031 | IRP17 Goshen Wind | 161 | 25.438 | 25.438 | 135.562 | Winter
| 2031 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
0 | 2031 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2031 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2031 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 259.1462 | 0 | 115.8538 | Summer
3 | 2031 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2031 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2031 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2031 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2031 | IRP17 FOT MidColumbia - WTR2 | 309.4 | 0 | 309.4 | 0 | Winter
8 | 2031 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2031 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 249.7462 | 150.2538 | Winter
| 2032 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2032 | IRP17 Yakima Solar | 641.623 | 345.5871 | 345.5871 | 296.0359 | Winter
| 2032 | IRP17 SOregonCal Solar | 236.129 | 153.0191 | 153.0191 | 83.1099 | Winter
| 2032 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2032 | IRP17 Goshen Wind | 161 | 25.438 | 25.438 | 135.562 | Winter
| 2032 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
0 | 2032 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2032 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2032 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 176.3648 | 0 | 198.6352 | Summer
3 | 2032 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2032 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2032 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2032 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2032 | IRP17 FOT MidColumbia - WTR2 | 276.4 | 0 | 276.4 | 0 | Winter
8 | 2032 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2032 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 199.9648 | 200.0352 | Winter
| 2033 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2033 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2033 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2033 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2033 | IRP17 Goshen Wind 2 | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2033 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2033 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588 | Winter
0 | 2033 | IRP17 FOT Mona - SMR | 300 | 16.2872 | 0 | 283.7128 | Summer
1 | 2033 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2033 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2033 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2033 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2033 | IRP17 FOT NOB - WTR | 100 | 0 | 16.2872 | 83.7128 | Winter
6 | 2033 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2033 | IRP17 FOT MidColumbia - WTR2 | 367.7 | 0 | 0 | 367.7 | Winter
8 | 2033 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2033 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter
| 2034 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2034 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2034 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2034 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2034 | IRP17 Goshen Wind 2 | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2034 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2034 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588 | Winter
0 | 2034 | IRP17 FOT Mona - SMR | 289.4 | 16.1539 | 0 | 273.2461 | Summer
1 | 2034 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2034 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2034 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2034 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2034 | IRP17 FOT NOB - WTR | 100 | 0 | 16.1539 | 83.8461 | Winter
6 | 2034 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2034 | IRP17 FOT MidColumbia - WTR2 | 375 | 0 | 0 | 375 | Winter
8 | 2034 | IRP17 FOT COB - WTR | 49.1 | 0 | 0 | 49.1 | Winter
9 | 2034 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter
| 2035 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2035 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2035 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2035 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2035 | IRP17 Goshen Wind 2 | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2035 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2035 | IRP17 Utah South Solar T | 800.102 | 477.4399 | 477.4399 | 322.6621 | Winter
| 2035 | IRP17 Utah South Solar F | 5 | 1.8956 | 1.8956 | 3.1044 | Winter
| 2035 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515 | Winter
| 2035 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554 | Winter
| 2035 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547 | Winter
0 | 2035 | IRP17 FOT Mona - SMR | 300 | 13.6701 | 0 | 286.3299 | Summer
1 | 2035 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2035 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2035 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2035 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2035 | IRP17 FOT NOB - WTR | 100 | 0 | 13.6701 | 86.3299 | Winter
6 | 2035 | IRP17 FOT Mona - WTR | 300 | 0 | 0 | 300 | Winter
7 | 2035 | IRP17 FOT MidColumbia - WTR2 | 231.4 | 0 | 0 | 231.4 | Winter
8 | 2035 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2035 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter
| 2036 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2036 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2036 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2036 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2036 | IRP17 Dave Johnston Wind | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2036 | IRP17 Utah South Solar T | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2036 | IRP17 Utah South Solar F | 800.102 | 477.4399 | 477.4399 | 322.6621 | Winter
| 2036 | IRP17 Goshen Wind 2 | 5 | 1.8956 | 1.8956 | 3.1044 | Winter
| 2036 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515 | Winter
| 2036 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554 | Winter
| 2036 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547 | Winter
0 | 2036 | IRP17 FOT Mona - SMR | 300 | 13.5382 | 0 | 286.4618 | Summer
1 | 2036 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2036 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2036 | IRP17 FOT COB - SMR | 369.3 | 0 | 0 | 369.3 | Summer
4 | 2036 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2036 | IRP17 FOT NOB - WTR | 100 | 0 | 13.5382 | 86.4618 | Winter
6 | 2036 | IRP17 FOT Mona - WTR | 300 | 0 | 0 | 300 | Winter
7 | 2036 | IRP17 FOT MidColumbia - WTR2 | 375 | 0 | 0 | 375 | Winter
8 | 2036 | IRP17 FOT COB - WTR | 311 | 0 | 0 | 311 | Winter
9 | 2036 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter

## AC
Front Office Trade Partial Displacement
Displacement in Base Case
| Year | Displaced Resource | 2017 IRP - Resource Size | Partial Displacement Summer | Partial Displacement Winter | Remaining MW | FOT Type |  | IRP Additions (Namepate MW) |  |  |  | AC Case Displacement (Deferred MW)
| 2017 | IRP17 FOT NOB - SMR | 90.3 | -10.3925 | -10.3925 | 100.6925 | Summer | Year | IRP Thermal | IRP Baseload Renewable | IRP Solar | IRP Wind | Thermal | Solar | Wind | FOT Summer | FOT Winter
| 2017 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.016 | -11.016
| 2017 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -118.1089 | -118.1089
| 2017 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -71.328 | -71.328
| 2017 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116.5324 | 116.5324
| 2017 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter | 2021 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 395.2 | 302.8
| 2017 | IRP17 FOT MidColumbia - SMR | 311.4 | 0 | 0 | 311.4 | Summer | 2022 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 444.8 | 304.6
| 2017 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2023 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 418.7 | 310.3
| 2017 | IRP17 FOT MidColumbia - WTR | 253.2 | 0 | 0 | 253.2 | Winter | 2024 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 428.2 | 304
| 2017 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2025 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 537.8 | 316.9
| 2018 | IRP17 FOT NOB - SMR | 3.8 | -111.4235 | -111.4235 | 115.2235 | Summer | 2026 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 499.3 | 329.6
| 2018 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer | 2027 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 500 | 343.4
| 2018 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer | 2028 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 1247 | 357.4
| 2018 | IRP17 FOT MidColumbia - SMR | 315.1 | 0 | 0 | 315.1 | Summer | 2029 | 0 | 0 | 0 | 1149.3 | 0 | 0 | 0 | 1275.1617 | 757.9
| 2018 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer | 2030 | 0 | 0 | 650.848 | 1750.2 | 0 | 650.848 | 536.5 | 863.6632 | 793.6
| 2018 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter | 2031 | 0 | 0 | 745.457 | 1750.2 | 0 | 745.457 | 536.5 | 798.695 | 798.695
| 2018 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter | 2032 | 0 | 0 | 877.752 | 1750.2 | 0 | 877.752 | 536.5 | 710.9467 | 710.9467
| 2018 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter | 2033 | 0 | 0 | 1854.098 | 2550.2 | 0 | 1854.098 | 536.5 | 117.2644 | 117.2644
| 2018 | IRP17 FOT MidColumbia - WTR | 308 | 0 | 0 | 308 | Winter | 2034 | 0 | 0 | 1854.098 | 2550.2 | 0 | 1854.098 | 536.5 | 117.1232 | 117.1232
| 2018 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter | 2035 | 0 | 0 | 1860.098 | 2882.816 | 0 | 1860.098 | 536.5 | 114.4903 | 114.4903
| 2019 | IRP17 FOT Mona - SMR | 0 | -67.2905 | -67.2905 | 67.2905 | Summer | 2036 | 0 | 0 | 1860.098 | 3031.926 | 0 | 1860.098 | 536.5 | 114.3505 | 114.3505
| 2019 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
| 2019 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2019 | IRP17 FOT MidColumbia - SMR - 2 | 123.6 | 0 | 0 | 123.6 | Summer
| 2019 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
| 2019 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2019 | IRP17 FOT MidColumbia - WTR | 303.1 | 0 | 0 | 303.1 | Winter
| 2019 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT NOB - SMR | 70.9 | 70.9 | 0 | 0 | Summer
| 2020 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
| 2020 | IRP17 FOT MidColumbia - SMR | 391.8 | 39.0362 | 0 | 352.7638 | Summer
| 2020 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
| 2020 | IRP17 FOT MidColumbia - WTR | 296.4 | 0 | 109.9362 | 186.4638 | Winter
| 2020 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2021 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150
0 | 2021 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2021 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2021 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
3 | 2021 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
4 | 2021 | IRP17 FOT MidColumbia - SMR | 395.2 | 372.8302 | 0 | 22.3698 | Summer
5 | 2021 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2021 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2021 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2021 | IRP17 FOT MidColumbia - WTR | 302.8 | 0 | 285.6604 | 17.1396 | Winter
9 | 2021 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2022 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150
0 | 2022 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2022 | IRP17 FOT NOB - SMR | 0 | 0 | 0 | 0 | Summer
2 | 2022 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
3 | 2022 | IRP17 FOT MidColumbia - SMR - 2 | 44.8 | 44.8 | 0 | 0 | Summer
4 | 2022 | IRP17 FOT MidColumbia - SMR | 400 | 374.8226 | 0 | 25.1774 | Summer
5 | 2022 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2022 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2022 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2022 | IRP17 FOT MidColumbia - WTR | 304.6 | 0 | 287.3585 | 17.2415 | Winter
9 | 2022 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2023 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2023 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2023 | IRP17 FOT NOB - SMR | 32 | 32 | 0 | 0 | Summer
2 | 2023 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2023 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2023 | IRP17 FOT MidColumbia - SMR | 386.7 | 363 | 0 | 23.7 | Summer
5 | 2023 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2023 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2023 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2023 | IRP17 FOT MidColumbia - WTR | 310.3 | 0 | 292.7358 | 17.5642 | Winter
9 | 2023 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2024 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2024 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2024 | IRP17 FOT NOB - SMR | 57.8 | 57.8 | 0 | 0 | Summer
2 | 2024 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2024 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2024 | IRP17 FOT MidColumbia - SMR | 370.4 | 346.1623 | 0 | 24.2377 | Summer
5 | 2024 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2024 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2024 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2024 | IRP17 FOT MidColumbia - WTR | 304 | 0 | 286.7925 | 17.2075 | Winter
9 | 2024 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
| 2025 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2025 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2025 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2025 | IRP17 FOT MidColumbia - SMR - 2 | 37.8 | 37.8 | 0 | 0 | Summer
3 | 2025 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2025 | IRP17 FOT MidColumbia - SMR | 400 | 369.5585 | 0 | 30.4415 | Summer
5 | 2025 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2025 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2025 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2025 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2025 | IRP17 FOT MidColumbia - WTR | 316.9 | 0 | 298.9623 | 17.9377 | Winter
| 2026 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2026 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2026 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2026 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2026 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2026 | IRP17 FOT MidColumbia - SMR | 399.3 | 371.0377 | 0 | 28.2623 | Summer
5 | 2026 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2026 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
7 | 2026 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
8 | 2026 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2026 | IRP17 FOT MidColumbia - WTR | 329.6 | 0 | 310.9434 | 18.6566 | Winter
| 2027 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2027 | IRP17 FOT Mona - SMR | 0 | 0 | 0 | 0 | Summer
1 | 2027 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2027 | IRP17 FOT MidColumbia - SMR - 2 | 0 | 0 | 0 | 0 | Summer
3 | 2027 | IRP17 FOT COB - SMR | 0 | 0 | 0 | 0 | Summer
4 | 2027 | IRP17 FOT MidColumbia - SMR | 400 | 371.6981 | 0 | 28.3019 | Summer
5 | 2027 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2027 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2027 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2027 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2027 | IRP17 FOT MidColumbia - WTR | 343.4 | 0 | 323.9623 | 19.4377 | Winter
| 2028 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2028 | IRP17 FOT Mona - SMR | 142.3 | 142.3 | 0 | 0 | Summer
1 | 2028 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2028 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 375 | 0 | 0 | Summer
3 | 2028 | IRP17 FOT COB - SMR | 229.7 | 229.7 | 0 | 0 | Summer
4 | 2028 | IRP17 FOT MidColumbia - SMR | 400 | 329.4151 | 0 | 70.5849 | Summer
5 | 2028 | IRP17 FOT NOB - WTR | 0 | 0 | 0 | 0 | Winter
6 | 2028 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2028 | IRP17 FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | Winter
8 | 2028 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2028 | IRP17 FOT MidColumbia - WTR | 357.4 | 0 | 337.1698 | 20.2302 | Winter
| 2029 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
0 | 2029 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2029 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2029 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 375 | 0 | 0 | Summer
3 | 2029 | IRP17 FOT COB - SMR | 400 | 400 | 0 | 0 | Summer
4 | 2029 | IRP17 FOT MidColumbia - SMR | 400 | 27.9827 | 0 | 372.0173 | Summer
5 | 2029 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2029 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2029 | IRP17 FOT MidColumbia - WTR2 | 257.9 | 0 | 257.9 | 0 | Winter
8 | 2029 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2029 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 357.1 | 42.9 | Winter
| 2030 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2030 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822 | Winter
| 2030 | IRP17 SOregonCal Solar | 21.262 | 13.7785 | 13.7785 | 7.4835 | Winter
| 2030 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2030 | IRP17 Goshen Wind | 161 | 25.438 | 25.438 | 135.562 | Winter
| 2030 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
0 | 2030 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2030 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2030 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 375 | 0 | 0 | Summer
3 | 2030 | IRP17 FOT COB - SMR | 400 | 39.7766 | 0 | 360.2234 | Summer
4 | 2030 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2030 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2030 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2030 | IRP17 FOT MidColumbia - WTR2 | 293.6 | 0 | 293.6 | 0 | Winter
8 | 2030 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2030 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 355.0792 | 44.9208 | Winter
| 2031 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2031 | IRP17 Yakima Solar | 629.586 | 339.1038 | 339.1038 | 290.4822 | Winter
| 2031 | IRP17 SOregonCal Solar | 115.871 | 75.0881 | 75.0881 | 40.7829 | Winter
| 2031 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2031 | IRP17 Goshen Wind | 161 | 25.438 | 25.438 | 135.562 | Winter
| 2031 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
0 | 2031 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2031 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2031 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 353.4859 | 0 | 21.5141 | Summer
3 | 2031 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2031 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2031 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2031 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2031 | IRP17 FOT MidColumbia - WTR2 | 309.4 | 0 | 309.4 | 0 | Winter
8 | 2031 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2031 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 344.0859 | 55.9141 | Winter
| 2032 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2032 | IRP17 Yakima Solar | 641.623 | 345.5871 | 345.5871 | 296.0359 | Winter
| 2032 | IRP17 SOregonCal Solar | 236.129 | 153.0191 | 153.0191 | 83.1099 | Winter
| 2032 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2032 | IRP17 Goshen Wind | 161 | 25.438 | 25.438 | 135.562 | Winter
| 2032 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
0 | 2032 | IRP17 FOT Mona - SMR | 300 | 300 | 0 | 0 | Summer
1 | 2032 | IRP17 FOT NOB - SMR | 100 | 100 | 0 | 0 | Summer
2 | 2032 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 270.7044 | 0 | 104.2956 | Summer
3 | 2032 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2032 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2032 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2032 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2032 | IRP17 FOT MidColumbia - WTR2 | 276.4 | 0 | 276.4 | 0 | Winter
8 | 2032 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2032 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 294.3044 | 105.6956 | Winter
| 2033 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2033 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2033 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2033 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2033 | IRP17 Goshen Wind 2 | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2033 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2033 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588 | Winter
0 | 2033 | IRP17 FOT Mona - SMR | 300 | 110.6268 | 0 | 189.3732 | Summer
1 | 2033 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2033 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2033 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2033 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2033 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2033 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2033 | IRP17 FOT MidColumbia - WTR2 | 367.7 | 0 | 10.6268 | 357.0732 | Winter
8 | 2033 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2033 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter
| 2034 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2034 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2034 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2034 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2034 | IRP17 Goshen Wind 2 | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2034 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2034 | IRP17 Utah South Solar T | 799.102 | 476.8432 | 476.8432 | 322.2588 | Winter
0 | 2034 | IRP17 FOT Mona - SMR | 289.4 | 110.4936 | 0 | 178.9064 | Summer
1 | 2034 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2034 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2034 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2034 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2034 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2034 | IRP17 FOT Mona - WTR | 0 | 0 | 0 | 0 | Winter
7 | 2034 | IRP17 FOT MidColumbia - WTR2 | 375 | 0 | 10.4936 | 364.5064 | Winter
8 | 2034 | IRP17 FOT COB - WTR | 49.1 | 0 | 0 | 49.1 | Winter
9 | 2034 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter
| 2035 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2035 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2035 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2035 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2035 | IRP17 Goshen Wind 2 | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2035 | IRP17 Dave Johnston Wind | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2035 | IRP17 Utah South Solar T | 800.102 | 477.4399 | 477.4399 | 322.6621 | Winter
| 2035 | IRP17 Utah South Solar F | 5 | 1.8956 | 1.8956 | 3.1044 | Winter
| 2035 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515 | Winter
| 2035 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554 | Winter
| 2035 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547 | Winter
0 | 2035 | IRP17 FOT Mona - SMR | 300 | 108.0097 | 0 | 191.9903 | Summer
1 | 2035 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2035 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2035 | IRP17 FOT COB - SMR | 400 | 0 | 0 | 400 | Summer
4 | 2035 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2035 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2035 | IRP17 FOT Mona - WTR | 300 | 0 | 8.0097 | 291.9903 | Winter
7 | 2035 | IRP17 FOT MidColumbia - WTR2 | 231.4 | 0 | 0 | 231.4 | Winter
8 | 2035 | IRP17 FOT COB - WTR | 0 | 0 | 0 | 0 | Winter
9 | 2035 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter
| 2036 | Energy Vision 2020 Wind | 1150 | 0 | 0 | 1150 | Winter
| 2036 | IRP17 Yakima Solar | 649.996 | 350.0969 | 350.0969 | 299.8991 | Winter
| 2036 | IRP17 SOregonCal Solar | 405 | 262.4529 | 262.4529 | 142.5471 | Winter
| 2036 | IRP17 UT Wind | 79.2 | 12.5136 | 12.5136 | 66.6864 | Winter
| 2036 | IRP17 Dave Johnston Wind | 961 | 25.438 | 25.438 | 935.562 | Winter
| 2036 | IRP17 Utah South Solar T | 360.7 | 46.8154 | 46.8154 | 313.8846 | Winter
| 2036 | IRP17 Utah South Solar F | 800.102 | 477.4399 | 477.4399 | 322.6621 | Winter
| 2036 | IRP17 Goshen Wind 2 | 5 | 1.8956 | 1.8956 | 3.1044 | Winter
| 2036 | IRP17 WallaW Wind | 135.515 | 0 | 0 | 135.515 | Winter
| 2036 | IRP17 Yakima Wind | 124.554 | 0 | 0 | 124.554 | Winter
| 2036 | IRP17 S Oregon Wind | 72.547 | 0 | 0 | 72.547 | Winter
0 | 2036 | IRP17 FOT Mona - SMR | 300 | 107.8778 | 0 | 192.1222 | Summer
1 | 2036 | IRP17 FOT NOB - SMR | 100 | 0 | 0 | 100 | Summer
2 | 2036 | IRP17 FOT MidColumbia - SMR - 2 | 375 | 0 | 0 | 375 | Summer
3 | 2036 | IRP17 FOT COB - SMR | 369.3 | 0 | 0 | 369.3 | Summer
4 | 2036 | IRP17 FOT MidColumbia - SMR | 400 | 0 | 0 | 400 | Summer
5 | 2036 | IRP17 FOT NOB - WTR | 100 | 0 | 100 | 0 | Winter
6 | 2036 | IRP17 FOT Mona - WTR | 300 | 0 | 7.8778 | 292.1222 | Winter
7 | 2036 | IRP17 FOT MidColumbia - WTR2 | 375 | 0 | 0 | 375 | Winter
8 | 2036 | IRP17 FOT COB - WTR | 311 | 0 | 0 | 311 | Winter
9 | 2036 | IRP17 FOT MidColumbia - WTR | 400 | 0 | 0 | 400 | Winter

## Displacement
Partial Displacement (MW) | [23 empty] | Nameplate Capacity (MW)
BASE | [11 empty] | AC | [11 empty] | BASE | [11 empty] | AC
Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8% | Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8% | Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8% | Capacity Contribution | 53.86% | 59.67% | 37.91% | 64.8% | 15.8% | 15.8% | 15.8% | 11.78% | 11.78% | 11.78% | 15.8%
Cumulative Displ CC Adjusted | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind | Cumulative Displ CC Adjusted | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind | Cumulative Displ Nameplate | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind | Cumulative Displ Nameplate | IRP17 Yakima Solar | IRP17 Utah South Solar T | IRP17 Utah South Solar F | IRP17 SOregonCal Solar | Energy Vision 2020 Wind | IRP17 Dave Johnston Wind | IRP17 Goshen Wind 2 | IRP17 WallaW Wind | IRP17 Yakima Wind | IRP17 S Oregon Wind | IRP17 UT Wind
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 339.1038 | 0 | 0 | 13.7785 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2030 | 339.1038 | 0 | 0 | 13.7785 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2030 | 629.586 | 0 | 0 | 21.262 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2030 | 629.586 | 0 | 0 | 21.262 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2
2031 | 339.1038 | 0 | 0 | 75.0881 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2031 | 339.1038 | 0 | 0 | 75.0881 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2031 | 629.586 | 0 | 0 | 115.871 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2031 | 629.586 | 0 | 0 | 115.871 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2
2032 | 345.5871 | 0 | 0 | 153.0191 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2032 | 345.5871 | 0 | 0 | 153.0191 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2032 | 641.623 | 0 | 0 | 236.129 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2032 | 641.623 | 0 | 0 | 236.129 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2
2033 | 350.0969 | 476.8432 | 0 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2033 | 350.0969 | 476.8432 | 0 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2033 | 649.996 | 799.102 | 0 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2033 | 649.996 | 799.102 | 0 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2
2034 | 350.0969 | 476.8432 | 0 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2034 | 350.0969 | 476.8432 | 0 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2034 | 649.996 | 799.102 | 0 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2034 | 649.996 | 799.102 | 0 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2
2035 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2035 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2035 | 649.996 | 800.102 | 5 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2035 | 649.996 | 800.102 | 5 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2
2036 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2036 | 350.0969 | 477.4399 | 1.8956 | 262.4529 | 0 | 46.8154 | 25.438 | 0 | 0 | 0 | 12.5136 | 2036 | 649.996 | 800.102 | 5 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2 | 2036 | 649.996 | 800.102 | 5 | 405 | 0 | 296.3 | 161 | 0 | 0 | 0 | 79.2