## Queue
QF Queue | [7 empty] | Capacity Contribution
No. | QF | Partial Displacement | Nameplate | CF | Capacity Contribution | Start Date | x | Type | East | Type | West
[8 empty] | CC_E_Wind | 15.8% | CC_W_Wind | 11.78%
1 | Soda Lake Geothermal | 13.3 | 20 |  | 66.5% | 2019-09-01 |  | Fixed | 37.91% | CC_W_Fixed | 53.86%
2 | Sprague River (terminated) | -4.54 | -7 |  | 64.8% |  |  | Tracking | 59.67% | CC_W_Tracking | 64.8%
3 | Ivory Pine (terminated) | -6.48 | -10 |  | 64.8% |  |  | Gas | 100% | CC_W_Gas | 100%
4 | Deschutes Valley Water District (Opal Springs) | 5.93 | 5.93 |  | 100% | 2021-01-01 |  | CC_E_Hydro | 100% | CC_W_Hydro | 100%
5 | Cove Mountain Solar | 34.63 | 58 |  | 59.7% | 2020-12-31
6 | Hunter Solar | 59.7 | 100 |  | 59.7% | 2020-12-31
7 | Milford Solar | 59.1 | 99 |  | 59.7% | 2020-11-30
8 | Milican Solar | 29.16 | 45 |  | 64.8% | 2020-12-31
9 | Prineville Solar | 35.64 | 55 |  | 64.8% | 2020-12-31
10 | Sigurd Solar | 47.76 | 80 |  | 59.7% | 2020-12-31
11 | Three Sisters Irrigation District (200 kW) | 0.2 | 0.2 |  | 100% | 2018-11-05
12 | Non-deferrable PPA_P1 | 72.83 | 122 |  | 59.7% | 2020-11-01
13 | Non-deferrable PPA_P2 | 46.57 | 78 |  | 59.7% | 2022-05-01
14 | Non-deferrable PPA_P3 | 59.7 | 100 |  | 59.7% | 2023-07-01
15 | Non-deferrable PPA_P4 | 59.7 | 100 |  | 59.7% | 2025-06-01
16 | Non-deferrable PPA_P5 | 59.7 | 100 |  | 59.7% | 2026-08-01
17 | Non-deferrable PPA_P6 | 29.85 | 50 |  | 59.7% | 2028-06-01
18 | Everpower | -37.92 | -240 |  | 15.8% | 2019-11-01
19 | IRP17 WYAE WindUinta2020 | -25.44 | -161 |  | 15.8% | 2020-11-01
20 | Monticello Wind QF | -12.51 | -79.2 |  | 15.8% | 2021-12-31
21 | Simplot Phosphates | 0 | 13.3 |  | 0% | 2018-02-01
22 | Tesoro Non Firm | 0 | 25 |  | 0% | 2019-01-01
23 | Kennecott Smelter Non Firm | 0 | 31.8 |  | 0% | 2019-01-01
24 | Kennecott Refinery Non Firm | 0 | 6.2 |  | 0% | 2019-01-01
25 | ExxonMobil | 0 | 98 |  | 0% | 2019-01-01
26 | Tata Chemicals | 0 | 30 |  | 0% | 2019-01-01
27 | Cedar Springs III Wind | 18.96 | 120 |  | 15.8% | 2020-12-31
28 | Roseburg Weed QF | 2.92 | 10 |  | 29% | 2019-01-01
29 | Slate Creek Hydro QF | 0.57 | 4.2 |  | 14% | 2019-01-01
30 | Yakima Tieton Cowiche QF | 0.98 | 1.47 |  | 67% | 2019-01-01
31 | COID Siphon QF | 3.08 | 5 |  | 62% | 2021-01-01
Total Signed MW |  | 553.39 | 860.9
1 | QF - 249 - OR - Solar | 25.92 | 40 | 29.1% | 64.8% | 2019-12-31
2 | QF - 279 - OR - Solar | 25.92 | 40 | 30.98% | 64.8% | 2019-12-31
3 | QF - 280 - OR - Solar | 12.96 | 20 | 27.91% | 64.8% | 2019-01-01
4 | QF - 281 - OR - Solar | 25.92 | 40 | 24.54% | 64.8% | 2019-12-31
5 | QF - 459 - WY - Solar | 47.74 | 80 | 24.76% | 59.7% | 2020-01-01
6 | QF - 308 - WY - Wind | 12.64 | 80 | 46.55% | 15.8% | 2020-11-01
7 | QF - 309 - WY - Wind | 12.64 | 80 | 46.55% | 15.8% | 2020-11-01
8 | QF - 310 - WY - Wind | 12.64 | 80 | 46.55% | 15.8% | 2020-11-01
9 | QF - 311 - WY - Wind | 6.32 | 40 | 46.55% | 15.8% | 2020-11-01
10 | QF - 406 - OR - Solar | 51.84 | 80 | 27.11% | 64.8% | 2021-12-01
11 | QF - 407 - OR - Solar | 51.84 | 80 | 27.11% | 64.8% | 2021-12-01
12 | QF - 408 - OR - Solar | 51.84 | 80 | 26.68% | 64.8% | 2021-12-01
13 | QF - 409 - OR - Solar | 51.84 | 80 | 26.68% | 64.8% | 2021-12-01
14 | QF - 410 - OR - Solar | 51.84 | 80 | 26.68% | 64.8% | 2021-12-01
15 | QF - 486 - OR - Solar | 51.84 | 80 | 26.71% | 64.8% | 2021-12-01
16 | QF - 487 - OR - Solar | 51.84 | 80 | 26.71% | 64.8% | 2021-12-01
17 | QF - 488 - OR - Solar | 51.84 | 80 | 26.71% | 64.8% | 2021-12-01
18 | QF - 328 - OR - Solar | 29.81 | 46 | 28.75% | 64.8% | 2020-01-01
19 | QF - 440 - OR - Solar | 32.4 | 50 | 28.9% | 64.8% | 2019-06-01
20 | QF - 411 - OR - Solar | 32.4 | 50 | 27.47% | 64.8% | 2021-12-01
21 | QF - 428 - WY - Solar | 23.87 | 40 | 30.18% | 59.7% | 2021-08-01
22 | QF - 429 - WY - Solar | 23.87 | 40 | 30.18% | 59.7% | 2021-08-01
23 | QF - 442 - WY - Solar | 47.74 | 80 | 26.72% | 59.7% | 2022-01-01
24 | QF - 497 - WY - Wind | 12.64 | 80 | 36.79% | 15.8% | 2020-12-01
25 | QF - 498 - WY - Wind | 12.64 | 80 | 36.79% | 15.8% | 2020-12-01
26 | QF - 499 - WY - Wind | 12.64 | 80 | 36.79% | 15.8% | 2020-12-01
27 | QF - 404 - ID - Solar | 0.55 | 0.92 | 24.49% | 59.8% | 2019-04-01
28 | QF - 502 - WY - Solar | 47.74 | 80 | 30.79% | 59.7% | 2020-12-01
29 | QF - 451 - OR - Gas | 0 | 2.44 | 100.1% | 0% | 2019-01-01
30 | QF - 515 -WY Wind | 2.61 | 16.5 | 29.49% | 15.8% | 2019-01-01
31 | QF - 503 - WY - Solar | 44.69 | 74.9 | 28.49% | 59.7% | 2022-01-01
32 | QF - 504 - WY - Solar | 29.84 | 50 | 29.88% | 59.7% | 2022-01-01
33 | QF - 505 - WY - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
34 | QF - 506 - WY - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
35 | QF - 509 - UT - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
36 | QF - 508 - WY - Solar | 36.33 | 50 | 31.71% | 72.7% | 2022-02-01
37 | QF - 510 - WY - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
38 | QF - 511 - WY - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
39 | QF - 512 - WY - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
40 | QF - 507 - UT - Solar | 60.66 | 80 | 38.59% | 75.8% | 2022-02-01
41 | QF - 513 - WY - Solar | 34.61 | 58 | 28.23% | 59.7% | 2020-12-01
42 | QF - 514 - WY - Gas | 0 | 30 | 85% | 0% | 2020-01-01
Total Potential MW |  | 1446.42 | 2608.76
Total Partial Displacement |  | 1999.81 | 3469.66
43 | Utah 2018.Q4 | 100 | 100 | 85% | 100% | 2019-01-01
Partial Displacement after QF |  | 2099.81 | 3569.66

## Displacement
|  | Type | 0
Partial Displacement Adjusted for Solar Degradation
MW Capacity (July)
|  | Cumulative | [5 empty] | Base Case Displacement (CC Adjusted and degraded) | [6 empty] | AC Case Displacement (CC Adjusted and degraded)
| Year | 2017 IRP (Nameplate MW) | [5 empty] | Deferral type | [9 empty] | Deferral type
|  | IRP Thermal | IRP Baseload Renewable | IRP Solar | IRP Wind | IRP FOT Summer | IRP FOT Winter | Thermal | IRP Baseload Renewable | Solar | Wind | Total Remaining Potential After Thermal, Solar, Wind Deferral | FOT Summer | FOT Winter | New QF | Thermal | IRP Baseload Renewable | Solar | Wind | Total Remaining Potential After Thermal, Solar, Wind Deferral | FOT Summer | FOT Winter
| 2017 | 0 | 0 | 0 | 0 | 401.7 | 253.2 | 0 | 0 | 0 | 0 | -11.016 | -11.016 | -11.016 | 0 | 0 | 0 | 0 | 0 | -11.016 | -11.016 | -11.016
| 2018 | 0 | 0 | 0 | 0 | 318.9 | 308 | 0 | 0 | 0 | 0 | -218.1089 | -218.1089 | -218.1089 | 0 | 0 | 0 | 0 | 0 | -218.1089 | -218.1089 | -218.1089
| 2019 | 0 | 0 | 0 | 0 | 623.6 | 303.1 | 0 | 0 | 0 | 0 | -168.428 | -168.428 | -168.428 | 100 | 0 | 0 | 0 | 0 | -68.428 | -68.428 | -68.428
| 2020 | 0 | 0 | 0 | 0 | 462.7 | 296.4 | 0 | 0 | 0 | 0 | -109.4961 | -109.4961 | -109.4961 | 100 | 0 | 0 | 0 | 0 | -9.4961 | -9.4961 | -9.4961
| 2021 | 0 | 0 | 0 | 1149.3 | 395.2 | 302.8 | 0 | 0 | 0 | 0 | 354.6826 | 354.6826 | 302.8 | 100 | 0 | 0 | 0 | 0 | 454.6826 | 395.2 | 302.8
| 2022 | 0 | 0 | 0 | 1149.3 | 444.8 | 304.6 | 0 | 0 | 0 | 0 | 1442.2004 | 444.8 | 304.6 | 100 | 0 | 0 | 0 | 0 | 1542.2004 | 444.8 | 304.6
| 2023 | 0 | 0 | 0 | 1149.3 | 418.7 | 310.3 | 0 | 0 | 0 | 0 | 1478.133 | 418.7 | 310.3 | 100 | 0 | 0 | 0 | 0 | 1578.133 | 418.7 | 310.3
| 2024 | 0 | 0 | 0 | 1149.3 | 428.2 | 304 | 0 | 0 | 0 | 0 | 1456.0534 | 428.2 | 304 | 100 | 0 | 0 | 0 | 0 | 1556.0534 | 428.2 | 304
| 2025 | 0 | 0 | 0 | 1149.3 | 537.8 | 316.9 | 0 | 0 | 0 | 0 | 1497.385 | 537.8 | 316.9 | 100 | 0 | 0 | 0 | 0 | 1597.385 | 537.8 | 316.9
| 2026 | 0 | 0 | 0 | 1149.3 | 499.3 | 329.6 | 0 | 0 | 0 | 0 | 1490.3898 | 499.3 | 329.6 | 100 | 0 | 0 | 0 | 0 | 1590.3898 | 499.3 | 329.6
| 2027 | 0 | 0 | 0 | 1149.3 | 500 | 343.4 | 0 | 0 | 0 | 0 | 1478.8693 | 500 | 343.4 | 100 | 0 | 0 | 0 | 0 | 1578.8693 | 500 | 343.4
| 2028 | 0 | 0 | 0 | 1149.3 | 1247 | 357.4 | 0 | 0 | 0 | 0 | 1491.0036 | 1247 | 357.4 | 100 | 0 | 0 | 0 | 0 | 1591.0036 | 1247 | 357.4
| 2029 | 0 | 0 | 0 | 1149.3 | 1575 | 757.9 | 0 | 0 | 0 | 0 | 1488.7851 | 1488.7851 | 757.9 | 100 | 0 | 0 | 0 | 0 | 1588.7851 | 1575 | 757.9
| 2030 | 0 | 0 | 650.848 | 1750.2 | 1575 | 793.6 | 0 | 0 | 352.8823 | 94.9422 | 1067.8486 | 1067.8486 | 793.6 | 100 | 0 | 0 | 352.8823 | 94.9422 | 1167.8486 | 1167.8486 | 793.6
| 2031 | 0 | 0 | 745.457 | 1750.2 | 1575 | 809.4 | 0 | 0 | 414.1919 | 94.9422 | 1003.6143 | 1003.6143 | 809.4 | 100 | 0 | 0 | 414.1919 | 94.9422 | 1103.6143 | 1103.6143 | 809.4
| 2032 | 0 | 0 | 877.752 | 1750.2 | 1575 | 776.4 | 0 | 0 | 498.6062 | 94.9422 | 916.5965 | 916.5965 | 776.4 | 100 | 0 | 0 | 498.6062 | 94.9422 | 1016.5965 | 1016.5965 | 776.4
| 2033 | 0 | 0 | 1854.098 | 2550.2 | 1575 | 867.7 | 0 | 0 | 1089.393 | 103.727 | 314.8565 | 314.8565 | 314.8565 | 100 | 0 | 0 | 1089.393 | 103.727 | 414.8565 | 414.8565 | 414.8565
| 2034 | 0 | 0 | 1854.098 | 2550.2 | 1564.4 | 924.1 | 0 | 0 | 1089.393 | 103.727 | 314.6935 | 314.6935 | 314.6935 | 100 | 0 | 0 | 1089.393 | 103.727 | 414.6935 | 414.6935 | 414.6935
| 2035 | 0 | 0 | 1860.098 | 2882.816 | 1575 | 1031.4 | 0 | 0 | 1091.8853 | 103.727 | 312.039 | 312.039 | 312.039 | 100 | 0 | 0 | 1091.8853 | 103.727 | 412.039 | 412.039 | 412.039
| 2036 | 0 | 0 | 1860.098 | 3031.926 | 1544.3 | 1086 | 0 | 0 | 1091.8853 | 103.727 | 311.8776 | 311.8776 | 311.8776 | 100 | 0 | 0 | 1091.8853 | 103.727 | 411.8776 | 411.8776 | 411.8776
| 2037 | 0 | 0 | 1860.098 | 3031.926 | 0 | 0 | 0 | 0 | 1091.8853 | 103.727 | 198.896 | 0 | 0 | 100 | 0 | 0 | 1091.8853 | 103.727 | 298.896 | 0 | 0
| 2038 | 0 | 0 | 1860.098 | 3031.926 | 0 | 0 | 0 | 0 | 1091.8853 | 103.727 | 208.4612 | 0 | 0 | 100 | 0 | 0 | 1091.8853 | 103.727 | 308.4612 | 0 | 0
| 2039 | 0 | 0 | 1860.098 | 3031.926 | 0 | 0 | 0 | 0 | 1091.8853 | 103.727 | 207.3282 | 0 | 0 | 100 | 0 | 0 | 1091.8853 | 103.727 | 207.3282 | 0 | 0
| 2040 | 0 | 0 | 1860.098 | 3031.926 | 0 | 0 | 0 | 0 | 1091.8853 | 103.727 | 237.3 | 0 | 0 | 100 | 0 | 0 | 1091.8853 | 103.727 | 237.3 | 0 | 0
| 2041 | 0 | 0 | 1860.098 | 3031.926 | 0 | 0 | 0 | 0 | 1091.8853 | 103.727 | 0 | 0 | 0 | 100 | 0 | 0 | 1091.8853 | 103.727 | 0 | 0 | 0
| 2042 | 0 | 0 | 1860.098 | 3031.926 | 0 | 0 | 0 | 0 | 1091.8853 | 103.727 | 0 | 0 | 0 | 100 | 0 | 0 | 1091.8853 | 103.727 | 0 | 0 | 0
| Total Partial Displacement | [5 empty] | Base Case | AC Case
| Before Solar Degradation | [5 empty] | 1999.81 | 2099.81
| After Solar Degradation | [5 empty] | 1195.6123 | 1195.6123
| CCCT Partial Displacement in | [5 empty] | Base Case | AC Case | [5 empty] | Renewable Base Load Partial Displacement | Base Case | AC Case
CCCT | After Solar Degradation | [5 empty] | 0 | 0 |  | 0 |  |  |  | After Solar Degradation | 0 | 0 | 0
| Geothermal Partial Displacement in | [5 empty] | Base Case | AC Case
Geothermal | After Solar Degradation | [5 empty] | #REF! | #REF!
[14 empty] | Yakima Solar |  | Utah S Solar |  | Oregon S Solar
| Solar Partial Displacement in | [5 empty] | Base Case | AC Case | [5 empty] | Base Case | AC Case | Base Case | AC Case | Base Case | AC Case
Solar | After Solar Degradation | [5 empty] | 1091.8853 | 1091.8853 |  | 0 |  |  |  | 350.0969 | 350.0969 | 479.3355 | 479.3355 | 262.4529 | 262.4529
[15 empty] | 0 |  | 0 |  | 0
| Wind Partial Displacement in | [5 empty] | Base Case | AC Case | [5 empty] | WYAE Wind |  | WY DJ Wind |  | ID Wind |  | UT Wind |  | Walla Walla Wind |  | Yakima Wind
Wind | After Solar Degradation | [5 empty] | 103.727 | 103.727 |  | 0 |  |  |  | Base Case | AC Case | Base Case | AC Case | Base Case | AC Case | Base Case | AC Case | Base Case | AC Case | Base Case | AC Case
[14 empty] | 0 | 0 | 56.9906 | 56.9906 | 34.2228 | 34.2228 | 12.5136 | 12.5136 | 0 | 0 | 0 | 0
|  |  |  | Gateway D2 Transmission Upgrade Defferral | [10 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
D2 Transmission Upgrade Capacity to Use in GRID (MW) without Deferral | [7 empty] | 750 |  | MW
D2 Transmission Capacity Reliability Benefit | [7 empty] | 36.5
|  |  |  | Base Case | AC Case | Difference
Adjustment Factor for Transmission Deferral-Gateway D2 Transmission Upgrade Capacity |  |  |  | 100% | 100%
D2 Transmission Upgrade Capacity to Use in GRID (MW) After deferral |  |  |  | 750 | 750 | 0
Total Tran Capacity WY East > WY central starting 11/1/2020 Before Deferral
|  |  |  | 1630 | 1630
Total Tran Capacity WY Central > JB starting 11/1/2020 Before Deferral
|  |  |  | 1150 | 1150
Total Tran Capacity WY East > WY central starting 11/1/2020 After Deferral
|  |  |  | 1630 | 1630
Total Tran Capacity WY Central > JB starting 11/1/2020 After Deferral
|  |  |  | 1150 | 1150