## Reporting Templates
1. Number of Customer Generation Systems (Data for report compiled on 6/5/2018)
Net Metering Facilities by Resource Type
Resource | Facilities as of March 31, 2017 | New Facilities April 1, 2017 to March 31, 2018 | Total Facilities |  | New Facilities January 1, 2017 to December 31, 2017
Solar | 20565 | 9370 | 29935 |  | 10757
Wind | 50 | 0 | 50 |  | 0
Solar and Wind | 24 | 1 | 25 |  | 1
Other | 0 | 0 | 0 |  | 0
Hydro | 3 | 1 | 4 |  | 1
Fuel Cell | 1 | 0 | 1 |  | 0
Total | 20643 | 9372 | 30015 |  | 10759
Customer Generation Facilities by Resource Type
Resource | Facilities as of March 31, 2017 | New Facilities April 1, 2017 to March 31, 2018 | Total Facilities
Solar | 0 | 212 | 212
Wind | 0 | 0 | 0
Solar and Wind | 0 | 0 | 0
Other | 0 | 0 | 0
Hydro | 0 | 0 | 0
Fuel Cell | 0 | 0 | 0
Total | 0 | 212 | 212
Non-Net Metering Facilities by Resource Type
Resource | Facilities as of March 31, 2017 | New Facilities April 1, 2017 to March 31, 2018 | Total Facilities
Solar | 17 | 0 | 17
Wind | 1 | 0 | 1
Solar and Wind | 0 | 0 | 0
Hydro | 21 | 1 | 22
Thermal | 4 | 0 | 4
Gas | 6 | 2 | 8
Fuel Cell | 0 | 0 | 0
Total | 49 | 3 | 52
Historic to December 31, 2009 The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
2. Individual Capacity of Each Installation
See Attachment A
3. Total kW Combined Capacity
Net Metering Generation Capacity by Resource Type (kW)
Resource | Facilities as of March 31, 2017 | New Facilities April 1, 2017 to March 31, 2018 | Total Facilities |  | New Facilities January 1, 2017 to December 31, 2017
Solar | 162266.38 | 73138.04 | 235404.42 |  | 84318.85
Wind | 195.7 | 0 | 195.7 |  | 0
Solar and Wind | 293.04 | 20 | 313.04 |  | 28.36
Other | 0 | 0 | 0 |  | 0
Hydro | 100.6 | 2.6 | 103.2 |  | 2.6
Fuel Cell | 15 | 0 | 15 |  | 0
Total | 162870.72 | 73160.64 | 236031.36 |  | 84349.81
Customer Generation Capacity by Resource Type (kW)
Resource | Facilities as of March 31, 2017 | New Facilities April 1, 2017 to March 31, 2018 | Total Facilities
Solar | 0 | 1304.07 | 1304.07
Wind | 0 | 0 | 0
Solar and Wind | 0 | 0 | 0
Other | 0 | 0 | 0
Hydro | 0 | 0 | 0
Fuel Cell | 0 | 0 | 0
Total | 0 | 1304.07 | 1304.07
Non-Net Metering Generation Capacity by Resource Type (MW)
Resource | Facilities as of March 31, 2017 | New Facilities April 1, 2017 to March 31, 2018 | Total Facilities
Solar | 44.695 | 0 | 44.695
Wind | 0.04 | 0 | 0.04
Solar and Wind | 0 | 0 | 0
Hydro | 36.6 | 0.3 | 36.9
Thermal | 42.5 | 0 | 42.5
Gas | 7.41 | 0.845 | 8.255
Fuel Cell | 0 | 0 | 0
Total | 131.245 | 1.145 | 132.39
4. Number of Expired Credits per Customer
See Attachment A
4a. Net Metering Excess Energy Valuation
See Attachment B
5. Total Value of Expired Credits (as reported on June 13, 2018)
Expired Credits at End of Annualized Period (Schedule 135)
Customers |  | kWh | Value | Total Value
6428 |  | 7721729 | 0.0207 | 159839.7903
Expired Credits at End of Annualized Period (Schedule 136)
Customers |  | kWh | Value | Total Value
212 |  | 1645 | 0.092 | 151.34
6. Excess Net Metering Generation per Month
Excess Net Metering Generation per Month- kWh
2017-04-01 | 2987017
2017-05-01 | 5722008
2017-06-01 | 5986846
2017-07-01 | 2457042
2017-08-01 | 1437027
2017-09-01 | 1478178
2017-10-01 | 2802214
2017-11-01 | 2158964
2017-12-01 | 413595
2018-01-01 | 285293
2018-02-01 | 374778
2018-03-01 | 802815
26905777
7. Unforeseen Problems or Barriers in the Tariff.
There are no unforeseen problems or barriers.
8. Measurement to Cap
Customer Generation Activity to Cap as of March 31, 2018
| Maximum Cap MW | Current Enrolled MW
| 170 | 5.0259