## CBA
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Costs | 82.2 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 |  | 103.8688
Benefits |  | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 | 7.8 |  | 80.6176
Net Benefits | -82.2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Interest Rate | 7% | [19 empty] | CB Ratio | 0.77615
NPV | -28.5253

## Financial Analysis
Utah AMI
Option | GENX RIVA
Capital | 77900000
O&M | 4300000
AMI Meter Count | 175000
Net FTE Reductions | 11.5
Annual Net Benefits (2023) | 5000000
O&M Net (2023) | -3800000
IRR | 8.2%
NPV | 8900000
PVRR(d) | -16400000
Revenue Requirement | -162500000
Payback in Years | 16.1 Years
Utah AMI Project Costs by Year
Option | 2017-2019 | 2020 | 2021 | 2022 | Total
Capital | 17800000 | 6300000 | 26400000 | 27400000 | 77900000
OMAG | 400000 | 750000 | 1050000 | 2100000 | 4300000
Total | 18200000 | 9100000 | 40800000 | 34850000 | 102950000
Unaccounted for $$ |  | 2050000 | 13350000 | 5350000 | 20750000

## Annual Cost Savings
O&M Savings | Annual Benefits
(starting in 2023)
Eliminate Meter Reading Operating Costs | 355000 | 355000 | 2150000 | saved labor costs
Eliminate Field Collection Operating Costs | 1490000 | 1490000
Eliminate Field Quality Specialist Operating Costs | 305000 | 305000
Billing Suspends Reduction | 5000 | 5000
Improved Outage Detection Performance | 215000 | 215000
Avoided Net Metering Operating Costs | 4215000 | 4215000
New AMI Operating Costs | -2805000 | 0
O&M Savings | 3780000
Additional Revenue | Annual Benefits
(starting in 2023)
Theft Reduction | 200000 | 200000
Revenue from Added Meters with VARs | 295000 | 295000
Revenue from Added Meters with Demand | 250000 | 250000
Revenue Recovery on Unaccounted for Energy | 105000 | 105000
Reduction in Write-offs | 130000 | 130000
Additional Revenue | 980000
Capital Cost Savings | Annual Benefits
(starting in 2023)
Avoided Meter Purchases | -570000 | 0
Avoided Net Metering Purchases | 195000 | 195000
IT Equipment Replacement Costs | -95000 | 0
Avoided Load Study Costs | 70000 | 70000
Avoided Handheld Replacement Costs | 45000 | 45000
Avoided Outage Management Costs | 400000 | 400000
Avoided Demand Response Costs | 150000 | 150000
Capital Cost Savings | 195000
Total Annual Net Benefits | 4955000 | 7775000

## FTE Reductions
Utah
| Meter Readers | Collectors | Meter Managers | Clerks | MTRMN | Total
Beginning Metering FTEs | 3 | 55 | 7 | 2 | 26 | 93
Ending Metering FTEs | 0 | 42 | 7 | 2 | 26 | 77
FTE Reduction | 3 | 13 | 0 | 0 | 0 | 16
| Field Network | IT | MBSS | Engineer | Total | Grand Total
Ending Metering FTEs | 0 | 0 | 0 | 0 | 0 | 77
Added FTEs | 1 | 2.5 | 0 | 1 | 6 | 4.5
Net FTE Reduction | [5 empty] | 11.5
Totals |  |  |  |  | assumed employee cost | 200000 | $/yr
Field FTE Reductions | 16
Office Added FTEs | 4.5 |  |  |  | total savings | 2300000
Net FTE Reduction | 11.5
Avoided Future Hires:
Meter Readers to probe private generation sites
MARTA Analyst needed to setup and validate new private generation sites