To:	Utah State Public Service Commission and Committee of Consumer Services

From:	Lowell Alt, Director, Division of Public Utilities

Judith Johnson, Manager, Energy Section

## Bob Maloney, Management Analyst

Subject:	Recommendation to Approve PacifiCorp’s Claimed Major Event Exclusions for May 2 through May 5, 2001 and June 12 through June 14, 2001

Date:	Tuesday, September 18, 2001

We recommend that the Commission approve PacifiCorp’s claimed major event exclusions for two wide-scale outages occurring during May 2nd through May 5th, 2001 and June 12th through June 14,th2001

PacifiCorp has submitted data showing that significantly more than 10% of the customers in affected Utah operating areas experienced a sustained outage of more than five minutes duration during the two major events.  ScottishPower/PacifiCorp merger condition #31 indicates that the Company may use the IEEE criteria to determine major events.  IEEE criteria include:

- Exceeds the design limits of the power system

- Causes extensive damage to the power system

- Results in more than 10% of the customers in an operating area experiencing a sustained outage.

We recommend approval based upon criterion #3.  This is because significantly more than 10% of PacifiCorp’s Utah customers in affected operating areas experienced sustained outages during the two major event periods.