Report to: Utah Public Service Commission

## Electric Service Reliability - Major Event Report

# Event Date(s):		August 14-15, 2003

Date Submitted:		September 24, 2003

Affected Locations:		Ogden, Tremonton

Exclude from Performance Reports: 		Yes

Report Prepared by:		Diane DeNuccio

Report Approved by:		Heidi Caswell

Event Description:	 A thunderstorm moved through Weber and Davis counties Thursday night, August 14, bringing lightning, rain, and winds (measured maximum sustained winds over 35 mph and peak gusts over 43 mph) knocking out a transmission line and damaging the local distribution facilties.  Fifty-nine circuits experienced interruptions.  While many operating areas were impacted by the storm, Ogden and Tremonton operating areas were hardest hit in terms of percentage of customers affected.    PacifiCorp activated its Regional Emergency Action Center to assist local area managers in outage management logistical support.

PacifiCorp is requesting designation of this storm and its consequences to be classified as a “Major Event” for exclusion from network performance reporting.   This major event exceeded the design and operating limits of the system, resulting in damage to transmission and distribution facilities, and caused sustained interruptions to more than 10% of customers in both affected operating areas.

Total Customer Minutes Lost = 3,210,936

Total Sustained Incidents = 175

Total Sustained Customers Off = 21,402

Resources Utilized:

Company 		13

Contract 		2

Tree 			3

Transmission 		1

Troubleman   		9

Assessor 		1

Damage Cost:

Capital:	$21,125

Expense:	$187,290

TOTAL:	$208,415

|  | Customer Analysis | Customers Restored by Intervals | Major Event Only |
| --- | --- | --- | --- |
| UT | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <=5 Min | > 5 Min and <3 Hrs | >= 3 Hrs and <= 24 Hrs | > 24 Hrs | % Sustained Customers Restored < 3 Hrs | SAIDI | SAIFI | MAIFI |
| Event Total | 21,402 | 3% | 3,210,936 | 175 | 742,708 | 45 | 16,544 | 6,208 | 1 | 73% | 4.32 | 0.03 | 0.00 |
| OGDEN | 20,552 | 22% | 3,081,698 | 157 | 92,133 | 45 | 15,824 | 6,078 | 1 | 72% | 33.448 | 0.223 | 0.000 |
| TREMONTON | 850 | 11% | 129,238 | 18 | 7,905 | 0 | 720 | 130 | 0 | 85% | 16.349 | 0.108 | 0.000 |

|  | Customers Interrupted by Date |
| --- | --- |
|  | 8/14/03 | 10:01 | 8/15/03 | 21:54 |
| Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions |
| 8/14/2003 | 18,597 | 87% | 2,722,662 | 96 |
| 8/15/2003 | 2,805 | 13% | 488,274 | 79 |