Report to: Utah Public Service Commission

## Electric Service Reliability - Major Event Report

# Event Date(s):		January 4-5, 2008

Date Submitted:		March 6, 2008

Primary Affected Locations:		SLC Metro, Jordan Valley, Tooele

Exclude from Performance Reports: 		Yes

Report Prepared by:		Diane DeNuccio

Report Approved by:		Heide Caswell

Event Description:

A winter storm bringing wet snow on the heels of hurricane force winds and rain caused widespread and significant damages to Rocky Mountain Power facilities, especially in Tooele, Jordan Valley and Salt Lake Metro operating areas.

In total throughout the state, sustained interruptions impacted 119 substations and 178 circuits. The longest interruption was on Mountain Dell #11 circuit in the Salt Lake City Metro operating area, affecting 1 customer for 2,381 minutes (just under 40 hours).  The unweighted average stage duration of all sustained interruptions statewide was 468 minutes (almost 8 hours), the median duration was 307 minutes and the mode duration was 68 minutes.

Total Customer Minutes Lost = 12,910,816

Total Sustained Incidents = 442

Total Sustained Customer Interruptions = 46,758

Restoration:

Restoration efforts were coordinated utilizing all available resources in the Tooele, Layton, Ogden, Jordan Valley and Salt Lake Metro area.  As restoration concluded in a given area, personnel were rested then redirected to assist in Tooele, the most significantly impacted area with a large number of downed transmission structures. A mobile generator was deployed to provide service to the town of Stockton while company and contract crews worked in shifts to safely complete repairs. High winds and traffic congestion due to toppled trees delayed restoration in some areas.

Damages:

Facilities replaced due to storm damage included approximately 10,000 line feet of conductor, 7 distribution poles (6 of these in Tooele), 22 transmission poles (21 of these in Tooele), 4 transformers and 9 cross-arms, in addition to other materials.

Resources Utilized:

| Troubleman/assessors | 6 |
| --- | --- |
| Internal (local) crewmembers | 93 |
| External (contract) crewmembers | 24 |
| Vegetation crewmembers | 22 |
| Transmission | 12 |
| Mgmt and Support staff | 37 |

Estimated Major Event Cost:

Expense    	$450,000	        Capital   $150,000 	    TOTAL   $600,000

SAIDI, SAIFI, MAIFI Report:  (Attached)

Major Event Threshold:

Rocky Mountain Power is requesting designation of this storm and its consequences to be classified as a “Major Event” for exclusion from network performance reporting.  This major event exceeded the company’s current Utah threshold for customer minutes lost in a 24-hour period (pursuant filed Advice/Approval Letters 04-13/05-13 adopting IEEE P1366 major event methodology effective the company’s fiscal year 2006).