## Tests - Commission Exhibit
| A | B | C | D | E | F | G | H | I | J
ENERGY EFFICIENCY - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - PROGRAM PORTFOLIO DESCRIPTIONS (1 Year)
| PROGRAMS | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Thermwise Appliance Rebate | 739387.6949 | 1.0661 | 13103827.385 | 2.0887 | 5410864.0949 | 1.9097 | 1131035.0363 | 1.1106 | 19000
2 | Thermwise Builder Rebates | 431616.3381 | 1.0798 | 6120180.309 | 2.097 | 2942740.1381 | 2.0349 | 877591.973 | 1.1788 | 5082
3 | Thermwise Business Custom Rebates | 690432.7565 | 1.7635 | 2294200.8086 | 8.0228 | 748886.6965 | 1.8854 | 146815.4588 | 1.1014 | 40
4 | Thermwise Business Rebates | -151549.9064 | 0.96117 | 4145912.9042 | 2.0177 | 1424382.7819 | 1.612 | 47169.8148 | 1.0127 | 1904
5 | Thermwise Weatherization Rebates | 4145213.6566 | 1.2998 | 25549038.7698 | 2.6639 | 5791740.0236 | 1.4755 | -664019.3169 | 0.96437 | 58522
6 | Thermwise Home Energy Audit | -462917.0924 | 0.44963 | 700778.2024 | 26.3547 | -467656.1244 | 0.44711 | -613411.4942 | 0.38139 | 3857
7 | Low Income Weatherization | 513438.4691 | 1.3258 | 2798987.8617 | 3.2199 | 860134.4164 | 1.6997 | 83117.5433 | 1.0414 | 3382
8 | Market Transformation | -2115019.6 | 0 | 0 | N/A | -2115019.6 | 0 | -2115019.6 | 0 | 0
9 | Totals | 3790602.3164 | 1.0953 | 54712926.2408 | 2.4153 | 14596072.4271 | 1.5151 | -1106720.5848 | 0.97487 | 91787
Note: B/C = Net Present Value of Benefits divided by Net Present Value of Costs
QGC Energy Efficiency Exhibit 1.10
[11 empty] | Page 1 of 8 |  | Docket No. 11-057-12 | Questar Gas Company
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - THERMWISE APPLIANCE REBATES PROGRAM (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | 90% Plus AFUE Condensing Gas Furnace (appliance) | 23078.5847 | 1.6451 | 76591.9999 | 2.7127 | 41654.5847 | 3.4218 | 19447.788 | 1.4935 | 86
2 | 92% Plus AFUE Condensing Gas Furnace (appliance) | 294448.7451 | 2.0228 | 877867.98 | 3.4396 | 374720.7451 | 2.805 | 155001.6107 | 1.3627 | 692
3 | 95% Plus AFUE Condensing Gas Furnace (appliance) | 2224889.573 | 1.3588 | 9991695.7943 | 2.289 | 5588087.973 | 2.9692 | 2408862.7302 | 1.4003 | 8108
4 | 95% Gas Furnace with ECM motor (appliance) | 220074.1783 | 1.3588 | 1028425.1143 | 2.3413 | 512643.7783 | 2.598 | 198171.8191 | 1.3119 | 802
5 | Energy Star Clothes Washer - Tier 2 (appliance) | -56444.9516 | 0.86292 | 408523.8768 | 1.7937 | 97965.0484 | 1.3807 | -36139.8254 | 0.90768 | 5147
6 | Gas Water Heater - Tier 1 (appliance) | -33792.9331 | 0.81465 | 162581.0964 | 1.7134 | 34577.0669 | 1.3034 | -22036.9075 | 0.8708 | 2279
7 | Gas Water Heater - Tier 2 (appliance) | -29926.326 | 0.47164 | -3363.8697 | 0.95249 | 9013.674 | 1.5092 | -1168.7614 | 0.95808 | 177
8 | Condensing Gas Water Heater (appliance) | -20497.2059 | 0.38112 | -5298.5928 | 0.87201 | 22.7941 | 1.0018 | -4788.6289 | 0.72497 | 36
9 | Hybrid Gas Water Heater (appliance) | -47871.4102 | 0.43796 | -7576.3752 | 0.92884 | 7202.9898 | 1.2393 | -6880.6606 | 0.84427 | 86
10 | Residential Boiler - Tier 1 (appliance) | -14734.3851 | 0.78781 | 34245.1462 | 1.3945 | 32305.6149 | 2.4422 | 12110.0787 | 1.2843 | 56
11 | Residential Boiler - Tier 2 (appliance) | 8026.7543 | 1.0616 | 128500.4361 | 1.7896 | 96226.7543 | 3.2911 | 45197.9262 | 1.4858 | 105
12 | Solar Water Heater (appliance) | 126280.4543 | 1.222 | 219464.868 | 1.3087 | 23580.4543 | 1.199 | -28574.2436 | 0.83256 | 158
13 | Direct Vent Fireplace - Tier 2 (appliance) | 3956.7674 | 1.471 | 15386.2737 | 2.4654 | 8156.7674 | 2.9421 | 3531.1462 | 1.4001 | 21
14 | Tank Less Gas Water Heater - Tier 1 (appliance) | -45032.753 | 0.76619 | 121643.2094 | 1.5053 | 51267.247 | 1.5324 | -3209.7876 | 0.97871 | 321
15 | Tank Less Gas Water Heater - Tier 2 (appliance) | -341251.2396 | 0.46608 | -53869.8764 | 0.93257 | 89992.7604 | 1.4329 | -19979.5713 | 0.93715 | 594
16 | Energy Star Clothes Washer - Tier 2 (existing multifamily) | -921.1921 | 0.86292 | 6667.1859 | 1.7937 | 1598.8079 | 1.3807 | -589.8087 | 0.90768 | 84
17 | Gas Water Heater Tier 1 (existing multifamily) | -2768.6347 | 0.46551 | -135.4649 | 0.97908 | 561.3653 | 1.3034 | -357.7734 | 0.8708 | 37
18 | Gas Water Heater Tier 2 (existing multifamily) | -845.3764 | 0.47164 | -95.0246 | 0.95249 | 254.6236 | 1.5092 | -33.0159 | 0.95808 | 5
19 | Condensing Gas Water Heater (existing multifamily) | -2846.8342 | 0.38112 | -735.9157 | 0.87201 | 3.1658 | 1.0018 | -665.0873 | 0.72497 | 5
20 | Hybrid Gas Water Heater (existing multifamily) | -2783.2215 | 0.43796 | -440.4869 | 0.92884 | 418.7785 | 1.2393 | -400.0384 | 0.84427 | 5
21 | Tank Less Gas Water Heater - Tier 1 - (existing multifamily) | -701.4448 | 0.76619 | 1894.754 | 1.5053 | 798.5552 | 1.5324 | -49.9967 | 0.97871 | 5
22 | Tank Less Gas Water Heater - Tier 2 - (existing multifamily) | -5744.9704 | 0.46608 | -906.9003 | 0.93257 | 1515.0296 | 1.4329 | -336.3564 | 0.93715 | 10
23 | 90% Plus AFUE Condensing Gas Furnace - (existing multifamily) | 5.9392 | 1.0051 | 1612.5116 | 2.1121 | 165.9392 | 1.1659 | -273.9887 | 0.80972 | 5
24 | 92% Plus AFUE Condensing Gas Furnace - (existing multifamily) | 482.6894 | 1.1828 | 5523.9442 | 2.6739 | -177.3106 | 0.94627 | -1355.5523 | 0.6973 | 11
25 | 95% Plus AFUE Condensing Gas Furnace - (existing multifamily) | 6534.6026 | 1.1768 | 76940.6511 | 2.6654 | -2705.3974 | 0.94144 | -19116.6218 | 0.69468 | 132
26 | 95% Gas Furnace with ECM motor (existing multifamily) | 643.5593 | 1.1768 | 7577.4884 | 2.6654 | -266.4407 | 0.94144 | -1882.6976 | 0.69468 | 13
27 | Direct Vent Fireplace - Tier 2 (existing multifamily) | -883.0964 | 0.55845 | 460.1791 | 1.1841 | 116.9036 | 1.1169 | -301.1971 | 0.78761 | 5
28 | Residential Boiler - Tier 1 (existing multifamily) | -3095.6834 | 0.5007 | 908.1248 | 1.1172 | 104.3166 | 1.0348 | -1035.2117 | 0.74992 | 5
29 | Residential Boiler - Tier 2 (existing multifamily) | -2060.9112 | 0.66759 | 2794.1664 | 1.3605 | 1139.0888 | 1.3797 | -380.2822 | 0.91586 | 5
30 | Solar Water Heater (existing multifamily) | 3996.2169 | 1.222 | 6945.0908 | 1.3087 | 746.2169 | 1.199 | -904.2482 | 0.83256 | 5 |  | QGC Energy Efficiency Exhibit 1.10
31 | Program Costs | -1560827.8 | 0 | 0 | N/A | -1560827.8 | 0 | -1560827.8 | 0
32 | Totals | 739387.6949 | 1.0661 | 13103827.385 | 2.0887 | 5410864.0949 | 1.9097 | 1131035.0363 | 1.1106 | 19000
Docket No. 11-057-12
[11 empty] | Page 2 of 8 |  |  | Questar Gas Company
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - THERMWISE BUSINESS REBATES PROGRAM (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | 90% Plus AFUE Condensing Gas Furnace - (business) | 233.66 | 1.4327 | 882.7826 | 2.3078 | 573.66 | 3.8683 | 284.0488 | 1.5802 | 1
2 | 92% Plus AFUE Condensing Gas Furnace - (business) | 20099.0207 | 1.4199 | 82545.5054 | 2.3797 | 44862.2207 | 2.9421 | 19421.3042 | 1.4001 | 77
3 | 94% Plus AFUE Condensing Gas Furnace - (business) | 62775.7097 | 1.4072 | 276032.8302 | 2.4323 | 128951.7097 | 2.4654 | 47738.2021 | 1.2821 | 220
4 | Boiler Reset Control | 175198.2862 | 6.0437 | 338017.1686 | 8.7848 | 196934.2862 | 16.1488 | 118347.6746 | 2.2922 | 52
5 | Boiler Tune-up | -9262.2501 | 0.72034 | 25715.6141 | 1.6212 | 4698.5199 | 1.2452 | -5530.4419 | 0.81181 | 69
6 | Building Shell - Attic Insulation (new construction) | 34555.0152 | 1.7479 | 110146.4058 | 2.9073 | 47755.0152 | 2.4471 | 18981.9913 | 1.3073 | 55
7 | Building Shell - Attic Insulation (retrofit) | -222812.4392 | 0.85815 | 1212232.3122 | 1.6174 | 423987.5608 | 1.4589 | -56300.6072 | 0.95991 | 385
8 | Building Shell - Wall Insulation (new contruction) | -52.7699 | 0.95689 | 1191.4695 | 1.7787 | 406.2301 | 1.531 | -11.0794 | 0.99063 | 3
9 | Building Shell - Wall Insulation (retrofit) | -44773.0909 | 0.53237 | -12096.1558 | 0.89893 | 28530.9091 | 2.2714 | 10369.9666 | 1.2554 | 22
10 | Building Shell - Windows - site built (new contruction) | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
11 | Building Shell - Windows - pre fab (new contruction) | 33784.7361 | 3.5594 | 70385.1816 | 5.2658 | 38584.7361 | 5.5934 | 21844.0677 | 1.8689 | 5
12 | Building Shell - Windows - site built (retrofit) | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
13 | Building Shell - Windows - pre fab (retrofit) | 25814.7111 | 5.8868 | 49785.0753 | 8.5395 | 26655.1181 | 7.0005 | 15575.1564 | 2.0034 | 2
14 | Combination Oven | -224235.0044 | 0.08148 | -253608.0835 | 0.16893 | 5891.3956 | 1.4208 | -1668.5783 | 0.92261 | 14
15 | Commercial Fryer | -20040.9736 | 0.34006 | -8362.3398 | 0.77971 | 327.0264 | 1.0327 | -3618.4898 | 0.74053 | 10
16 | Convection Oven | -20644.5782 | 0.4528 | 86.8021 | 1.0018 | 2083.4218 | 1.1389 | -4409.6009 | 0.79484 | 15
17 | Direct Contact Water Heater | 140413.2463 | 6.7774 | 285272.8485 | 10.3902 | 149317.2463 | 10.6959 | 88856.1486 | 2.1713 | 2
18 | Energy Star Clothes Washer - Tier 2 (business 2010 specs) | -84.0402 | 0.56306 | 62.5102 | 1.26 | 8.2958 | 1.083 | -33.25 | 0.76509 | 2
19 | Energy Star Commercial Clothes Washer (business 2010 specs) | -318.1787 | 0.33713 | -146.7709 | 0.75538 | 11.8213 | 1.0788 | -50.2586 | 0.76302 | 2
20 | Gas Storage Water Heater - (business) Tier 1 | -57.157 | 0.64277 | 91.773 | 1.4589 | 2.843 | 1.0284 | -35.7579 | 0.74201 | 2
21 | Gas Storage Water Heater - (business) Tier 2 | -165.2988 | 0.48344 | -11.5488 | 0.97113 | 54.7012 | 1.547 | -3.3665 | 0.9787 | 1
22 | Gas Storage Water Heater - (business) >75kBtu | 42657.1209 | 1.3496 | 199491.9151 | 2.308 | 119677.5626 | 3.6602 | 57867.6477 | 1.5418 | 15 |  | QGC Energy Efficiency Exhibit 1.10
23 | Gas Unit Heater Condensing | -39374.0264 | 0.84466 | 234967.7823 | 1.7416 | 55678.7067 | 1.3515 | -23532.1542 | 0.90097 | 120
24 | Gas Unit Heater NonCondensing | 56103.3758 | 1.3187 | 316547.447 | 2.4386 | 122116.9672 | 2.1099 | 36235.6722 | 1.185 | 400
25 | Griddle | -26797.9382 | 0.08477 | -29514.5506 | 0.19359 | 82.0618 | 1.0342 | -861.2827 | 0.74239 | 8
26 | High Efficiency Boiler Hot Water Tier 1 | 11435.959 | 2.4078 | 28170.468 | 3.7742 | 15561.6606 | 4.8926 | 8239.7999 | 1.7279 | 20
27 | High Efficiency Boiler Hot Water Tier 2 | 233848.1772 | 3.555 | 513830.5617 | 5.4913 | 268170.0163 | 5.688 | 146370.15 | 1.8177 | 22
28 | High Efficiency Boiler Steam Tier 1 | 1146.7814 | 2.4078 | 2824.8937 | 3.7742 | 1560.5008 | 4.8926 | 826.2752 | 1.7279 | 2
29 | High Efficiency Boiler Steam Tier 2 | -20.4385 | 0.99832 | 12099.4678 | 1.7954 | 6160.4747 | 2.0286 | 1612.3551 | 1.153 | 2
30 | Commercial Tankless Water Heater - <200kBTU | 10328.9602 | 1.739 | 28868.9064 | 3.0656 | 17712.7031 | 3.6867 | 8589.2582 | 1.5465 | 29 | Page 3 of 8 |  | Docket No. 11-057-12 | Questar Gas Company
31 | Commercial Tankless Water Heater - >200kBTU | 9862.491 | 1.739 | 27565.1493 | 3.0656 | 16912.7746 | 3.6867 | 8201.3562 | 1.5465 | 15
32 | Infared Heating System | 256804.2571 | 2.5601 | 633586.9009 | 4.0792 | 331404.8665 | 4.6819 | 171572.697 | 1.6867 | 300
33 | Low Flow Pre-rinse Spray Valve | 7809.2489 | 14.0154 | 15985.4357 | 22.3139 | 8034.2489 | 22.4247 | 4740.4518 | 2.2921 | 15
34 | Steam Cooker | -19483.2664 | 0.21704 | -15873.1089 | 0.48969 | 400.7336 | 1.0801 | -1659.1715 | 0.76499 | 5
35 | Condensing Gas Water Heater (business) | -2643.8469 | 0.42525 | -392.5961 | 0.93172 | 206.1531 | 1.1178 | -532.3876 | 0.78606 | 5
36 | Hybrid Gas Water Heater (business) | -2783.2215 | 0.43796 | -440.4869 | 0.92884 | 418.7785 | 1.2393 | -400.0384 | 0.84427 | 5
37 | High Efficiency Gas Pack Roof-top Unit | -2168.8191 | 0.38386 | -28.6614 | 0.99349 | -648.8191 | 0.67559 | -1154.6189 | 0.53922 | 2
38 | Program Costs | -638703.325 | 0 | 0 | N/A | -638703.325 | 0 | -638703.325 | 0
39 | Totals | -151549.9064 | 0.96117 | 4145912.9042 | 2.0177 | 1424382.7819 | 1.612 | 47169.8148 | 1.0127 | 1904
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - THERMWISE BUILDER REBATES PROGRAM (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | 90% Plus AFUE Condensing Gas Furnace - (builder) | 228.0952 | 1.0114 | 20366.2883 | 1.816 | 10596.0952 | 2.1038 | 2975.7784 | 1.1728 | 48
2 | 92% Plus AFUE Condensing Gas Furnace - (builder) | 6623.9431 | 1.1577 | 63822.6045 | 2.2152 | 18339.9431 | 1.6053 | -12.7024 | 0.99974 | 101
3 | 95% Plus AFUE Condensing Gas Furnace - (builder) | -3743.7275 | 0.74237 | 7568.7163 | 1.4167 | 4137.4725 | 1.6222 | 67.1828 | 1.0063 | 19
4 | 95% Gas Furnace with ECM motor - (builder) | -9851.9144 | 0.74237 | 22417.6744 | 1.469 | 8388.0856 | 1.4194 | -2323.203 | 0.92435 | 50
5 | ENERGYSTAR 2.5 (builder) | 101027.9072 | 1.122 | 883963.7987 | 1.8542 | 567677.9072 | 2.5714 | 237330.7847 | 1.3432 | 425
6 | ENERGYSTAR 3.0 (builder) | 55465.5466 | 1.0604 | 867267.7137 | 1.7558 | 590965.5466 | 2.545 | 244779.8634 | 1.3359 | 425
7 | High Performance Home (builder) | -2731.0285 | 0.78032 | 4176.1973 | 1.2687 | 6250.9715 | 2.8119 | 2801.0934 | 1.406 | 3
8 | ThermWise BOP 1 - (builder cert) | 634869.3856 | 2 | 1633064.4892 | 3.0578 | 972149.3856 | 4.2666 | 520598.6759 | 1.6949 | 992
9 | ThermWise BOP2 - (rater cert) | 795443.0907 | 2.0023 | 2019643.2788 | 3.0359 | 1241843.0907 | 4.5767 | 676744.5417 | 1.7418 | 992
10 | 2X6 R-20 Walls | 81075.7819 | 1.2047 | 475176.4589 | 1.96 | 303825.7819 | 2.7537 | 133843.61 | 1.39 | 495
11 | Gas Water Heater (builder) Tier 1 | -31084.3456 | 0.51941 | 4204.8101 | 1.052 | 10495.6544 | 1.4544 | -2188.3008 | 0.93885 | 462
12 | Gas Water Heater (builder) Tier 2 | -54727.8635 | 0.52625 | 3808.7041 | 1.0264 | 24692.1365 | 1.684 | 1740.2176 | 1.0295 | 361
13 | Condensing Gas Water Heater (builder) | -7401.7688 | 0.38112 | -1913.3807 | 0.87201 | 8.2312 | 1.0018 | -1729.2271 | 0.72497 | 13
14 | Hybrid Gas Water Heater (builder) | -7236.376 | 0.43796 | -1145.266 | 0.92884 | 1088.824 | 1.2393 | -1040.0999 | 0.84427 | 13
15 | Residential Boiler - Tier 1 (builder) | 2485.4504 | 1.4345 | 12846.0654 | 2.7967 | 3005.4504 | 1.578 | -23.7354 | 0.99712 | 13
16 | Residential Boiler - Tier 2 (builder) | -5179.3994 | 0.6787 | 7378.0872 | 1.3662 | 3140.6006 | 1.4026 | -898.3138 | 0.92412 | 13
17 | Solar Water Heater (builder) | 8848.2104 | 1.1756 | 15603.0475 | 1.2477 | -251.7896 | 0.97602 | -4099.0824 | 0.7143 | 14
18 | Tank Less Gas Water Heater - Tier 1 - (builder) | -7014.4475 | 0.76619 | 15158.0323 | 1.5053 | 10985.5525 | 1.9155 | 2500.0331 | 1.122 | 40
19 | Tank Less Gas Water Heater - Tier 2 - (builder) | -18671.1537 | 0.46608 | -2357.9407 | 0.93257 | 7198.8463 | 1.7911 | 1181.8416 | 1.0782 | 26
20 | Windows - R-5 (builder) | -5780.5585 | 0.42241 | -2870.5646 | 0.77054 | 1725.4415 | 1.6896 | 203.0466 | 1.0505 | 5
21 | ENERGYSTAR 2.5 (new multifamily) | -68452.1426 | 0.34733 | -47008.0193 | 0.64143 | 15527.8574 | 1.743 | 2590.6174 | 1.0766 | 38
22 | ENERGYSTAR 3.0 (new multifamily) | -68953.1815 | 0.35194 | -45240.4114 | 0.65985 | 14646.8185 | 1.6424 | 1347.6976 | 1.0373 | 38
23 | High Performance Home (new multifamily) | -2130.5393 | 0.42105 | -1301.9268 | 0.71697 | 849.4607 | 2.2135 | 298.4385 | 1.2386 | 1
24 | ThermWise BOP 1 - (builder cert) (new multifamily) | 11262.562 | 1.3515 | 59257.9871 | 2.4796 | 16602.562 | 1.6218 | 1203.2219 | 1.0286 | 89
25 | ThermWise BOP2 - (rater cert) (new multifamily) | 16134.0407 | 1.412 | 74914.8143 | 2.5304 | 24144.0407 | 1.7751 | 4480.268 | 1.0882 | 89
26 | Gas Water Heater Tier 1 (new multifamily) | -1076.5141 | 0.51941 | 145.6211 | 1.052 | 363.4859 | 1.4544 | -75.7853 | 0.93885 | 16
27 | Gas Water Heater Tier 2 (new multifamily) | -15008.4723 | 0.52625 | 1044.4923 | 1.0264 | 6771.5277 | 1.684 | 477.2342 | 1.0295 | 99
28 | Condensing Gas Water Heater (new multifamily) | -569.3668 | 0.38112 | -147.1831 | 0.87201 | 0.63317 | 1.0018 | -133.0175 | 0.72497 | 1
29 | Hybrid Gas Water Heater (new multifamily) | -556.6443 | 0.43796 | -88.0974 | 0.92884 | 83.7557 | 1.2393 | -80.0077 | 0.84427 | 1
30 | Tank Less Gas Water Heater - Tier 1 - (new multifamily) | -701.4448 | 0.76619 | 1515.8032 | 1.5053 | 1098.5552 | 1.9155 | 250.0033 | 1.122 | 4
31 | Tank Less Gas Water Heater - Tier 2 - (new multifamily) | -2154.3639 | 0.46608 | -272.0701 | 0.93257 | 830.6361 | 1.7911 | 136.3663 | 1.0782 | 3 |  | QGC Energy Efficiency Exhibit 1.10
32 | 90% Plus AFUE Condensing Gas Furnace - (new multifamily) | -8592.1712 | 0.56055 | 4347.6093 | 1.1779 | 1559.8288 | 1.1659 | -2575.4937 | 0.80972 | 47
33 | 92% Plus AFUE Condensing Gas Furnace - (new multifamily) | -10305.2932 | 0.68241 | 22009.786 | 1.5426 | -1257.2932 | 0.94627 | -9612.0984 | 0.6973 | 78
34 | 95% Plus AFUE Condensing Gas Furnace - (new multifamily) | -12623.5676 | 0.43084 | -670.3721 | 0.97582 | -594.3676 | 0.94144 | -4199.8639 | 0.69468 | 29
35 | 95% Gas Furnace with ECM motor - (new multifamily) | -870.5909 | 0.43084 | 53.7674 | 1.0281 | -140.9909 | 0.82376 | -389.6458 | 0.62843 | 2
36 | Residential Boiler - Tier 1 (new multifamily) | 180.8633 | 1.4111 | 981.625 | 2.7848 | 220.8633 | 1.5522 | -7.0423 | 0.98878 | 1
37 | Residential Boiler - Tier 2 (new multifamily) | -412.1822 | 0.66759 | 558.8333 | 1.3605 | 227.8178 | 1.3797 | -76.0564 | 0.91586 | 1 |  |  | Docket No. 11-057-12 | Questar Gas Company
38 | Windows - R-5 (new multifamily) | -1389.3499 | 0.30588 | -967.9025 | 0.61315 | 111.8501 | 1.2235 | -108.6346 | 0.8493 | 1
39 | 2X6 R-20 Walls (new multifamily) | -5900.9212 | 0.62747 | 1752.6346 | 1.0885 | 4989.0788 | 2.0079 | 1447.7835 | 1.1705 | 33
40 | Solar Water Heater (new multifamily) | 632.015 | 1.1756 | 1114.5034 | 1.2477 | -17.985 | 0.97602 | -292.7916 | 0.7143 | 1
41 | Program Costs | -929541.225 | 0 | 0 | N/A | -929541.225 | 0 | -929541.225 | 0
42 | Totals | 431616.3381 | 1.0798 | 6120180.309 | 2.097 | 2942740.1381 | 2.0349 | 877591.973 | 1.1788 | 5082
Page 4 of 8
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - THERMWISE WEATHERIZATION REBATES PROGRAM (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Attic Insulation - Tier 1 (weatherization) | 3399526.6776 | 1.4672 | 15426556.6326 | 2.6959 | 3988100.9496 | 1.5963 | 184082.0293 | 1.0175 | 19788
2 | Attic Insulation - Tier 2 (weatherization) | 180466.9864 | 1.1123 | 2254923.7376 | 2.1228 | 509091.1144 | 1.3984 | -127643.5581 | 0.93334 | 13584
3 | Floor Insulation (weatherization) | 116010.267 | 1.5238 | 418717.8165 | 2.5126 | 205647.867 | 2.5601 | 85408.0159 | 1.3388 | 780
4 | Wall Insulation (weatherization) | -136662.2325 | 0.77943 | 395257.056 | 1.5103 | 119887.4475 | 1.3302 | -52180.3863 | 0.90249 | 1620
5 | Windows (weatherization) | 1290943.8826 | 2.4981 | 3403201.3454 | 4.1594 | 1365517.8826 | 2.7347 | 577766.2917 | 1.3669 | 16572
6 | Windows - R-5 (weatherization) | 80.1028 | 1.0167 | 4739.3614 | 1.7899 | 2380.1028 | 1.952 | 622.6701 | 1.1463 | 20
7 | Duct Sealing & Insulation (weatherization) | 195174.9133 | 1.3965 | 983528.231 | 2.5984 | 295028.5453 | 1.7519 | 37697.1628 | 1.058 | 936
8 | Air Sealing (weatherization) | -39533.2327 | 0.81725 | 202362.8787 | 1.7484 | 14286.7674 | 1.0879 | -51891.4319 | 0.77308 | 250
9 | Attic Insulation (multifamily) Tier 1 | 177896.7017 | 1.4672 | 807269.3063 | 2.6959 | 208696.7017 | 1.5963 | 9632.9839 | 1.0175 | 1400
10 | Attic Insulation (multifamily) Tier 2 | 13838.8136 | 1.1123 | 172915.1129 | 2.1228 | 39038.8136 | 1.3984 | -9788.136 | 0.93334 | 1400
11 | Floor Insulation (multifamily) | 1760.1315 | 1.5238 | 6352.8723 | 2.5126 | 3120.1315 | 2.5601 | 1295.8279 | 1.3388 | 10
12 | Wall Insulation (multifamily) | -1863.3603 | 0.77943 | 5389.2454 | 1.5103 | 1634.6397 | 1.3302 | -711.4684 | 0.90249 | 10
13 | Replacement Windows (multifamily) | 55215.5733 | 2.7697 | 135400.4403 | 4.4718 | 57915.5733 | 3.0321 | 26795.4198 | 1.4494 | 150
14 | Windows - R-5 (multifamily) | 8.0103 | 1.0167 | 473.9361 | 1.7899 | 238.0103 | 1.952 | 62.267 | 1.1463 | 2
15 | Duct Sealing & Insulation (multifamily) | 435169.622 | 1.9968 | 1331950.7971 | 3.4408 | 523974.677 | 2.5067 | 197652.1954 | 1.2932 | 2000
16 | Program Costs | -1542819.2 | 0 | 0 | N/A | -1542819.2 | 0 | -1542819.2 | 0
17 | Totals | 4145213.6566 | 1.2998 | 25549038.7698 | 2.6639 | 5791740.0236 | 1.4755 | -664019.3169 | 0.96437 | 58522
QGC Energy Efficiency Exhibit 1.10
[11 empty] | Page 5 of 8 |  | Docket No. 11-057-12 | Questar Gas Company
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - THERMWISE HOME ENERGY AUDIT PROGRAM (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Pipe Insulation | 108467.3576 | 14.1994 | 212807.2252 | 21.7172 | 106412.9576 | 11.3595 | 61021.7751 | 2.0963 | 2568
2 | Faucet Aerator | 14256.6426 | 5.9502 | 31253.3976 | 9.6815 | 13536.6426 | 4.7602 | 6870.3809 | 1.6692 | 1200
3 | Kitchen Faucet Aerator | 60662.4099 | 17.8507 | 117200.2408 | 27.0445 | 59762.4099 | 14.2805 | 34763.9282 | 2.1785 | 1500
4 | Low Flow Showerhead | 165427.7917 | 35.7059 | 322519.4691 | 55.1304 | 164236.1517 | 28.5647 | 99330.5459 | 2.4017 | 961
5 | Programmable Thermostat - Residential | 7262.8057 | 3.7438 | 16997.8697 | 6.1372 | 7389.8137 | 3.9325 | 3595.9756 | 1.5695 | 84
6 | Program Costs | -818994.1 | 0 | 0 | N/A | -818994.1 | 0 | -818994.1 | 0
7 | Totals | -462917.0924 | 0.44963 | 700778.2024 | 26.3547 | -467656.1244 | 0.44711 | -613411.4942 | 0.38139 | 6313 | *
*6,313 represents projected audit efficiency measures distributed to participants and programmable thermostat rebates / 3,857 is the projected number of 2012 Home Energy Audits and programmable thermostat rebates.
QGC Energy Efficiency Exhibit 1.10
[11 empty] | Page 6 of 8 |  | Docket No. 11-057-12 | Questar Gas Company
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - LOW INCOME WEATHERIZATION (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Low Income Furnace Replacement | 698064.7364 | N/A | 980089.5302 | N/A | 698064.7364 | N/A | 436751.8116 | 2.6714 | 500
2 | 95% Plus AFUE Condensing Gas Furnace (low income) | 173150.6315 | 1.3588 | 777597.4403 | 2.289 | 434889.4315 | 2.9692 | 187468.2268 | 1.4003 | 631
3 | Attic Insulation - Tier 1 (low income) | 78890.1984 | 1.4672 | 376617.5732 | 2.7842 | 73923.4384 | 1.4252 | -14353.5001 | 0.94524 | 547
4 | Floor Insulation (low income) | 43489.329 | 1.5238 | 156966.77 | 2.5126 | 77092.209 | 2.5601 | 32017.3154 | 1.3388 | 232
5 | Wall Insulation (low income) | -18857.2062 | 0.77943 | 62888.1634 | 1.5885 | 8193.5537 | 1.1402 | -15549.0602 | 0.81081 | 198
6 | Windows (low income) | 79671.919 | 2.4981 | 210032.0437 | 4.1594 | 84274.3295 | 2.7347 | 35657.4362 | 1.3669 | 481
7 | Programmable Thermostat (low income) | 50061.4824 | 3.7438 | 117163.8879 | 6.1372 | 50936.9304 | 3.9325 | 24786.5464 | 1.5695 | 579
8 | Duct Sealing & Insulation (low income) | -23684.6214 | 0.7981 | 117632.453 | 1.8022 | 107.7874 | 1.0012 | -36313.2328 | 0.72054 | 214
9 | Program Costs | -560348 | 0 | 0 | N/A | -560348 | 0 | -560348 | 0
10 | Totals | 520438.4691 | 1.3317 | 2798987.8617 | 3.2199 | 867134.4164 | 1.7094 | 90117.5433 | 1.0451 | 3382
QGC Energy Efficiency Exhibit 1.10
[11 empty] | Page 7 of 8 |  | Docket No. 11-057-12 | Questar Gas Company
COST EFFECTIVENESS TESTS - BUDGET 2012 - FORECASTED PARTICIPANTS & COSTS - THERMWISE BUSINESS CUSTOM REBATES PROGRAM (1 Year)
| MEASURE | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Participants
|  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Business Custom Program | 1268010.0565 | 4.8815 | 2294200.8086 | 8.0228 | 1326463.9965 | 5.9453 | 724392.7588 | 1.8324 | 40
3 | Program Costs | -577577.3 | 0 | 0 | N/A | -577577.3 | 0 | -577577.3 | 0
4 | Totals | 690432.7565 | 1.7635 | 2294200.8086 | 8.0228 | 748886.6965 | 1.8854 | 146815.4588 | 1.1014 | 40
[11 empty] | Page 8 of 8 | QGC Energy Efficiency Exhibit 1.10 | Docket No. 11-057-12 | Questar Gas Company