## Tests - Commission Exhibit
| A |  | B | C | D | E | F | G | H | I | J
ENERGY EFFICIENCY - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - PROGRAM PORTFOLIO DESCRIPTIONS (1 Year)
| PROGRAMS |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | ThermWise® Appliance Rebate |  | 2092495.3389 | 1.2559 | 17977436.3102 | 3.0659 | 4060854.1389 | 1.6592 | -1642662.4745 | 0.86154 | 20529
2 | ThermWise® Builder Rebates |  | 636758.4531 | 1.1298 | 10862428.5472 | 3.0879 | 168037.3131 | 1.0315 | -2848635.8268 | 0.65882 | 16764
3 | ThermWise® Business Rebates |  | 1545181.5631 | 1.3496 | 11454837.2931 | 3.8225 | 3056470.4631 | 2.0514 | 440938.2803 | 1.0798 | 2257
4 | ThermWise® Weatherization Rebates |  | 168699.9103 | 1.0199 | 13578302.1459 | 2.4206 | 1382121.0857 | 1.1907 | -3057152.8888 | 0.73842 | 25783
5 | ThermWise® Home Energy Plan |  | 203146.2978 | 1.2709 | 2575911.334 | 50.2856 | 192693.2978 | 1.2535 | -352384.2538 | 0.73004 | 2800 | *
6 | Low Income Efficiency Program |  | 31727.7701 | 1.0356 | 1529937.8479 | 4.3796 | 63833.9173 | 1.0743 | -440727.9326 | 0.67694 | 1662
7 | Energy Comparison Report |  | 214308.2587 | 1.4463 | 1608517.2285 | 4.9211 | 214308.2587 | 1.4463 | -225347.8082 | 0.75502 | 255000
8 | Market Transformation Initiative |  | -1349000 | 0 | 0 | N/A | -1349000 | 0 | -1349000 | 0 | 0
9 | Totals |  | 3543317.592 | 1.1204 | 59587370.7067 | 3.0955 | 7789318.4746 | 1.3104 | -9474972.9044 | 0.77633 | 69795 | **
Note: B/C = Net Present Value of Benefits divided by Net Present Value of Costs
*2,800 is the projected number of 2017 Home Energy Plans / 15,100 represents projected efficiency measures to be distributed to participants.
**Total participation reflects rebate and energy plan participants. Energy Comparison Report participants are shown only for the purpose of calculating cost effectiveness.
QGC Energy Efficiency Exhibit 1.11
[12 empty] | Page 1 of 9 |  | Docket No. 16-057-15 | Questar Gas Company
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - THERMWISE APPLIANCE REBATES PROGRAM (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | 92% Gas Furnace (appliance) | 0 | 26588.6677 | 3.2893 | 77518.8145 | 6.3395 | 26003.0677 | 3.1314 | 4784.7024 | 1.1432 | 61
2 | 95% Gas Furnace (appliance) |  | 2111979.156 | 5.3119 | 6002349.7129 | 10.8038 | 1424377.556 | 2.2098 | -20675.6823 | 0.99212 | 3364
3 | 95% Gas Furnace with ECM (appliance) |  | 359635.4426 | 1.1074 | 5480929.6277 | 2.3096 | 1790165.0426 | 1.9335 | -269164.6911 | 0.93232 | 4794
4 | 98% Gas Furnace with ECM (appliance) |  | -43075.3182 | 0.93039 | 744650.0986 | 1.9627 | 260724.6818 | 1.8277 | -59038.5562 | 0.90699 | 700
5 | Gas Water Heater - Tier 2 (appliance) |  | -38848.9998 | 0.60365 | 102627.5099 | 1.8376 | -16932.1998 | 0.7775 | -49523.7471 | 0.54436 | 761
6 | Condensing Gas Water Heater (appliance) |  | -44074.1888 | 0.27261 | -9630.2876 | 0.87285 | -7982.1888 | 0.6742 | -17080.736 | 0.49162 | 70
7 | Hybrid Gas Water Heater (appliance) |  | -8619.3398 | 0.2375 | -4061.486 | 0.71256 | -815.3398 | 0.76705 | -2251.6375 | 0.54386 | 10
8 | Residential Boiler - Tier 1 (appliance) |  | 14982.4081 | 2.0358 | 65886.7454 | 4.6442 | 13446.4081 | 1.8404 | -1415.4741 | 0.95414 | 40
9 | Residential Boiler - Tier 2 (appliance) |  | 7585.226 | 1.1042 | 143109.8885 | 2.5733 | 31755.626 | 1.6534 | -8800.6226 | 0.90129 | 81
10 | Solar Water Heater - Domestic (appliance) |  | -6454.6368 | 0.74386 | -801.3944 | 0.97456 | -504.6368 | 0.90388 | -2823.2476 | 0.62698 | 7
11 | Solar Water Heater - Pool (appliance) |  | 20083.1729 | 2.5939 | 48574.7958 | 4.0841 | 13433.1729 | 3.5587 | 4304.471 | 1.2994 | 7
12 | Tank Less Gas Water Heater - Tier 1 (appliance) |  | 9240.3608 | 1.6016 | 59480.4918 | 4.0981 | 2699.5608 | 1.1233 | -9716.0714 | 0.71686 | 73
13 | Tank Less Gas Water Heater - Tier 2 (appliance) |  | -32431.107 | 0.89185 | 496191.1669 | 2.3238 | 13678.893 | 1.0539 | -121295.0123 | 0.68797 | 725
14 | Direct Vent Fireplace - Tier 1 (appliance) |  | 15092.9212 | 1.1075 | 213343.3933 | 2.2156 | 85292.9212 | 2.215 | 606.5273 | 1.0039 | 351
15 | Smart Thermostat (appliance) |  | 943260.2366 | 1.5794 | 4458865.8775 | 3.1911 | 1646260.2366 | 2.7797 | 166213.3274 | 1.0691 | 9250
16 | 92% Gas Furnace (existing multifamily) |  | 104.3756 | 1.1096 | 2017.6149 | 2.6955 | 56.3756 | 1.0564 | -530.346 | 0.66576 | 5
17 | 95% Gas Furnace (existing multifamily) |  | 5977.8025 | 1.6843 | 40828.9213 | 4.7389 | -6286.1975 | 0.70066 | -14458.3904 | 0.50438 | 60
18 | 95% Gas Furnace with ECM (existing multifamily) |  | -27190.1975 | 0.35113 | 2368.9213 | 1.0452 | -9286.1975 | 0.61308 | -17458.3904 | 0.45735 | 60
19 | 98% Gas Furnace with ECM (existing multifamily) |  | -1199.6808 | 0.77416 | 4203.9293 | 1.6331 | 1862.3192 | 1.8277 | -421.704 | 0.90699 | 5
20 | Gas Water Heater Tier 2 (existing multifamily) |  | -255.2497 | 0.60365 | 674.2938 | 1.8376 | -111.2497 | 0.7775 | -325.386 | 0.54436 | 5
21 | Condensing Gas Water Heater (existing multifamily) |  | -3593.9959 | 0.16959 | -1810.9838 | 0.66525 | -1015.9959 | 0.41943 | -1420.3092 | 0.34071 | 5
22 | Hybrid Gas Water Heater (existing multifamily) |  | -4816.9099 | 0.14775 | -3271.7986 | 0.5369 | -914.9099 | 0.47719 | -1361.6845 | 0.38014 | 5
23 | Residential Boiler - Tier 1 (existing multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
24 | Residential Boiler - Tier 2 (existing multifamily) |  | -1371.6816 | 0.69464 | 4913.0423 | 1.875 | 120.3184 | 1.0401 | -1404.2865 | 0.68963 | 5
25 | Solar Water Heater - Domestic (existing multifamily) |  | -4610.4549 | 0.74386 | -572.4246 | 0.97456 | -360.4549 | 0.90388 | -2016.6054 | 0.62698 | 5
26 | Solar Water Heater - Pool (existing multifamily) |  | 14345.1235 | 2.5939 | 34696.2827 | 4.0841 | 9595.1235 | 3.5587 | 3074.6222 | 1.2994 | 5
27 | Tank Less Gas Water Heater - Tier 1 - (existing multifamily) |  | 10.9051 | 1.0104 | 2638.3451 | 3.0063 | -437.0949 | 0.7086 | -973.5532 | 0.52194 | 5
28 | Tank Less Gas Water Heater - Tier 2 - (existing multifamily) |  | -886.9943 | 0.57109 | 1890.939 | 1.7315 | -568.9943 | 0.67486 | -1165.0591 | 0.5034 | 5
29 | Direct Vent Fireplace - Tier 1 (existing multifamily) |  | -1159.1208 | 0.42044 | 223.1691 | 1.0893 | -159.1208 | 0.84088 | -617.0904 | 0.57675 | 5
30 | Smart Thermostat (existing multifamily) |  | -2802.5838 | 0.7346 | 9601.1038 | 1.7274 | 1757.4162 | 1.2929 | -2707.8416 | 0.74125 | 60 |  | QGC Energy Efficiency Exhibit 1.11
31 | Program Costs |  | -1215000 | 0 | 0 | N/A | -1215000 | 0 | -1215000 | 0
32 | Totals |  | 2092495.3389 | 1.2559 | 17977436.3102 | 3.0659 | 4060854.1389 | 1.6592 | -1642662.4745 | 0.86154 | 20529
Questar Gas Company
[12 empty] | Page 2 of 9 |  | Docket No. 16-057-15
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - THERMWISE BUSINESS REBATES PROGRAM (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | 92% Gas Furnace (business) |  | 885.7993 | 2.9986 | 2890.6669 | 6.2178 | 928.9993 | 3.3225 | 356.0555 | 1.366 | 2
2 | 95% Gas Furnace (business) |  | 66965.2214 | 2.5082 | 252131.8081 | 5.5429 | 58865.2214 | 2.1212 | 10854.6478 | 1.108 | 150
3 | 95% Gas Furnace with ECM (business) |  | 31682.6107 | 2.3201 | 127565.904 | 5.2522 | 25682.6107 | 1.8561 | 1677.3239 | 1.0311 | 75
4 | 98% Gas Furnace with ECM (business) |  | -923.0425 | 0.93039 | 18997.6399 | 2.1462 | 5586.9575 | 1.8277 | 163.1278 | 1.0134 | 15
5 | Gas Storage Water Heater - (business) Tier 2 |  | -1131.4216 | 0.29286 | -397.6742 | 0.80116 | -31.4216 | 0.93716 | -225.2527 | 0.67535 | 5
6 | Gas Storage Water Heater - (business) >75kBtu |  | 31909.3808 | 1.6537 | 146885.6391 | 3.4072 | 62725.3808 | 4.4847 | 29332.7002 | 1.5708 | 30
7 | Commercial Tankless Water Heater - <200kBTU |  | 6458.5025 | 1.2539 | 45856.0127 | 2.8025 | 19898.5025 | 2.6582 | 7265.5002 | 1.2949 | 30
8 | Commercial Tankless Water Heater - >200kBTU |  | 548.9727 | 1.2539 | 3897.7611 | 2.8025 | 1691.3727 | 2.6582 | 617.5675 | 1.2949 | 1
9 | Condensing Gas Water Heater (business) |  | -1813.5645 | 0.34291 | -173.5201 | 0.9497 | -103.5645 | 0.90137 | -495.0649 | 0.65656 | 3
10 | Hybrid Gas Water Heater (business) |  | -674.9215 | 0.31854 | -145.84 | 0.8822 | -34.5215 | 0.90137 | -165.0216 | 0.65656 | 1
11 | Combined Space / Water Heater (business) |  | -3318.5958 | 0.10694 | -3182.9208 | 0.31476 | -52.5958 | 0.88312 | -230.5581 | 0.63285 | 1
12 | Energy Star Commercial Clothes Washer (business 2010 specs) |  | -923.7297 | 0.23023 | -421.4155 | 0.71906 | -98.7297 | 0.73672 | -222.4468 | 0.55396 | 5
13 | Boiler Reset Control |  | 4742.9414 | 4.5501 | 12756.5318 | 8.6386 | 5578.9414 | 12.1579 | 2958.2537 | 1.9479 | 2
14 | Boiler Tune-up - Tier 1 |  | -1933.4165 | 0.19441 | -628.2812 | 0.79057 | -533.4165 | 0.46658 | -791.5458 | 0.37085 | 10
15 | Boiler Tune-up - Tier 2 |  | -12368.7387 | 0.48464 | 11694.9905 | 1.3898 | 4131.2613 | 1.5508 | -2303.5346 | 0.83469 | 50
16 | Boiler Tune-up - Tier 3 |  | -11888.157 | 0.53562 | 18311.7366 | 1.5722 | 3711.843 | 1.3712 | -3873.999 | 0.77971 | 40
17 | Low Flow Pre-rinse Spray Valve |  | 44905.4949 | 4.5082 | 163774.6235 | 11.2359 | 41705.4949 | 3.6066 | 12907.6471 | 1.2881 | 500
18 | Smart Thermostat (business) |  | 20816.0873 | 1.257 | 176773.233 | 2.7459 | 70316.0873 | 3.2323 | 23925.471 | 1.3072 | 450
19 | Direct Contact Water Heater |  | 1933.2203 | 5.1092 | 4974.3846 | 9.4588 | 2105.5763 | 8.0633 | 1207.5604 | 2.0096 | 1
20 | High Efficiency Boiler Hot Water Tier 1 |  | 99087.6658 | 1.8127 | 413916.8257 | 3.716 | 161007.6658 | 3.6835 | 65729.2237 | 1.4233 | 15
21 | High Efficiency Boiler Hot Water Tier 2 ≥ 300,000 < 2,500,000 (business) |  | 817272.7764 | 2.6765 | 2684477.6408 | 5.4053 | 1000085.2764 | 4.2823 | 437585.7042 | 1.5046 | 75
22 | Boiler Hot Water ≥ 2,500,000 Btu/h (business) |  | 751919.3594 | 1.9269 | 3277718.5871 | 4.2325 | 1056119.3594 | 3.0831 | 343912.9454 | 1.2821 | 52 |  | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
23 | High Efficiency Boiler Steam Tier 1 |  | 6837.0489 | 1.8127 | 28560.261 | 3.716 | 11109.5289 | 3.6835 | 4535.3164 | 1.4233 | 1
24 | Boiler Steam (Except Natural Draft) ≥ 300,000 Btu/h (business) |  | -11073.0178 | 0.52472 | 11283.0528 | 1.3874 | 1418.7182 | 1.1313 | -4151.2484 | 0.7465 | 1
25 | Boiler Steam (Natural Draft) ≥ 300,000 Btu/h (business) |  | 2716.1318 | 1.1489 | 38746.8649 | 2.6994 | 10150.6598 | 1.9394 | 602.1455 | 1.0296 | 1
26 | Gas Unit Heater NonCondensing |  | -77.4333 | 0.98064 | 6278.3677 | 2.2557 | 1422.5667 | 1.569 | -74.3586 | 0.9814 | 10
27 | Gas Unit Heater Condensing |  | -4819.4805 | 0.62813 | 10119.5363 | 1.6247 | 40.5195 | 1.005 | -3067.0897 | 0.72634 | 5
28 | Infared Heating System |  | 642873.2214 | 1.8945 | 2710697.1003 | 4.0173 | 968591.6214 | 3.4646 | 363388.4852 | 1.364 | 524 | Page 3 of 9 |  |  | Questar Gas Company
29 | Modulating Infrared Heaters (NC or Replacing Non-IR) (business) |  | -29.8204 | 0.98972 | 4241.8974 | 2.1702 | 1782.6796 | 2.6392 | 506.9361 | 1.2145 | 1
30 | Modulating Infrared Heaters (Replacing Non-IR) (business) |  | -8334.7044 | 0.041988 | -9722.1676 | 0.10601 | 75.2956 | 1.2596 | -87.0718 | 0.80752 | 1
31 | Condensing RTU's (business) |  | -2530.4053 | 0.66261 | 4532.6816 | 1.4835 | 3094.5947 | 2.6505 | 830.2908 | 1.2006 | 1
32 | Combination Oven |  | -16438.1027 | 0.057319 | -18366.8055 | 0.15737 | -0.5027 | 0.9995 | -414.9157 | 0.70665 | 1
33 | Commercial Fryer |  | -106271.5525 | 0.22234 | -68390.9747 | 0.59963 | 7884.4475 | 1.3504 | -5744.8888 | 0.84099 | 30
34 | Convection Oven |  | -12743.388 | 0.32446 | -1029.7929 | 0.95633 | -1379.388 | 0.81608 | -4025.7905 | 0.60323 | 10
35 | Griddle |  | -17208.7159 | 0.059633 | -18721.6012 | 0.18157 | -408.7159 | 0.72752 | -861.2065 | 0.55892 | 5
36 | Steam Cooker |  | -4241.0147 | 0.14784 | -3366.7459 | 0.45881 | -264.2147 | 0.73579 | -580.387 | 0.55903 | 1
37 | Building Shell - Attic Insulation (retrofit) |  | 33602.8533 | 1.15 | 367940.1865 | 2.3141 | 145602.8533 | 2.3 | 44749.9023 | 1.2102 | 100
38 | Building Shell - Wall Insulation (retrofit) |  | -29713.3104 | 0.41966 | -7297.155 | 0.88598 | 9486.6896 | 1.7906 | 1074.531 | 1.0526 | 10
39 | Demand Control Ventilation Systems (DCV) |  | -49673.8561 | 0.37908 | 19170.2019 | 1.1917 | -9673.8561 | 0.75815 | -24572.0643 | 0.55241 | 10
40 | Charbroiler |  | -22180.2472 | 0.26066 | -12788.7941 | 0.65897 | 2819.7528 | 1.564 | -543.5998 | 0.935 | 5
41 | Conveyor Oven |  | -19033.8385 | 0.36554 | -5830.7999 | 0.84451 | 5966.1615 | 2.1932 | 1415.556 | 1.1482 | 5
42 | Gas Dryer Moisture Sensor |  | 371.7497 | 1.467 | 2073.5401 | 3.084 | 1042.7497 | 9.342 | 540.4891 | 1.8617 | 5
43 | Modulating Gas Dryer |  | 247.2856 | 1.5888 | 1232.0229 | 3.3467 | 592.2856 | 8.8971 | 305.2795 | 1.8433 | 1
44 | Solar Water Heater - Pool (business) |  | 2869.0247 | 2.5939 | 6346.1921 | 3.8205 | 1919.0247 | 3.5587 | 921.4802 | 1.5273 | 1
45 | Business Custom |  | 459923.7126 | 4.8327 | 1031411.7189 | 9.5951 | 519923.7126 | 9.6654 | 280033.7659 | 1.9338 | 15
46 | Program Costs |  | -1144000 | 0 | 0 | N/A | -1144000 | 0 | -1144000 | 0
47 | Totals |  | 1545224.5854 | 1.3496 | 11454793.1211 | 3.8225 | 3056483.4854 | 2.0514 | 440967.8616 | 1.0799 | 2257
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - THERMWISE BUILDER REBATES PROGRAM (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | HERS Index 62 or lower (builder) |  | -478531.6169 | 0.41381 | -259741.0349 | 0.74546 | 218808.3831 | 2.8387 | 48266.9496 | 1.1667 | 1190
2 | HERS Index 55 or lower (builder) |  | -26540.409 | 0.41381 | -14405.8053 | 0.74546 | 12135.591 | 2.8387 | 2676.9905 | 1.1667 | 33
3 | HERS Index 48 or lower (builder) |  | -19302.1156 | 0.41381 | -10476.9493 | 0.74546 | 8825.8844 | 2.8387 | 1946.9022 | 1.1667 | 16
4 | Energy Star 3.0 Bonus (builder) |  | -63174.3241 | 0.4422 | -29937.3449 | 0.78853 | 33581.6759 | 3.0353 | 8298.1092 | 1.1986 | 330
5 | 92% Gas Furnace (builder) |  | 75266.3625 | 1.8785 | 319245.8926 | 3.9808 | 70946.3625 | 1.7883 | -18444.8546 | 0.89718 | 450
6 | 95% Gas Furnace (builder) |  | 2354076.9138 | 2.9021 | 8933890.5233 | 6.775 | 616676.9138 | 1.2073 | -1378176.3138 | 0.72269 | 8500
7 | 95% Gas Furnace with ECM (builder) |  | -137924.8874 | 0.60503 | 205022.972 | 1.4697 | 11275.1126 | 1.0564 | -106069.1949 | 0.66576 | 500
8 | 98% Gas Furnace with ECM (builder) |  | -47566.1229 | 0.44035 | 7972.6407 | 1.075 | 1425.8771 | 1.0396 | -19360.8288 | 0.65906 | 80
9 | Gas Water Heater (builder) Tier 2 |  | -36500.7028 | 0.60365 | 96424.0073 | 1.8376 | -15908.7028 | 0.7775 | -46530.196 | 0.54436 | 715
10 | Tank Less Gas Water Heater - Tier 1 - (builder) |  | 5375.1602 | 1.2555 | 51736.1349 | 3.4589 | 2415.1602 | 1.1006 | -10916.8223 | 0.70757 | 80
11 | Tank Less Gas Water Heater - Tier 2 - (builder) |  | -10535.2108 | 0.81475 | 67188.1383 | 2.1814 | 7834.7892 | 1.2035 | -15550.8195 | 0.74872 | 110
12 | Condensing Gas Water Heater (builder) |  | -6296.3127 | 0.27261 | -1375.7554 | 0.87285 | -1140.3127 | 0.6742 | -2440.1051 | 0.49162 | 10
13 | Hybrid Gas Water Heater (builder) |  | -4309.6699 | 0.2375 | -2030.743 | 0.71256 | -407.6699 | 0.76705 | -1125.8188 | 0.54386 | 5
14 | Residential Boiler - Tier 1 (builder) |  | 1026.4503 | 1.3154 | 9412.8473 | 3.3139 | 680.8503 | 1.1891 | -1479.7355 | 0.74313 | 9
15 | Residential Boiler - Tier 2 (builder) |  | -8718.5985 | 0.70592 | 31047.3647 | 1.8378 | 1128.6015 | 1.057 | -9434.2627 | 0.68928 | 33
16 | Solar Water Heater - Domestic (builder) |  | -4610.4549 | 0.74386 | -572.4246 | 0.97456 | -360.4549 | 0.90388 | -2016.6054 | 0.62698 | 5
17 | Solar Water Heater - Pool (builder) |  | 14345.1235 | 2.5939 | 34696.2827 | 4.0841 | 9595.1235 | 3.5587 | 3074.6222 | 1.2994 | 5
18 | 2X6 R-23 Walls |  | -328386.0012 | 0.36849 | -188519.5996 | 0.70997 | 94113.9988 | 1.9653 | -2621.6882 | 0.9865 | 650
19 | Windows - R-5 (builder) |  | -644.4453 | 0.44772 | 358.791 | 1.246 | -302.5653 | 0.63325 | -566.3147 | 0.47985 | 330
20 | Smart Thermostat (builder) |  | -8142.8512 | 0.7897 | 39824.351 | 1.8228 | 8577.1488 | 1.3899 | -9023.4091 | 0.77214 | 220
21 | HERS Index 62 or lower (new multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 |  | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
22 | HERS Index 55 or lower (new multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
23 | HERS Index 48 or lower (new multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
24 | Energy Star 3.0 Bonus (new multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
25 | 92% Gas Furnace (new multifamily) |  | 25050.1351 | 1.1096 | 484227.5664 | 2.6955 | 13530.1351 | 1.0564 | -127283.0339 | 0.66576 | 1200
26 | 95% Gas Furnace (new multifamily) |  | 149445.0621 | 1.6843 | 1020723.0315 | 4.7389 | -157154.9379 | 0.70066 | -361459.759 | 0.50438 | 1500
27 | 95% Gas Furnace with ECM (new multifamily) |  | -14954.6086 | 0.35113 | 1302.9067 | 1.0452 | -5107.4086 | 0.61308 | -9602.1147 | 0.45735 | 33
28 | 98% Gas Furnace with ECM (new multifamily) |  | -3972.6667 | 0.25213 | -1591.0597 | 0.76038 | -910.6667 | 0.59526 | -1654.5458 | 0.44736 | 5
29 | Gas Water Heater Tier 2 (new multifamily) |  | -65073.8521 | 0.29338 | 24445.9161 | 1.2124 | -44481.8521 | 0.37788 | -59364.326 | 0.31277 | 715
30 | Tank Less Gas Water Heater - Tier 1 - (new multifamily) |  | -330.8286 | 0.74842 | 2002.2927 | 2.5227 | -515.8286 | 0.65611 | -1012.5493 | 0.49289 | 5
31 | Tank Less Gas Water Heater - Tier 2 - (new multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
32 | Condensing Gas Water Heater (new multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
33 | Hybrid Gas Water Heater (new multifamily) |  | -4589.0949 | 0.18806 | -2861.6549 | 0.59495 | -687.0949 | 0.60737 | -1223.5532 | 0.46487 | 5
34 | Residential Boiler - Tier 1 (new multifamily) |  | 532.2388 | 1.2944 | 5386.0317 | 3.3832 | 340.2388 | 1.1701 | -803.2148 | 0.74448 | 5
35 | Residential Boiler - Tier 2 (new multifamily) |  | -1371.6816 | 0.69464 | 4913.0423 | 1.875 | 120.3184 | 1.0401 | -1404.2865 | 0.68963 | 5
36 | Solar Water Heater - Domestic (new multifamily) |  | -4610.4549 | 0.74386 | -572.4246 | 0.97456 | -360.4549 | 0.90388 | -2016.6054 | 0.62698 | 5
37 | Solar Water Heater - Pool (new multifamily) |  | 14345.1235 | 2.5939 | 34696.2827 | 4.0841 | 9595.1235 | 3.5587 | 3074.6222 | 1.2994 | 5 | Page 4 of 9 |  |  | Questar Gas Company
38 | Windows - R-5 (new multifamily) |  | -11.948 | 0.32421 | 1.2883 | 1.0583 | -6.768 | 0.45856 | -9.6618 | 0.37236 | 5
39 | Smart Thermostat (new multifamily) |  | -605.2582 | 0.31221 | -4.9609 | 0.99549 | -225.2582 | 0.54948 | -383.4027 | 0.41745 | 5
40 | Program Costs |  | -726000 | 0 | 0 | N/A | -726000 | 0 | -726000 | 0
41 | Totals |  | 636758.4531 | 1.1298 | 10862428.5472 | 3.0879 | 168037.3131 | 1.0315 | -2848635.8268 | 0.65882 | 16764
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - THERMWISE WEATHERIZATION REBATES PROGRAM (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Attic Insulation - Tier 1 (weatherization) |  | 441852.9287 | 1.1566 | 5140676.2706 | 2.4572 | 670124.9287 | 1.2583 | -944309.5413 | 0.77562 | 8000
2 | Attic Insulation - Tier 2 (weatherization) |  | -29262.2085 | 0.87684 | 279715.3393 | 1.9418 | 19337.7915 | 1.1023 | -83705.9704 | 0.71338 | 2000
3 | Floor Insulation (weatherization) |  | 13494.22 | 1.2012 | 105996.0923 | 2.2646 | 40635.3793 | 2.0181 | 795.9611 | 1.01 | 250
4 | Wall Insulation (weatherization) |  | -145887.4289 | 0.61442 | 181375.9024 | 1.3835 | 10777.4576 | 1.0486 | -104203.5913 | 0.69049 | 860
5 | Windows - R-5 (weatherization) |  | -6822.6086 | 0.79384 | 25772.9525 | 1.623 | 9035.0021 | 1.5242 | -4228.0948 | 0.86137 | 450
6 | Duct Sealing & Insulation (weatherization) |  | 67543.3737 | 1.0514 | 2237323.8694 | 2.3613 | 334246.4506 | 1.3189 | -418610.8553 | 0.76756 | 2000 |  | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
7 | Air Sealing (weatherization) |  | -117905.9716 | 0.61528 | 214025.1024 | 1.5587 | -22134.0506 | 0.89495 | -124832.1023 | 0.60168 | 400
8 | Attic Insulation (multifamily) Tier 1 |  | 168523.359 | 1.1566 | 1960661.5156 | 2.4572 | 255586.6367 | 1.2583 | -360161.0526 | 0.77562 | 4000
9 | Attic Insulation (multifamily) Tier 2 |  | -23018.3298 | 0.87684 | 220030.5529 | 1.9418 | 15211.5539 | 1.1023 | -65845.0516 | 0.71338 | 2200
10 | Floor Insulation (multifamily) |  | 122.946 | 1.2012 | 965.7319 | 2.2646 | 370.2295 | 2.0181 | 7.252 | 1.01 | 20
11 | Wall Insulation (multifamily) |  | -201.0681 | 0.61442 | 249.9797 | 1.3835 | 14.8539 | 1.0486 | -143.6177 | 0.69049 | 3
12 | Windows - R-5 (multifamily) |  | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0
13 | Duct Sealing & Insulation (multifamily) |  | 615260.6985 | 1.5033 | 3211508.8369 | 3.1018 | 863914.8525 | 1.8872 | -136916.2247 | 0.93066 | 5600
14 | Program Costs |  | -815000 | 0 | 0 | N/A | -815000 | 0 | -815000 | 0
15 | Totals |  | 168699.9103 | 1.0199 | 13578302.1459 | 2.4206 | 1382121.0857 | 1.1907 | -3057152.8888 | 0.73842 | 25783
Questar Gas Company
Page 5 of 9
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - THERMWISE HOME ENERGY PLAN PROGRAM (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Pipe Insulation |  | 111298.5484 | 11.6485 | 284311.7185 | 22.7613 | 108685.5484 | 9.3188 | 33123.5418 | 1.3737 | 3900
2 | Faucet Aerator |  | 36534.7176 | 4.4597 | 109975.5219 | 9.3315 | 33894.7176 | 3.5678 | 4666.3371 | 1.11 | 4800
3 | Low Flow Showerhead |  | 763313.0317 | 37.6977 | 2181624.0936 | 84.9086 | 758113.0317 | 30.1582 | 317825.8673 | 1.6816 | 6500
4 | Program Costs |  | -708000 | 0 | 0 | N/A | -708000 | 0 | -708000 | 0
5 | Totals |  | 203146.2978 | 1.2709 | 2575911.334 | 50.2856 | 192693.2978 | 1.2535 | -352384.2538 | 0.73004 | 15200 | *
| *2,800 is the projected number of 2017 Home Energy Plans / 15,200 represents projected efficiency measures to be distributed to participants. | [11 empty] | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
Questar Gas Company
Page 6 of 9
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - LOW INCOME EFFICIENCY PROGRAM (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Low Income Furnace Replacement |  | 483386.1393 | N/A | 808144.7255 | N/A | 483386.1393 | N/A | 214908.65 | 1.8005 | 500
2 | 95% Gas Furnace (low income) |  | 131841.7428 | 5.3119 | 374700.7847 | 10.8038 | 88917.7428 | 2.2098 | -1290.6936 | 0.99212 | 210
3 | 95% Gas Furnace with ECM (low income) |  | 17229.8773 | 2.4169 | 18744.7806 | 2.2332 | 14189.8773 | 1.9335 | -2133.5541 | 0.93232 | 38
4 | 98% Gas Furnace with ECM (low income) |  | -442.3287 | 0.87491 | -846.8652 | 0.8084 | 1493.6713 | 1.9335 | -224.5846 | 0.93232 | 4
5 | Attic Insulation - Tier 1 (low income) |  | 11696.5829 | 1.1566 | 144322.3621 | 2.5454 | 9499.2229 | 1.1235 | -33237.5462 | 0.7222 | 242
6 | Attic Insulation - Tier 2 (low income) |  | -2324.369 | 0.87684 | 22218.4755 | 1.9418 | 1536.0482 | 1.1023 | -6648.9705 | 0.71338 | 154
7 | Floor Insulation (low income) |  | 4464.7752 | 1.2012 | 35070.4764 | 2.2646 | 13444.8552 | 2.0181 | 263.3563 | 1.01 | 62
8 | Wall Insulation (low income) |  | -8990.3187 | 0.61442 | 13454.2974 | 1.4616 | -1612.8387 | 0.89881 | -8698.5505 | 0.62221 | 54
9 | Duct Sealing & Insulation (low income) |  | -17331.5714 | 0.54833 | 31759.1925 | 1.6621 | -9549.0078 | 0.68784 | -22607.6725 | 0.48205 | 70
10 | Air Sealing (low income) |  | -45355.3598 | 0.61528 | 82329.8888 | 1.5587 | -8514.3934 | 0.89495 | -48019.6621 | 0.60168 | 280
11 | Gas Water Heater - Tier 2 (low income) |  | -8069.1504 | 0.33642 | -1094.8165 | 0.92797 | 290.8496 | 1.0765 | -1962.5233 | 0.6758 | 38
12 | Tank Less Gas Water Heater - Tier 1 (low income) |  | -1267.8583 | 0.57738 | 1748.0438 | 1.4661 | 232.1417 | 1.1548 | -642.0867 | 0.72956 | 5
13 | Tank Less Gas Water Heater - Tier 2 (low income) |  | -3490.3909 | 0.35123 | -613.4976 | 0.90877 | 139.6091 | 1.0798 | -814.0946 | 0.6989 | 5
14 | Program Costs |  | -529620 | 0 | 0 | N/A | -529620 | 0 | -529620 | 0
15 | Totals |  | 31727.7701 | 1.0356 | 1529937.8479 | 4.3796 | 63833.9173 | 1.0743 | -440727.9326 | 0.67694 | 1662
[13 empty] | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
Questar Gas Company
Page 7 of 9
| COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - MARKET TRANSFORMATION (1 Year) | [11 empty] | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Program Costs |  | -1349000 | 0 | 0 | N/A | -1349000 | 0 | -1349000 | 0 | 0
2 | Totals |  | -1349000 | 0 | 0 | N/A | -1349000 | 0 | -1349000 | 0 | 0
Questar Gas Company
Page 8 of 9
COST EFFECTIVENESS TESTS - BUDGET 2017 - FORECASTED PARTICIPANTS & COSTS - ENERGY COMPARISON REPORT (1 Year)
| MEASURE |  | B: Total Resource Cost; D: Participant Test; F: Utility Cost Test; H: Ratepayer Impact Measure Test; J: Total Partici-pants
|  |  | NPV | B/C | NPV | B/C | NPV | B/C | NPV | B/C | 1 Years
1 | Energy Comparison Report |  | 284308.2587 | 1.6931 | 1608517.2285 | 4.9211 | 284308.2587 | 1.6931 | -155347.8082 | 0.81721 | 255000 |  | QGC Energy Efficiency Exhibit 1.11 | Docket No. 16-057-15
2 | Program Costs |  | -70000 | 0 | 0 | N/A | -70000 | 0 | -70000 | 0 | 0
3 | Totals |  | 214308.2587 | 1.4463 | 1608517.2285 | 4.9211 | 214308.2587 | 1.4463 | -225347.8082 | 0.75502 | 255000
Questar Gas Company
Page 9 of 9