## Slide 1: Supply Reliability Scenario
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 1 of 11

## Slide 2: Summary
Design Peak Day modeling results losing 150,000 Dth/day of Gas Supply
No supply-reliability service or facilities are available or used
Firm Peaking Services are utilized
Loss of service to approximately 650,000 customers
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 2 of 11

## Slide 3
326
270
294
415
255
249
293
298
Tooele
West Haven
Provo
Alta
Draper
430
389
296
316
314
301
297
411
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 3 of 11

## Slide 4
147
126
50
329
37
18
134
178
Tooele
West Haven
Provo
Alta
Draper
311
317
135
140
138
130
126
330
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 4 of 11

## Slide 5
143
121
30
303
72
81
129
177
Tooele
West Haven
Provo
Alta
Draper
282
291
124
134
139
127
116
305
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 5 of 11

## Slide 6
117
80
73
161
49
70
80
116
Tooele
West Haven
Provo
Alta
Draper
102
145
86
103
92
98
80
167
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 6 of 11

## Slide 7
102
45
95
112
34
66
38
72
Tooele
West Haven
Provo
Alta
Draper
176
88
74
83
55
81
65
122
Ogden
* Orange dots indicate that, although the area has lost service, pressures have risen. In this scenario, once an area has lost service, service will not be regained by an increase in pressure.
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 7 of 11

## Slide 8
97
38
92
96
33
66
82
160
Tooele
West Haven
Provo
Alta
Draper
157
81
69
76
144
72
59
106
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 8 of 11

## Slide 9
71
27
66
14
44
84
57
135
Tooele
West Haven
Provo
Alta
Draper
133
65
50
45
116
23
30
41
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 9 of 11

## Slide 10
65
33
59
83
47
89
59
131
Tooele
West Haven
Provo
Alta
Draper
129
62
47
35
110
59
62
79
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 10 of 11

## Slide 11
51
65
46
62
79
118
73
130
Tooele
West Haven
Provo
Alta
Draper
122
43
62
12
106
30
65
59
Ogden
Dominion Energy Utah
Docket No. 19-057-13
DEU Exhibit 4.03
Page 11 of 11