## Costs
PacifiCorp 2013 Stress Factor Analysis Docket No. 11-035-200
Part 5 - Cost of Peak Resources
Month | Mid-Columbia (1) |  | Palo Verde (1) |  | Simple Cycle CT (2) |  |  |  | Combined Cycle CT (2)
| Average | HLH | Average | HLH | 5% | 10% | 15% | 20% | 50% | 60% | 70% | 80%
2013-01-01 | 27.3678 | 28.9586 | 28.9141 | 31.5243 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-02-01 | 28.4319 | 28.8241 | 29.9469 | 31.748 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-03-01 | 31.5766 | 32.5593 | 30.9627 | 33.3762 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-04-01 | 25.7716 | 31.0667 | 34.0401 | 37.4584 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-05-01 | 24.3769 | 34.0031 | 32.8885 | 38.0306 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-06-01 | 27.7959 | 33.7012 | 33.5466 | 38.4809 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-07-01 | 34.4218 | 45.1737 | 38.8981 | 48.1266 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-08-01 | 33.4714 | 39.0242 | 33.2248 | 38.3624 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-09-01 | 33.9724 | 38.0071 | 32.5912 | 36.7517 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-10-01 | 28.6129 | 30.5 | 30.6452 | 34 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-11-01 | 32.8287 | 35.5 | 29.6061 | 32.5 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2013-12-01 | 36.4946 | 39.5 | 30.7634 | 34 | 261.49 | 155.23 | 119.8 | 102.1 | 52.4 | 48.35 | 45.46 | 43.3
2014-01-01 | 35.1316 | 37.1 | 31.1751 | 34.055 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-02-01 | 33.6021 | 35.7 | 31.5357 | 34.75 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-03-01 | 30.378 | 32.2 | 31.7184 | 35.445 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-04-01 | 24.4898 | 29.415 | 30.6118 | 34.435 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-05-01 | 19.7561 | 25.97 | 29.1911 | 34.79 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-06-01 | 16.8972 | 24.115 | 30.9439 | 37.275 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-07-01 | 31.807 | 40.0125 | 36.5765 | 44.0325 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-08-01 | 37.4207 | 43.725 | 36.9702 | 43.1775 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-09-01 | 35.3069 | 40.0125 | 35.2436 | 40.6125 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-10-01 | 34.3934 | 36.66 | 33.6315 | 37.3375 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-11-01 | 36.0016 | 39 | 32.5542 | 36.6125 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2014-12-01 | 38.9461 | 41.34 | 32.2739 | 34.8 | 267.66 | 159.59 | 123.57 | 105.56 | 54.44 | 50.33 | 47.39 | 45.18
2015-01-01 | 37.7657 | 40.6875 | 35.1224 | 38.625 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-02-01 | 36.7618 | 39.525 | 34.6264 | 38.25 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-03-01 | 33.87 | 36.0375 | 32.2802 | 35.625 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-04-01 | 24.0836 | 29.64 | 31.3011 | 36.505 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-05-01 | 22.5725 | 28.5 | 30.1613 | 36.505 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-06-01 | 22.496 | 27.36 | 32.0034 | 38.74 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-07-01 | 31.3983 | 38.7 | 38.9355 | 46.375 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-08-01 | 38.6412 | 46.44 | 38.4462 | 45.5 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-09-01 | 40.0833 | 43.86 | 34.9861 | 39.375 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-10-01 | 37.2277 | 39.77 | 35.6663 | 39.3975 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-11-01 | 37.6979 | 40.59 | 34.5462 | 38.6325 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2015-12-01 | 39.7744 | 42.64 | 34.2468 | 36.72 | 272.09 | 162.29 | 125.69 | 107.4 | 55.39 | 51.22 | 48.23 | 45.99
2016-01-01 | 39.1769 | 42.2875 | 36.2015 | 39.875 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-02-01 | 38.3404 | 41.125 | 35.9042 | 39.5 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-03-01 | 35.5342 | 37.6375 | 33.6938 | 36.875 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-04-01 | 24.9024 | 31.24 | 33.29 | 37.755 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-05-01 | 23.3171 | 30.1 | 32.2205 | 37.755 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-06-01 | 23.3149 | 28.96 | 33.9923 | 39.99 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-07-01 | 32.5958 | 40.3 | 38.6478 | 47.375 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-08-01 | 40.5797 | 48.04 | 38.9516 | 46.5 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-09-01 | 41.6389 | 45.46 | 35.0972 | 40.375 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-10-01 | 38.6532 | 41.37 | 36.7249 | 40.6475 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-11-01 | 39.3907 | 42.19 | 35.9902 | 39.8825 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2016-12-01 | 41.3303 | 44.24 | 35.4968 | 37.97 | 276.69 | 165.12 | 127.94 | 109.35 | 56.43 | 52.18 | 49.15 | 46.87
2017-01-01 | 41.0613 | 44.2875 | 38.0859 | 41.875 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-02-01 | 40.2118 | 43.125 | 37.7693 | 41.5 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-03-01 | 37.4295 | 39.6375 | 35.5892 | 38.875 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-04-01 | 26.4578 | 33.24 | 34.9439 | 39.755 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-05-01 | 25.5224 | 32.1 | 34.3677 | 39.755 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-06-01 | 25.2093 | 30.96 | 35.8868 | 41.99 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-07-01 | 34.4802 | 42.3 | 40.5323 | 49.375 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-08-01 | 42.4748 | 50.04 | 40.8468 | 48.5 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-09-01 | 43.5278 | 47.46 | 36.9861 | 42.375 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-10-01 | 40.543 | 43.37 | 38.6147 | 42.6475 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-11-01 | 41.2794 | 44.19 | 37.8789 | 41.8825 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2017-12-01 | 43.0728 | 46.24 | 37.2605 | 39.97 | 282.15 | 168.7 | 130.88 | 111.97 | 57.9 | 53.58 | 50.5 | 48.18
2018-01-01 | 43.1012 | 46.2875 | 40.1224 | 43.625 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-02-01 | 42.1046 | 45.125 | 39.6264 | 43.25 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-03-01 | 39.3249 | 41.6375 | 37.4438 | 40.625 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-04-01 | 28.3467 | 35.24 | 36.805 | 41.505 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-05-01 | 27.4122 | 34.1 | 36.2279 | 41.505 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-06-01 | 27.1038 | 32.96 | 37.7423 | 43.74 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-07-01 | 36.3647 | 44.3 | 42.3978 | 51.125 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-08-01 | 44.37 | 52.04 | 42.7016 | 50.25 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-09-01 | 45.2145 | 49.46 | 38.5833 | 44.125 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-10-01 | 42.576 | 45.37 | 40.6663 | 44.3975 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-11-01 | 43.1681 | 46.19 | 39.7402 | 43.6325 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2018-12-01 | 44.9572 | 48.24 | 39.1261 | 41.72 | 288.13 | 172.63 | 134.13 | 114.88 | 59.53 | 55.13 | 51.99 | 49.63
2019-01-01 | 45.3808 | 48.7875 | 42.4019 | 46.125 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-02-01 | 44.3904 | 47.625 | 41.9121 | 45.75 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-03-01 | 41.4859 | 44.1375 | 39.5601 | 43.125 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-04-01 | 30.9802 | 37.74 | 39.3289 | 44.005 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-05-01 | 29.6917 | 36.6 | 38.5075 | 44.005 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-06-01 | 29.0733 | 35.46 | 39.7044 | 46.24 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-07-01 | 39.0133 | 46.8 | 45.0833 | 53.625 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-08-01 | 46.6603 | 54.54 | 44.9919 | 52.75 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-09-01 | 47.4812 | 51.96 | 40.85 | 46.625 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-10-01 | 44.8664 | 47.87 | 42.9566 | 46.8975 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-11-01 | 46.7168 | 50.81 | 44.3612 | 47.9213 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2019-12-01 | 48.3541 | 52.09 | 43.9523 | 46.315 | 296.27 | 178.69 | 139.5 | 119.9 | 62.54 | 58.07 | 54.87 | 52.47
2020-01-01 | 45.9975 | 49.0588 | 44.9637 | 48.1125 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-02-01 | 44.7519 | 47.1075 | 44.2657 | 47.08 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-03-01 | 42.0708 | 44.6487 | 41.9729 | 44.4375 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-04-01 | 36.9768 | 41.75 | 41.3347 | 44.5425 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-05-01 | 34.5013 | 39.34 | 41.0835 | 45.4575 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-06-01 | 35.801 | 39.81 | 43.1191 | 48.21 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-07-01 | 45.2403 | 52.385 | 49.9933 | 58.5625 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-08-01 | 49.9031 | 57.25 | 49.8641 | 58.225 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-09-01 | 48.2411 | 53.025 | 44.5881 | 49.6225 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-10-01 | 46.5953 | 50.37 | 45.5349 | 49.5288 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-11-01 | 50.0081 | 55.43 | 48.8213 | 52.21 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2020-12-01 | 51.9458 | 55.94 | 48.8776 | 50.91 | 305.18 | 185.49 | 145.59 | 125.65 | 66.03 | 61.48 | 58.23 | 55.78
2021-01-01 | 46.4818 | 49.33 | 47.3998 | 50.1 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-02-01 | 45.0771 | 46.59 | 46.5757 | 48.41 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-03-01 | 42.7783 | 45.16 | 44.4524 | 45.75 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-04-01 | 42.9733 | 45.76 | 43.3404 | 45.08 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-05-01 | 39.648 | 42.08 | 43.9277 | 46.91 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-06-01 | 42.2093 | 44.16 | 46.2069 | 50.18 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-07-01 | 51.4673 | 57.97 | 54.9032 | 63.5 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-08-01 | 53.5499 | 59.96 | 55.1341 | 63.7 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-09-01 | 48.7878 | 54.09 | 48.0511 | 52.62 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-10-01 | 48.0911 | 52.87 | 47.9057 | 52.16 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-11-01 | 49.0554 | 53.65 | 48.5368 | 52.29 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2021-12-01 | 52.9662 | 57.97 | 47.9003 | 49.99 | 312.29 | 190.45 | 149.83 | 129.52 | 68.28 | 63.64 | 60.33 | 57.84
2022-01-01 | 53.1165 | 55.96 | 56.4934 | 59.73 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-02-01 | 51.8771 | 54.5 | 55.6271 | 58.07 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-03-01 | 49.5859 | 50.67 | 51.7994 | 52.85 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-04-01 | 50.1233 | 52.53 | 52.8293 | 54.97 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-05-01 | 48.4401 | 50.53 | 52.8581 | 56.09 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-06-01 | 48.5156 | 50.5 | 55.0993 | 58.76 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-07-01 | 56.8025 | 63.16 | 64.7161 | 73.76 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-08-01 | 59.07 | 65.05 | 65.0594 | 73.35 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-09-01 | 55.0356 | 59.68 | 56.9344 | 61.05 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-10-01 | 54.1297 | 58.6 | 58.336 | 63.45 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-11-01 | 59.0831 | 62.4 | 58.3994 | 62.58 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2022-12-01 | 65.7283 | 70.71 | 59.7295 | 62.67 | 318.04 | 193.89 | 152.5 | 131.81 | 69.46 | 64.73 | 61.36 | 58.82
2027-01-01 | 63.9922 | 67.52 | 65.9644 | 69.09 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-02-01 | 61.9414 | 64.56 | 65.1371 | 67.64 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-03-01 | 57.7222 | 58.89 | 59.5803 | 60.61 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-04-01 | 57.9836 | 60.12 | 60.5162 | 62.45 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-05-01 | 57.4867 | 59.78 | 61.7234 | 64.96 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-06-01 | 57.0578 | 59.19 | 64.1567 | 68.02 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-07-01 | 66.6661 | 73.57 | 75.0495 | 84.55 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-08-01 | 68.4985 | 75.83 | 75.0881 | 84.69 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-09-01 | 63.6311 | 68.2 | 65.5267 | 69.7 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-10-01 | 62.3912 | 66.5 | 66.4768 | 71.41 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-11-01 | 67.384 | 70.83 | 65.4654 | 69.41 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
2027-12-01 | 72.7074 | 77.72 | 65.2448 | 67.89 | 349.72 | 213.43 | 168.01 | 145.3 | 76.67 | 71.48 | 67.77 | 65
| Mid C |  | PV
| 18 | 4 | 17 | 3
(1) Market Prices Source - Official Forward Price Curve dated September 2013
(2) Thermal Resource Source: 2013 IRP, Tables 6.1 - 6.3
Formulas:
Month = EDATE([Month, row above],1)

## IRP Resources
PacifiCorp 2013 Stress Factor Analysis Docket No. 11-035-200
Part 5 - Total Cost of IRP Simple Cycle Combustion Turbine | [9 empty] | Source: 2013 IRP, Tables 6.1 - 6.3
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
SCCT Frame "F" x 1 - 4,250' | [10 empty] | What if Table tied to Capacity Factor |  |  |  |  | Check Totals
2012 | 761.56 | 60.57 | 31.22 | 10.22 | 50.02 | 110.59 | [5 empty] | 5% | 10% | 15% | 20% | 21%
2013 |  | 61.42 | 31.66 | 10.36 | 50.72 | 112.14 | 3.88 | 38.61 | 99.57 | 2013 | 99.57 | 261.49 | 155.23 | 119.8 | 102.1 | 99.57 | 0
2014 |  | 62.46 | 32.2 | 10.54 | 51.59 | 114.05 | 4.12 | 40.99 | 102.99 | 2014 | 102.99 | 267.66 | 159.59 | 123.57 | 105.56 | 102.99 | 0
2015 |  | 63.46 | 32.72 | 10.71 | 52.42 | 115.88 | 4.2 | 41.79 | 104.78 | 2015 | 104.78 | 272.09 | 162.29 | 125.69 | 107.4 | 104.78 | 0
2016 |  | 64.48 | 33.24 | 10.88 | 53.25 | 117.73 | 4.29 | 42.69 | 106.69 | 2016 | 106.69 | 276.69 | 165.12 | 127.94 | 109.35 | 106.69 | 0
2017 |  | 65.58 | 33.81 | 11.06 | 54.16 | 119.74 | 4.44 | 44.18 | 109.27 | 2017 | 109.27 | 282.15 | 168.7 | 130.88 | 111.97 | 109.27 | 0
2018 |  | 66.76 | 34.42 | 11.26 | 55.13 | 121.89 | 4.61 | 45.87 | 112.13 | 2018 | 112.13 | 288.13 | 172.63 | 134.13 | 114.88 | 112.13 | 0
2019 |  | 67.96 | 35.04 | 11.46 | 56.12 | 124.08 | 4.99 | 49.65 | 117.1 | 2019 | 117.1 | 296.27 | 178.69 | 139.5 | 119.9 | 117.1 | 0
2020 |  | 69.18 | 35.67 | 11.67 | 57.14 | 126.32 | 5.44 | 54.13 | 122.8 | 2020 | 122.8 | 305.18 | 185.49 | 145.59 | 125.65 | 122.8 | 0
2021 |  | 70.43 | 36.31 | 11.88 | 58.16 | 128.59 | 5.7 | 56.72 | 126.62 | 2021 | 126.62 | 312.29 | 190.45 | 149.83 | 129.52 | 126.62 | 0
2022 |  | 71.77 | 37 | 12.11 | 59.28 | 131.05 | 5.79 | 57.61 | 128.85 | 2022 | 128.85 | 318.04 | 193.89 | 152.5 | 131.81 | 128.85 | 0
2023 |  | 73.13 | 37.7 | 12.34 | 60.4 | 133.53 | 6.26 | 62.29 | 134.88 | 2027 | 142.05 | 349.72 | 213.43 | 168.01 | 145.3 | 142.05 | 0
2024 |  | 74.52 | 38.42 | 12.57 | 61.54 | 136.06 | 6.23 | 61.99 | 135.95
2025 |  | 75.94 | 39.15 | 12.81 | 62.72 | 138.66 | 6.23 | 61.99 | 137.37
2026 |  | 77.38 | 39.89 | 13.05 | 63.9 | 141.28 | 6.43 | 63.98 | 140.78
2027 |  | 78.77 | 40.61 | 13.28 | 65.04 | 143.81 | 6.42 | 63.88 | 142.05
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| (b) | = (a) x 0.07954 Payment Factor
| (e) | = (d) x (8.76 x 21% ) + (c)
| (f) | = (b) + (e)
SCCT Frame "F" x 1 - 4,250'
| 181 | MW Plant Capacity
| 761.56 | Plant Capacity Cost - in $/kW
| 8.79 | Fixed O&M & Capitalized O&M |  |  |  | 9950 | Heat Rate in btu/kWh
| 22.43 | Fixed Pipeline
| 31.22 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 10.22 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 7.954% | Payment Factor
| 21% | Capacity Factor
PacifiCorp 2013 Stress Factor Analysis Docket No. 11-035-200
Part 5 - Total Cost of IRP Combined Cycle Combustion Turbine
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
CCCT Dry "J", Adv 1x1 - 5,050' | [10 empty] | What if Table tied to Capacity Factor |  |  |  |  | Check Totals
2012 | 1015 | 80.0429 | 24.78 | 2.64 | 36.78 | 116.82 | [5 empty] | 50% | 60% | 70% | 80% | 51.9%
2013 |  | 81.16 | 25.13 | 2.68 | 37.31 | 118.47 | 3.88 | 25.45 | 51.51 | 2013 | 51.51 | 52.4 | 48.35 | 45.46 | 43.3 | 51.51 | 0
2014 |  | 82.54 | 25.56 | 2.73 | 37.97 | 120.51 | 4.12 | 27.03 | 53.54 | 2014 | 53.54 | 54.44 | 50.33 | 47.39 | 45.18 | 53.54 | 0
2015 |  | 83.86 | 25.97 | 2.77 | 38.56 | 122.42 | 4.2 | 27.55 | 54.48 | 2015 | 54.48 | 55.39 | 51.22 | 48.23 | 45.99 | 54.48 | 0
2016 |  | 85.2 | 26.39 | 2.81 | 39.17 | 124.37 | 4.29 | 28.14 | 55.5 | 2016 | 55.5 | 56.43 | 52.18 | 49.15 | 46.87 | 55.5 | 0
2017 |  | 86.65 | 26.84 | 2.86 | 39.84 | 126.49 | 4.44 | 29.13 | 56.95 | 2017 | 56.95 | 57.9 | 53.58 | 50.5 | 48.18 | 56.95 | 0
2018 |  | 88.21 | 27.32 | 2.91 | 40.55 | 128.76 | 4.61 | 30.24 | 58.56 | 2018 | 58.56 | 59.53 | 55.13 | 51.99 | 49.63 | 58.56 | 0
2019 |  | 89.8 | 27.81 | 2.96 | 41.27 | 131.07 | 4.99 | 32.73 | 61.56 | 2019 | 61.56 | 62.54 | 58.07 | 54.87 | 52.47 | 61.56 | 0
2020 |  | 91.42 | 28.31 | 3.01 | 41.99 | 133.41 | 5.44 | 35.69 | 65.03 | 2020 | 65.03 | 66.03 | 61.48 | 58.23 | 55.78 | 65.03 | 0
2021 |  | 93.07 | 28.82 | 3.06 | 42.73 | 135.8 | 5.7 | 37.39 | 67.26 | 2021 | 67.26 | 68.28 | 63.64 | 60.33 | 57.84 | 67.26 | 0
2022 |  | 94.84 | 29.37 | 3.12 | 43.55 | 138.39 | 5.79 | 37.98 | 68.42 | 2022 | 68.42 | 69.46 | 64.73 | 61.36 | 58.82 | 68.42 | 0
2023 |  | 96.64 | 29.93 | 3.18 | 44.39 | 141.03 | 6.26 | 41.07 | 72.09 | 2027 | 75.53 | 76.67 | 71.48 | 67.77 | 65 | 75.53 | 0
2024 |  | 98.48 | 30.5 | 3.24 | 45.23 | 143.71 | 6.23 | 40.87 | 72.48
2025 |  | 100.35 | 31.08 | 3.3 | 46.08 | 146.43 | 6.23 | 40.87 | 73.08
2026 |  | 102.26 | 31.67 | 3.36 | 46.95 | 149.21 | 6.43 | 42.18 | 75
2027 |  | 104.1 | 32.24 | 3.42 | 47.79 | 151.89 | 6.42 | 42.12 | 75.53
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| (b) | = (a) x 0.07886 Payment Factor
| (e) | = (d) x (8.76 x 51.9%) + (c)
| (f) | = (b) + (e)
| (g) | - Natural Gas Price - Delivered to Plant
| (h) | = 6,560 MMBtu/MWH x (g)
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
CCCT Dry "J", Adv 1x1 - 5,050'
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT Dry "J" - Turbine |  |  | 380 | 89.83% | 1075 | 25.39
| CCCT Dry "J" - Duct Firing |  |  | 43 | 10.17% | 486 | 19.41
| Capacity Weighted |  |  | 423 | 100% | 1015 | 24.78
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate |  | Capacity Factor Used
| CCCT Dry "J" - Turbine |  |  | 380 | 56% | 212.8 | 96.87% | 2.72 | 6495 |  | 56% | 53.91% | 64.7% | 75.48% | 86.26%
| CCCT Dry "J" - Duct Firing |  |  | 43 | 16% | 6.88 | 3.132% | 0.08 | 8611 |  | 16% | 15.4% | 18.49% | 21.57% | 24.65%
| Energy Weighted |  |  | 423 | 51.9% | 219.68 | 100% | 2.64 | 6560 |  | 51.93% | 50% | 60% | 70% | 80%
[9 empty] | Rounded |  | 51.9% | 50% | 60% | 70% | 80%
PacifiCorp 2013 Stress Factor Analysis Docket No. 11-035-200
Part 5 - Total Cost of IRP Combined Cycle Combustion Turbine
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| 380 | 43 | MW Plant Capacity
| 1075 | 486 | Plant Capacity Cost
| 10.75 | 0 | Fixed O&M & Capitalized O&M
| 14.64 | 19.41 | Fixed Pipeline
| 25.39 | 19.41 | Fixed O&M Including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 2.72 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6495 | 8611 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 51.9% | Energy Weighted Capacity Factor
|  | 92.7% | Capacity Factor - On-peak 51.9% / 56% (percent of hours on-peak)
Company Official Inflation - Official Forward Price Curve dated September 2013
| 2012 | 1.9% |  | 2021 | 1.8% |  | 2030 | 1.9%
| 2013 | 1.4% |  | 2022 | 1.9% |  | 2031 | 1.9%
| 2014 | 1.7% |  | 2023 | 1.9% |  | 2032 | 1.9%
| 2015 | 1.6% |  | 2024 | 1.9% |  | 2033 | 1.9%
| 2016 | 1.6% |  | 2025 | 1.9% |  | 2034 | 1.9%
| 2017 | 1.7% |  | 2026 | 1.9% |  | 2035 | 1.9%
| 2018 | 1.8% |  | 2027 | 1.8% |  | 2036 | 1.9%
| 2019 | 1.8% |  | 2028 | 1.8% |  | 2037 | 1.9%
| 2020 | 1.8% |  | 2029 | 1.9% |  | 2038 | 1.9%
|  | 999999999% |  |  | 999999999% |  |  | 999999999%

## Gas OFPC
Natural Gas Price - Delivered to Plant
$/MMBtu
Burnertip
Year | East Side Gas
Fuel Cost
(a)
2013 | 3.88
2014 | 4.12
2015 | 4.2
2016 | 4.29
2017 | 4.44
2018 | 4.61
2019 | 4.99
2020 | 5.44
2021 | 5.7
2022 | 5.79
2023 | 6.26
2024 | 6.23
2025 | 6.23
2026 | 6.43
2027 | 6.42
2028 | 6.66
2029 | 6.86
2030 | 6.91
2031 | 6.97
2032 | 7.1
2033 | 7.24
2034 | 7.37
2035 | 7.51
2036 | 7.66
2037 | 7.8
2038 | 7.96
Source
Official Forward Price Curve dated September 2013