## List
Appendix F
Tables |  |  | Figures
Table F.1 | Portfolio Regulation Reserve Requirements, by Scenario |  | Figure F.1 | Expected Load Change From Prior Week
Table F.2 | 2017 FRS Flexible Resource Costs as Compared to 2014 WIS Costs, $/MWh |  | Figure F.2 | Proxy Load Base Schedule
Table F.3 | BAL-001-1 vs. BAL-001-2 |  | Figure F.3 | Base Schedule Ramping Adjustment
Table F.4 | Deviation and Regulation Reserve Requirement Example |  | Figure F.4 | Original PACW Non-VER Deviations
Table F.5 | 2015 PacifiCorp Portfolio Diversity Benefits |  | Figure F.5 | Adjusted PACW Non-VER Deviations
Table F.6 | EIM Intra-Hour Benefit Application Example |  | Figure F.6 | Deviation and Regulation Reserve Requirement Example
Table F.7 | 2015 Results with PacifiCorp Portfolio Diversity and EIM Intra-Hour Benefit |  | Figure F.7 | Probability Distribution of PACE Combined Portfolio Deviations
Table F.8 | East Solar Clusters by Scenario |  | Figure F.8 | Probability of Exceeding Allowed Deviation
Table F.9 | West Solar Clusters by Scenario |  | Figure F.9 | Wind Regulation Reserve Requirements by Forecast Capacity Factor
Table F.10 | Solar and Wind Stand-alone Regulation Reserve Requirements, % of nameplate capacity |  | Figure F.10 | Stand-alone Wind Regulation Reserve Forecast
Table F.11 | Portfolio Regulation Requirement Results, by Scenario |  | Figure F.11 | Non-VER Regulation Reserve Requirements by Forecast Capacity Factor
Table F.12 | Portfolio Regulation Requirement Results, % of Nameplate Capacity |  | Figure F.12 | Non-VER Regulation Reserve Requirements by Hour of the Day
Table F.13 | Regulation Reserve PaR Scenarios |  | Figure F.13 | Stand-alone Non-VER Regulation Reserve Forecast
Table F.14 | Regulation Reserve Cost Calculations |  | Figure F.14 | Stand-alone Load Regulation Reserve Requirements by Hour of the Day
Table F.15 | System Balancing Cost Simulations in PaR |  | Figure F.15 | Stand-alone Load Regulation Reserve Requirements by Hour of the Day
Table F.16 | Day-ahead Forecast System Balancing Cost Results |  | Figure F.16 | Solar Capacity Additions
Table F.17 | Day-Ahead System Balancing Cost Comparison |  | Figure F.17 | Solar Regulation Reserve Requirements: Proxy vs EIM
Table F.18 | FRS TRC Recommendations |  | Figure F.18 | Solar Diversity
Table F.19 | Reserve Requirements (MW) |  | Figure F.19 | Solar Resource Locations in Southeastern Utah
Table F.20 | Flexible Resource Supply Forecast (MW) |  | Figure F.20 | Solar Resource Locations in South/Central Oregon
Table F.21 | Portfolio Regulation Reserve Requirements, by Scenario | Copy of F.1 | Figure F.21 | Stand-alone Solar Regulation Reserve Requirements, by capacity
Table F.22 | 2017 FRS Flexible Resource Costs as Compared to 2014 WIS Costs, $/MWh | Copy of F.2 | Figure F.22 | Comparison of Reserve Requirements and Resources, East Balancing Authority Area (MW)
Table F.A1 | Wind Resource List |  | Figure F.23 | Comparison of Reserve Requirements and Resources, West Balancing Authority Area (MW)
Table F.A2 | Non-VER Resource List
Table F.A3 | Solar Resource List

## Tbl F.1
Table F.1: Portfolio Regulation Reserve Requirements, by Scenario
Case | Wind Capacity (MW) | Solar Capacity (MW) | Stand-alone Regulation Requirement (MW) | Portfolio Diversity Credit (%) | Regulation Requirement with Diversity (MW)
2014 WIS | 2543 | n/a | n/a | n/a | 626
2015 (No Solar) | 2587.65 | 0 | 899.5979 | 37.51% | 562.1327
2017 Base Case | 2757.4 | 1050.4718 | 997.7323 | 38.19% | 616.7172
Incremental Wind | 3007.4 | 1050.4718 | 1022.5528 | 38.28% | 631.161
Incremental Solar 1 | 2757.4 | 1550.4718 | 1033.3925 | 38.6% | 634.5111
Incremental Solar 2 | 2757.4 | 2050.4718 | 1073.705 | 39.15% | 653.3078

## Tbl F.2
Table F.2: 2017 FRS Flexible Resource Costs as Compared to 2014 WIS Costs, $/MWh
| Wind | Wind | Solar
| 2014 WIS | 2017 FRS | 2017 FRS
| (2014$) | (2016$) | (2016$)
Intra-hour Reserve | 2.35 | 0.4289 | 0.45801
Inter-hour/System Balancing | 0.71 | 0.14453 | 0.14453
Total Flexible Resource Cost | 3.06 | 0.57343 | 0.60254

## Tbl F.3
Table F.3: BAL-001-1 vs BAL-001-2
| Interval (minutes) | Compliance % | Allowed Variance
BAL-001-1 | 10 | 90% | Fixed: L10
BAL-001-2 | 30 | 100% | Dynamic: BAAL
Impact on Requirement | Down | Up | Varies

## Tbl F.4
Table F.4: Deviation and Regulation Reserve Requirement Example
| Interval | Base Schedule | Actual | 5-Minute Deviation | 30-Minute Deviation | Reserve Requirement
| 0:00 | 2500 | 2510 | 10 | 10 | 40
| 0:05 |  | 2520 | 20 | 10 | 40
| 0:10 |  | 2530 | 30 | 10 | 40
| 0:15 |  | 2540 | 40 | 10 | 40
| 0:20 |  | 2550 | 50 | 10 | 40
| 0:25 |  | 2560 | 60 | 10 | 40
| 0:30 |  | 2570 | 70 | 20 | 40
| 0:35 |  | 2560 | 60 | 30 | 40
| 0:40 |  | 2550 | 50 | 40 | 40
| 0:45 |  | 2540 | 40 | 40 | 40
| 0:50 |  | 2530 | 30 | 30 | 40
| 0:55 |  | 2520 | 20 | 20 | 40
| Interval | Base Schedule | Actual | 5-Minute Deviation | 30-Minute Deviation | Reserve Requirement
| 0:00 |  | 2507.2941 | 7.2941 | 7.2941 | 40
| 0:01 |  | 2508.647 | 8.647 | 7.2941 | 40
| 0:02 |  | 2510 | 10 | 7.2941 | 40
| 0:03 |  | 2511.1321 | 11.1321 | 7.2941 | 40
| 0:04 |  | 2513.713 | 13.713 | 7.2941 | 40
| 0:05 |  | 2516.2928 | 16.2928 | 7.2941 | 40
| 0:06 |  | 2518.8714 | 18.8714 | 7.2941 | 40
| 0:07 |  | 2520 | 20 | 7.2941 | 40
| 0:08 |  | 2521.4135 | 21.4135 | 7.2941 | 40
| 0:09 |  | 2523.9364 | 23.9364 | 7.2941 | 40
| 0:10 |  | 2526.3934 | 26.3934 | 7.2941 | 40
| 0:11 |  | 2528.7844 | 28.7844 | 7.2941 | 40
| 0:12 |  | 2530 | 30 | 7.2941 | 40
| 0:13 |  | 2531.087 | 31.087 | 7.2941 | 40
| 0:14 |  | 2533.6699 | 33.6699 | 7.2941 | 40
| 0:15 |  | 2536.2656 | 36.2656 | 7.2941 | 40
| 0:16 |  | 2538.8743 | 38.8743 | 7.2941 | 40
| 0:17 |  | 2540 | 40 | 7.2941 | 40
| 0:18 |  | 2541.1673 | 41.1673 | 7.2941 | 40
| 0:19 |  | 2543.6628 | 43.6628 | 7.2941 | 40
| 0:20 |  | 2546.1881 | 46.1881 | 7.2941 | 40
| 0:21 |  | 2548.7433 | 48.7433 | 7.2941 | 40
| 0:22 |  | 2550 | 50 | 7.2941 | 40
| 0:23 |  | 2551.2376 | 51.2376 | 7.2941 | 40
| 0:24 |  | 2553.7944 | 53.7944 | 7.2941 | 40
| 0:25 |  | 2556.3269 | 56.3269 | 7.2941 | 40
| 0:26 |  | 2558.8352 | 58.8352 | 7.2941 | 40
| 0:27 |  | 2560 | 60 | 7.2941 | 40
| 0:28 |  | 2561.4167 | 61.4167 | 7.2941 | 40
| 0:29 |  | 2564.0367 | 64.0367 | 7.2941 | 40
| 0:30 |  | 2566.5412 | 66.5412 | 8.647 | 40
| 0:31 |  | 2568.9301 | 68.9301 | 10 | 40
| 0:32 |  | 2570 | 70 | 11.1321 | 40
| 0:33 |  | 2568.8194 | 68.8194 | 13.713 | 40
| 0:34 |  | 2566.2644 | 66.2644 | 16.2928 | 40
| 0:35 |  | 2563.7139 | 63.7139 | 18.8714 | 40
| 0:36 |  | 2561.1676 | 61.1676 | 20 | 40
| 0:37 |  | 2560 | 60 | 21.4135 | 40
| 0:38 |  | 2558.8186 | 58.8186 | 23.9364 | 40
| 0:39 |  | 2556.3819 | 56.3819 | 26.3934 | 40
| 0:40 |  | 2553.8908 | 53.8908 | 28.7844 | 40
| 0:41 |  | 2551.345 | 51.345 | 30 | 40
| 0:42 |  | 2550 | 50 | 31.087 | 40
| 0:43 |  | 2548.6774 | 48.6774 | 33.6699 | 40
| 0:44 |  | 2546.2309 | 46.2309 | 36.2656 | 40
| 0:45 |  | 2543.7818 | 43.7818 | 38.8743 | 40
| 0:46 |  | 2541.3302 | 41.3302 | 40 | 40
| 0:47 |  | 2540 | 40 | 40 | 40
| 0:48 |  | 2538.9668 | 38.9668 | 38.9668 | 40
| 0:49 |  | 2536.4375 | 36.4375 | 36.4375 | 40
| 0:50 |  | 2533.8505 | 33.8505 | 33.8505 | 40
| 0:51 |  | 2531.206 | 31.206 | 31.206 | 40
| 0:52 |  | 2530 | 30 | 30 | 40
| 0:53 |  | 2528.7762 | 28.7762 | 28.7762 | 40
| 0:54 |  | 2526.2626 | 26.2626 | 26.2626 | 40
| 0:55 |  | 2523.7471 | 23.7471 | 23.7471 | 40
| 0:56 |  | 2521.2297 | 21.2297 | 21.2297 | 40
| 0:57 |  | 2520 | 20 | 20 | 40
| 0:58 |  | 2518.6229 | 18.6229 | 18.6229 | 40
| 0:59 |  | 2517.2458 | 17.2458 | 17.2458 | 40

## Tbl F.5
Table F.5: Results with PacifiCorp Portfolio Diversity
| Stand-alone Regulation Forecast | Diversity Benefit | Portfolio Regulation Forecast
Scenario | (aMW) | (aMW) | (aMW)
Non-VER | 82.5781 | -22.5487 | 60.0295
Load | 433.0281 | -118.242 | 314.7861
VER - Wind | 383.9917 | -104.8522 | 279.1394
Total | 899.5979 | -245.6429 | 653.955
Portfolio LOLP (hours/year) | 0.025305 |  | 0.87893

## Tbl F.6
Table F.6: EIM Flexible Reserve Diversity Benefit Application Example
| CAISO req't. before benefit | NEVP req't. before benefit | PACE req't. before benefit | PACW req't. before benefit | Total req't. before benefit | Total req't. after benefit | Total diversity benefit | PACE share | PACE benefit | PACE req't. after benefit
Interval | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (MW)
15-minute Interval 1 | 550 | 110 | 165 | 100 | 925 | 583 | 342 | 17.84% | 61.0054 | 103.9946
15-minute Interval 2 | 600 | 110 | 165 | 100 | 975 | 636 | 339 | 16.92% | 57.3692 | 107.6308
15-minute Interval 3 | 650 | 110 | 165 | 110 | 1035 | 689 | 346 | 15.94% | 55.1594 | 109.8406
15-minute Interval 4 | 667 | 120 | 180 | 113 | 1080 | 742 | 338 | 16.67% | 56.3333 | 123.6667

## Tbl F.7
Table F.7: 2015 Results with PacifiCorp Portfolio Diversity and EIM Intra-Hour Benefit
| Stand-alone Regulation Forecast | Stand-alone Rate | Portfolio Regulation Forecast with EIM | Portfolio Rate with EIM | 2015 Capacity | Rate Determinant
Scenario | (aMW) | (%) | (aMW) | (%) | (MW)
Non-VER | 82.5781 | 3.734% | 51.6007 | 2.333% | 2227.65 | Nameplate
Load | 433.0281 | 4.396% | 270.5867 | 2.747% | 9852.0073 | 12 CP
VER - Wind | 383.9917 | 14.76% | 239.9453 | 9.22% | 2587.65 | Nameplate
Total | 899.5979 |  | 562.1327
Portfolio LOLP (hours/year) | 0.025305 |  | 0.87991
Diversity Savings (%) |  |  | 37.51%

## Tbl F.8
Table F.8: East Solar Clusters by Scenario
East Cluster | Base | Incr. Solar 1 | Incr. Solar 2 | Incr. Solar 1 | Incr. Solar 2
Enterprise | 83 | 16.6 | 16.6 | 20% | 20%
Fiddler’s Canyon | 311.4 | 62.28 | 62.28 | 20% | 20%
Escalante | 257.1 | 51.42 | 51.42 | 20% | 20%
Red Hills | 83 | 16.6 | 16.6 | 20% | 20%
Pavant | 120 | 24 | 24 | 20% | 20%
New Cluster 1 |  | 229.1 |  | +229MW
New Cluster 2 |  |  | 229.1 |  | +229MW
Total | 854.5 | 1254.5 | 1654.5 | 400 | 800
% Change vs Base |  | 46.81% | 93.62%
Base: 2017 Expected Solar Capacity
Incremental Solar 1: 2017 +400MW East +100MW West
Incremental Solar 2: 2017 +800MW East +200MW West

## Tbl F.9
Table F.9: West Solar Clusters by Scenario
West Cluster | Base | Incr. Solar 1 | Incr. Solar 2 | Incr. Solar 1 | Incr. Solar 2
Bend | 49.8 | 30.5147 | 6.1029 | 61.27% | 12.25%
Medford | 20 | 12.2549 | 2.451 | 61.27% | 12.25%
Klamath 1 | 46.7 | 28.6152 | 5.723 | 61.27% | 12.25%
Klamath 2 | 46.7 | 28.6152 | 5.723 | 61.27% | 12.25%
New Cluster 1 |  |  | 80 |  | +80MW
Total | 163.2 | 263.2 | 363.2 | 100 | 100
% Change vs Base |  | 61.27% | 122.5%
Base: 2017 Expected Solar Capacity
Incremental Solar 1: 2017 +400MW East +100MW West
Incremental Solar 2: 2017 +800MW East +200MW West

## Tbl F.10
Table F.10: Solar and Wind Stand-alone Regulation Reserve Requirements, % of nameplate capacity
| Average Reserve Held |  | Max Reserve Held
Scenario | East | West | East | West
No Solar | 12.35% | n/a | 22.3% | n/a
Base Solar | 8.83% | 4.164% | 15.6% | 7.4%
Incr. Solar 1 | 8.459% | 5.287% | 14.9% | 9.6%
Incr. Solar 2 | 8.618% | 5.389% | 15.2% | 9.8%
90% Wind | 15.08% | 15.82% | 18.6% | 32.3%
Base Wind | 14.56% | 15.18% | 17.8% | 29.8%

## Tbl F.11
Table F.11 Portfolio Regulation Requirement Results, by Scenario
Scenario | Wind capacity (MW) | Solar capacity (MW) | Stand-alone regulation requirement (MW) | Portfolio diversity credit (%) | Regulation requirement with diversity (MW)
2014 WIS | 2543 | n/a | n/a | n/a | 626
2015 (No Solar) | 2587.65 | 0 | 899.5979 | 37.51% | 562.1327
2017 Base Case | 2757.4 | 1050.4718 | 997.7323 | 38.19% | 616.7172
Incremental Wind | 3007.4 | 1050.4718 | 1022.5528 | 38.28% | 631.161
Incremental Solar 1 | 2757.4 | 1550.4718 | 1033.3925 | 38.6% | 634.5111
Incremental Solar 2 | 2757.4 | 2050.4718 | 1073.705 | 39.15% | 653.3078

## Tbl F.12
Table F.12 Portfolio Regulation Requirement Results, % of Nameplate Capacity | [5 empty] | Regulation Reserve (MW) |  | 12CP (MW) | Nameplate (MW)
Study | Load | Wind | Non-VER | Solar | Method | Load Only | Incr Wind | Load (2015 as estimate) | Wind Capacity
2012 WIS: 2011 | 3.999% | 8.702% | n/a | n/a | Load -> Incr Wind | 394 | 185 | 9852.0073 | 2126
2014 WIS: 2012 | 4.06% | 8.101% | n/a | n/a | Load -> Incr Wind | 400 | 206 | 9852.0073 | 2543
2014 WIS: 2013 | 4.476% | 7.314% | n/a | n/a | Load -> Incr Wind | 441 | 186 | 9852.0073 | 2543
2016 FRS | 2.774% | 8.937% | 2.372% | 4.613% | Portfolio Diversity (Base)
2016 FRS | n/a | 5.778% | n/a | n/a | Base -> Incr Wind | Sources:
2016 FRS | n/a | n/a | n/a | 3.559% | Base -> Incr Solar 1 | Table H.2, 2014 WIS, 2015 IRP Appendix H
2016 FRS | n/a | n/a | n/a | 3.759% | Incr Solar 1 -> Incr Solar 2 | http://www.pacificorp.com/content/dam/pacificorp/doc/Energy_Sources/Integrated_Resource_Plan/2015IRP/PacifiCorp_2015IRP-Vol2-Appendices.pdf
2015 Actual PacifiCorp Transmission Load, excluding telemetered exports
https://www.oasis.oati.com/PPW/PPWdocs/2015_True-up.xlsx
vs Wind | 3.2218 |  | 3.7676 | 1.9373

## Tbl F.13
Table F.13 Regulation Reserve PaR Scenarios
# | Scenario | Resources | Regulation requirement
B.1 | Base No Reserve | 1/1/17 wind and solar | None
B.2 | Base With Reserve | 1/1/17 wind and solar | 1/1/17 wind and solar
W.1 | Incr. Wind, Base Reserve | Study B.2 + 250MW wind | 1/1/17 wind and solar
W.2 | Incr. Wind + Reserve | Study B.2 + 250MW wind | 1/1/17 wind and solar + 250MW wind
S1.1 | Incr. Solar 1, Base Reserve | Study B.2 + 500MW solar | 1/1/17 wind and solar
S1.2 | Incr. Solar 1 + Reserve | Study B.2 + 500MW solar | 1/1/17 wind and solar + 500MW solar
S2.1 | Incr. Solar 2, Base Reserve | Study B.2 + 1000MW solar | 1/1/17 wind and solar
S2.2 | Incr. Solar 2 + Reserve | Study B.2 + 1000MW solar | 1/1/17 wind and solar + 1000MW solar

## Tbl F.14
Table F.14 Regulation Reserve Cost Calculations
# | Value | Calculation | Units | Results
a | Base regulation reserve cost | [Study B.2] - [Study B.1] | $ | 5936990
b | Wind reserve requirement | [Wind req.] / [Total req.] | % | 39.96%
c | Wind generation | [Study B.1] | MWh | 7802061.464
| Base wind reserve rate | [a] x [b] / [c] | $/MWh | 0.30408
a' | Incremental regulation reserve cost | [Study W.2] - [Study W.1] | $ | 389890
b' | Incremental wind generation | [Study W.1] - [Study B.1] | MWh | 909050
| Incremental wind reserve rate | [a'] / [b'] | $/MWh | 0.4289
a" | Incremental regulation reserve cost | [Study S2.2] - [Study S2.1] | $ | 1221610
b" | Incremental solar generation | [Study S2.1] - [Study B.1] | MWh | 2667200
| Incremental solar reserve rate | [a"] / [b"] | $/MWh | 0.45801

## Tbl F.15
Table F.15 System Balancing Cost Simulations in PaR
# | Load | Wind profile | Solar profile | Commitment | Day-ahead forecast error
1 | Day-ahead | Day-ahead | Day-ahead | Study 1 | n/a
2 | Actual | Actual | Actual | Study 2 | None
3 | Actual | Actual | Actual | Study 1 | For Load/Wind/Solar
4 | Day-ahead | Actual | Actual | Study 4 | n/a
5 | Actual | Day-ahead | Actual | Study 5 | n/a
6 | Actual | Actual | Day-ahead | Study 6 | n/a
7 | Actual | Actual | Actual | Study 4 | For Load
8 | Actual | Actual | Actual | Study 5 | For Wind
9 | Actual | Actual | Actual | Study 6 | For Solar

## Tbl F.16
Table F.16 Day-ahead Forecast System Balancing Cost Results
# | Value | Cost calculation | Cost ($) | Diversity calculation | Rate w/ diversity ($/MWh)
a | Total Combined | [Study 3] - [Study 2] | 6208760
b | Load Only | [Study 7] - [Study 2] | 6132860 | [b] * ([a] / [e]) / [Actual Load MWh] | 0.090962
c | Wind Only | [Study 8] - [Study 2] | 1053530 | [c] * ([a] / [e]) / [Actual Wind MWh] | 0.14453
d | Solar Only | [Adjusted] | 31111.2485 | [Set equal to wind result] | 0.14453
e | Total One-off | [b] + [c] + [d] | 7217501.2485

## Tbl F.17
Table F.17: Day-Ahead System Balancing Cost Comparison
| 2014 WIS | 2017 FRS
| (2014$/MWh) | (2016$/MWh)
Load | 0.013759 | 0.090962
Wind | 0.71 | 0.14453
Solar | n/a | 0.14453

## Tbl F.18,F.21,F.22
Table F.18 FRS TRC Recommendations | [Placeholder - no calculations]
Table F.21: Portfolio Regulation Reserve Requirements, by Scenario | Duplicate of Table F.1
Table F.22: 2017 FRS Flexible Resource Costs as Compared to 2014 WIS Costs, $/MWh | Duplicate of Table F.2

## Tbl F.19
Table F.19: Reserve Requirements (MW)
| East Requirement |  |  | West Requirement
Year | Spin (10-minute) | Non-spin (10-minute) | Regulation (30-minute) | Spin (10-minute) | Non-spin (10-minute) | Regulation (30-minute)
2017 | 195.3252 | 195.3252 | 387.4054 | 88.312 | 88.312 | 228.9375
2018 | 197.1704 | 197.1704 | 387.4054 | 89.1184 | 89.1184 | 228.9375
2019 | 197.9432 | 197.9432 | 390.2016 | 90.7368 | 90.7368 | 231.2054
2020 | 200.2112 | 200.2112 | 390.2016 | 91.0812 | 91.0812 | 231.2054
2021 | 202.8684 | 202.8684 | 454.4841 | 91.6496 | 91.6496 | 230.2957
2022 | 205.2204 | 205.2204 | 454.4841 | 92.2572 | 92.2572 | 230.2957
2023 | 206.948 | 206.948 | 454.4841 | 92.834 | 92.834 | 230.2957
2024 | 209.0424 | 209.0424 | 454.4841 | 93.4836 | 93.4836 | 230.2957
2025 | 211.6128 | 211.6128 | 454.4841 | 94.1332 | 94.1332 | 230.2957
2026 | 211.414 | 211.414 | 454.4841 | 94.6568 | 94.6568 | 230.2957
2027 | 213.3824 | 213.3824 | 454.4841 | 95.2056 | 95.2056 | 230.2957
2028 | 214.9672 | 214.9672 | 390.1443 | 95.7236 | 95.7236 | 231.7437
2029 | 217.5236 | 217.5236 | 389.78 | 96.2864 | 96.2864 | 235.102
2030 | 219.4948 | 219.4948 | 389.78 | 96.7652 | 96.7652 | 235.102
2031 | 221.9028 | 221.9028 | 397.8819 | 97.216 | 97.216 | 232.7989
2032 | 225.3692 | 225.3692 | 396.049 | 97.6304 | 97.6304 | 233.7948
2033 | 227.3096 | 227.3096 | 397.9763 | 98.098 | 98.098 | 231.5067
2034 | 228.4828 | 228.4828 | 391.6512 | 98.4592 | 98.4592 | 231.476
2035 | 231.3136 | 231.3136 | 401.2417 | 98.896 | 98.896 | 230.5671
2036 | 234.57 | 234.57 | 435.8371 | 99.3188 | 99.3188 | 230.493

## Tbl F.20
Table F.20 - Flexible Resource Supply Forecast (MW)
Year | East Supply (10-Minute) | West Supply (10-Minute) | East Supply (30-Minute) | West Supply (30-Minute)
2017 | 1686.4249 | 755.3541 | 2321.6729 | 1019.3541
2018 | 1686.4021 | 760.7745 | 2321.6501 | 1024.7745
2019 | 1636.4225 | 710.4532 | 2221.6705 | 974.4532
2020 | 1636.5047 | 752.6668 | 2221.7527 | 1016.6668
2021 | 1596.4225 | 734.1979 | 2101.6705 | 998.1979
2022 | 1596.4225 | 693.8115 | 2101.6705 | 957.8115
2023 | 1596.4225 | 734.9389 | 2101.6705 | 998.9389
2024 | 1596.5047 | 734.9279 | 2101.7527 | 998.9279
2025 | 1596.4225 | 735.4511 | 2101.6705 | 999.4511
2026 | 1596.4225 | 733.552 | 2101.6705 | 997.552
2027 | 1596.4145 | 734.5108 | 2101.6625 | 998.5108
2028 | 1515.8207 | 735.6604 | 2021.0687 | 999.6604
2029 | 1627.7145 | 701.5107 | 2132.9625 | 899.5107
2030 | 1577.7145 | 977.7607 | 2002.9625 | 1175.7607
2031 | 1577.7145 | 978.5107 | 2002.9625 | 1176.5107
2032 | 1577.8207 | 979.6604 | 2003.0687 | 1177.6604
2033 | 1815.7145 | 945.5098 | 2178.9625 | 1077.5098
2034 | 1815.7145 | 944.7607 | 2178.9625 | 1076.7607
2035 | 1815.7145 | 945.5107 | 2178.9625 | 1077.5107
2036 | 1815.8207 | 946.6604 | 2179.0687 | 1078.6604

## Tbl F.23 - Wind
Resource ID | Nameplate Capacity (MW) | BAA | Grouping
DUNLAP_6_UNIT | 111 | PACE | Wind
FOOTECRE_7_UNITS | 133.6 | PACE | Wind
FREEZOUT_6_UNIT | 118.5 | PACE | Wind
GLENROCW_6_UNIT | 138 | PACE | Wind
HINSHAW_7_UNITS | 144 | PACE | Wind
HIPLAINS_7_UNITS | 127.5 | PACE | Wind
HORSEBU_7_UNIT | 57.6 | PACE | Wind
JOLLYHIL_1_GOSHEN | 124.5 | PACE | Wind
LATIGO_6_UNIT | 99 | PACE | Wind
MEADOWCR_6_UNIT | 119.7 | PACE | Wind
MOONSHIN_7_UNITS | 45 | PACE | Wind
MTWNDCOL_7_UNITS | 140.7 | PACE | Wind
RAWHIDE_6_UNIT | 16.5 | PACE | Wind
ROLLHILL_6_UNIT | 99 | PACE | Wind
SPNFKWND_7_UNIT | 18.9 | PACE | Wind
TOPWORLD_7_UNITS | 200.2 | PACE | Wind
WOLVERIN_7_UNITS | 64.5 | PACE | Wind
CAMPCOL_6_UNIT | 98.9 | PACW | Wind
COMBINEH_6_UNIT | 41 | PACW | Wind
DALREED_7_WIND | 9.9 | PACW | Wind
GOODNOEH_7_UNIT | 94 | PACW | Wind
HINKLE_6_UNIT | 64.55 | PACW | Wind
LEANJNPR_7_UNIT | 100.5 | PACW | Wind
MARENGO_6_UNITS | 210.6 | PACW | Wind
NINEMIL_7_UNIT 1 | 210 | PACW | Wind
Total | 2587.65

## Tbl F.24 - Non-VER
Resource ID | Nameplate Capacity (MW) | BAA | Class
BONANZA_7_UNIT | 458 | PACE | Non-VER
DALTONU_7_UNIT | 4.6 | PACE | Non-VER
EXXON_7_UNITS | 107.4 | PACE | Non-VER
GEMSTATE_1_UNIT | 23.4 | PACE | Non-VER
MILLCRK_7_UNIT 1 | 40 | PACE | Non-VER
MILLCRK_7_UNIT 2 | 40 | PACE | Non-VER
NEBOPS_7_UNITS | 140 | PACE | Non-VER
PALISADI_7_UNIT 1 | 44 | PACE | Non-VER
PALISADI_7_UNIT 2 | 44 | PACE | Non-VER
PALISADI_7_UNIT 3 | 44 | PACE | Non-VER
PALISADI_7_UNIT 4 | 44 | PACE | Non-VER
SLENERGY_7_UNIT | 3.2 | PACE | Non-VER
SUNNYSIU_6_UNIT | 53 | PACE | Non-VER
TESORO_7_UNITS | 25 | PACE | Non-VER
USBRGATE_7_UNIT | 4.5 | PACE | Non-VER
WESTVALL_7_UNIT 1 | 40 | PACE | Non-VER
WESTVALL_7_UNIT 2 | 40 | PACE | Non-VER
WESTVALL_7_UNIT 3 | 40 | PACE | Non-VER
WESTVALL_7_UNIT 4 | 40 | PACE | Non-VER
WESTVALL_7_UNIT 5 | 40 | PACE | Non-VER
BIOMAS_7_PACW | 32.5 | PACW | Non-VER
CAMASMI_7_UNIT | 61.5 | PACW | Non-VER
CLEARWA1_7_UNIT | 17.9 | PACW | Non-VER
CLEARWA2_7_UNIT | 31 | PACW | Non-VER
COID_7_UNITS | 6 | PACW | Non-VER
COLSTR_5_PACE | 74 | PACW | Non-VER
COLSTR_5_PACW | 74 | PACW | Non-VER
COPCO1_7_UNIT 1 | 14 | PACW | Non-VER
COPCO1_7_UNIT 2 | 14 | PACW | Non-VER
COPCO2_7_UNIT 1 | 17 | PACW | Non-VER
COPCO2_7_UNIT 2 | 17 | PACW | Non-VER
DALREED_7_BIO | 4.8 | PACW | Non-VER
EVERGBIO_6_BIO | 10 | PACW | Non-VER
FALLCREE_7_UNIT | 2 | PACW | Non-VER
FARMERS_6_UNIT | 4.15 | PACW | Non-VER
FISHCREO_7_UNIT | 10.4 | PACW | Non-VER
GRACE_7_UNIT 3 | 11 | PACW | Non-VER
GRACE_7_UNIT 4 | 11 | PACW | Non-VER
GRACE_7_UNIT 5 | 11 | PACW | Non-VER
IRONGATE_7_UNIT | 18.8 | PACW | Non-VER
JCBOYLE_7_UNIT 1 | 40 | PACW | Non-VER
JCBOYLE_7_UNIT 2 | 43 | PACW | Non-VER
LEMOLO1_7_UNIT | 32 | PACW | Non-VER
LEMOLO2_7_UNIT | 38.5 | PACW | Non-VER
MERWIN_7_UNITS | 150 | PACW | Non-VER
OPALSPRI_7_UNIT | 4.3 | PACW | Non-VER
PELTONRE_7_UNIT | 19.6 | PACW | Non-VER
PENSTOCK_6_UNIT | 5 | PACW | Non-VER
PROSPEC2_7_UNIT 1 | 18 | PACW | Non-VER
PROSPEC2_7_UNIT 2 | 18 | PACW | Non-VER
PROSPEC3_7_UNIT | 7.7 | PACW | Non-VER
RFP_6_UNIT | 10 | PACW | Non-VER
ROSEBURL_7_LUMB | 20 | PACW | Non-VER
SLIDECRE_7_UNIT | 18 | PACW | Non-VER
SODA_7_UNIT 1 | 7 | PACW | Non-VER
SODA_7_UNIT 2 | 7 | PACW | Non-VER
SODASPRI_7_UNIT | 11.6 | PACW | Non-VER
TIETONHY_6_UNIT | 13.8 | PACW | Non-VER
TOKETEE_7_UNIT 1 | 15 | PACW | Non-VER
TOKETEE_7_UNIT 2 | 15 | PACW | Non-VER
TOKETEE_7_UNIT 3 | 15 | PACW | Non-VER
WEBER_7_UNIT | 2 | PACW | Non-VER
Total | 2227.65

## Tbl F.25 - Solar
Resource | Nameplate Capacity (MW) | BAA | Class
Beryl Solar | 3 | PACE | Solar
Buckhorn | 3 | PACE | Solar
Cedar Valley | 3 | PACE | Solar
Enterprise Solar I QF | 80 | PACE | Solar
Escalante Solar I QF | 80 | PACE | Solar
Escalante Solar II QF | 80 | PACE | Solar
Escalante Solar III QF | 80 | PACE | Solar
Fiddler's Canyon 1 | 3 | PACE | Solar
Fiddler's Canyon 2 | 3 | PACE | Solar
Fiddler's Canyon 3 | 3 | PACE | Solar
Granite Mountain East Solar QF | 80 | PACE | Solar
Granite Mountain West Solar QF | 50.4 | PACE | Solar
Granite Peak | 3 | PACE | Solar
Greenville | 2.2 | PACE | Solar
Iron Springs Solar QF | 80 | PACE | Solar
Laho #1 | 3 | PACE | Solar
Milford 2 | 2.97 | PACE | Solar
Milford Flat | 3 | PACE | Solar
Pavant II Solar QF | 50 | PACE | Solar
Pavant III Solar | 20 | PACE | Solar
Quichapa 1 | 3 | PACE | Solar
Quichapa 2 | 3 | PACE | Solar
Quichapa 3 | 3 | PACE | Solar
South Milford | 2.93 | PACE | Solar
Three Peaks Solar QF | 80 | PACE | Solar
Utah Pavant Solar QF | 50 | PACE | Solar
Utah Red Hills Solar QF | 80 | PACE | Solar
Adams Solar Center LLC | 10 | PACW | Solar
Beatty Solar | 5 | PACW | Solar
Black Cap | 2 | PACW | Solar
Black Cap II LLC | 8 | PACW | Solar
Bly Solar Center LLC | 8.5 | PACW | Solar
Chiloquin Solar | 9.9 | PACW | Solar
Collier Solar | 9.9 | PACW | Solar
Elbe Solar Center LLC | 10 | PACW | Solar
Ivory Pine Solar | 10 | PACW | Solar
Norwest Energy 2 LLC (Neff) | 10 | PACW | Solar
Old Mill Solar | 5 | PACW | Solar
OR Solar 2 (Agate Bay Solar) | 10 | PACW | Solar
OR Solar 3 (Turkey Hill Solar) | 10 | PACW | Solar
OR Solar 5 (Merrill) | 8 | PACW | Solar
OR Solar 6 (Lakeview) | 10 | PACW | Solar
OR Solar 7 (Jacksonville) | 10 | PACW | Solar
OR Solar 8 (Dairy) | 10 | PACW | Solar
Sprague River Solar | 7 | PACW | Solar
Tumbleweed Solar | 9.9 | PACW | Solar
Total | 1017.7

## Fig F.19
Figure F.19 - Solar Resource Locations
[Placeholder - no calculations]

## ChartData
| Prior Week |  |  |  | Forecast | [9 empty] | Base Scheduling Ramping Adjustment
Interval Beginning | Actual Load (5-minute) | Actual Load (Hourly) |  | Interval Beginning | Actual Load (5-minute) | Base Schedule (Hourly) | Exceedance Probability | East | West | Shortfall Probability | East BAAL | West BAAL | East L10 | West L10 | Interval Beginning | Base Schedule | Adjusted Base Schedule
42023.7083 | 2642.7733 |  | 7.367% | 42030.7083 | 2638.2194 |  | 0% | 200 | 135 | 100% | 191 | 133 | 47.75 | 33.25 | 42023 | 100 | 100
42023.7118 | 2681.1579 |  |  | 42030.7118 | 2652.6679 |  | 1% | 199 | 134 | 99% | 191 | 133 | 47.75 | 33.25 | 42023.0035 | 100 | 100
42023.7153 | 2712.4161 |  |  | 42030.7153 | 2675.6338 |  | 2% | 199 | 134 | 98% | 191 | 133 | 47.75 | 33.25 | 42023.0069 | 100 | 100
42023.7188 | 2738.5299 |  |  | 42030.7188 | 2700.4475 |  | 3% | 199 | 134 | 97% | 191 | 133 | 47.75 | 33.25 | 42023.0104 | 100 | 100
42023.7222 | 2767.0409 |  |  | 42030.7222 | 2727.5271 |  | 4% | 199 | 134 | 96% | 191 | 133 | 47.75 | 33.25 | 42023.0139 | 100 | 100
42023.7257 | 2786.3653 |  |  | 42030.7257 | 2746.3627 |  | 5% | 199 | 134 | 95% | 191 | 133 | 47.75 | 33.25 | 42023.0174 | 100 | 100
42023.7292 | 2806.042 |  |  | 42030.7292 | 2765.242 |  | 6% | 199 | 134 | 94% | 191 | 133 | 47.75 | 33.25 | 42023.0208 | 100 | 100
42023.7326 | 2818.703 |  |  | 42030.7326 | 2770.7877 |  | 7% | 199 | 134 | 93% | 191 | 133 | 47.75 | 33.25 | 42023.0243 | 100 | 100
42023.7361 | 2833.103 |  |  | 42030.7361 | 2781.1275 |  | 8% | 199 | 134 | 92% | 191 | 133 | 47.75 | 33.25 | 42023.0278 | 100 | 100
42023.7396 | 2839.6003 |  |  | 42030.7396 | 2800.5915 |  | 9% | 199 | 134 | 91% | 191 | 133 | 47.75 | 33.25 | 42023.0312 | 100 | 100
42023.7431 | 2845.8208 |  |  | 42030.7431 | 2802.2216 |  | 10% | 199 | 134 | 90% | 191 | 133 | 47.75 | 33.25 | 42023.0347 | 100 | 102.5
42023.7465 | 2844.1614 |  |  | 42030.7465 | 2805.1288 |  | 11% | 199 | 134 | 89% | 191 | 133 | 47.75 | 33.25 | 42023.0382 | 100 | 107.5
42023.75 | 2842.0957 | 2837.4587 | -1.135% | 42030.75 | 2802.5172 | 2832.5692 | 12% | 199 | 134 | 88% | 191 | 133 | 47.75 | 33.25 | 42023.0417 | 120 | 112.5
42023.7535 | 2845.292 | 2837.4587 |  | 42030.7535 | 2802.8261 | 2832.5692 | 13% | 199 | 134 | 87% | 191 | 133 | 47.75 | 33.25 | 42023.0451 | 120 | 117.5
42023.7569 | 2844.103 | 2837.4587 |  | 42030.7569 | 2808.3315 | 2832.5692 | 14% | 199 | 134 | 86% | 191 | 133 | 47.75 | 33.25 | 42023.0486 | 120 | 120
42023.7604 | 2846.1309 | 2837.4587 |  | 42030.7604 | 2813.7726 | 2832.5692 | 15% | 199 | 134 | 85% | 191 | 133 | 47.75 | 33.25 | 42023.0521 | 120 | 120
42023.7639 | 2848.905 | 2837.4587 |  | 42030.7639 | 2806.5401 | 2832.5692 | 16% | 199 | 134 | 84% | 191 | 133 | 47.75 | 33.25 | 42023.0556 | 120 | 120
42023.7674 | 2844.6741 | 2837.4587 |  | 42030.7674 | 2796.4902 | 2832.5692 | 17% | 199 | 134 | 83% | 191 | 133 | 47.75 | 33.25 | 42023.059 | 120 | 120
42023.7708 | 2828.5263 | 2837.4587 |  | 42030.7708 | 2791.7057 | 2832.5692 | 18% | 199 | 134 | 82% | 191 | 133 | 47.75 | 33.25 | 42023.0625 | 120 | 120
42023.7743 | 2828.6228 | 2837.4587 |  | 42030.7743 | 2779.7166 | 2832.5692 | 19% | 199 | 134 | 81% | 191 | 133 | 47.75 | 33.25 | 42023.066 | 120 | 120
42023.7778 | 2833.043 | 2837.4587 |  | 42030.7778 | 2779.8378 | 2832.5692 | 20% | 199 | 134 | 80% | 191 | 133 | 47.75 | 33.25 | 42023.0694 | 120 | 120
42023.7812 | 2829.596 | 2837.4587 |  | 42030.7812 | 2782.8692 | 2832.5692 | 21% | 199 | 134 | 79% | 191 | 133 | 47.75 | 33.25 | 42023.0729 | 120 | 120
42023.7847 | 2831.1836 | 2837.4587 |  | 42030.7847 | 2782.4679 | 2832.5692 | 22% | 199 | 134 | 78% | 191 | 133 | 47.75 | 33.25 | 42023.0764 | 120 | 119.375
42023.7882 | 2827.3314 | 2837.4587 | -0.6182% | 42030.7882 | 2771.5242 | 2832.5692 | 23% | 199 | 134 | 77% | 191 | 133 | 47.75 | 33.25 | 42023.0799 | 120 | 118.125
42023.7917 | 2820.985 | 2809.8517 |  | 42030.7917 | 2777.8699 | 2770.7222 | 24% | 199 | 134 | 76% | 191 | 133 | 47.75 | 33.25 | 42023.0833 | 115 | 116.875
42023.7951 | 2823.6178 | 2809.8517 |  | 42030.7951 | 2772.0428 | 2770.7222 | 25% | 199 | 134 | 75% | 191 | 133 | 47.75 | 33.25 | 42023.0868 | 115 | 115.625
42023.7986 | 2815.5654 | 2809.8517 |  | 42030.7986 | 2774.0049 | 2770.7222 | 26% | 199 | 134 | 74% | 191 | 133 | 47.75 | 33.25 | 42023.0903 | 115 | 115
42023.8021 | 2818.8939 | 2809.8517 |  | 42030.8021 | 2765.1782 | 2770.7222 | 27% | 199 | 134 | 73% | 191 | 133 | 47.75 | 33.25 | 42023.0937 | 115 | 115
42023.8056 | 2811.6675 | 2809.8517 |  | 42030.8056 | 2757.3749 | 2770.7222 | 28% | 199 | 134 | 72% | 191 | 133 | 47.75 | 33.25 | 42023.0972 | 115 | 115
42023.809 | 2815.8498 | 2809.8517 |  | 42030.809 | 2755.3019 | 2770.7222 | 29% | 199 | 134 | 71% | 191 | 133 | 47.75 | 33.25 | 42023.1007 | 115 | 115
42023.8125 | 2814.6377 | 2809.8517 |  | 42030.8125 | 2759.5553 | 2770.7222 | 30% | 199 | 134 | 70% | 191 | 133 | 47.75 | 33.25 | 42023.1042 | 115 | 115
42023.816 | 2807.8631 | 2809.8517 |  | 42030.816 | 2751.7849 | 2770.7222 | 31% | 199 | 134 | 69% | 191 | 133 | 47.75 | 33.25 | 42023.1076 | 115 | 115
42023.8194 | 2802.7264 | 2809.8517 |  | 42030.8194 | 2750.8657 | 2770.7222 | 32% | 199 | 134 | 68% | 191 | 133 | 47.75 | 33.25 | 42023.1111 | 115 | 115
42023.8229 | 2803.0425 | 2809.8517 |  | 42030.8229 | 2744.9162 | 2770.7222 | 33% | 199 | 134 | 67% | 191 | 133 | 47.75 | 33.25 | 42023.1146 | 115 | 115
42023.8264 | 2794.1949 | 2809.8517 |  | 42030.8264 | 2735.8855 | 2770.7222 | 34% | 199 | 134 | 66% | 191 | 133 | 47.75 | 33.25 | 42023.1181 | 115 | 115
42023.8299 | 2789.1757 | 2809.8517 |  | 42030.8299 | 2731.263 | 2770.7222 | 35% | 199 | 134 | 65% | 191 | 133 | 47.75 | 33.25 | 42023.1215 | 115 | 115
[7 empty] | 36% | 199 | 134 | 64% | 191 | 133 | 47.75 | 33.25
[7 empty] | 37% | 199 | 134 | 63% | 191 | 133 | 47.75 | 33.25
[7 empty] | 38% | 199 | 134 | 62% | 191 | 133 | 47.75 | 33.25
[7 empty] | 39% | 199 | 134 | 61% | 191 | 133 | 47.75 | 33.25
[7 empty] | 40% | 199 | 134 | 60% | 191 | 133 | 47.75 | 33.25
[7 empty] | 41% | 199 | 134 | 59% | 191 | 133 | 47.75 | 33.25
[7 empty] | 42% | 199 | 134 | 58% | 191 | 133 | 47.75 | 33.25
[7 empty] | 43% | 199 | 134 | 57% | 191 | 133 | 47.75 | 33.25
[7 empty] | 44% | 199 | 134 | 56% | 191 | 133 | 47.75 | 33.25
[7 empty] | 45% | 199 | 134 | 55% | 191 | 133 | 47.75 | 33.25
[7 empty] | 46% | 199 | 134 | 54% | 191 | 133 | 47.75 | 33.25
[7 empty] | 47% | 199 | 134 | 53% | 191 | 133 | 47.75 | 33.25
[7 empty] | 48% | 199 | 134 | 52% | 191 | 133 | 47.75 | 33.25
[7 empty] | 49% | 199 | 134 | 51% | 191 | 133 | 47.75 | 33.25
[7 empty] | 50% | 199 | 134 | 50% | 191 | 133 | 47.75 | 33.25
[7 empty] | 51% | 199 | 134 | 49% | 191 | 133 | 47.75 | 33.25
[7 empty] | 52% | 199 | 134 | 48% | 191 | 133 | 47.75 | 33.25
[7 empty] | 53% | 199 | 134 | 47% | 191 | 133 | 47.75 | 33.25
[7 empty] | 54% | 199 | 134 | 46% | 191 | 133 | 47.75 | 33.25
[7 empty] | 55% | 199 | 134 | 45% | 191 | 133 | 47.75 | 33.25
[7 empty] | 56% | 199 | 134 | 44% | 191 | 133 | 47.75 | 33.25
[7 empty] | 57% | 199 | 134 | 43% | 191 | 133 | 47.75 | 33.25
[7 empty] | 58% | 199 | 133 | 42% | 191 | 133 | 47.75 | 33.25
[7 empty] | 59% | 199 | 133 | 41% | 191 | 133 | 47.75 | 33.25
[7 empty] | 60% | 199 | 133 | 40% | 191 | 133 | 47.75 | 33.25
[7 empty] | 61% | 199 | 133 | 39% | 191 | 133 | 47.75 | 33.25
[7 empty] | 62% | 199 | 133 | 38% | 191 | 133 | 47.75 | 33.25
[7 empty] | 63% | 199 | 133 | 37% | 191 | 133 | 47.75 | 33.25
[7 empty] | 64% | 199 | 133 | 36% | 191 | 133 | 47.75 | 33.25
[7 empty] | 65% | 199 | 133 | 35% | 191 | 133 | 47.75 | 33.25
[7 empty] | 66% | 191 | 133 | 34% | 191 | 133 | 47.75 | 33.25
[7 empty] | 67% | 191 | 133 | 33% | 191 | 133 | 47.75 | 33.25
[7 empty] | 68% | 191 | 133 | 32% | 191 | 133 | 47.75 | 33.25
[7 empty] | 69% | 191 | 133 | 31% | 191 | 133 | 47.75 | 33.25
[7 empty] | 70% | 191 | 133 | 30% | 191 | 133 | 47.75 | 33.25
[7 empty] | 71% | 191 | 133 | 29% | 191 | 133 | 47.75 | 33.25
[7 empty] | 72% | 191 | 133 | 28% | 191 | 133 | 47.75 | 33.25
[7 empty] | 73% | 191 | 133 | 27% | 191 | 133 | 47.75 | 33.25
[7 empty] | 74% | 191 | 133 | 26% | 191 | 133 | 47.75 | 33.25
[7 empty] | 75% | 191 | 133 | 25% | 191 | 133 | 47.75 | 33.25
[7 empty] | 76% | 191 | 133 | 24% | 191 | 133 | 47.75 | 33.25
[7 empty] | 77% | 191 | 133 | 23% | 191 | 133 | 47.75 | 33.25
[7 empty] | 78% | 191 | 129 | 22% | 191 | 129 | 47.75 | 33.25
[7 empty] | 79% | 191 | 124 | 21% | 191 | 124 | 47.75 | 33.25
[7 empty] | 80% | 191 | 118 | 20% | 191 | 118 | 47.75 | 33.25
[7 empty] | 81% | 191 | 114 | 19% | 191 | 114 | 47.75 | 33.25
[7 empty] | 82% | 191 | 109 | 18% | 191 | 109 | 47.75 | 33.25
[7 empty] | 83% | 191 | 105 | 17% | 191 | 105 | 47.75 | 33.25
[7 empty] | 84% | 191 | 100 | 16% | 191 | 100 | 47.75 | 33.25
[7 empty] | 85% | 191 | 96 | 15% | 191 | 96 | 47.75 | 33.25
[7 empty] | 86% | 191 | 92 | 14% | 191 | 92 | 47.75 | 33.25
[7 empty] | 87% | 191 | 88 | 13% | 191 | 88 | 47.75 | 33.25
[7 empty] | 88% | 191 | 84 | 12% | 191 | 84 | 47.75 | 33.25
[7 empty] | 89% | 182 | 81 | 11% | 182 | 81 | 47.75 | 33.25
[7 empty] | 90% | 174 | 77 | 10% | 174 | 77 | 47.75 | 33.25
[7 empty] | 91% | 165 | 73 | 9% | 165 | 73 | 47.75 | 33.25
[7 empty] | 92% | 157 | 69 | 8% | 157 | 69 | 47.75 | 33.25
[7 empty] | 93% | 148 | 66 | 7% | 148 | 66 | 47.75 | 33.25
[7 empty] | 94% | 140 | 62 | 6% | 140 | 62 | 47.75 | 33.25
[7 empty] | 95% | 131 | 58 | 5% | 131 | 58 | 47.75 | 33.25
[7 empty] | 96% | 120 | 53 | 4% | 120 | 53 | 47.75 | 33.25
[7 empty] | 97% | 107 | 47 | 3% | 107 | 47 | 47.75 | 33.25
[7 empty] | 98% | 87 | 39 | 2% | 87 | 39 | 47.75 | 33.25
[7 empty] | 99% | 47 | 21 | 1% | 47 | 21 | 47.75 | 33.25
[7 empty] | 99.5% | 23 | 12 | 0.5% | 23 | 12 | 47.75 | 33.25
[7 empty] | 99.9% | 9 | 4 | 0.1% | 9 | 4 | 47.75 | 33.25
[7 empty] | 100% | 0 | 0 | 0% | 0 | 0 | 47.75 | 33.25