{"text_format":"1","workbook":"xlsx","n_sheets":10,"sheets":["IRP Table 5.1 Load","IRP Tables 5.2-5.4 Thermal","IRP Tables 5.5-5.7- Renewable","IRP Tables 5.9-5.10 Hydro","Tbl 5.14 Initial L&R (Summer)","Tbl 5.15 Initial L&R (Winter)","Fig 5.4 Summer - Sys Chart","Fig 5.5 Winter - Sys Chart","Fig 5.6 Summer - East Chart","Fig 5.7 Summer - West Chart"],"not_rendered":{"charts":8,"images":0,"macros":0,"external_links":0,"defined_names":27,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Fig 5.4 Summer - Sys Chart","index":6,"reason":"not_a_worksheet"},{"sheet":"Fig 5.5 Winter - Sys Chart","index":7,"reason":"not_a_worksheet"},{"sheet":"Fig 5.6 Summer - East Chart","index":8,"reason":"not_a_worksheet"},{"sheet":"Fig 5.7 Summer - West Chart","index":9,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"IRP Table 5.1 Load","index":0,"n_rows":6,"n_cols":12,"rows_kept":6,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[null,"Table 5.1 – Forecasted System Summer Coincident Peak Load in Megawatts, Before Energy Efficiency and Private Generation "]
[null,null,2017,2018,2019,2020,2021,2022,2023,2024,2025,2026]
[null,"System",10163.594486587876,10276.904102917941,10384.12852330046,10486.002890163791,10607.661899378956,10718.29677301063,10804.277574115793,10906.59310521248,11028.225253693265,11048.714563307634]

{"sheet":"IRP Tables 5.2-5.4 Thermal","index":1,"n_rows":64,"n_cols":6,"rows_kept":64,"cut":false,"hidden":false,"merged":[[45,1,45,3],[63,1,63,3]]}
[]
[null,"Table 5.2 – 2017 Capacity Contribution at System Peak for Existing Resources"]
[]
[null,"Resource Type 1/","L&R Balance Capacity at System Peak (MW) 2/","Percent (%)"]
[null,"Pulverized Coal",5919.08,0.50829979922472224]
[null,"Gas-CCCT",2376.9999999999995,0.20412439479736119]
[null,"Gas-SCCT",356.80000000000007,3.0640127919099074E-2]
[null,"Hydroelectric",957.80999999999983,8.2251740252781036E-2]
[null,"DSM 3/",426.33000000000004,3.661100262261633E-2]
[null,"Renewables",294.28000000000003,2.5271235549418371E-2]
[null,"Qualifying Facilities - Renewables",705.14999999999986,6.055461379527103E-2]
[null,"Purchase 4/",267.44999999999993,2.2967214719627364E-2]
[null,"Qualifying Facilities",145.91999999999996,1.2530850521174145E-2]
[null,"Interruptible",195.04000000000002,1.6749020597929043E-2]
[null,"Total",11644.86,0.99999999999999989]
[]
[]
[]
[null,"Table 5.3 – Coal-Fueled Plants"]
[]
[null,"Plant","PacifiCorp Percentage Share (%)","State","Assumed End of Life Year","L&R Balance Capacity at System Summer Peak (MW)"]
[null,"Cholla 4",100,"AZ",2024,387]
[null,"Colstrip 3",10,"MT",2046,74]
[null,"Colstrip 4",10,"MT",2046,74]
[null,"Craig 1",19,"CO",2025,82.3]
[null,"Craig 2",19,"CO",2034,81.540000000000006]
[null,"Dave Johnston 1",100,"WY",2027,106]
[null,"Dave Johnston 2",100,"WY",2027,106]
[null,"Dave Johnston 3",100,"WY",2027,220]
[null,"Dave Johnston 4",100,"WY",2027,330]
[null,"Hayden 1",24,"CO",2030,45.1]
[null,"Hayden 2",13,"CO",2030,32.68]
[null,"Hunter 1",94,"UT",2042,418.1]
[null,"Hunter 2",60,"UT",2042,269]
[null,"Hunter 3",100,"UT",2042,471]
[null,"Huntington 1",100,"UT",2036,459]
[null,"Huntington 2",100,"UT",2036,450]
[null,"Jim Bridger 1",67,"WY",2037,354]
[null,"Jim Bridger 2",67,"WY",2037,359.3]
[null,"Jim Bridger 3",67,"WY",2037,345.23]
[null,"Jim Bridger 4",67,"WY",2037,349.83]
[null,"Naughton 1",100,"WY",2029,156]
[null,"Naughton 2",100,"WY",2029,201]
[null,"Naughton 3*",100,"WY",2029,280]
[null,"Wyodak",80,"WY",2039,268]
[null,"TOTAL – Coal",null,null,null,5919.08]
[null,"* Naughton Unit 3 may be retired at the end of 2018"]
[]
[]
[]
[null,"Table 5.4 – Natural-Gas-Fueled Plants"]
[null,"Natural Gas -fueled","PacifiCorp Percentage Share (%)","State","L&R Balance Capacity at System Peak (MW)"]
[null,"Chehalis",100,"WA",464]
[null,"Currant Creek ",100,"UT",533]
[null,"Gadsby 1 ",100,"UT",64]
[null,"Gadsby 2 ",100,"UT",69]
[null,"Gadsby 3 ",100,"UT",105]
[null,"Gadsby 4",100,"UT",39.6]
[null,"Gadsby 5 ",100,"UT",39.6]
[null,"Gadsby 6 ",100,"UT",39.6]
[null,"Hermiston (owned)",100,"OR",227]
[null,"Lake Side ",100,"UT",530]
[null,"Lake Side 2",100,"UT",623]
[null,"TOTAL – Gas and Combined Heat & Power",null,null,2733.7999999999997]

{"sheet":"IRP Tables 5.5-5.7- Renewable","index":2,"n_rows":119,"n_cols":18,"rows_kept":119,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[null,"Table 5.5 – Owned Wind Resources"]
[null,"Utility-Owned Wind Projects","State","Capacity (MW)","L&R Balance Capacity at System Peak (MW)"]
[null,"Foote Creek I *","WY",32,6.45]
[null,"Leaning Juniper","OR",101,11.86]
[null,"Goodnoe Hills East Wind","WA",94,11.09]
[null,"Marengo","WA",140,16.57]
[null,"Marengo II","WA",70,8.2799999999999994]
[null,"Glenrock Wind I","WY",99,15.64]
[null,"Glenrock Wind III","WY",39,6.16]
[null,"Rolling Hills Wind","WY",99,15.64]
[null,"Seven Mile Hill Wind","WY",99,15.64]
[null,"Seven Mile Hill Wind II","WY",20,3.08]
[null,"High Plains","WY",99,15.64]
[null,"McFadden Ridge 1","WY",29,4.5]
[null,"Dunlap 1","WY",111,17.54]
[null,"TOTAL – Owned Wind",null,1032,148.09,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L19=#REF!,\"\",1)","v":{"$error":"#REF!"}},{"$f":"IF(M19=C19,\"\",1)","v":""}]
[null,"* PacifiCorp’s share is 32 MW of the 40 MW project."]
[]
[]
[]
[]
[]
[]
[null,"Table 5.6 – Non-Owned Wind Resources"]
[null,"Power Purchase Agreements / Exchanges","State","PPA or QF","Capacity (MW)","L&R Balance Capacity at System Summer Peak (MW)"]
[null,"Combine Hills","OR","PPA",41,4.84]
[null,"Foote Creek IV","WY","PPA",17,2.65]
[null,"Rock River I","WY","PPA",50,7.74]
[null,"Stateline Wind","OR / WA","PPA",175,20.65]
[null,"Three Buttes Wind Power (Duke)","WY","PPA",99,15.64]
[null,"Top of the World ","WY","PPA",200,31.63]
[null,"Wolverine Creek","ID","PPA",65,10.19]
[null,"Casper Wind (Chevron)","WY","QF",17,2.61]
[null,"Chopin","WA","QF",10,1.18]
[null,"Foote Creek II","WY","QF",2,0.28439999999999999]
[null,"Foote Creek III","WY","QF",25,3.91]
[null,"Latigo Wind","UT","QF",60,9.48]
[null,"Mariah Wind","OR","QF",10,1.18]
[null,"Meadow Creek Project – Five Pine ","ID","QF",40,6.3]
[null,"Meadow Creek Project – North Point ","ID","QF",80,12.61]
[null,"Mountain Wind Power I","WY","QF",61,9.6199999999999992]
[null,"Mountain Wind Power II","WY","QF",80,12.61]
[null,"Orchard Wind*","WA","QF",40,4.72]
[null,"Oregon Wind Farms I & II","OR","QF",65,7.62]
[null,"Orem Family Wind","OR","QF",10,1.18]
[null,"Pioneer Wind Park I","WY","QF",80,12.64]
[null,"Power County Wind Park North","ID","QF",22.5,3.56]
[null,"Power County Wind Park South","ID","QF",22.5,3.56]
[null,"Spanish Fork Wind Park 2","UT","QF",19,2.99]
[null,"Three Mile Canyon","WA","QF",10,1.1681999999999999]
[null,"Small QF","WY","QF",0.2,3.1600000000000003E-2]
[null,"TOTAL – Purchased Wind",null,null,1301,190.56260000000009]
[null,"* New since 2015 IRP Update."]
[]
[]
[]
[]
[]
[null,"Table 5.7 – Non-Owned Solar Resources"]
[null,"Power Purchase Agreements / Exchanges","PPA or QF","State","Capacity (MW)","L&R Balance Capacity at System Summer Peak (MW)"]
[null,"Black Cap","PPA","OR",2,1.26]
[null,"Utah Solar PV Program","PPA","UT",2,1.18]
[null,"Old Mill","PPA","OR",5,3.15]
[null,"Oregon Solar Incentive Projects (OSIP)","PPA","OR",9.8096019999999982,5.01]
[null,"Small Solar","QF","UT",0.52,0.19708000000000001]
[null,"Adams Solar Center ","QF","OR",10,6.48]
[null,"Bear Creek Solar Center ","QF","OR",10,6.48]
[null,"Beatty Solar","QF","OR",5,3.24]
[null,"Beryl Solar ","QF","UT",3,1.137]
[null,"Black Cap Solar II","QF","OR",8,5.1840000000000002]
[null,"Bly Solar Center ","QF","OR",8.5,5.508]
[null,"Buckhorn Solar ","QF","UT",3,1.137]
[null,"Cedar Valley Solar ","QF","UT",3,1.137]
[null,"Chiloquin Solar ","QF","OR",9.9,5.336100000000001]
[null,"Collier Solar ","QF","OR",9.9,6.4152000000000005]
[null,"Elbe Solar Center ","QF","OR",10,6.48]
[null,"Enterprise Solar ","QF","UT",80,46.62]
[null,"Escalante Solar I ","QF","UT",80,47]
[null,"Escalante Solar II ","QF","UT",80,47]
[null,"Escalante Solar III  ","QF","UT",80,47]
[null,"Ewauna Solar ","QF","OR",0.83,0.53783999999999998]
[null,"Ewauna Solar 2 ","QF","OR",2.9,1.8792]
[null,"Fiddler's Canyon Solar 1-3","QF","UT",9,5.3729999999999993]
[null,"Granite Mountain - East ","QF","UT",80,47.05]
[null,"Granite Mountain - West ","QF","UT",50.4,29.64]
[null,"Granite Peak Solar ","QF","UT",3,1.137]
[null,"Greenville Solar ","QF","UT",2.2000000000000002,0.8338000000000001]
[null,"Iron Springs ","QF","UT",80,46.69]
[null,"Ivory Pine Solar","QF","OR",10,6.48]
[null,"Laho Solar ","QF","UT",3,1.137]
[null,"Merrill Solar ","QF","OR",10,6.48]
[null,"Milford Flat Solar ","QF","UT",3,1.7909999999999999]
[null,"Milford Solar 2 ","QF","UT",2.97,1.1256300000000001]
[null,"Norwest Energy 2 (Neff) ","QF","OR",10,6.48]
[null,"Norwest Energy 4 (Bonanza) ","QF","OR",6,3.8879999999999999]
[null,"Norwest Energy 7 (Eagle Point) ","QF","OR",9.9,6.4152000000000005]
[null,"Norwest Energy 9 Pendleton ","QF","OR",6,3.234]
[null,"OR Solar 2, LLC (Agate Bay) ","QF","OR",10,6.48]
[null,"OR Solar 3, LLC (Turkey Hill) ","QF","OR",10,6.48]
[null,"OR Solar 5, LLC (Merrill) ","QF","OR",8,5.1840000000000002]
[null,"OR Solar 6, LLC (Lakeview) ","QF","OR",10,6.48]
[null,"OR Solar 7, LLC (Jacksonville) ","QF","OR",10,6.48]
[null,"OR Solar 8, LLC (Dairy) ","QF","OR",10,6.48]
[null,"Pavant Solar ","QF","UT",50,29.14]
[null,"Pavant Solar II LLC ","QF","UT",50,29.55]
[null,"Pavant Solar III LLC *","QF","UT",20,11.82]
[null,"Quichapa Solar 1- 3","QF","UT",9,5.3729999999999993]
[null,"South Milford Solar","QF","UT",2.93,1.7492099999999999]
[null,"Sprague River Solar","QF","OR",7,4.5360000000000005]
[null,"Sweetwater Solar *","QF","WY",80,47.76]
[null,"Three Peaks Solar ","QF","UT",80,47.28]
[null,"Tumbleweed Solar ","QF","OR",9.9,5.336100000000001]
[null,"Utah Red Hills Renewable Park ","QF","UT",80,47.28]
[null,"Woodline Solar ","QF","OR",8,5.1840000000000002]
[null,"TOTAL – Purchased Solar",null,null,1163.6596020000002,689.71535999999992]
[null,"* New since 2015 IRP Update"]

{"sheet":"IRP Tables 5.9-5.10 Hydro","index":3,"n_rows":38,"n_cols":4,"rows_kept":38,"cut":false,"hidden":false,"merged":[[34,1,34,2],[4,2,5,2],[17,1,17,3],[28,1,28,3],[32,1,32,2],[33,1,33,2]]}
[]
[]
[]
[null,"Table 5.9 – Hydroelectric Contracts - Load and Resource Balance Capacities"]
[null,"Hydroelectric Contracts ","L&R Balance Capacity at System Peak (MW)"]
[null,"by Load and Resource Balance Category"]
[null,"Hydroelectric ",89.24]
[null,"Qualifying Facilities - Hydroelectric",37.99]
[null,"   Total Contracted Hydroelectric Resources",127.22999999999999]
[]
[]
[]
[]
[]
[]
[null,"Table 5.10 – PacifiCorp Owned Hydroelectric Generation Facilities - Load and Resource Balance Capacities"]
[null,"Plant","State","L&R Balance Capacity at System Peak (MW)"]
[null,"West"]
[null,"Big Fork","MT",3.74]
[null,"Klamath_Dispatch","CA",55.98]
[null,"Klamath_Flat","CA",10.67]
[null,"Klamath_Shape","OR",86.01]
[null,"Lewis_Dispatch","WA",389.77]
[null,"Lewis_Shape 1/","WA",93.88]
[null,"Rogue","OR",31.18]
[null,"Small West Hydro 2/","CA/OR/WA",2.41]
[null,"Umpqua_Flat","OR",23.82]
[null,"Umpqua_Shape","OR",88.63]
[null,"East"]
[null,"Bear River - Dispatch","ID/UT",53]
[null,"Bear River - Shape","ID/UT",15.67]
[null,"Small East Hydro 3/","ID/UT/WY",13.81]
[null,"TOTAL – Hydroelectric before contracts",null,868.56999999999994]
[null,"   Plus  Hydroelectric Contracts",null,127.22999999999999]
[null,"TOTAL – Hydroelectric with Contracts",null,995.8]
[null,"1/ Cowlitz County PUD owns Swift No. 2, and is operated in coordination with the other projects by PacifiCorp"]
[null,"2/ Includes Bend, Fall Creek, and Wallowa Falls"]
[null,"3/ Includes Ashton, Paris, Pioneer, Weber, Stairs, Granite, Snake Creek, Olmstead, Fountain Green, Veyo, Sand Cove, Viva Naughton, and Gunlock"]

{"sheet":"Tbl 5.14 Initial L&R (Summer)","index":4,"n_rows":60,"n_cols":12,"rows_kept":60,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"Table 5.14 – Summer Peak – System Capacity Loads and Resources without Resource Additions1/"]
[]
[null,"Calendar Year",2017,2018,2019,2020,2021,2022,2023,2024,2025,2026]
[null,"East"]
[null,"Thermal",6405.52,6405.52,6125.52,6125.52,5738.52,5738.52,5738.52,5738.52,5734.7200000000012,5645.3500000000013]
[null,"Hydroelectric",102.76,105.74000000000001,112.76,112.76,112.76,112.76,112.76,92.48,92.48,92.48]
[null,"Renewable",201.43000000000004,201.42000000000004,201.42000000000004,201.41000000000005,198.75,191.01,191,191,190.99,180.8]
[null,"Purchase",249.17,248.95,248.95,248.95,221.39,221.39,221.39,221.39,121.37,121.37]
[null,"Qualifying Facilities",656.39999999999986,645.8599999999999,689.46,681.43,672.43000000000018,660.78,656.83000000000015,602.7600000000001,597.76,593.55999999999995]
[null,"Class 1 DSM",323.3,323.3,323.3,323.3,323.3,323.3,323.3,323.3,323.3,323.3]
[null,"Sale",-652.46999999999991,-652.44999999999993,-652.44999999999993,-652.44999999999993,-172.45,-172.45,-172.45,-145.6,-145.6,-63.300000000000011]
[null,"Non-Owned Reserves",-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996]
[null,"East Existing Resources",7248.9100000000008,7241.14,7011.7600000000011,7003.7200000000012,7057.5000000000018,7038.1100000000015,7034.1500000000015,6986.6500000000005,6877.8200000000006,6856.3600000000015]
[]
[null,"Load",7008.4697617468528,7092.5531874247226,7141.4705330844181,7230.5410943156157,7331.4448587109555,7419.9687749306968,7484.9415761992514,7563.5449505601255,7661.4001082436025,7662.5726908578918]
[null,"Private Generation",-32.569761746852755,-50.75318742472129,-72.070533084418656,-80.141094315615845,-86.14485871095539,-90.668774930696941,-93.941576199252069,-97.744950560124934,-103.8001082436017,-112.07269085789287]
[null,"Interruptible",-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002]
[null,"DSM",-138.21,-190.14,-245.49999999999994,-298.33999999999997,-355.06000000000006,-409.62,-468.15000000000003,-526.91999999999996,-584.03999999999985,-641.3499999999998]
[null,"East obligation",6642.65,6656.6200000000008,6628.86,6657.0199999999995,6695.2,6724.64,6727.8099999999995,6743.84,6778.52,6714.11]
[]
[null,"Planning Reserves (13%)",888.89969999999994,890.71580000000017,887.10699999999997,890.76779999999997,895.73120000000006,899.55840000000012,899.97050000000002,902.0544000000001,906.56280000000004,898.18949999999995]
[]
[null,"East Obligation + Reserves",7531.5496999999996,7547.3358000000007,7515.9669999999996,7547.7877999999992,7590.9312,7624.1984000000002,7627.7804999999998,7645.8944000000001,7685.0828000000001,7612.2994999999992]
[null,"East Position",-282.63969999999881,-306.19580000000042,-504.20699999999852,-544.06779999999799,-533.43119999999817,-586.08839999999873,-593.63049999999839,-659.24439999999959,-807.26279999999952,-755.93949999999768]
[null,"Available Front Office Transactions",318,318,318,318,318,318,318,318,318,318]
[]
[null,"West"]
[null,"Thermal",2247.36,2247.36,2247.36,2247.36,2247.36,2247.36,2247.36,2247.36,2247.36,2247.36]
[null,"Hydroelectric",855.05,858.82999999999993,717.27,806.48,635.11000000000013,549.2600000000001,643.72,647.58999999999992,634.12,650.8599999999999]
[null,"Renewable",92.84999999999998,92.78,92.710000000000008,92.639999999999986,92.57,61.84,61.76,56.859999999999992,56.79,55.8]
[null,"Purchase",18.279999999999998,18.279999999999998,1.45,1.45,1.45,1.45,1.45,1.45,1.45,1.45]
[null,"Qualifying Facilities",194.67000000000002,199.92000000000002,202.44000000000003,207.26000000000005,198.15000000000003,194.56000000000003,185.78,184.75000000000003,183.92000000000002,181.95000000000002]
[null,"Class 1 DSM",3.18,3.18,3.18,3.18,0,0,0,0,0,0]
[null,"Sale",-165.36,-165.37,-165.37,-165.37,-160.95000000000002,-110.06,-110.07000000000001,-79.540000000000006,-79.540000000000006,-79.53]
[null,"Non-Owned Reserves",-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998]
[null,"West Existing Resources",3243.7299999999996,3252.6800000000003,3096.74,3190.7,3011.3900000000003,2942.11,3027.7,3056.1699999999996,3041.7999999999997,3055.5899999999997]
[]
[null,"Load",3155.1247248410223,3184.3509154932181,3242.6579902160429,3255.4617958481749,3276.2170406680002,3298.327998079933,3319.3359979165407,3343.0481546523538,3366.8251454496626,3386.141872449743]
[null,"Private Generation",-1.1247248410229247,-1.5509154932181166,-2.0579902160429584,-2.5617958481750676,-3.0170406680001243,-3.427998079933499,-3.8359979165406242,-4.3481546523541494,-4.9251454496629199,-5.5418724497430389]
[null,"Interruptible",0,0,0,0,0,0,0,0,0,0]
[null,"DSM",-66.95,-96.72,-126.00999999999999,-151.88,-175.33,-195.77999999999997,-214.14,-232.25,-248.39,-263.27999999999997]
[null,"West obligation",3087.0499999999997,3086.08,3114.59,3101.0199999999995,3097.8700000000003,3099.12,3101.36,3106.45,3113.5099999999998,3117.3199999999997]
[]
[null,"Planning Reserves (13%)",401.31649999999996,401.19040000000001,404.89670000000001,403.13259999999997,402.72310000000004,402.88560000000001,403.17680000000001,403.83850000000001,404.75630000000001,405.2516]
[]
[null,"West Obligation + Reserves",3488.3664999999996,3487.2703999999999,3519.4867000000004,3504.1525999999994,3500.5931000000005,3502.0056,3504.5368000000003,3510.2884999999997,3518.2662999999998,3522.5715999999998]
[null,"West Position",-244.63650000000007,-234.59039999999959,-422.7467000000006,-313.45259999999962,-489.20310000000018,-559.89559999999983,-476.83680000000049,-454.11850000000004,-476.46630000000005,-466.98160000000007]
[null,"Available Front Office Transactions",1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5]
[]
[null,"System"]
[null,"Total Resources",10492.64,10493.82,10108.5,10194.420000000002,10068.890000000003,9980.2200000000012,10061.850000000002,10042.82,9919.6200000000008,9911.9500000000007]
[null,"Obligation",9729.6999999999989,9742.7000000000007,9743.4500000000007,9758.0399999999991,9793.07,9823.76,9829.17,9850.2900000000009,9892.0300000000007,9831.43]
[null,"Reserves",1290.2161999999998,1291.9062000000001,1292.0037,1293.9004,1298.4543000000001,1302.4440000000002,1303.1473000000001,1305.8929000000001,1311.3191000000002,1303.4411]
[null,"Obligation + Reserves",11019.9162,11034.6062,11035.4537,11051.940399999999,11091.524299999999,11126.204,11132.317300000001,11156.182900000002,11203.349100000001,11134.8711]
[null,"System Position",-527.27620000000024,-540.78620000000046,-926.95370000000003,-857.52039999999761,-1022.6342999999961,-1145.9839999999986,-1070.4672999999984,-1113.3629000000019,-1283.7291000000005,-1222.9210999999996]
[null,"Available Front Office Transactions",1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5]
[]
[null,"1/ The DSM line includes selected Class 2 DSM from the 2017 IRP preferred portfolio."]

{"sheet":"Tbl 5.15 Initial L&R (Winter)","index":5,"n_rows":60,"n_cols":12,"rows_kept":60,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"Table 5.15 – Winter Peak – System Capacity Loads and Resources without Resource Additions1/"]
[]
[null,"Calendar Year",2017,2018,2019,2020,2021,2022,2023,2024,2025,2026]
[null,"East"]
[null,"Thermal",6513.52,6513.52,6233.52,6233.52,5846.52,5846.52,5846.52,5846.52,5842.7200000000012,5753.35]
[null,"Hydroelectric",71.34,72.27,72.27,72.27,72.27,72.27,72.27,72.27,72.27,72.27]
[null,"Renewable",201.43000000000004,201.42000000000004,201.42000000000004,198.76000000000005,191.01,191.01,191,191,190.99,180.8]
[null,"Purchase",734.06000000000006,734.06000000000006,734.06000000000006,734.06000000000006,234.59,234.59,234.59,121.37,121.37,121.37]
[null,"Qualifying Facilities",646.79000000000008,688.11,679.55000000000007,676.35000000000014,668.11999999999989,658.01999999999987,604.11000000000013,600.24999999999989,595.08999999999992,591.2299999999999]
[null,"Class 1 DSM",21.2,21.2,21.2,21.2,21.2,21.2,21.2,21.2,21.2,21.2]
[null,"Sale",-170.01999999999998,-170.01999999999998,-170.01999999999998,-170.01999999999998,-170.01999999999998,-170.01999999999998,-170.01999999999998,-145.6,-145.6,-63.300000000000011]
[null,"Non-Owned Reserves",-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996,-37.199999999999996]
[null,"East Existing Resources",7981.1200000000017,8023.3600000000015,7734.800000000002,7728.9400000000014,6826.4900000000007,6816.39,6762.4700000000021,6669.81,6660.8400000000011,6639.72]
[]
[null,"Load",5550.2882951933252,5617.1128146070569,5685.8773146191079,5597.4203664421866,5769.5583556053925,5847.4693148453698,5923.4367712302264,5956.3976737106941,5919.3624515200672,5923.9227217532252]
[null,"Private Generation",-10.788295193325286,-16.812814607057792,-23.877314619107505,-28.420366442186729,-30.558355605393803,-32.169314845369811,-33.33677123022705,-34.697673710694559,-36.862451520066955,-39.822721753224712]
[null,"Interruptible",-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002,-195.04000000000002]
[null,"Existing Class2 DSM",-91.98,-131.54000000000002,-173.38,-212.97999999999996,-255.92000000000002,-297.35000000000002,-340.22,-383.34999999999991,-425.49,-469.24]
[null,"East obligation",5252.4800000000005,5273.7199999999993,5293.58,5160.9800000000005,5288.0399999999991,5322.91,5354.8399999999992,5343.3099999999995,5261.97,5219.8200000000006]
[]
[null,"Planning Reserves (13%)",708.1776000000001,710.9387999999999,713.52060000000006,696.28260000000012,712.80039999999985,717.33349999999996,721.48439999999994,719.9855,709.4113000000001,703.93180000000007]
[]
[null,"East Obligation + Reserves",5960.6576000000005,5984.6587999999992,6007.1005999999998,5857.2626000000009,6000.8403999999991,6040.2434999999996,6076.3243999999995,6063.2954999999993,5971.3813,5923.7518000000009]
[null,"East Position",2020.4624000000013,2038.7012000000022,1727.6994000000022,1871.6774000000005,825.64960000000156,776.14650000000074,686.14560000000256,606.51450000000114,689.45870000000104,715.96819999999934]
[null,"Available Front Office Transactions",318,318,318,318,318,318,318,318,318,318]
[]
[null,"West"]
[null,"Thermal",2308.36,2308.36,2308.36,2308.36,2308.36,2308.36,2308.36,2308.36,2308.36,2308.36]
[null,"Hydroelectric",992.7,914.79,943.36,937.48,784.29,781.94,782.6,779.06999999999994,786.27,785.83]
[null,"Renewable",92.82,92.76,92.679999999999993,92.61999999999999,92.539999999999992,61.809999999999995,61.75,56.839999999999996,56.22,55.36]
[null,"Purchase",5.76,1.45,1.45,1.45,1.45,1.45,1.45,1.45,1.45,1.45]
[null,"Qualifying Facilities",200.48000000000002,191.89000000000001,195.02,196.99000000000004,190.11000000000004,182.66000000000005,176.60000000000005,175.72000000000003,174.9,171.00000000000003]
[null,"Class 1 DSM",0,0,0,0,0,0,0,0,0,0]
[null,"Sale",-161.55000000000001,-161.57,-161.57,-153.79,-153.74,-113.14999999999998,-113.17999999999998,-81.210000000000008,-81.210000000000008,-81.240000000000009]
[null,"Non-Owned Reserves",-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998,-2.2999999999999998]
[null,"West Existing Resources",3436.2700000000004,3345.3799999999997,3376.9999999999995,3380.81,3220.71,3220.7699999999995,3215.2799999999997,3237.9300000000003,3243.6899999999996,3238.46]
[]
[null,"Load",3263.5247248410228,3290.3509154932181,3305.2579902160433,3415.7617958481756,3359.2170406680007,3377.7279980799335,3398.7359979165403,3415.7481546523536,3540.0251454496629,3556.6418724497435]
[null,"Private Generation",-1.1247248410229247,-1.5509154932181166,-2.0579902160429584,-2.5617958481750676,-3.0170406680001243,-3.427998079933499,-3.8359979165406242,-4.3481546523541494,-4.9251454496629199,-5.5418724497430389]
[null,"Interruptible",0,0,0,0,0,0,0,0,0,0]
[null,"DSM",-73.94,-109.10000000000002,-143.44000000000003,-173.71,-201.18,-225.03,-246.39,-267.45,-286.17999999999995,-303.61]
[null,"West obligation",3188.46,3179.7,3159.76,3239.4900000000002,3155.0200000000009,3149.27,3148.5099999999998,3143.95,3248.92,3247.4900000000002]
[]
[null,"Planning Reserves (13%)",414.49979999999999,413.36099999999999,410.76880000000006,421.13370000000003,410.15260000000012,409.4051,409.30629999999996,408.71350000000001,422.3596,422.17370000000005]
[]
[null,"West Obligation + Reserves",3602.9598000000001,3593.0609999999997,3570.5288,3660.6237000000001,3565.1726000000008,3558.6750999999999,3557.8162999999995,3552.6634999999997,3671.2795999999998,3669.6637000000001]
[null,"West Position",-166.68979999999965,-247.68100000000004,-193.5288000000005,-279.81370000000015,-344.46260000000075,-337.9051000000004,-342.53629999999976,-314.73349999999937,-427.58960000000025,-431.20370000000003]
[null,"Available Front Office Transactions",1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5,1351.5]
[]
[null,"System"]
[null,"Total Resources",11417.390000000003,11368.740000000002,11111.800000000001,11109.750000000002,10047.200000000001,10037.16,9977.7500000000018,9907.7400000000016,9904.5300000000007,9878.18]
[null,"Obligation",8440.94,8453.4199999999983,8453.34,8400.4700000000012,8443.06,8472.18,8503.3499999999985,8487.2599999999984,8510.89,8467.3100000000013]
[null,"Reserves",1122.6774,1124.2997999999998,1124.2894000000001,1117.4163000000001,1122.953,1126.7385999999999,1130.7907,1128.6990000000001,1131.7709,1126.1055000000001]
[null,"Obligation + Reserves",9563.617400000001,9577.7197999999989,9577.6293999999998,9517.8863000000019,9566.012999999999,9598.9186000000009,9634.1406999999981,9615.9589999999989,9642.6608999999989,9593.415500000001]
[null,"System Position",1853.7726000000021,1791.0202000000027,1534.1706000000013,1591.8636999999999,481.18700000000172,438.24139999999898,343.60930000000371,291.78100000000268,261.86910000000171,284.76449999999932]
[null,"Available Front Office Transactions",1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5,1669.5]
[]
[null,"1/ The DSM line includes selected Class 2 DSM from the 2017 IRP preferred portfolio."]