## Compare
2017 IRP vs 2015 IRP Update | [13 empty] | 2017 IRP vs Fall 2016 Ten-Year Business Plan sensitivity
2017 IRP Preferred Portfolio | [13 empty] | 2017 IRP Preferred Portfolio
|  | Capacity (MW) | [10 empty] | Resource Totals |  |  | Capacity (MW) | [9 empty] | Resource Totals
Resource | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  | 2017-2026 | Resource | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2017-2026
Expansion Options | [13 empty] | Expansion Options
Gas - CCCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gas - CCCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas- Peaking |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gas- Peaking |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM - Energy Efficiency |  | 153.772 | 127.71 | 131.19 | 121.58 | 122.75 | 114.06 | 117.86 | 117.65 | 111.58 | 111.22 |  | 1229.372 | DSM - Energy Efficiency |  | 153.772 | 127.71 | 131.19 | 121.58 | 122.75 | 114.06 | 117.86 | 117.65 | 111.58 | 111.22 | 1229.372
DSM - Load Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | DSM - Load Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Wind |  | 0 | 0 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 |  | 1100 | Renewable - Wind |  | 0 | 0 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 | 1100
Renewable - Geothermal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Geothermal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Utility Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Utility Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Biomass |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Biomass |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - Pumped Hydro |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - Pumped Hydro |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - CAES |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - CAES |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Front Office Transactions |  | 781.012 | 853.245 | 1150.528 | 1114.738 | 1118.449 | 1223.218 | 1150.129 | 1171.84 | 1389.665 | 1329.262 |  | 1128.2086 | Front Office Transactions |  | 781.012 | 853.245 | 1150.528 | 1114.738 | 1118.449 | 1223.218 | 1150.129 | 1171.84 | 1389.665 | 1329.262 | 1128.2086
Existing Unit Changes | [13 empty] | Existing Unit Changes
Coal Early Retirement/Conversions |  | 0 | 0 | -280 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 |  | -749.3 | Coal Early Retirement/Conversions |  | 0 | 0 | -280 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 | -749.3
Thermal Plant End-of-life Retirements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Thermal Plant End-of-life Retirements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal Plant Gas Conversion Additions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Coal Plant Gas Conversion Additions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Turbine Upgrades |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Turbine Upgrades |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Study includes Naughton 3 retirement at the end of 2018 | [13 empty] | Study includes Naughton 3 retirement at the end of 2018
FOT in resource total are 10-year averages, and include Winter FOTs in the 2017 IRP. | [13 empty] | FOT in resource total are 10-year averages
2017 IRP Preferred Portfolio less 2015 IRP Update | [13 empty] | 2017 IRP Preferred Portfolio less Fall 2016 Ten-Year Business Plan sensitivity
|  | Capacity (MW) | [10 empty] | Resource Totals |  |  | Capacity (MW) | [9 empty] | Resource Totals
Resource | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  | 2017-2026 | Resource | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2017-2026
Expansion Options | [13 empty] | Expansion Options
Gas - CCCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gas - CCCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas- Peaking |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gas- Peaking |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM - Energy Efficiency |  | 15.502 | -18.6 | -26.53 | -20.74 | -26.6 | -41.32 | -43.38 | -44.78 | -23.18 | -24.3 |  | -253.928 | DSM - Energy Efficiency |  | -4.416 | -29.076 | -17.22 | 0 | 1.22 | 0 | -0.01 | -0.9 | -6.09 | 0 | -56.492
DSM - Load Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.63 | -23.95 |  | -62.58 | DSM - Load Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Wind |  | 0 | 0 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 |  | 1100 | Renewable - Wind |  | 0 | 0 | 0 | 0 | 650 | 0 | 0 | 0 | 0 | 0 | 650
Renewable - Geothermal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Geothermal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Utility Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Utility Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Biomass |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Biomass |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - Pumped Hydro |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - Pumped Hydro |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - CAES |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - CAES |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Front Office Transactions |  | 33.287 | -240.668 | -95.164 | -88.331 | 148.206 | 163.197 | 184.873 | 178.802 | -50.674 | -110.854 |  | 12.2674 | Front Office Transactions |  | -9.555 | -249.725 | 263.193 | 317.183 | 219.053 | 219.067 | 219.076 | 219.881 | 224.856 | 224.856 | 164.7885
Existing Unit Changes | [13 empty] | Existing Unit Changes
Coal Early Retirement/Conversions |  | 0 | 280 | -280 | 0 | -387 | 0 | 0 | 0 | 387 | -82.3 |  | -82.3 | Coal Early Retirement/Conversions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Plant End-of-life Retirements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Thermal Plant End-of-life Retirements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal Plant Gas Conversion Additions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Coal Plant Gas Conversion Additions |  | 0 | 0 | -285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -285
Turbine Upgrades |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Turbine Upgrades |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | -885.995 | -960.223 | -1403.412 | -1345.389 | -1119.593 | -1215.401 | -1126.496 | -1155.468 | -1226.729 | -1599.586 |  |  | Total |  | -948.755 | -1259.756 | -1040.745 | -919.135 | -1083.926 | -1118.211 | -1048.923 | -1070.509 | -1282.479 | -1133.326
FOT in resource total are 10-year averages | [13 empty] | FOT in resource total are 10-year averages
2015 IRP Update | [13 empty] | Fall 2016 Ten-Year Business Plan sensitivity
|  | Capacity (MW) | [10 empty] | Resource Totals |  |  | Capacity (MW) | [9 empty] | Resource Totals
Resource | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  | 2017-2026 | Resource | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2017-2026
Expansion Options | [13 empty] | Expansion Options
Gas - CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gas - CCCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas- Peaking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gas- Peaking |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM - Energy Efficiency | 128.4 | 138.27 | 146.31 | 157.72 | 142.32 | 149.35 | 155.38 | 161.24 | 162.43 | 134.76 | 135.52 |  | 1483.3 | DSM - Energy Efficiency |  | 158.188 | 156.786 | 148.41 | 121.58 | 121.53 | 114.06 | 117.87 | 118.55 | 117.67 | 111.22 | 1285.864
DSM - Load Control | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.63 | 23.95 |  | 62.58 | DSM - Load Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Wind |  | 0 | 0 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 450
Renewable - Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Geothermal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Utility Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Utility Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewable - Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Renewable - Biomass |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - Pumped Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - Pumped Hydro |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - CAES |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage - Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Storage - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Front Office Transactions | 902.776 | 747.725 | 1093.913 | 1245.692 | 1203.069 | 970.243 | 1060.021 | 965.256 | 993.038 | 1440.339 | 1440.116 |  | 1115.9412 | Front Office Transactions |  | 790.567 | 1102.97 | 887.335 | 797.555 | 899.396 | 1004.151 | 931.053 | 951.959 | 1164.809 | 1104.406 | 963.4201
Existing Unit Changes | [13 empty] | Existing Unit Changes
Coal Early Retirement/Conversions | 0 | 0 | -280 | 0 | 0 | 0 | 0 | 0 | 0 | -387 | 0 |  | -667 | Coal Early Retirement/Conversions |  | 0 | 0 | -280 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 | -749.3
Thermal Plant End-of-life Retirements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Thermal Plant End-of-life Retirements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal Plant Gas Conversion Additions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Coal Plant Gas Conversion Additions |  | 0 | 0 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285
Turbine Upgrades | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Turbine Upgrades |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 1031.176 | 885.995 | 960.223 | 1403.412 | 1345.389 | 1119.593 | 1215.401 | 1126.496 | 1155.468 | 1226.729 | 1599.586 |  |  | Total |  | 948.755 | 1259.756 | 1040.745 | 919.135 | 1083.926 | 1118.211 | 1048.923 | 1070.509 | 1282.479 | 1133.326
Study includes Naughton 3 gas conversion in 2015 | [13 empty] | Study includes Naughton 3 gas conversion at the end of 2018
FOT in resource total are 10-year averages | [13 empty] | FOT in resource total are 10-year averages
0

## 2017 IRP
IRP Case FS-GW4, Preferred Portfolio
[24 empty] | Source: | RH1 - 2015IRP System Optimizer Report Package 03032015.xlsx
0
Detailed Portfolio Capacity by Year, Installed MW
|  | Capacity (MW) | [19 empty] | Resource Totals 1/
| Resource | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 10-year | 20-year
East | Existing Plant Retirements/Conversions
| Craig 1 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -82.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -82.3 | -82.3
| Craig 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -81.54 | 0 | 0 | -81.54
| Hayden 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45.1 | 0 | 0 | 0 | 0 | 0 | 0 | -45.1
| Hayden 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.68 | 0 | 0 | 0 | 0 | 0 | 0 | -32.68
| Cholla 4 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | -387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -387 | -387
| DaveJohnston 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106
| DaveJohnston 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106
| DaveJohnston 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220
| DaveJohnston 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330
| Naughton 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -156
| Naughton 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -201
| Naughton 3 (Coal Early Retirement/Conversions) | 0 | 0 | -280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -280 | -280
| Gadsby 1-6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -357.5 | 0 | 0 | 0 | 0 | -357.5
Expansion Resources
| CCCT - DJohns - J 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476.577 | 0 | 0 | 0 | 0 | 476.577
| Total CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476.577 | 0 | 0 | 0 | 0 | 476.577
| SCCT Frame DJ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924 | 0 | 0 | 0 | 0 | 199.924
| SCCT Frame UTN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924
| Wind, Djohnston | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499
| Wind, GO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 773.988 | 0 | 773.988
| Wind, WYAE | 0 | 0 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1100 | 1100
| Total Wind | 0 | 0 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499 | 0 | 0 | 0 | 0 | 773.988 | 1100 | 1959.487
| Utility Solar - PV - Utah-S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79.44 | 166.625 | 209.991 | 40.779 | 290.576 | 12.589 | 0 | 800
| DSM, Class 1, ID-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.35 | 0 | 0 | 0 | 0 | 0 | 0 | 1.34 | 0 | 4.69
| DSM, Class 1, ID-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93
| DSM, Class 1, ID-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.93 | 3.94 | 0 | 0 | 3.36 | 0 | 0 | 3.05 | 0 | 0 | 21.28
| DSM, Class 1, UT-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.37
| DSM, Class 1, UT-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.75 | 40.54 | 4.75 | 0 | 0 | 0 | 3.67 | 0 | 2.22 | 0 | 85.93
| DSM, Class 1, UT-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.25 | 0 | 6.3
| DSM, Class 1, WY-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.87 | 0 | 7.65
| DSM, Class 1, WY-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.71 | 0 | 0 | 0 | 3.11 | 0 | 0 | 1.95 | 0 | 45.77
| DSM, Class 1, WY-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88
| DSM, Class 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123.76 | 90.47 | 4.75 | 0 | 3.36 | 3.11 | 3.67 | 3.05 | 11.63 | 0 | 243.8
| DSM, Class 2, ID | 4.57 | 6.5 | 6.53 | 5.59 | 5.79 | 5.42 | 5.24 | 5.54 | 5.33 | 5.58 | 5.25 | 4.93 | 4.76 | 4.57 | 4.43 | 3.73 | 3.48 | 2.86 | 2.56 | 2.64 | 56.09 | 95.3
| DSM, Class 2, UT | 84.4 | 57.6 | 61.5 | 59.4 | 61.5 | 58.4 | 65.8 | 65.7 | 62.6 | 64.7 | 64.6 | 60.7 | 56.8 | 57 | 59 | 49.3 | 43.9 | 37 | 34.2 | 34.8 | 641.6 | 1138.9
| DSM, Class 2, WY | 7.545 | 10.21 | 10.81 | 10.28 | 13.26 | 13.49 | 13.71 | 13.75 | 14.48 | 13.88 | 12.49 | 11.32 | 11.48 | 11.03 | 10.64 | 8.92 | 7.62 | 6.89 | 6.96 | 6.98 | 121.415 | 215.745
| DSM, Class 2 Total | 96.515 | 74.31 | 78.84 | 75.27 | 80.55 | 77.31 | 84.75 | 84.99 | 82.41 | 84.16 | 82.34 | 76.95 | 73.04 | 72.6 | 74.07 | 61.95 | 55 | 46.75 | 43.72 | 44.42 | 819.105 | 1449.945
| FOT Mona - SMR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.126 | 27.126 | 300 | 300 | 290.675 | 300 | 300 | 300 | 300 | 300 | 300 | 2.7126 | 137.2463
West | Existing Plant Retirements/Conversions
| JimBridger 1 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -354
| JimBridger 2 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -359.3 | 0 | 0 | 0 | 0 | -359.3
Expansion Resources
| CCCT - WillamValcc - G 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357
| Total CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357
| Utility Solar - PV - Yakima | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.44 | 96.875 | 0 | 38.486 | 70.005 | 15.854 | 7.512 | 0 | 0 | 0 | 240.172
| DSM, Class 1, CA-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.41
| DSM, Class 1, CA-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.21
| DSM, Class 1, CA-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.69
| DSM, Class 1, OR-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.06 | 0 | 3.34 | 0 | 0 | 0 | 0 | 0 | 0 | 39.4
| DSM, Class 1, OR-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.04
| DSM, Class 1, OR-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.83
| DSM, Class 1, WA-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.01
| DSM, Class 1, WA-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.06
| DSM, Class 1, WA-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.81
| DSM, Class 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.05 | 49.07 | 0 | 3.34 | 0 | 0 | 0 | 0 | 0 | 0 | 121.46
| DSM, Class 2, CA | 1.52 | 1.74 | 1.25 | 1.28 | 1.28 | 1.26 | 1.2 | 1.13 | 1.09 | 0.99 | 1.25 | 1.1 | 0.98 | 1.07 | 0.98 | 0.79 | 0.7 | 0.57 | 0.31 | 0.25 | 12.74 | 20.74
| DSM, Class 2, OR | 45.757 | 43.5 | 42.4 | 36.8 | 31.2 | 26.2 | 23.1 | 22.5 | 19.7 | 18.5 | 18.3 | 17.1 | 16.5 | 16.4 | 16.1 | 16.6 | 15.4 | 15.3 | 16.3 | 16.2 | 309.657 | 473.857
| DSM, Class 2, WA | 9.98 | 8.16 | 8.7 | 8.23 | 9.72 | 9.29 | 8.81 | 9.03 | 8.38 | 7.57 | 7.18 | 6.55 | 5.81 | 5.27 | 5.05 | 4.02 | 3.45 | 2.71 | 2.4 | 1.85 | 87.87 | 132.16
| DSM, Class 2 Total | 57.257 | 53.4 | 52.35 | 46.31 | 42.2 | 36.75 | 33.11 | 32.66 | 29.17 | 27.06 | 26.73 | 24.75 | 23.29 | 22.74 | 22.13 | 21.41 | 19.55 | 18.58 | 19.01 | 18.3 | 410.267 | 626.757
| Geothermal, Greenfield - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
| FOT COB - SMR | 0 | 0 | 2.873 | 0 | 0 | 40.639 | 0 | 9.809 | 167.129 | 76.04 | 137.442 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 363.607 | 29.649 | 199.8769
| FOT MidColumbia - SMR | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| FOT MidColumbia - SMR - 2 | 0 | 21.075 | 375 | 307.39 | 299.141 | 375 | 344.206 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 284.6812 | 329.8406
| FOT NOB - SMR | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| FOT MidColumbia - WTR | 281.012 | 332.17 | 272.655 | 307.348 | 0 | 307.579 | 0 | 287.031 | 294.806 | 0 | 0 | 0 | 400 | 40.571 | 390.202 | 350.658 | 0 | 377.034 | 4.412 | 291.378 | 208.2601 | 196.8428
| FOT MidColumbia - WTR2 | 0 | 0 | 0 | 0 | 319.308 | 0 | 305.923 | 0 | 0 | 297.07 | 288.548 | 312.488 | 50.639 | 375 | 0 | 0 | 336.584 | 0 | 375 | 375 | 92.2301 | 151.778
| FOT NOB - WTR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.73 | 54.026 | 8.209 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 10.6756 | 50.7482
| Existing Plant Retirements/Conversions | 0 | 0 | -280 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 | 0 | -762 | -354 | -357 | -77.78 | 0 | -716.8 | 0 | -81.54 | 0
| Annual Additions, Long Term Resources | 153.772 | 127.71 | 131.19 | 121.58 | 1222.75 | 114.06 | 117.86 | 117.65 | 111.58 | 111.22 | 109.07 | 305.95 | 562.669 | 536.447 | 302.965 | 323.35 | 980.006 | 117.291 | 356.356 | 860.927
| Annual Additions, Short Term Resources | 781.012 | 853.245 | 1150.528 | 1114.738 | 1118.449 | 1223.218 | 1150.129 | 1171.84 | 1389.665 | 1329.262 | 1336.325 | 1987.488 | 2125.639 | 2081.246 | 2065.202 | 2025.658 | 2011.584 | 2052.034 | 2054.412 | 2304.985
| Total Annual Additions | 934.784 | 980.955 | 1281.718 | 1236.318 | 2341.199 | 1337.278 | 1267.989 | 1289.49 | 1501.245 | 1440.482 | 1445.395 | 2293.438 | 2688.308 | 2617.693 | 2368.167 | 2349.008 | 2991.59 | 2169.325 | 2410.768 | 3165.912
1/ Front office transaction amounts reflect one-year transaction periods, are not additive, and are reported as a 10/20-year annual average.
Installed Capacity, MW
| Resource | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 |  | Total
Expansion Options
| Gas - CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357 | 0 | 0 | 476.577 | 0 | 0 | 0 |  | 912.934
| Gas- Peaking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924 | 0 | 0 | 0 | 199.924 | 0 | 0 | 0 |  | 399.848
| DSM - Energy Efficiency | 153.772 | 127.71 | 131.19 | 121.58 | 122.75 | 114.06 | 117.86 | 117.65 | 111.58 | 111.22 | 109.07 | 101.7 | 96.33 | 95.34 | 96.2 | 83.36 | 74.55 | 65.33 | 62.73 | 62.72 |  | 2076.702
| DSM - Load Control | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192.81 | 139.54 | 4.75 | 3.34 | 3.36 | 3.11 | 3.67 | 3.05 | 11.63 |  | 365.26
| Renewable - Wind | 0 | 0 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499 | 0 | 0 | 0 | 0 | 773.988 |  | 1959.487
| Renewable - Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30
| Renewable - Utility Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.44 | 96.875 | 0 | 117.926 | 236.63 | 225.845 | 48.291 | 290.576 | 12.589 |  | 1040.172
| Renewable - Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - Pumped Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Front Office Transactions | 781.012 | 853.245 | 1150.528 | 1114.738 | 1118.449 | 1223.218 | 1150.129 | 1171.84 | 1389.665 | 1329.262 | 1336.325 | 1987.488 | 2125.639 | 2081.246 | 2065.202 | 2025.658 | 2011.584 | 2052.034 | 2054.412 | 2304.985 |  | 1566.3329
| Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| IGCC with CCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Existing Unit Changes
| Coal Early Retirement/Conversions | 0 | 0 | -280 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 | 0 | 0 | -354 | 0 | 0 | 0 | -359.3 | 0 | 0 | 0 |  | -1462.6
| Thermal Plant End-of-life Retirements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -762 | 0 | -357 | -77.78 | 0 | -357.5 | 0 | -81.54 | 0 |  | -1635.82
| Coal Plant Gas Conversion Additions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Turbine Upgrades | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Total | 934.784 | 980.955 | 1001.718 | 1236.318 | 1954.199 | 1337.278 | 1267.989 | 1289.49 | 1501.245 | 1358.182 | 1445.395 | 1531.438 | 2334.308 | 2260.693 | 2290.387 | 2349.008 | 2274.79 | 2169.325 | 2329.228 | 3165.912

## 2015 IRP Update
Study Name: I15U_Case_Opt_F
|  | Capacity (MW) | [19 empty] | Resource Totals 1/
| Resource | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 10-year | 20-year
East | Existing Plant Retirements/Conversions
| Hayden 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -44.56 | 0 | 0 | 0 | 0 | -44.56
| Hayden 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.68 | 0 | 0 | 0 | 0 | -32.68
| Hunter 2 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -269 | 0 | 0 | -269
| Huntington 2 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -450 | 0 | 0 | 0 | 0 | 0 | -450
| Carbon 1 (Coal Early Retirement/Conversions) | -67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -67 | -67
| Carbon 2 (Coal Early Retirement/Conversions) | -105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -105 | -105
| Cholla 4 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -387
| DaveJohnston 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106
| DaveJohnston 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106
| DaveJohnston 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220
| DaveJohnston 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330
| Naughton 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -156 | 0 | 0 | 0 | 0 | 0 | -156
| Naughton 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -201 | 0 | 0 | 0 | 0 | 0 | -201
| Naughton 3 (Coal Early Retirement/Conversions) | -50 | 0 | 0 | -280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330 | -330
| Gadsby 1-6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -357.5 | 0 | 0 | -357.5
| Coal Ret_WY - Gas RePower | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expansion Resources
| CCCT - DJohns - F 2x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635
| CCCT - Utah-N - J 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 423 | 0 | 0 | 423
| CCCT - Utah-S - F 2x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635 | 0 | 0 | 0 | 0 | 0 | 635
| Total CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635 | 0 | 635 | 0 | 0 | 423 | 0 | 0 | 1693
| DSM, Class 1, ID-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.31 | 0 | 2.31
| DSM, Class 1, ID-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.41 | 0 | 4.02 | 0 | 0 | 3.53 | 0 | 0 | 4.59 | 1.38 | 0 | 25.93
| DSM, Class 1, UT-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 6
| DSM, Class 1, UT-DLC-RES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.06 | 23.95 | 10.69 | 0 | 0 | 0 | 0 | 0 | 14.99 | 5.01 | 0 | 67.7
| DSM, Class 1, UT-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.16 | 0 | 0 | 0 | 0 | 3.33 | 0 | 0 | 0 | 2.54 | 0 | 19.03
| DSM, Class 1, WY-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.04 | 0 | 1.04
| DSM, Class 1, WY-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.47 | 0 | 1.47
| DSM, Class 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.63 | 23.95 | 14.71 | 0 | 0 | 6.86 | 0 | 0 | 19.58 | 19.75 | 0 | 123.48
| DSM, Class 2, ID | 5 | 3.01 | 3.35 | 4.82 | 5.2 | 4.08 | 4.25 | 4.56 | 4.76 | 5.3 | 5.24 | 5.43 | 5.39 | 3.97 | 4.96 | 4.5 | 3.34 | 3.35 | 4.33 | 3.16 | 44.33 | 88
| DSM, Class 2, UT | 71 | 73.8 | 81.2 | 88.7 | 97.7 | 88.7 | 96.7 | 100.9 | 105.5 | 105.1 | 84.9 | 84.6 | 84.1 | 82.9 | 81 | 75.1 | 71.9 | 73 | 71 | 70.3 | 909.3 | 1688.1
| DSM, Class 2, WY | 6 | 6.64 | 7.19 | 11.06 | 13.71 | 12.47 | 13.23 | 14.6 | 15.3 | 15.93 | 12.75 | 13.21 | 13.54 | 14 | 13.93 | 14 | 14.22 | 14.84 | 14.97 | 15.24 | 116.13 | 256.83
| DSM, Class 2 Total | 82 | 83.45 | 91.74 | 104.58 | 116.61 | 105.25 | 114.18 | 120.06 | 125.56 | 126.33 | 102.89 | 103.24 | 103.03 | 100.87 | 99.89 | 93.6 | 89.46 | 91.19 | 90.3 | 88.7 | 1069.76 | 2032.93
| FOT Mona Q3 | 0 | 0 | 0 | 0 | 102.767 | 60.144 | 0 | 0 | 0 | 0 | 297.414 | 297.191 | 299.998 | 49.003 | 79.947 | 299.998 | 2.003 | 126.003 | 299.995 | 299.995 | 16.2911 | 110.7229
West | Expansion Resources
| CCCT - SOregonCal - J 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 454.41 | 0 | 0 | 0 | 0 | 454.41
| CCCT - WillamValcc - J 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 477.394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 477.394
| Total CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 477.394 | 0 | 0 | 454.41 | 0 | 0 | 0 | 0 | 931.804
| DSM, Class 1, CA-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58 | 0 | 4.2
| DSM, Class 1, OR-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | 11.69 | 0 | 22.31
| DSM, Class 1, OR-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.42
| DSM, Class 1, WA-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.21
| DSM, Class 1, WA-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64 | 0 | 5.12
| DSM, Class 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.35 | 0 | 0 | 0 | 0 | 0 | 0 | 12.91 | 0 | 49.26
| DSM, Class 2, CA | 2 | 1.38 | 1.58 | 1.91 | 2.08 | 1.37 | 1.45 | 1.51 | 1.58 | 1.6 | 1.44 | 1.52 | 1.54 | 1.24 | 1.3 | 1.38 | 1.1 | 1.06 | 1.19 | 0.97 | 16.46 | 29.2
| DSM, Class 2, OR | 49 | 36 | 37 | 30.5 | 29 | 27.2 | 24.8 | 24.5 | 23.4 | 23.9 | 21.7 | 22.1 | 21.7 | 20.6 | 21 | 20.2 | 19.1 | 19.3 | 18.9 | 18 | 305.3 | 507.9
| DSM, Class 2, WA | 10 | 7.57 | 7.95 | 9.32 | 10.03 | 8.5 | 8.92 | 9.31 | 10.7 | 10.6 | 8.73 | 8.66 | 8.57 | 8.5 | 8.18 | 7.09 | 6.99 | 6.87 | 6.69 | 6.41 | 92.9 | 169.59
| DSM, Class 2 Total | 61 | 44.95 | 46.53 | 41.73 | 41.11 | 37.07 | 35.17 | 35.32 | 35.68 | 36.1 | 31.87 | 32.28 | 31.81 | 30.34 | 30.48 | 28.67 | 27.19 | 27.23 | 26.78 | 25.38 | 414.66 | 706.69
| FOT COB Q3 | 0 | 27.776 | 0 | 218.913 | 267.925 | 267.925 | 95.243 | 185.021 | 90.256 | 118.038 | 267.925 | 267.925 | 267.925 | 253.344 | 267.925 | 267.925 | 229.567 | 173.025 | 267.925 | 267.925 | 127.1097 | 190.1254
| FOT MidColumbia Q3 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| FOT MidColumbia Q3 - 2 | 264.034 | 375 | 247.725 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 351.1759 | 363.0879
| FOT NOB Q3 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| Existing Plant Retirements/Conversions | -222 | 0 | 0 | -280 | 0 | 0 | 0 | 0 | 0 | 0 | -387 | 0 | 0 | -762 | 0 | -807 | -77.24 | 0 | -626.5 | 0
| Annual Additions, Long Term Resources | 143 | 128.4 | 138.27 | 146.31 | 157.72 | 142.32 | 149.35 | 155.38 | 161.24 | 162.43 | 173.39 | 159.47 | 185.9 | 1243.604 | 130.37 | 764.13 | 571.06 | 118.42 | 559.66 | 146.74
| Annual Additions, Short Term Resources | 764.034 | 902.776 | 747.725 | 1093.913 | 1245.692 | 1203.069 | 970.243 | 1060.021 | 965.256 | 993.038 | 1440.339 | 1440.116 | 1442.923 | 1177.347 | 1222.872 | 1442.923 | 1106.57 | 1174.028 | 1442.92 | 1442.92
| Total Annual Additions | 907.034 | 1031.176 | 885.995 | 1240.223 | 1403.412 | 1345.389 | 1119.593 | 1215.401 | 1126.496 | 1155.468 | 1613.729 | 1599.586 | 1628.823 | 2420.951 | 1353.242 | 2207.053 | 1677.63 | 1292.448 | 2002.58 | 1589.66
1/ Front office transaction amounts reflect one-year transaction periods, are not additive, and are reported as a 10/20-year annual average.
1/ Front office transaction amounts reflect one-year transaction periods, are not additive, and are reported as a 10/20-year annual average.
Study Name: I15U_Case_Opt_F (03-03-16 0505 PM)
Installed Capacity, MW
| Resource | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 |  | Total
Expansion Options
| Gas - CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1112.394 | 0 | 635 | 454.41 | 0 | 423 | 0 |  | 2624.804
| Gas- Peaking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| DSM - Energy Efficiency | 143 | 128.4 | 138.27 | 146.31 | 157.72 | 142.32 | 149.35 | 155.38 | 161.24 | 162.43 | 134.76 | 135.52 | 134.84 | 131.21 | 130.37 | 122.27 | 116.65 | 118.42 | 117.08 | 114.08 |  | 2739.62
| DSM - Load Control | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.63 | 23.95 | 51.06 | 0 | 0 | 6.86 | 0 | 0 | 19.58 | 32.66 |  | 172.74
| Renewable - Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Renewable - Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Renewable - Utility Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Renewable - Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - Pumped Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Front Office Transactions | 764.034 | 902.776 | 747.725 | 1093.913 | 1245.692 | 1203.069 | 970.243 | 1060.021 | 965.256 | 993.038 | 1440.339 | 1440.116 | 1442.923 | 1177.347 | 1222.872 | 1442.923 | 1106.57 | 1174.028 | 1442.92 | 1442.92 |  | 1163.9362
| Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| IGCC with CCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Existing Unit Changes
| Coal Early Retirement/Conversions | -222 | 0 | 0 | -280 | 0 | 0 | 0 | 0 | 0 | 0 | -387 | 0 | 0 | 0 | 0 | -450 | 0 | 0 | -269 | 0 |  | -1608
| Thermal Plant End-of-life Retirements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -762 | 0 | -357 | -77.24 | 0 | -357.5 | 0 |  | -1553.74
| Coal Plant Gas Conversion Additions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Turbine Upgrades | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Total | 685.034 | 1031.176 | 885.995 | 960.223 | 1403.412 | 1345.389 | 1119.593 | 1215.401 | 1126.496 | 1155.468 | 1226.729 | 1599.586 | 1628.823 | 1658.951 | 1353.242 | 1400.053 | 1600.39 | 1292.448 | 1376.08 | 1589.66

## Fall 2016 Business Plan
Study Name: I17s_S_16BPO
|  | Capacity (MW) | [19 empty] | Resource Totals 1/
| Resource | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 10-year | 20-year
East | Existing Plant Retirements/Conversions
| Craig 1 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -82.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -82.3 | -82.3
| Craig 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -81.54 | 0 | 0 | -81.54
| Hayden 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45.1 | 0 | 0 | 0 | 0 | 0 | 0 | -45.1
| Hayden 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.68 | 0 | 0 | 0 | 0 | 0 | 0 | -32.68
| Cholla 4 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | -387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -387 | -387
| DaveJohnston 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106
| DaveJohnston 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106
| DaveJohnston 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220
| DaveJohnston 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -330
| Naughton 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -156
| Naughton 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -201
| Naughton 3 (Coal Early Retirement/Conversions) | 0 | 0 | -280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -280 | -280
| Gadsby 1-6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -357.5 | 0 | 0 | 0 | 0 | -357.5
| Coal Ret_WY - Gas RePower | 0 | 0 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -285 | 0 | 0 | 0 | 0 | 0 | 0 | 285 | 0
Expansion Resources
| CCCT - DJohns - J 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476.577 | 0 | 0 | 0 | 0 | 476.577
| CCCT - Utah-S - J 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476.577 | 0 | 476.577
| Total CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476.577 | 0 | 0 | 476.577 | 0 | 953.154
| SCCT Frame DJ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924 | 0 | 0 | 0 | 0 | 199.924
| SCCT Frame UTN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924
| Wind, Djohnston | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499
| Wind, GO | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268.722 | 0 | 150 | 418.722
| Wind, WYAE | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 300
| Total Wind | 0 | 0 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499 | 0 | 0 | 0 | 0 | 268.722 | 0 | 450 | 804.221
| Utility Solar - PV - Utah-S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.688 | 152.63 | 166.612 | 209.884 | 40.331 | 207.855 | 0 | 0 | 800
| DSM, Class 1, ID-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.35 | 0 | 0 | 0 | 0 | 0 | 0 | 1.34 | 0 | 4.69
| DSM, Class 1, ID-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93
| DSM, Class 1, ID-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.87 | 0 | 0 | 3.36 | 0 | 0 | 3.05 | 0 | 0 | 21.28
| DSM, Class 1, UT-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.33 | 65.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.37
| DSM, Class 1, UT-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.29 | 4.75 | 0 | 0 | 0 | 3.67 | 0 | 2.22 | 0 | 85.93
| DSM, Class 1, UT-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.05 | 0 | 0 | 0 | 0 | 0 | 0 | 3.25 | 0 | 6.3
| DSM, Class 1, WY-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 2.87 | 0 | 7.65
| DSM, Class 1, WY-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.71 | 0 | 0 | 0 | 3.11 | 0 | 0 | 1.95 | 0 | 45.77
| DSM, Class 1, WY-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88
| DSM, Class 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.33 | 208.97 | 6.68 | 0 | 3.36 | 3.11 | 3.67 | 3.05 | 11.63 | 0 | 243.8
| DSM, Class 2, ID | 4.57 | 4.82 | 5.2 | 5.59 | 5.79 | 5.42 | 5.24 | 5.54 | 5.82 | 5.58 | 5.25 | 4.93 | 4.76 | 4.57 | 4.43 | 3.74 | 3.48 | 2.86 | 2.56 | 2.64 | 53.57 | 92.79
| DSM, Class 2, UT | 84.4 | 85.6 | 80.296 | 59.4 | 61.5 | 58.4 | 65.8 | 65.7 | 68.2 | 64.7 | 64.6 | 60.7 | 56.8 | 57.7 | 57.6 | 49.3 | 43.9 | 37 | 34.2 | 34.8 | 693.996 | 1190.596
| DSM, Class 2, WY | 7.545 | 8.15 | 8.168 | 10.28 | 13.26 | 13.49 | 13.71 | 14.65 | 14.48 | 13.88 | 12.49 | 12.52 | 11.49 | 11.03 | 10.64 | 8.92 | 7.62 | 7.23 | 6.96 | 6.98 | 117.613 | 213.493
| DSM, Class 2 Total | 96.515 | 98.57 | 93.664 | 75.27 | 80.55 | 77.31 | 84.75 | 85.89 | 88.5 | 84.16 | 82.34 | 78.15 | 73.05 | 73.3 | 72.67 | 61.96 | 55 | 47.09 | 43.72 | 44.42 | 865.179 | 1496.879
| FOT Mona - SMR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 275.122 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 29 | 0 | 120.2061
West | Existing Plant Retirements/Conversions
| JimBridger 1 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -354
| JimBridger 2 (Coal Early Retirement/Conversions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -359.3 | 0 | 0 | 0 | 0 | -359.3
Expansion Resources
| CCCT - WillamValcc - G 1x1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357
| Total CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357
| Utility Solar - PV - S-Oregon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86.759 | 21.944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.703
| Utility Solar - PV - Yakima | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.868 | 69.996 | 15.817 | 7.476 | 12.662 | 0 | 0 | 108.819
| DSM, Class 1, CA-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.41
| DSM, Class 1, CA-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.21
| DSM, Class 1, CA-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.69
| DSM, Class 1, OR-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.06 | 7 | 3.34 | 0 | 0 | 0 | 0 | 0 | 0 | 39.4
| DSM, Class 1, OR-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.04
| DSM, Class 1, OR-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.83
| DSM, Class 1, WA-Cool/WH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.01
| DSM, Class 1, WA-Curtail | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.06
| DSM, Class 1, WA-Irrigate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.81
| DSM, Class 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111.12 | 7 | 3.34 | 0 | 0 | 0 | 0 | 0 | 0 | 121.46
| DSM, Class 2, CA | 1.75 | 1.98 | 2.15 | 1.28 | 1.28 | 1.26 | 1.2 | 1.13 | 1.09 | 0.99 | 1.25 | 1.1 | 0.98 | 1.07 | 0.98 | 0.79 | 0.7 | 0.57 | 0.46 | 0.25 | 14.11 | 22.26
| DSM, Class 2, OR | 49.69 | 46.109 | 41.145 | 36.8 | 31.2 | 26.2 | 23.1 | 22.5 | 19.7 | 18.5 | 18.3 | 17.1 | 16.5 | 16.4 | 16.1 | 16.6 | 15.4 | 15.3 | 16.3 | 16.3 | 314.944 | 479.244
| DSM, Class 2, WA | 10.233 | 10.127 | 11.451 | 8.23 | 8.5 | 9.29 | 8.82 | 9.03 | 8.38 | 7.57 | 6.61 | 6.31 | 5.81 | 5.42 | 5.06 | 4.03 | 3.49 | 2.75 | 2.41 | 1.85 | 91.631 | 135.371
| DSM, Class 2 Total | 61.673 | 58.216 | 54.746 | 46.31 | 40.98 | 36.75 | 33.12 | 32.66 | 29.17 | 27.06 | 26.16 | 24.51 | 23.29 | 22.89 | 22.14 | 21.42 | 19.59 | 18.62 | 19.17 | 18.4 | 420.685 | 636.875
| Geothermal, Greenfield - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
| FOT COB - SMR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 321.347 | 0 | 176.0673
| FOT MidColumbia - SMR | 400 | 400 | 400 | 392.564 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 399.2564 | 399.6282
| FOT MidColumbia - SMR - 2 | 10.051 | 274.381 | 117.043 | 0 | 81.631 | 198.116 | 126.68 | 166.478 | 320.58 | 256.617 | 318.218 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 155.1577 | 262.2398
| FOT NOB - SMR | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| FOT MidColumbia - WTR | 280.516 | 0 | 270.292 | 0 | 317.765 | 0 | 0 | 0 | 0 | 295.52 | 0 | 286.572 | 103.356 | 400 | 400 | 373.782 | 359.72 | 25.256 | 400 | 0 | 116.4093 | 175.6389
| FOT MidColumbia - WTR2 | 0 | 328.589 | 0 | 304.991 | 0 | 306.035 | 304.373 | 285.481 | 293.256 | 0 | 287.361 | 0 | 375 | 48.556 | 13.324 | 0 | 0 | 375 | 2.612 | 347.376 | 182.2725 | 163.5977
| FOT NOB - WTR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.973 | 52.269 | 6.452 | 8.554 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 10.3242 | 45.9124
| Existing Plant Retirements/Conversions | 0 | 0 | 5 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 | 0 | -762 | -354 | -642 | -77.78 | 0 | -716.8 | 0 | -81.54 | 0
| Annual Additions, Long Term Resources | 158.188 | 156.786 | 148.41 | 121.58 | 571.53 | 114.06 | 117.87 | 118.55 | 117.67 | 111.22 | 108.5 | 105.99 | 503.189 | 906.282 | 253.648 | 323.348 | 979.902 | 117.187 | 555.179 | 551.027
| Annual Additions, Short Term Resources | 790.567 | 1102.97 | 887.335 | 797.555 | 899.396 | 1004.151 | 931.053 | 951.959 | 1164.809 | 1104.406 | 1112.031 | 1845.248 | 2153.356 | 2123.556 | 2088.324 | 2048.782 | 2034.72 | 2075.256 | 2077.612 | 1672.723
| Total Annual Additions | 948.755 | 1259.756 | 1035.745 | 919.135 | 1470.926 | 1118.211 | 1048.923 | 1070.509 | 1282.479 | 1215.626 | 1220.531 | 1951.238 | 2656.545 | 3029.838 | 2341.972 | 2372.13 | 3014.622 | 2192.443 | 2632.791 | 2223.75
1/ Front office transaction amounts reflect one-year transaction periods, are not additive, and are reported as a 10/20-year annual average.
Study Name: I17s_S_16BPO (02-22-17 0135 PM)
Installed Capacity, MW
| Resource | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 |  | Total
Expansion Options
| Gas - CCCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.357 | 0 | 0 | 476.577 | 0 | 0 | 476.577 |  | 1389.511
| Gas- Peaking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.924 | 0 | 0 | 199.924 | 0 | 0 | 0 |  | 399.848
| DSM - Energy Efficiency | 158.188 | 156.786 | 148.41 | 121.58 | 121.53 | 114.06 | 117.87 | 118.55 | 117.67 | 111.22 | 108.5 | 102.66 | 96.34 | 96.19 | 94.81 | 83.38 | 74.59 | 65.71 | 62.89 | 62.82 |  | 2133.754
| DSM - Load Control | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.33 | 320.09 | 13.68 | 3.34 | 3.36 | 3.11 | 3.67 | 3.05 | 11.63 |  | 365.26
| Renewable - Wind | 0 | 0 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.499 | 0 | 0 | 0 | 0 | 268.722 | 0 |  | 804.221
| Renewable - Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30
| Renewable - Utility Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86.759 | 44.632 | 155.498 | 236.608 | 225.701 | 47.807 | 220.517 | 0 |  | 1017.522
| Renewable - Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - Pumped Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Storage - Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Front Office Transactions | 790.567 | 1102.97 | 887.335 | 797.555 | 899.396 | 1004.151 | 931.053 | 951.959 | 1164.809 | 1104.406 | 1112.031 | 1845.248 | 2153.356 | 2123.556 | 2088.324 | 2048.782 | 2034.72 | 2075.256 | 2077.612 | 1672.723 |  | 1443.2904
| Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| IGCC with CCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Existing Unit Changes
| Coal Early Retirement/Conversions | 0 | 0 | -280 | 0 | -387 | 0 | 0 | 0 | 0 | -82.3 | 0 | 0 | -354 | 0 | 0 | 0 | -359.3 | 0 | 0 | 0 |  | -1462.6
| Thermal Plant End-of-life Retirements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -762 | 0 | -357 | -77.78 | 0 | -357.5 | 0 | -81.54 | 0 |  | -1635.82
| Coal Plant Gas Conversion Additions | 0 | 0 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -285 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Turbine Upgrades | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Total | 948.755 | 1259.756 | 1040.745 | 919.135 | 1083.926 | 1118.211 | 1048.923 | 1070.509 | 1282.479 | 1133.326 | 1220.531 | 1189.238 | 2302.545 | 2387.838 | 2264.192 | 2372.13 | 2297.822 | 2192.443 | 2551.251 | 2223.75