## Table 4.3
Table 4.3 - Summer Peak Capacity Contribution Values for Wind and Solar
| East BAA |  |  | West BAA
| Wind | Fixed Tilt Solar PV | Single Axis Tracking Solar PV | Wind | Fixed Tilt Solar PV | Single Axis Tracking Solar PV
2017 IRP Results | 15.78% | 37.91% | 59.67% | 11.78% | 53.86% | 64.8%
2015 IRP Results | 14.54% | 34.09% | 39.1% | 25.43% | 32.16% | 36.71%