## Table 5.2 & 5.3
Table 5.2 – Updated Cost of Solar Resources, - (50 MW AC Single Axis Tracking)
| 2017 IRP Update |  | 2017 IRP
| Total (with Owner's Costs) | Fixed O&M | Total (with Owner's Costs) | Fixed O&M
| $/WAC | $/kW-year | $/WAC | $/kW-year
| 2017$ |  | 2016$
Utah/Single Axis Tracking | 1.3925 | 19.69 | 1.822 | 19.41
Oregon/Single Axis Tracking | 1.4269 | 19.72 | 1.857 | 19.44
Table 5.3 – Updated Cost of Wind Resources
| 2017 IRP Update |  | 2017 IRP
Location | Capital Cost | Fixed O&M | Capital Cost | Fixed O&M
| $/kW | $/kW-year | $/kW | $/kW-year
| 2017$ |  | 2016$
Washington | 1.4654 | 36.4548 | 1.8 | 36.455
Oregon | 1.4444 | 36.4548 | 1.774 | 36.455
Idaho | 1.4746 | 36.4548 | 1.811 | 36.455
Utah | 1.413 | 36.4548 | 1.735 | 36.455
Wyoming | 1.4146 | 36.4548 | 1.737 | 36.455