## Legend
Date
Data as/of | 2017-04-11
Fiscal Year | FY2017
Event Begin Date/Time | 2017-03-05 | Event Begin Time
Event End Date/Time | 2017-03-06 17:35 | Event End Time
Month Begin | 2017-03-05
Month End | 2017-03-06
Year Begin | 2017-01-01
Year End | 2017-03-31
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-03-05 | through | 2017-03-06 17:35
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 49603 | 2.611% | 9529962.655 | 366 | 1900047 | 66383 | 28767 | 20764 | 72 | 0 | 0 | 0 | 57.99% | 5.0156 | 0.026106 | 192.1247
RMP | Rocky Mountain Power | 49603 | 4.427% | 9529962.655 | 366 | 1120570 | 66383 | 28767 | 20764 | 72 | 0 | 0 | 0 | 57.99% | 8.5046 | 0.044266 | 192.1247
UT | Utah | 49603 | 5.528% | 9529962.655 | 366 | 897258 | 66383 | 28767 | 20764 | 72 | 0 | 0 | 0 | 57.99% | 10.6212 | 0.055283 | 192.1247
UT | AMERICAN FORK | 3759 | 3.732% | 829192.711 | 24 | 100729 | 4419 | 1805 | 1916 | 38 | 0 | 0 | 0 | 48.02% | 8.2319 | 0.037318 | 220.5886
UT | CEDAR CITY | 3162 | 9.591% | 355835.351 | 23 | 32969 | 1224 | 2998 | 164 | 0 | 0 | 0 | 0 | 94.81% | 10.793 | 0.095908 | 112.5349
UT | CEDAR CITY (MILFORD) | 235 | 8.369% | 95250.499 | 7 | 2808 | 724 | 30 | 205 | 0 | 0 | 0 | 0 | 12.77% | 33.9211 | 0.083689 | 405.3213
UT | JORDAN VALLEY | 3472 | 1.565% | 803403.705 | 48 | 221832 | 10234 | 376 | 3096 | 0 | 0 | 0 | 0 | 10.83% | 3.6217 | 0.015651 | 231.3951
UT | LAYTON | 507 | 0.7184% | 52386.6 | 16 | 70573 | 262 | 487 | 20 | 0 | 0 | 0 | 0 | 96.06% | 0.7423 | 0.0071841 | 103.3266
UT | MOAB | 4126 | 46.52% | 366851.679 | 10 | 8869 | 0 | 4126 | 0 | 0 | 0 | 0 | 0 | 100% | 41.3634 | 0.46522 | 88.9122
UT | MONTPELIER | 9 | 0.284% | 10904.4 | 1 | 3169 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0% | 3.441 | 0.00284 | 1211.6
UT | OGDEN | 6271 | 5.865% | 1105702.643 | 19 | 106920 | 3140 | 4160 | 2111 | 0 | 0 | 0 | 0 | 66.34% | 10.3414 | 0.058651 | 176.32
UT | PARK CITY | 2762 | 8.864% | 791847.831 | 9 | 31158 | 1 | 1770 | 992 | 0 | 0 | 0 | 0 | 64.08% | 25.4139 | 0.088645 | 286.6936
UT | PRICE | 45 | 0.4327% | 11227.733 | 9 | 10400 | 0 | 4 | 41 | 0 | 0 | 0 | 0 | 8.889% | 1.0796 | 0.0043269 | 249.5052
UT | RICHFIELD | 339 | 2.211% | 101545.728 | 9 | 15329 | 0 | 68 | 271 | 0 | 0 | 0 | 0 | 20.06% | 6.6244 | 0.022115 | 299.5449
UT | RICHFIELD (DELTA) | 1586 | 41.38% | 275490.55 | 19 | 3833 | 6 | 768 | 817 | 1 | 0 | 0 | 0 | 48.42% | 71.8733 | 0.41378 | 173.7015
UT | SLC METRO | 21187 | 9.711% | 4433503.524 | 153 | 218170 | 45734 | 10163 | 10991 | 33 | 0 | 0 | 0 | 47.97% | 20.3213 | 0.097112 | 209.2558
UT | SMITHFIELD | 1098 | 4.637% | 162258.833 | 5 | 23677 | 0 | 1098 | 0 | 0 | 0 | 0 | 0 | 100% | 6.853 | 0.046374 | 147.7767
UT | TOOELE | 263 | 1.141% | 69011.068 | 10 | 23058 | 0 | 132 | 131 | 0 | 0 | 0 | 0 | 50.19% | 2.9929 | 0.011406 | 262.3995
UT | TREMONTON | 641 | 6.308% | 43551.45 | 3 | 10161 | 639 | 641 | 0 | 0 | 0 | 0 | 0 | 100% | 4.2861 | 0.063084 | 67.943
UT | VERNAL | 141 | 1.098% | 21998.35 | 1 | 12839 | 0 | 141 | 0 | 0 | 0 | 0 | 0 | 100% | 1.7134 | 0.010982 | 156.0167
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-03-05 | through | 2017-03-06 17:35 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-03-05 | 40684 | 4.534% | 7429360.168 | 239 | 897258 | 61346 | 23728 | 16936 | 20 | 0 | 0 | 0 | 58.32% | 8.2801 | 0.045343 | 182.6114
| 2017-03-06 | 8919 | 0.994% | 2100602.487 | 127 | 897258 | 5037 | 5039 | 3828 | 52 | 0 | 0 | 0 | 56.5% | 2.3411 | 0.0099403 | 235.52
Data as of
2017-04-11

## SSC by State
| Utah | Event |  | 2017-03-05 | through | 2017-03-06 17:35 |  | Month |  | 2017-03-05 | through | 2017-03-06 |  | YTD | FY2017 | 2017-01-01 | through | 2017-03-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 5.6522 | 0.028374 | 199.2016 | 0.63651 | 0.0022678 | 280.6668 | 15.4906 | 0.13702 | 113.0563 | 9.513 | 0.10239 | 92.9106 | 74.9352 | 0.40308 | 185.9071 | 29.809 | 0.2777 | 107.3405
RMP | Rocky Mountain Power | 8.6173 | 0.044923 | 191.8249 | 0.11272 | 0.00065681 | 171.6148 | 19.9075 | 0.13674 | 145.5861 | 9.7719 | 0.078025 | 125.2395 | 42.6718 | 0.27338 | 156.0924 | 30.3464 | 0.20983 | 144.6264
UT | Utah | 10.647 | 0.055385 | 192.2341 | 0.025759 | 0.00010253 | 251.2228 | 20.0853 | 0.13127 | 153.0038 | 9.4641 | 0.07599 | 124.5433 | 39.5164 | 0.23387 | 168.9695 | 28.8952 | 0.17858 | 161.8015
UT | AMERICAN FORK | 0.94735 | 0.0042741 | 221.6478 | 0.023211 | 8.4703e-05 | 274.0333 | 1.3181 | 0.0077458 | 170.1735 | 0.39399 | 0.0035564 | 110.7844 | 2.7591 | 0.01859 | 148.4193 | 1.835 | 0.014401 | 127.4236
UT | CEDAR CITY | 0.39658 | 0.0035241 | 112.5349 | 0 | 0 | 0 | 0.92567 | 0.013695 | 67.5914 | 0.52909 | 0.010171 | 52.0192 | 2.801 | 0.018808 | 148.9217 | 2.4044 | 0.015284 | 157.3113
UT | CEDAR CITY (MILFORD) | 0.10616 | 0.00026191 | 405.3213 | 0 | 0 | 0 | 0.16205 | 0.0007378 | 219.6383 | 0.055893 | 0.00047589 | 117.4475 | 0.26039 | 0.0013976 | 186.3125 | 0.15423 | 0.0011357 | 135.8051
UT | EVANSTON | 0 | 0 | 0 | 0 | 0 | 0 | 0.041878 | 0.00011257 | 372.0373 | 0.041878 | 0.00011257 | 372.0373 | 0.086322 | 0.00046141 | 187.0839 | 0.086322 | 0.00046141 | 187.0839
UT | JORDAN VALLEY | 0.8954 | 0.0038696 | 231.3951 | 0 | 0 | 0 | 1.4132 | 0.0072944 | 193.7343 | 0.51779 | 0.0034249 | 151.1836 | 4.2317 | 0.025675 | 164.8203 | 3.3363 | 0.021805 | 153.0059
UT | LAYTON | 0.058385 | 0.00056505 | 103.3266 | 0 | 0 | 0 | 0.94687 | 0.0053129 | 178.2233 | 0.88849 | 0.0047478 | 187.1371 | 1.6446 | 0.011944 | 137.6887 | 1.5862 | 0.011379 | 139.395
UT | MOAB | 0.40886 | 0.0045985 | 88.9122 | 0 | 0 | 0 | 0.41736 | 0.0046598 | 89.5675 | 0.0085038 | 6.1298e-05 | 138.7285 | 0.56955 | 0.0065132 | 87.4461 | 0.16069 | 0.0019147 | 83.9252
UT | MONTPELIER | 0.012153 | 1.0031e-05 | 1211.6 | 0 | 0 | 0 | 0.014722 | 6.3527e-05 | 231.75 | 0.0025693 | 5.3496e-05 | 48.0281 | 3.99 | 0.0061621 | 647.5005 | 3.9778 | 0.0061521 | 646.5808
UT | OGDEN | 1.2323 | 0.0069891 | 176.32 | 0 | 0 | 0 | 1.8389 | 0.012556 | 146.4571 | 0.60661 | 0.005567 | 108.9655 | 3.2342 | 0.019538 | 165.5306 | 2.0019 | 0.012549 | 159.5217
UT | PARK CITY | 0.88252 | 0.0030783 | 286.6936 | 0 | 0 | 0 | 1.6055 | 0.0059526 | 269.7113 | 0.72296 | 0.0028743 | 251.5238 | 4.2964 | 0.019561 | 219.6449 | 3.4139 | 0.016482 | 207.1229
UT | PRICE | 0.012513 | 5.0153e-05 | 249.5052 | 0 | 0 | 0 | 0.1881 | 0.0027027 | 69.5961 | 0.17558 | 0.0026525 | 66.1945 | 0.27207 | 0.0045438 | 59.8765 | 0.25956 | 0.0044937 | 57.7601
UT | RICHFIELD | 0.11317 | 0.00037782 | 299.5449 | 0 | 0 | 0 | 1.5213 | 0.015667 | 97.1061 | 1.4082 | 0.015289 | 92.1034 | 1.6044 | 0.016412 | 97.7536 | 1.4912 | 0.016034 | 92.9988
UT | RICHFIELD (DELTA) | 0.30714 | 0.0017687 | 173.6506 | 0.00010359 | 1.1145e-06 | 92.95 | 0.3549 | 0.00218 | 162.8006 | 0.047865 | 0.00041237 | 116.0743 | 0.41462 | 0.0026648 | 155.5925 | 0.10758 | 0.00089718 | 119.9145
UT | SLC METRO | 4.9431 | 0.023621 | 209.2675 | 0.0019075 | 7.8015e-06 | 244.5071 | 8.7858 | 0.047998 | 183.0426 | 3.8446 | 0.024385 | 157.6597 | 11.5009 | 0.068953 | 166.7924 | 6.5597 | 0.04534 | 144.6777
UT | SMITHFIELD | 0.18084 | 0.0012237 | 147.7767 | 0 | 0 | 0 | 0.20339 | 0.0015235 | 133.5015 | 0.022555 | 0.0002998 | 75.233 | 1.2298 | 0.0072543 | 169.5272 | 1.049 | 0.0060306 | 173.9408
UT | TOOELE | 0.076913 | 0.00029312 | 262.3995 | 0 | 0 | 0 | 0.095316 | 0.00046809 | 203.6262 | 0.018403 | 0.00017498 | 105.1717 | 0.16814 | 0.0014054 | 119.6356 | 0.091222 | 0.0011123 | 82.0134
UT | TREMONTON | 0.048538 | 0.0007144 | 67.943 | 0 | 0 | 0 | 0.15733 | 0.0018601 | 84.5818 | 0.10879 | 0.0011457 | 94.9568 | 0.33527 | 0.0029378 | 114.1199 | 0.28673 | 0.0022234 | 128.9568
UT | VERNAL | 0.025054 | 0.00016606 | 150.8713 | 0.0005366 | 8.9161e-06 | 60.1834 | 0.094909 | 0.00074338 | 127.6735 | 0.070392 | 0.00058623 | 120.0758 | 0.11796 | 0.0010443 | 112.9582 | 0.093444 | 0.00088715 | 105.331
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2017-04-11