## Legend
Date
Data as/of | 2017-10-10
Fiscal Year | FY2017
Event Begin Date/Time | 2017-09-04 21:57 | Event Begin Time
Event End Date/Time | 2017-09-05 21:57 | Event End Time
Month Begin | 2017-09-01
Month End | 2017-09-30
Year Begin | 2017-01-01
Year End | 2017-09-30
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-09-04 21:57 | through | 2017-09-05 21:57
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 32677 | 1.72% | 5560421.2 | 81 | 1900047 | 4848 | 17887 | 14789 | 0 | 0 | 0 | 1 | 54.74% | 2.9265 | 0.017198 | 170.1631
RMP | Rocky Mountain Power | 32677 | 2.916% | 5560421.2 | 81 | 1120570 | 4848 | 17887 | 14789 | 0 | 0 | 0 | 1 | 54.74% | 4.9621 | 0.029161 | 170.1631
UT | Utah | 32677 | 3.642% | 5560421.2 | 81 | 897258 | 4848 | 17887 | 14789 | 0 | 0 | 0 | 1 | 54.74% | 6.1971 | 0.036419 | 170.1631
UT | AMERICAN FORK | 18666 | 18.53% | 3423758.559 | 18 | 100729 | 3718 | 9679 | 8987 | 0 | 0 | 0 | 0 | 51.85% | 33.9898 | 0.18531 | 183.4222
UT | CEDAR CITY | 5505 | 16.7% | 1371202.106 | 10 | 32969 | 1 | 1 | 5504 | 0 | 0 | 0 | 0 | 0.01817% | 41.5906 | 0.16698 | 249.083
UT | CEDAR CITY (MILFORD) | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
UT | EVANSTON | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
UT | JORDAN VALLEY | 2584 | 1.165% | 247003.816 | 14 | 221832 | 0 | 2568 | 16 | 0 | 0 | 0 | 0 | 99.38% | 1.1135 | 0.011648 | 95.5897
UT | LAYTON | 241 | 0.3415% | 70825.285 | 3 | 70573 | 0 | 93 | 148 | 0 | 0 | 0 | 0 | 38.59% | 1.0036 | 0.0034149 | 293.8809
UT | MOAB | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
UT | MONTPELIER | 1 | 0.03156% | 130.967 | 1 | 3169 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.041328 | 0.00031556 | 130.967
UT | OGDEN | 5359 | 5.012% | 394923.264 | 11 | 106920 | 1129 | 5317 | 41 | 0 | 0 | 0 | 1 | 99.22% | 3.6936 | 0.050122 | 73.6935
UT | PARK CITY | 3 | 0.009628% | 306.35 | 3 | 31158 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 66.67% | 0.0098321 | 9.6283e-05 | 102.1167
UT | PRICE | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
UT | RICHFIELD | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
UT | RICHFIELD (DELTA) | 28 | 0.7305% | 6901.524 | 1 | 3833 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0% | 1.8006 | 0.007305 | 246.483
UT | SLC METRO | 282 | 0.1293% | 44340.628 | 15 | 218170 | 0 | 222 | 60 | 0 | 0 | 0 | 0 | 78.72% | 0.20324 | 0.0012926 | 157.2363
UT | SMITHFIELD | 5 | 0.02112% | 814.667 | 2 | 23677 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 20% | 0.034408 | 0.00021118 | 162.9334
UT | TOOELE | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
UT | TREMONTON | 1 | 0.009842% | 55.2 | 1 | 10161 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.0054325 | 9.8416e-05 | 55.2
UT | VERNAL | 2 | 0.01558% | 158.834 | 2 | 12839 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 100% | 0.012371 | 0.00015578 | 79.417
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-09-04 21:57 | through | 2017-09-05 21:57 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-09-04 | 5762 | 0.6422% | 1394323.67 | 14 | 897258 | 0 | 247 | 5515 | 0 | 0 | 0 | 0 | 4.287% | 1.554 | 0.0064218 | 241.9861
| 2017-09-05 | 26915 | 3% | 4166097.53 | 67 | 897258 | 4848 | 17640 | 9274 | 0 | 0 | 0 | 1 | 65.54% | 4.6431 | 0.029997 | 154.7872
Data as of
2017-10-10

## SSC by State
| Utah | Event |  | 2017-09-04 21:57 | through | 2017-09-05 21:57 |  | Month |  | 2017-09-01 | through | 2017-09-30 |  | YTD | FY2017 | 2017-01-01 | through | 2017-09-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 3.3416 | 0.020168 | 165.6912 | 0.41518 | 0.0029699 | 139.7954 | 15.5144 | 0.12542 | 123.6983 | 10.4245 | 0.10293 | 101.2742 | 190.009 | 1.2512 | 151.8661 | 103.9936 | 0.96542 | 107.7187
RMP | Rocky Mountain Power | 5.3306 | 0.031496 | 169.2494 | 0.36847 | 0.0023345 | 157.8355 | 18.1772 | 0.15508 | 117.2143 | 13.215 | 0.12592 | 104.9518 | 131.6415 | 1.0612 | 124.0457 | 114.354 | 0.96852 | 118.0704
UT | Utah | 6.4956 | 0.037985 | 171.0052 | 0.29844 | 0.0015659 | 190.5882 | 18.2628 | 0.13154 | 138.8363 | 12.0657 | 0.095123 | 126.8425 | 122.0644 | 0.91616 | 133.2342 | 105.2461 | 0.82446 | 127.6541
UT | AMERICAN FORK | 3.8337 | 0.020883 | 183.5865 | 0.017945 | 7.913e-05 | 226.781 | 4.5038 | 0.030281 | 148.7334 | 0.68802 | 0.0094778 | 72.5928 | 12.044 | 0.098535 | 122.231 | 7.304 | 0.073542 | 99.3183
UT | CEDAR CITY | 1.5283 | 0.0061365 | 249.0498 | 7.3911e-05 | 1.1145e-06 | 66.317 | 2.0526 | 0.01008 | 203.6369 | 0.52436 | 0.0039442 | 132.9444 | 7.986 | 0.066876 | 119.4148 | 6.0612 | 0.057217 | 105.9341
UT | CEDAR CITY (MILFORD) | 0 | 0 | 0 | 0 | 0 | 0 | 0.70108 | 0.0021566 | 325.0915 | 0.70108 | 0.0021566 | 325.0915 | 1.6713 | 0.0068776 | 243.0049 | 1.5651 | 0.0066157 | 236.579
UT | EVANSTON | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016633 | 1.226e-05 | 135.6773 | 0.0016633 | 1.226e-05 | 135.6773 | 0.14051 | 0.00083588 | 168.0943 | 0.14051 | 0.00083588 | 168.0943
UT | JORDAN VALLEY | 0.30918 | 0.0030537 | 101.2451 | 0.03389 | 0.00017386 | 194.9207 | 2.5517 | 0.01876 | 136.0132 | 2.2764 | 0.015881 | 143.3439 | 21.8771 | 0.14387 | 152.0623 | 20.7064 | 0.13712 | 151.0096
UT | LAYTON | 0.1066 | 0.00066313 | 160.7504 | 0.027663 | 0.00039454 | 70.1164 | 2.2117 | 0.0093775 | 235.8564 | 2.1328 | 0.0091089 | 234.1454 | 8.5437 | 0.057192 | 149.3863 | 8.4064 | 0.056358 | 149.1594
UT | MOAB | 0 | 0 | 0 | 0 | 0 | 0 | 0.10291 | 0.00034996 | 294.0695 | 0.10291 | 0.00034996 | 294.0695 | 1.5957 | 0.024852 | 64.2055 | 1.1868 | 0.020254 | 58.5961
UT | MONTPELIER | 0.00014596 | 1.1145e-06 | 130.967 | 0 | 0 | 0 | 0.0022171 | 1.8947e-05 | 117.0186 | 0.0020711 | 1.7832e-05 | 116.1469 | 4.0305 | 0.0065143 | 618.7136 | 4.0182 | 0.0065031 | 617.8828
UT | OGDEN | 0.51747 | 0.0063739 | 81.187 | 0.07733 | 0.00040122 | 192.7368 | 1.3385 | 0.012358 | 108.313 | 0.89835 | 0.006385 | 140.6966 | 12.5299 | 0.087518 | 143.1702 | 10.8575 | 0.074556 | 145.6284
UT | PARK CITY | 0.00046165 | 4.458e-06 | 103.5542 | 0.00012022 | 1.1145e-06 | 107.867 | 1.332 | 0.0033758 | 394.5775 | 1.3317 | 0.0033725 | 394.8674 | 7.4599 | 0.037826 | 197.2132 | 6.577 | 0.034745 | 189.2947
UT | PRICE | 0 | 0 | 0 | 0 | 0 | 0 | 0.09053 | 0.0010722 | 84.4372 | 0.09053 | 0.0010722 | 84.4372 | 1.5594 | 0.0237 | 65.7983 | 1.5469 | 0.02365 | 65.4087
UT | RICHFIELD (DELTA) | 0 | 0 | 0 | 0 | 0 | 0 | 0.098135 | 0.0013954 | 70.3294 | 0.098135 | 0.0013954 | 70.3294 | 2.8734 | 0.029502 | 97.395 | 2.7602 | 0.029124 | 94.7725
UT | RICHFIELD (DELTA) | 0.0076918 | 3.1206e-05 | 246.483 | 0 | 0 | 0 | 0.03459 | 0.0014433 | 23.9663 | 0.026898 | 0.0014121 | 19.0488 | 0.79997 | 0.0066413 | 120.4536 | 0.48525 | 0.0048425 | 100.2051
UT | SLC METRO | 0.16733 | 0.00072666 | 230.2696 | 0.11791 | 0.00041237 | 285.9329 | 2.2369 | 0.02846 | 78.5966 | 2.1874 | 0.028146 | 77.7185 | 28.9708 | 0.24295 | 119.2446 | 23.9802 | 0.21903 | 109.4859
UT | SMITHFIELD | 0.00090795 | 5.5725e-06 | 162.9334 | 0 | 0 | 0 | 0.048245 | 0.00054499 | 88.524 | 0.047337 | 0.00053942 | 87.7553 | 3.5366 | 0.02249 | 157.2539 | 3.3548 | 0.02126 | 157.7979
UT | TOOELE | 0.0001661 | 1.1145e-06 | 149.033 | 0.0001661 | 1.1145e-06 | 149.033 | 0.49972 | 0.0054823 | 91.1529 | 0.49972 | 0.0054823 | 91.1529 | 3.2736 | 0.029766 | 109.976 | 3.1967 | 0.029473 | 108.4601
UT | TREMONTON | 0.00026575 | 4.458e-06 | 59.6125 | 0.00020423 | 3.3435e-06 | 61.0833 | 0.32572 | 0.0056706 | 57.4396 | 0.32566 | 0.0056695 | 57.44 | 2.2471 | 0.021235 | 105.8222 | 2.1985 | 0.020519 | 107.1438
UT | VERNAL | 0.023313 | 0.00010031 | 232.4226 | 0.023136 | 9.8077e-05 | 235.9 | 0.13078 | 0.00070325 | 185.9631 | 0.1306 | 0.00070102 | 186.3019 | 0.92514 | 0.0089818 | 103.001 | 0.90044 | 0.0088224 | 102.0626
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2017-10-10