## References
Table Q.1 - Energy Margin by Energy Storage Technology
0
50.0315 | PacifiCorp prepared a study assessing the cost of holding incremental operating reserves. That study identified a cost of $50/kw-yr (2018$)
Table Q.3 - State Distribution Load by Potential For Upgrade Deferral
21.8892 | The forecasted distribution capacity deferral value is $21.89/kw-yr (2018$) for substations with a planned upgrade that can be deferred indefinitely.
Table Q.4 - Forecasted Distribution Load Growth Above the 90% Planning Threshold
172.7213 | These resources have annual fixed costs (capital recovery and fixed operations and maintenance) of approximately $173/kw-yr in 2028.
111.2146 | After netting out energy values based on market as described above, the remainder is $111/kw-yr (2028$) based on Four Corners market prices
129.9241 | and $130/kw-yr (2028$) based on Mid-Columbia market prices
88.7677 | In 2018 dollars, this is equivalent to $89
103.7009 | -$104/kw-yr (2018$) |  | Total Fixed ($/kW-Yr)
50.13% | the 2019 IRP supply-side table shows fixed costs for a fifteen megawatt, four-hour lithium-ion battery costs that are approximately half that of the costs for a one megawatt, four-hour battery | Li-Ion 15 MW X 60 MWh | 207.9332
9.496% | marginal primary voltage losses for Oregon are estimated at 9.5% on average across the year | Li-Ion 1 MW X 4 MWh | 414.819 | 50.13%
16.05% | When the hourly loss profile is applied to the hourly market prices used to calculate the energy values described in Part 1, the result is 16% higher for a four-hour lithium-ion battery | Flow 1 MW X 6 MWh | 476.5905 | 43.63%
10.82% | In the example for Oregon above, this amounts to a roughly 11% increase in effective capacity contribution based on avoided primary losses.
Table Q.5 - Energy Storage Applications - Annual Benefits Stream and Cost-Effectiveness

## Q.3-4
[12 empty] | 21.0726 | 21.6844 | 21.5824 | 22.1262 | 21.7863 | 21.3785 |  | 21.8892
[12 empty] | 1.4159 | 36.2873 | 76.3051 | 227.5725 | 29.4322 | 36.9978 |  |  | Inflation | 2.28% | Nominal Discount Rate | 6.92%
Table Q.3 - State Distribution Load by Potential For Upgrade Deferral | [9 empty] | Table Q.4 - Forecasted Distribution Load Growth Above the 90% Planning Threshold
| State | High | Medium | Low | [6 empty] | Year | CA | ID | OR | UT | WA | WY | Total
| CA | 13.45% | 2.734% | 83.81% | [6 empty] | 2019 | 1.2171 | 18.9072 | 29.9761 | 78.7339 | 12.4546 | 9.2467 | 150.5357
| ID | 38.41% | 38.39% | 23.21% | [6 empty] | 2020 | 1.2171 | 22.3942 | 29.9761 | 107.6267 | 18.2833 | 10.9975 | 190.4949
| OR | 12.66% | 36.23% | 51.1% | [6 empty] | 2021 | 1.2171 | 22.3942 | 29.9761 | 115.8795 | 18.2833 | 10.9975 | 198.7477
| UT | 8.474% | 29.81% | 61.72% | [6 empty] | 2022 | 1.2171 | 22.7794 | 42.1139 | 122.7752 | 20.8812 | 10.9975 | 220.7643
| WA | 24.17% | 32.46% | 43.37% | [6 empty] | 2023 | 1.2171 | 23.3079 | 42.1139 | 163.5112 | 24.855 | 10.9975 | 266.0026
| WY | 7.401% | 20.53% | 72.07% | [6 empty] | 2024 | 1.2171 | 30.9542 | 50.6745 | 164.2813 | 24.855 | 10.9975 | 282.9796
| Total | 12.92% | 31.02% | 56.05% | [6 empty] | 2025 | 1.2171 | 34.0057 | 62.9777 | 165.3638 | 25.5188 | 10.9975 | 300.0806
Total | MW | 1187.4914 | 2851.1204 | 5151.1748 | [6 empty] | 2026 | 1.5121 | 35.4437 | 71.5632 | 170.0946 | 25.5188 | 10.9975 | 315.13
Total | % | [9 empty] | 2027 | 1.5121 | 35.4437 | 74.4357 | 171.8968 | 30.0541 | 13.8739 | 327.2163
Total | $ | 21.7575 | 9.5963 | 0 | [6 empty] | 2028 | 1.5121 | 35.4437 | 76.6257 | 193.9705 | 32.7884 | 13.8739 | 354.2143
[11 empty] | 2029 | 1.5121 | 35.4437 | 86.1653 | 195.5326 | 32.7884 | 54.9057 | 406.3477
CA | $ | 21.0726 | 10.3695 | 0 | CA | MW | 26.2415 | 5.333 | 163.498 |  | 2030 | 1.5121 | 38.9363 | 89.5222 | 206.1971 | 32.7884 | 55.3686 | 424.3248
ID | $ | 21.6844 | 9.6415 | 0 | ID | MW | 188.302 | 188.192 | 113.7693 |  | 2031 | 1.5121 | 39.7771 | 94.2859 | 248.2477 | 32.7884 | 59.0068 | 475.6181
OR | $ | 21.5824 | 9.1482 | 0 | OR | MW | 369.0487 | 1055.8604 | 1489.299 |  | 2032 | 1.5121 | 39.9734 | 98.8064 | 278.7215 | 32.7884 | 59.0068 | 510.8088
UT | $ | 22.1262 | 9.4644 | 0 | UT | MW | 317.0848 | 1115.4927 | 2309.3784 |  | 2033 | 1.5121 | 43.1061 | 99.3472 | 312.6465 | 36.1175 | 61.0267 | 553.7562
WA | $ | 21.7863 | 13.1762 | 0 | WA | MW | 216.2385 | 290.458 | 388.033 |  | 2034 | 1.5121 | 46.3993 | 101.0026 | 352.7404 | 36.1175 | 62.7656 | 600.5376
WY | $ | 21.3785 | 7.3885 | 0 | WY | MW | 70.5759 | 195.7842 | 687.1972 |  | 2035 | 1.5121 | 46.3993 | 105.8804 | 357.2382 | 36.1175 | 67.9514 | 615.0989
[11 empty] | 2036 | 1.5121 | 51.3852 | 108.3613 | 367.3913 | 36.1175 | 67.9514 | 632.7189
[11 empty] | 2037 | 1.5121 | 51.3852 | 114.5419 | 383.8396 | 36.1175 | 67.9514 | 655.3479
[11 empty] | 2038 | 1.6526 | 51.8667 | 117.7564 | 394.7619 | 43.4092 | 70.0443 | 679.4911

## Q.5
Table Q.5 - Energy Storage Applications - Annual Benefits Stream and Cost-Effectiveness | [11 empty] | Escalation Rate |  | Stand-alone Li-Ion 4hr Fixed Cost (Preferred Portfolio) | Year
$/kw-yr | Stand-alone Li-Ion 4hr Fixed Cost | Hourly Market Energy | Intra-hour Flex Credit | Operating Reserve | Utility-scale Resource | Primary Losses Energy | Primary Losses Gen Capacity | Primary Losses | T&D Deferral | Primary + T&D Deferral |  | Battery | NPV | Fixed Cost By Start Year | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
2019 |  | 22.8992 | 26.1866 | 51.1722 | 77.3588 | 3.9955 |  | 81.3543 | 22.3883 | 103.7426 |  | -4.916% | 224.5444 | 196.2522 | 200.7267 | 205.3033 | 209.9842 | 214.7718 | 219.6686 | 224.6771 | 229.7997 | 235.0391 | 240.398 | 245.8791 | 251.4852 | 257.219 | 263.0836 | 269.0819
2020 |  | 22.6421 | 26.7836 | 52.339 | 79.1226 | 3.9789 |  | 83.1015 | 22.8988 | 106.0002 |  | -4.916% | 213.5048 | 186.6035 | 190.8581 | 195.2097 | 199.6605 | 204.2127 | 208.8688 | 213.631 | 218.5018 | 223.4836 | 228.579 | 233.7906 | 239.1211 | 244.573 | 250.1493 | 255.8527
2021 |  | 25.5218 | 27.3943 | 53.5323 | 80.9266 | 4.3564 |  | 85.283 | 23.4209 | 108.7038 |  | -0.912% | 203.008 | 177.4293 | 181.4747 | 185.6123 | 189.8443 | 194.1727 | 198.5999 | 203.1279 | 207.7593 | 212.4962 | 217.3411 | 222.2965 | 227.3648 | 232.5487 | 237.8508 | 243.2738
2022 |  | 29.5304 | 28.0189 | 54.7528 | 82.7717 | 4.7844 |  | 87.5561 | 23.9549 | 111.5109 |  | -0.912% | 201.1566 | 175.8112 | 179.8197 | 183.9196 | 188.1129 | 192.4019 | 196.7887 | 201.2755 | 205.8645 | 210.5583 | 215.359 | 220.2692 | 225.2913 | 230.4279 | 235.6817 | 241.0552
2023 |  | 34.0225 | 28.6577 | 56.0012 | 84.6589 | 5.2823 |  | 89.9412 | 24.501 | 114.4422 |  | -0.912% | 199.3221 | 174.2078 | 178.1798 | 182.2423 | 186.3974 | 190.6473 | 194.994 | 199.4399 | 203.9871 | 208.638 | 213.395 | 218.2604 | 223.2367 | 228.3265 | 233.5323 | 238.8569
2024 |  | 40.5373 | 29.3111 | 57.278 | 69.8485 | 5.9921 |  | 75.8406 | 25.0597 | 100.9003 |  | -0.912% | 197.5043 | 172.6191 | 176.5548 | 180.5803 | 184.6975 | 188.9086 | 193.2157 | 197.621 | 202.1268 | 206.7353 | 211.4489 | 216.2699 | 221.2008 | 226.2442 | 231.4026 | 236.6786
2025 |  | 46.8721 | 29.9794 | 58.5839 | 76.8515 | 6.362 |  | 83.2135 | 25.631 | 108.8445 |  | -0.912% | 195.7031 | 171.0449 | 174.9447 | 178.9334 | 183.0131 | 187.1858 | 191.4536 | 195.8188 | 200.2834 | 204.8499 | 209.5205 | 214.2976 | 219.1835 | 224.1809 | 229.2922 | 234.5201
2026 |  | 51.1239 | 30.6629 | 59.9197 | 81.7869 | 6.7895 |  | 88.5764 | 26.2154 | 114.7918 |  | 0.9502% | 193.9184 | 169.485 | 173.3492 | 177.3016 | 181.3441 | 185.4787 | 189.7076 | 194.033 | 198.4569 | 202.9817 | 207.6097 | 212.3432 | 217.1846 | 222.1364 | 227.2012 | 232.3813
2027 |  | 51.4258 | 31.3621 | 61.2858 | 82.7878 | 6.7153 |  | 89.5031 | 26.8131 | 116.3163 |  | 0.9502% | 195.761 | 171.0955 | 174.9964 | 178.9864 | 183.0672 | 187.2412 | 191.5103 | 195.8767 | 200.3427 | 204.9105 | 209.5825 | 214.361 | 219.2484 | 224.2472 | 229.3601 | 234.5895
2028 | 172.7213 | 52.1519 | 32.0771 | 62.6831 | 172.7213 | 6.7269 | 18.6865 | 198.1347 | 27.4245 | 225.5591 |  | 0.9502% | 197.6212 | 172.7213 | 176.6593 | 180.6871 | 184.8068 | 189.0204 | 193.3301 | 197.738 | 202.2464 | 206.8576 | 211.574 | 216.3979 | 221.3317 | 226.3781 | 231.5395 | 236.8186
2029 | 176.6593 | 57.3627 | 32.8085 | 64.1123 | 176.6593 | 7.2083 | 19.1126 | 202.9802 | 28.0497 | 231.0299 |  | 0.9502% | 199.499 | 174.3625 | 178.338 | 182.4041 | 186.5629 | 190.8165 | 195.1671 | 199.6169 | 204.1682 | 208.8232 | 213.5844 | 218.4541 | 223.4349 | 228.5292 | 233.7397 | 239.0689
2030 | 180.6871 | 64.7907 | 33.5565 | 65.5741 | 180.6871 | 7.9177 | 19.5484 | 208.1532 | 28.6893 | 236.8425 |  | 0.9502% | 201.3947 | 176.0193 | 180.0326 | 184.1373 | 188.3357 | 192.6297 | 197.0217 | 201.5138 | 206.1083 | 210.8075 | 215.614 | 220.53 | 225.558 | 230.7008 | 235.9607 | 241.3406
2031 | 184.8068 | 69.3961 | 34.3216 | 67.0692 | 184.8068 | 8.305 | 19.9941 | 213.1058 | 29.3434 | 242.4492 |  | 0.9502% | 203.3084 | 177.6919 | 181.7433 | 185.887 | 190.1253 | 194.4601 | 198.8938 | 203.4286 | 208.0668 | 212.8107 | 217.6628 | 222.6255 | 227.7013 | 232.8929 | 238.2029 | 243.6339
2032 | 189.0204 | 74.7094 | 35.1041 | 68.5983 | 189.0204 | 8.7848 | 20.4499 | 218.2551 | 30.0124 | 248.2676 |  | 0.9502% | 205.2403 | 179.3804 | 183.4703 | 187.6534 | 191.9319 | 196.3079 | 200.7838 | 205.3616 | 210.0439 | 214.8329 | 219.7311 | 224.7409 | 229.865 | 235.1059 | 240.4664 | 245.949
2033 | 193.3301 | 79.6324 | 35.9045 | 70.1624 | 193.3301 | 9.2004 | 20.9162 | 223.4466 | 30.6967 | 254.1433 |  | 0.9502% | 207.1906 | 181.0849 | 185.2137 | 189.4365 | 193.7557 | 198.1733 | 202.6917 | 207.313 | 212.0398 | 216.8743 | 221.819 | 226.8765 | 232.0493 | 237.34 | 242.7513 | 248.2861
2034 | 197.738 | 84.3046 | 36.7231 | 71.7621 | 197.738 | 9.5727 | 21.3931 | 228.7037 | 31.3966 | 260.1003 |  | 0.9502% | 209.1594 | 182.8056 | 186.9736 | 191.2366 | 195.5968 | 200.0564 | 204.6177 | 209.283 | 214.0546 | 218.9351 | 223.9268 | 229.0323 | 234.2543 | 239.5953 | 245.058 | 250.6454
2035 | 202.2464 | 84.7305 | 37.5604 | 73.3983 | 202.2464 | 9.4863 | 21.8808 | 233.6136 | 32.1124 | 265.726 |  | 0.9502% | 211.1469 | 184.5427 | 188.7503 | 193.0538 | 197.4554 | 201.9574 | 206.562 | 211.2716 | 216.0886 | 221.0155 | 226.0546 | 231.2086 | 236.4802 | 241.872 | 247.3866 | 253.0271
2036 | 206.8576 | 88.3276 | 38.4168 | 75.0717 | 206.8576 | 9.6817 | 22.3797 | 238.919 | 32.8446 | 271.7636 |  | 0.9502% | 213.1532 | 186.2963 | 190.5438 | 194.8882 | 199.3317 | 203.8764 | 208.5248 | 213.2792 | 218.142 | 223.1156 | 228.2026 | 233.4057 | 238.7273 | 244.1703 | 249.7374 | 255.4314
2037 | 211.574 | 94.6672 | 39.2927 | 76.7834 | 211.574 | 10.3563 | 22.89 | 244.8203 | 33.5934 | 278.4137 |  | 0.9502% | 215.1787 | 188.0665 | 192.3544 | 196.7401 | 201.2258 | 205.8137 | 210.5063 | 215.3058 | 220.2148 | 225.2357 | 230.3711 | 235.6235 | 240.9958 | 246.4905 | 252.1104 | 257.8586
2038 | 216.3979 | 103.0729 | 40.1886 | 78.534 | 216.3979 | 11.1516 | 23.4119 | 250.9613 | 34.3594 | 285.3207 |  | 0.9502% | 217.2234 | 189.8536 | 194.1822 | 198.6096 | 203.1379 | 207.7694 | 212.5066 | 217.3517 | 222.3073 | 227.376 | 232.5601 | 237.8625 | 243.2858 | 248.8327 | 254.5061 | 260.3088
2039 | 221.3317 | 105.4229 | 41.1049 | 80.3246 | 221.3317 | 11.4058 | 23.9457 | 256.6832 | 35.1428 | 291.826
2040 | 226.3781 | 107.8266 | 42.042 | 82.156 | 226.3781 | 11.6659 | 24.4916 | 262.5356 | 35.944 | 298.4796
2041 | 231.5395 | 110.285 | 43.0006 | 84.0292 | 231.5395 | 11.9318 | 25.05 | 268.5214 | 36.7635 | 305.285
2042 | 236.8186 | 112.7995 | 43.981 | 85.945 | 236.8186 | 12.2039 | 25.6212 | 274.6437 | 37.6017 | 312.2455
Valuation inputs
Cost-effective w/ 30% ITC
Cost-effective w/ 10% ITC
Cost-effective 0% ITC
15 year NPV Starting | [10 empty] | NPV by Start Year | NPV w 30% ITC | NPV w 10% ITC
2019 |  |  |  |  | 108.8245 |  |  | 120.4205 |  | 146.0364 | 224.5444 | 162.7977 | 99999
2020 |  |  |  |  | 115.8219 |  |  | 129.0239 |  | 155.2238 | 213.5048 | 154.7939 | 99999
2021 |  |  |  |  | 123.2915 |  |  | 138.2283 |  | 165.0255 | 203.008 | 147.1835 | 99999
2022 |  |  |  |  | 131.2654 |  |  | 148.0437 |  | 175.452 | 201.1566 | 145.8413 | 99999
2023 |  |  |  |  | 139.7785 |  |  | 158.5264 |  | 186.5596 | 199.3221 | 144.5112 | 99999
2024 |  |  |  |  | 148.8677 |  |  | 169.7199 |  | 198.3922 | 197.5043 | 143.1933 | 99999
2025 |  |  |  |  | 160.4013 |  |  | 183.4573 |  | 212.7834 | 195.7031 | 99999 | 177.7646
2026 |  |  |  |  | 172.17 |  |  | 197.5743 |  | 227.569 | 193.9184 | 99999 | 176.1434
2027 |  |  |  |  | 184.4207 |  |  | 212.3221 |  | 243.0007 | 195.761 | 99999 | 177.8171
2028 |  |  |  |  | 197.6212 |  |  | 228.2343 |  | 259.6123 | 197.6212 | 99999 | 179.5068

## OR PR1
30% by 2024, for 8 years
Oregon Energy Storage System Project #1: 3-hour Lithium Ion Battery Benefits | [12 empty] | +45% by 2027, for 8 years
| Capacity | Capacity | Capacity | Energy | Energy | Energy | Energy | Energy | Op. Rsv. | T&D | T&D | Total |  |  | Project 1: Forecasted Benefits ($)
$/kw-yr | Deferred Stand-alone Li-Ion 4hr Fixed Cost | Deferred 4hr Benefit | Primary Losses Gen Capacity Adj | Hourly Market Energy | Deferred 4hr Benefit | Primary Losses Energy | Intra-hour Flex Credit | Deferred 4hr Benefit | Operating Reserve | T&D Deferral | T&D Dispatch Lost Energy Margin | Total | T&D Probability | T&D Dispatch Lost Energy Margin | $ | Capacity | Energy | Op. Rsv. | T&D | Total
2021 | 0 | 0 | 0 | 0 | 0 | 3.6205 | 27.0823 | 0 | 53.5323 | 0 | 0 | 84.2351 | 0% | -0.82818 | 2021 | 0 | 61405.6002 | 107064.5596 | 0 | 168470.1598 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 3.9902 | 27.6998 | 0 | 54.7528 | 0 | 0 | 86.4427 | 0% | -0.96347 | 2022 | 0 | 63379.8512 | 109505.6315 | 0 | 172885.4827 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 4.3959 | 28.3313 | 0 | 56.0012 | 0 | 0 | 88.7284 | 0% | -1.1055 | 2023 | 0 | 65454.4177 | 112002.3599 | 0 | 177456.7777 | 0
2024 | 0 | 0 | 0 | 35.2949 | 0 | 4.9628 | 28.9773 | 0 | 0 | 7.5179 | -0.41002 | 76.3429 | 30% | -1.3667 | 2024 | 0 | 138469.9926 | 0 | 14215.7493 | 152685.7418 | 0
2025 | 0 | 0 | 0 | 40.5936 | 0 | 5.3106 | 29.638 | 0 | 0 | 7.6893 | -0.48994 | 82.7415 | 30% | -1.6331 | 2025 | 0 | 151084.1914 | 0 | 14398.7305 | 165482.9219 | 0
2026 | 0 | 0 | 0 | 44.1108 | 0 | 5.6486 | 30.3137 | 0 | 0 | 7.8646 | -0.53981 | 87.3979 | 30% | -1.7994 | 2026 | 0 | 160146.2206 | 0 | 14649.6182 | 174795.8388 | 0
2027 | 0 | 0 | 0 | 44.4036 | 0 | 5.5726 | 31.0049 | 0 | 0 | 20.1098 | -1.3123 | 99.7786 | 75% | -1.7497 | 2027 | 0 | 161962.0759 | 0 | 37595.0801 | 199557.156 | 0
2028 | 172.7213 | -10.6324 | 17.5362 | 45.0444 | -48.9415 | 5.5938 | 31.7118 | -30.1025 | 0 | 20.5683 | -1.3133 | 202.1861 | 75% | -1.751 | 2028 | 359250.1231 | 6611.9583 | 0 | 38510.1605 | 404372.2419 | 0
2029 | 176.6593 | -10.8749 | 17.9361 | 49.4397 | -53.8315 | 6.0183 | 32.4348 | -30.7888 | 0 | 21.0373 | -1.4397 | 206.5905 | 75% | -1.9195 | 2029 | 367441.0259 | 6544.7416 | 0 | 39195.2785 | 413181.046 | 0
2030 | 180.6871 | -11.1228 | 18.345 | 55.6489 | -60.8023 | 6.6169 | 33.1743 | -31.4908 | 0 | 21.5169 | -1.7071 | 210.8661 | 75% | -2.2761 | 2030 | 375818.6813 | 6293.8879 | 0 | 39619.702 | 421732.2711 | 0
2031 | 184.8068 | -11.3764 | 18.7633 | 59.493 | -65.1242 | 6.9558 | 33.9307 | -32.2088 | 0 | 22.0075 | -1.8258 | 215.4219 | 75% | -2.4343 | 2031 | 384387.3472 | 6092.8492 | 0 | 40363.568 | 430843.7644 | 0
2032 | 189.0204 | -11.6358 | 19.1911 | 63.9123 | -70.1104 | 7.3389 | 34.7043 | -32.9432 | 0 | 13.5056 | -1.1861 | 211.7971 | 45% | -2.6359 | 2032 | 393151.3787 | 5803.9689 | 0 | 24638.8756 | 423594.2232 | 0
2033 | 193.3301 | -11.9011 | 19.6286 | 68.0902 | -74.7304 | 7.6721 | 35.4956 | -33.6943 | 0 | 13.8135 | -1.283 | 216.4214 | 45% | -2.851 | 2033 | 402115.2301 | 5666.5268 | 0 | 25061.0804 | 432842.8374 | 0
2034 | 197.738 | -12.1724 | 20.0762 | 72.0218 | -79.1149 | 7.9986 | 36.3049 | -34.4625 | 0 | 14.1285 | -1.3685 | 221.1495 | 45% | -3.0412 | 2034 | 411283.4574 | 5495.6571 | 0 | 25519.8504 | 442298.9649 | 0
2035 | 202.2464 | -12.45 | 20.5339 | 72.3449 | -79.5146 | 7.9129 | 37.1326 | -35.2482 | 0 | 0 | 0 | 212.9579 | 0% | -2.8419 | 2035 | 420660.7202 | 5255.1463 | 0 | 0 | 425915.8665 | 0
Valuation inputs
15 year Present Value at 6.92% Discount Rate | [14 empty] | 15 year NPV Starting
Benefits | 76.059 | -4.6821 | 7.7222 | 36.6758 | -26.5831 | 5.5898 | 30.9865 | -13.2558 | 15.7065 | 10.0075 | -0.73832 | 137.488 |  |  | 2021 | 1448165.3319 | 611737.5189 | 287557.5125 | 169701.9667 | 2517162.33
Sub-total |  |  | 79.0991 |  |  |  |  | 33.4133 | 15.7065 |  | 9.2692
[11 empty] | Costs | 267.3267
Summer Capacity Contribution Equivalent per MW Nameplate | [10 empty] | Benefit:Cost Ratio | 0.51431
| Li 4hr | Li 3hr | Li 3hr w/Losses
Contribution | 93.93% | 88.14% | 97.68%
Adjustment |  | -6.156% | 10.82%